## MO
O R I F I C E D A T A S H E E T
1 | Project |  |  | Benghazi Combined Cycle Power Plant | [10 empty] | Job No. |  | Later | [10 empty] | OD
2 | Client |  |  | Later | [10 empty] | Doc. No. |  | DS - MO - 100 | [8 empty] | 1 1/2" | 40 A | #VALUE!
3 | Contractor |  |  | Later | [10 empty] | Date |  | 2015. 1. 10. |  |  |  |  | Standard |  |  |  | Small Bore | Large Bore
4 | Standard |  |  | #VALUE! | [10 empty] | Revision |  | 0 |  |  |  |  | ISO |  |  | ISO | - N/A - | 5167
5 | Service |  |  | Boiler Feedwater | [10 empty] | Item No. |  | MO - 01 |  |  |  |  | #VALUE! |  |  | ASME | 14M | 3M
6 | Location |  |  | BFW Pump Disch. | [10 empty] | Quantity |  | One( 1 ) |  |  | set(s) |  | #VALUE!
7 | Use |  |  | Flow Measuring | [6 empty] | Press. Tapping
8 | Type |  |  | Concentric, Thin Plate, Square-edged | [6 empty] | Flange Taps |  |  |  | Sheet No. |  | 1 | of |  | 1
9 | P R O C E S S D A T A | [9 empty] | O R I F I C E D A T A | [10 empty] | Fluid defined | [6 empty] | Pipe
10 | Fluid Name |  |  |  | Boiler Feedwater | [5 empty] | Pipe Spec. |  |  |  | A 106-B , 3" , Sch.40 | [6 empty] | Fluid Kind |  |  | Saturated |  |  |  | ASTM
11 | Flowrate |  |  |  | 25000 |  |  |  | kg/h |  | Pipe ID |  |  |  | #VALUE! |  |  |  | mm |  | 실적 | Fluid in DB |  |  | H2O |  |  |  | A 106-B |  | Initial Hole Dia / Pipe ID 초기값 가정
12 |  |  |  |  | #VALUE! |  |  |  | m3/h |  | Orifice Hole Dia. |  |  | Cal'd | #VALUE! |  |  |  | mm |  | 45 | Saturation |  |  | No |  |  |  | 3" |  | 0.5 | x | #VALUE! | = | #VALUE!
13 | Press., Inlet |  |  |  | 25.7 |  |  |  | bar.g |  |  |  |  | Act. | 44.1 |  |  |  | mm |  |  | Vapor "x" |  |  | 0 |  |  |  | Sch.40
14 | Temperature |  |  |  | 130 |  |  |  | ℃ |  | Orifice Thickness |  |  |  | 3.175 |  |  |  | mm |  |  | Temp., Sat. |  |  | #VALUE! | ℃ |  |  | #VALUE! | < OD
15 | Density |  |  |  | #VALUE! |  |  |  | kg/m3 |  | Material |  |  |  | 316 SS | [6 empty] | Temp.,Input |  |  | 130 | ℃ |  |  | #VALUE! | < t
16 | Viscosity |  |  |  | #VALUE! |  |  |  | cP | [12 empty] | Press. Unit |  |  |  | bar.g |  | 대기압 | #VALUE! | < ID
17 | Press., Outlet, Input |  |  |  | 25.5384 |  |  |  | bar.g | [12 empty] | Gauge or Absolute |  |  |  | Gauge |  | 0 | Data for Vapor
18 | " " Calculated |  |  |  | #VALUE! |  |  |  | bar.g | [12 empty] | Press., Inlet |  |  | 25.7 | bar.g |  |  | Universal Gas Const |  | #VALUE!
19 | C A L C U L A T I O N | [20 empty] | Temp, Used |  |  | 130 |  |  |  | Molecular Weight |  | #VALUE!
20 | Descrition |  |  |  |  | Unit | Upstream |  |  | Orifice Hole |  |  | Diameter Ratio |  |  |  | β | #VALUE! |  |  |  | Fluid State |  |  | #VALUE! | -> | #VALUE! |  | Gas Constant |  | #VALUE! |  | kcal/kg.℃
21 | Flow Area |  |  |  |  | m2 | #VALUE! |  |  | 0.0015275 |  |  | Discharge Coefficient |  |  |  | C | #VALUE! |  |  |  | Density |  | kg/m3 | #VALUE! |  |  |  | Cp |  | #VALUE!
22 | Velocity |  |  |  |  | m/sec | #VALUE! |  |  | #VALUE! |  |  | Flow Coefficient |  |  |  | K | #VALUE! | [10 empty] | Cv | = Cp - R | #VALUE!
23 | Velocity Head |  |  | 1/2·ρV2/g |  | kg/cm2 | #VALUE! |  |  | #VALUE! |  |  | Static Head Diff. |  |  |  | #VALUE! | #VALUE! |  |  |  | Press. Drop |  | 0.1616 |  | #VALUE! |  | Specific Heat Ratio | k | = Cp / Cv | #VALUE!
24 | Mass Velocity |  |  |  |  | kg/m2.h | #VALUE! |  |  | 16367145.6946 |  |  | Pressure Drop |  |  |  | #VALUE! | #VALUE! | [9 empty] | Pressure Ratio | P2 / P1 |  | #VALUE! |  | #VALUE!
25 | Reynolds No. |  |  | Re |  |  | #VALUE! |  |  | #VALUE! |  |  | Loss Coeffient |  |  |  |  | #VALUE! | [9 empty] | Expansion Factor | ε |  | #VALUE!
26 | P E R F O R M A N C E a t R E F E R E N C E C O N D I T I O N
27 | Flowrate |  |  |  |  | Inlet |  | Temp. |  | Flow |  | Static |  | Press. |  | Outlet | [5 empty] | Desnsity | Visco.
28 | [5 empty] | Press. |  |  |  | Coefficient |  | Head Diff |  | Drop |  | Press. |  | Remarks | [6 empty] | Loss Coeff.
29 | %flow | kg/h | Q | m3/h |  | bar.g |  | ℃ |  |  |  | #VALUE! | ΔP | #VALUE! |  | bar.g | [6 empty] | kg/m.h
30 | 110 | 27500 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
31 | 100 | 25000 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
32 | 90 | 22500 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
33 | 80 | 20000 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
34 | 70 | 17500 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
35 | 60 | 15000 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
36 | 50 | 12500 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
37 | 40 | 10000 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
38 | 30 | 7500 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
39 | 20 | 5000 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
40 | 10 | 2500 |  | #VALUE! |  | 25.7 |  | 130 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
41 | S K E T C H |  |  | Inlet Press. Tapping |  |  |  | Outlet Press. Tapping
42 |  |  |  | p1 |  |  |  | p2
43 |  |  |  |  | D
44
45
46
47 | Flow | → | #VALUE! | D | 44.1 | d
48
49 | [7 empty] | 45 o | ± 15o
50
51
52 |  |  |  |  | 25 mm |  |  | 25 mm
53
54 | [5 empty] | Concentric, Thin Plate, Square-edged Orifice
55 | Notes
56 | *1) | p2 Tapping Location |  |  | : | D & D/2 Taps |  |  | : | D/2 |  | Vena Contracta Taps |  |  |  | : | at Vena Contracta
57 | *2) | Orifice Thichness |  |  | : | Typically less than 0.05 D
58 | *3)
59 | *4)
60 | *5)
| NTES | [18 empty] | Narai Thermal Engineering Services
Note on W3: Cell is filled !
Note on W8: Cell is filled !

## _steam
O R I F I C E D A T A S H E E T
1 | Project |  |  | Misurata Combined Cycle Projects | [10 empty] | Job No. |  | Later | [10 empty] | OD
2 | Client |  |  | GECOL / Lybia | [10 empty] | Doc. No. |  | DS - MO - 100 | [8 empty] | 1 1/2" | 40 A | #VALUE!
3 | Contractor |  |  | Daewoo E&C | [10 empty] | Date |  | 2015. 1. 10. |  |  |  |  | Standard |  |  |  | Small Bore | Large Bore
4 | Standard |  |  | #VALUE! | [10 empty] | Revision |  | 0 |  |  |  |  | ISO |  |  | ISO | - N/A - | 5167
5 | Service |  |  | Main Steam | [10 empty] | Item No. |  | MO - 01 |  |  |  |  | #VALUE! |  |  | ASME | 14M | 3M
6 | Location |  |  | Main Steam Outlet | [10 empty] | Quantity |  | One( 1 ) |  |  | set(s) |  | #VALUE!
7 | Use |  |  | Flow Measuring | [6 empty] | Press. Tapping
8 | Type |  |  | Concentric, Thin Plate, Square-edged | [6 empty] | Flange Taps |  |  |  | Sheet No. |  | 1 | of |  | 1
9 | P R O C E S S D A T A | [9 empty] | O R I F I C E D A T A | [10 empty] | Fluid defined | [6 empty] | Pipe
10 | Fluid Name |  |  |  | Steam | [5 empty] | Pipe Spec. |  |  |  | A 106-B , 4" , Sch.40 | [6 empty] | Fluid Kind |  |  | Saturated |  |  |  | ASTM
11 | Flowrate |  |  |  | 25000 |  |  |  | kg/h |  | Pipe ID |  |  |  | #VALUE! |  |  |  | mm |  | 실적 | Fluid in DB |  |  | H2O |  |  |  | A 106-B |  | Initial Hole Dia / Pipe ID 초기값 가정
12 |  |  |  |  | #VALUE! |  |  |  | m3/h |  | Orifice Hole Dia. |  |  | Cal'd | #VALUE! |  |  |  | mm |  | 45 | Saturation |  |  | Yes |  |  |  | 4" |  | 0.5 | x | #VALUE! | = | #VALUE!
13 | Press., Inlet |  |  |  | 25.7 |  |  |  | bar.g |  |  |  |  | Act. | 71 |  |  |  | mm |  |  | Vapor "x" |  |  | 1 |  |  |  | Sch.40
14 | Temperature |  |  |  | #VALUE! |  |  |  | ℃ |  | Orifice Thickness |  |  |  | 3.175 |  |  |  | mm |  |  | Temp., Sat. |  |  | #VALUE! | ℃ |  |  | #VALUE! | < OD
15 | Density |  |  |  | #VALUE! |  |  |  | kg/m3 |  | Material |  |  |  | 316 SS | [6 empty] | Temp.,Input |  |  | 0 | ℃ |  |  | #VALUE! | < t
16 | Viscosity |  |  |  | #VALUE! |  |  |  | cP | [12 empty] | Press. Unit |  |  |  | bar.g |  | 대기압 | #VALUE! | < ID
17 | Press., Outlet, Input |  |  |  | 24.7 |  |  |  | bar.g | [12 empty] | Gauge or Absolute |  |  |  | Gauge |  | 0 | Data for Vapor
18 | " " Calculated |  |  |  | #VALUE! |  |  |  | bar.g | [12 empty] | Press., Inlet |  |  | 25.7 | bar.g |  |  | Universal Gas Const |  | 1.9859
19 | C A L C U L A T I O N | [20 empty] | Temp, Used |  |  | #VALUE! |  |  |  | Molecular Weight |  | #VALUE!
20 | Descrition |  |  |  |  | Unit | Upstream |  |  | Orifice Hole |  |  | Diameter Ratio |  |  |  | β | #VALUE! |  |  |  | Fluid State |  |  | Sat. Vapor | -> | Vapor |  | Gas Constant |  | #VALUE! |  | kcal/kg.℃
21 | Flow Area |  |  |  |  | m2 | #VALUE! |  |  | 0.0039592 |  |  | Discharge Coefficient |  |  |  | C | #VALUE! |  |  |  | Density |  | kg/m3 | #VALUE! |  |  |  | Cp |  | #VALUE!
22 | Velocity |  |  |  |  | m/sec | #VALUE! |  |  | #VALUE! |  |  | Flow Coefficient |  |  |  | K | #VALUE! | [10 empty] | Cv | = Cp - R | #VALUE!
23 | Velocity Head |  |  | 1/2·ρV2/g |  | kg/cm2 | #VALUE! |  |  | #VALUE! |  |  | Static Head Diff. |  |  |  | #VALUE! | #VALUE! |  |  |  | Press. Drop |  | 1 |  | #VALUE! |  | Specific Heat Ratio | k | = Cp / Cv | #VALUE!
24 | Mass Velocity |  |  |  |  | kg/m2.h | #VALUE! |  |  | 6314419.4839 |  |  | Pressure Drop |  |  |  | #VALUE! | #VALUE! | [9 empty] | Pressure Ratio | P2 / P1 |  | #VALUE! |  | #VALUE!
25 | Reynolds No. |  |  | Re |  |  | #VALUE! |  |  | #VALUE! |  |  | Loss Coeffient |  |  |  |  | #VALUE! | [9 empty] | Expansion Factor | ε |  | #VALUE!
26 | P E R F O R M A N C E a t R E F E R E N C E C O N D I T I O N
27 | Flowrate |  |  |  |  | Inlet |  | Temp. |  | Flow |  | Static |  | Press. |  | Outlet | [5 empty] | Desnsity | Visco.
28 | [5 empty] | Press. |  |  |  | Coefficient |  | Head Diff |  | Drop |  | Press. |  | Remarks | [6 empty] | Loss Coeff.
29 | %flow | kg/h | Q | m3/h |  | bar.g |  | ℃ |  |  |  | #VALUE! | ΔP | #VALUE! |  | bar.g | [6 empty] | kg/m.h
30 | 110 | 27500 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
31 | 100 | 25000 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
32 | 90 | 22500 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
33 | 80 | 20000 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
34 | 70 | 17500 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
35 | 60 | 15000 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
36 | 50 | 12500 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
37 | 40 | 10000 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
38 | 30 | 7500 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
39 | 20 | 5000 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
40 | 10 | 2500 |  | #VALUE! |  | 25.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! | #VALUE! |  | #VALUE!
41 | S K E T C H |  |  | Inlet Press. Tapping |  |  |  | Outlet Press. Tapping
42 |  |  |  | p1 |  |  |  | p2
43 |  |  |  |  | D
44
45
46
47 | Flow | → | #VALUE! | D | 71 | d
48
49 | [7 empty] | 45 o | ± 15o
50
51
52 |  |  |  |  | 25 mm |  |  | 25 mm
53
54 | [5 empty] | Concentric, Thin Plate, Square-edged Orifice
55 | Notes
56 | *1) | p2 Tapping Location |  |  | : | D & D/2 Taps |  |  | : | D/2 |  | Vena Contracta Taps |  |  |  | : | at Vena Contracta
57 | *2) | Orifice Thichness |  |  | : | Typically less than 0.05 D
58 | *3)
59 | *4)
60 | *5)
| NTES | [18 empty] | Narai Thermal Engineering Services
Note on W3: Cell is filled !
Note on W8: Cell is filled !

## RO
O R I F I C E D A T A S H E E T
1 | Project |  |  | Misurata Combined Cycle Projects | [9 empty] | Job No. | SO-2219 | [10 empty] | OD
2 | Client |  |  | GECOL / Lybia | [9 empty] | Doc. No. | DS - MO - 100 | [8 empty] | 1 1/2" | 40 A | #VALUE!
3 | Contractor |  |  | Daewoo E&C | [9 empty] | Date | 2015. 1. 10. |  |  |  |  | Standard |  |  |  | Small Bore | Large Bore
4 | Standard |  |  | #VALUE! | [9 empty] | Revision | 0 |  |  |  |  | ASME |  |  | ISO | - N/A - | 5167
5 | Service |  |  | Minimum Flow for BFW Pump | [9 empty] | Item No. | RO - 01 |  |  |  |  | #VALUE! |  |  | ASME | 14M | 3M
6 | Location |  |  | Recirculation Line on BFW Pump | [9 empty] | Quantity | One( 1 ) |  |  | set(s) |  | #VALUE!
7 | Use |  |  | Flow Limiting | [6 empty] | Press. Tapping
8 | Type |  |  | Concentric, Thin Plate, Square-edged | [6 empty] | Not Required |  |  | Sheet No. | 1 | of |  | 1
9 | P R O C E S S D A T A | [9 empty] | O R I F I C E D A T A | [8 empty] | Fluid defined | [6 empty] | Pipe
10 | Fluid Name |  |  |  | Boiler Feedwater | [5 empty] | Pipe Spec. |  |  | A 106-B , 1 1/2" , Sch.40 | [5 empty] | Fluid Kind |  |  | Saturated |  |  |  | ASTM
11 | Flowrate |  |  |  | 3385 |  |  |  | kg/h |  | Pipe ID |  |  | #VALUE! |  |  | mm |  | 실적 | Fluid in DB |  |  | H2O |  |  |  | A 106-B |  | Initial Hole Dia / Pipe ID 초기값 가정
12 |  |  |  |  | #VALUE! |  |  |  | m3/h |  | Orifice Hole Dia. |  | Cal'd | #VALUE! |  |  | mm |  |  | Saturation |  |  | No |  |  |  | 1 1/2" |  | 0.5 | x | #VALUE! | = | #VALUE!
13 | Press., Inlet |  |  |  | 26 |  |  |  | #VALUE! |  |  |  | Act. | 5.4 |  |  | mm |  |  | Vapor "x" |  |  | 0 |  |  |  | Sch.40
14 | Temperature |  |  |  | 110 |  |  |  | ℃ |  | Orifice Thickness |  |  | 3 |  |  | mm |  |  | Temp., Sat. |  |  | #VALUE! | ℃ |  |  | #VALUE! | < OD
15 | Density |  |  |  | #VALUE! |  |  |  | kg/m3 |  | Material |  |  | 304 SS | [5 empty] | Temp.,Input |  |  | 110 | ℃ |  |  | #VALUE! | < t
16 | Viscosity |  |  |  | #VALUE! |  |  |  | cP | [10 empty] | Press. Unit |  |  |  | bar.g |  | 대기압 | #VALUE! | < ID
17 | Press., Outlet, Input |  |  |  | 1.433 |  |  |  | #VALUE! | [10 empty] | Gauge or Absolute |  |  |  | Absolute |  | #VALUE! | Data for Vapor
18 | " " Calculated |  |  |  | #VALUE! |  |  |  | #VALUE! | [10 empty] | Press., Inlet |  |  | 26 | #VALUE! |  |  | Universal Gas Const |  | #VALUE!
19 | C A L C U L A T I O N | [18 empty] | Temp, Used |  |  | 110 |  |  |  | Molecular Weight |  | #VALUE!
20 | Descrition |  |  |  |  | Unit | Upstream |  |  | Orifice Hole |  | Diameter Ratio |  |  | β | #VALUE! |  |  |  | Fluid State |  |  | #VALUE! | -> | #VALUE! |  | Gas Constant |  | #VALUE! |  | kcal/kg.℃
21 | Flow Area |  |  |  |  | m2 | #VALUE! |  |  | 2.2902e-05 |  | Discharge Coefficient |  |  | C | #VALUE! |  |  |  | Density |  | kg/m3 | #VALUE! |  |  |  | Cp |  | #VALUE!
22 | Velocity |  |  |  |  | m/sec | #VALUE! |  |  | #VALUE! |  | Flow Coefficient |  |  | K | #VALUE! | [10 empty] | Cv | = Cp - R | #VALUE!
23 | Velocity Head |  |  | 1/2·ρV2/g |  | kg/cm2 | #VALUE! |  |  | #VALUE! |  | Static Head Diff. |  |  | #VALUE! | #VALUE! | [9 empty] | Specific Heat Ratio | k | = Cp / Cv | #VALUE!
24 | Mass Velocity |  |  |  |  | kg/m2.h | #VALUE! |  |  | 147802327.1237 |  | Pressure Drop |  |  | #VALUE! | #VALUE! | [9 empty] | Pressure Ratio | P2 / P1 |  | #VALUE! |  | #VALUE!
25 | Reynolds No. |  |  | Re |  |  | #VALUE! |  |  | #VALUE! |  | Loss Coeffient |  |  |  | #VALUE! | [9 empty] | Expansion Factor | ε |  | #VALUE!
26 | P E R F O R M A N C E a t R E F E R E N C E C O N D I T I O N
27 | Inlet |  | Temp. |  | Flowrate |  |  |  | Flow |  | Press. | Outlet | [7 empty] | Desnsity | Visco. |  |  |  |  | Static
28 | Press. | [7 empty] | Coefficient |  | Drop | Press. |  | Remarks | [8 empty] | Loss Coeff. |  |  | Head Diff
29 | #VALUE! |  | ℃ |  | kg/h | Q | m3/h |  |  |  | #VALUE! | #VALUE! | [8 empty] | kg/m.h |  |  |  |  | #VALUE! | ΔP
30 | 30 |  | 110 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
31 | 26 |  | 110 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
32 | 22 |  | 110 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
33 | 18 |  | 110 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
34 | 14 |  | 110 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
35 | 10 |  | 110 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
36 | S K E T C H | [9 empty] | P E R F O R M A N C E
37
38
39
40 | Flow | → | #VALUE! | D | 5.4 | d
41
42 | [7 empty] | 45 o | ± 15o
43
44
45
46 | [5 empty] | Concentric, Thin Plate, Square-edged Orifice
47
48
49 | Thickness :
50 | e |  |  |  |  | e
51 | Typically 0.005 D ~ 0.02 D | [17 empty] | e > | #VALUE! | #VALUE! | 0.005 |  | 0.02
52 | E |  |  |  |  | E
53 | Typically less than 0.05 D | [17 empty] | E > |  | #VALUE! |  |  | 0.05
54
55 | Notes
56 | *1)
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [16 empty] | Narai Thermal Engineering Services
Note on W3: Cell is filled !
Note on W8: Cell is filled !

## _BFWPP
O R I F I C E D A T A S H E E T
1 | Project |  |  | Misurata Combined Cycle Projects | [8 empty] | Job No. | SO-2219 | [10 empty] | OD
2 | Client |  |  | GECOL / Lybia | [8 empty] | Doc. No. | DS - RO - 100 | [8 empty] | 1 1/2" | 40 A | #VALUE!
3 | Contractor |  |  | Daewoo E&C | [8 empty] | Date | 2015. 1. 10. |  |  |  |  | Standard |  |  |  | Small Bore | Large Bore
4 | Standard |  |  | #VALUE! | [8 empty] | Revision | 0 |  |  |  |  | ASME |  |  | ISO | - N/A - | 5167
5 | Service |  |  | Minimum Flow for BFW Pump | [8 empty] | Item No. | RO - 01 |  |  |  |  | #VALUE! |  |  | ASME | 14M | 3M
6 | Location |  |  | Recirculation Line on BFW Pump | [8 empty] | Quantity | One( 1 ) |  |  | set(s) |  | #VALUE!
7 | Use |  |  | Flow Limiting | [5 empty] | Press. Tapping
8 | Type |  |  | Concentric, Thin Plate, Square-edged | [5 empty] | Not Required |  |  | Sheet No. | 1 | of |  | 1
9 | P R O C E S S D A T A | [8 empty] | O R I F I C E D A T A | [8 empty] | Fluid defined | [6 empty] | Pipe
10 | Fluid Name |  |  |  |  | Boiler Feedwater |  |  |  | Pipe Spec. |  |  | A 106-B , 1 1/2" , Sch.40 | [5 empty] | Fluid Kind |  |  | Saturated |  |  |  | ASTM
11 |  |  | BFW at MCR |  |  | 22568 |  | kg/h |  | Pipe ID |  |  | #VALUE! |  |  | mm |  |  | Fluid in DB |  |  | H2O |  |  |  | A 106-B |  |  | Initial Hole Dia / Pipe ID 초기값 가정
12 | Flowrate |  |  |  |  | 15 |  | %MCR |  | Orifice Hole Dia. |  |  | #VALUE! |  |  | mm |  |  | Saturation |  |  | No |  |  |  | 1 1/2" |  |  | 0.5 | x | #VALUE! | = | #VALUE!
13 |  |  | Mini. Flow |  |  | 3385.2 |  | kg/h |  | Orifice Thickness |  |  | 3 |  |  | mm |  |  | Vapor "x" |  |  | 0 |  |  |  | Sch.40
14 | [5 empty] | #VALUE! |  | m3/h |  | Material |  |  | 304 SS | [5 empty] | Temp., Sat. |  |  | #VALUE! | ℃ |  |  | #VALUE! | < OD
15 | Press., Pump Disch. |  |  |  |  | 26 |  | #VALUE! | [10 empty] | Temp.,Input |  |  | 110 | ℃ |  |  | #VALUE! | < t
16 | Temperature |  |  |  |  | 110 |  | ℃ | [10 empty] | Press. Unit |  |  |  | bar.g |  | 대기압 | #VALUE! | < ID
17 | Press., Outlet, Input |  |  |  |  | 1.433 |  | #VALUE! |  | Density |  |  | #VALUE! |  |  | kg/m3 |  |  | Gauge or Absolute |  |  |  | Absolute |  | #VALUE!
18 | " " Calculated |  |  |  |  | #VALUE! |  | #VALUE! |  | Viscosity |  |  | #VALUE! |  |  | cP |  |  | Press., Pump Disch. |  |  | 26 | #VALUE!
19 | C A L C U L A T I O N | [17 empty] | Temp, Used |  |  | 110
20 | Descrition |  |  |  |  | Unit |  | Upstream |  |  | Orifice Hole | [7 empty] | Fluid State |  |  | #VALUE! | -> | #VALUE!
21 | Flow Area |  |  |  |  | m2 |  | #VALUE! |  |  | #VALUE! | [7 empty] | Density |  | kg/m3 | #VALUE!
22 | Velocity |  |  |  |  | m/sec |  | #VALUE! |  |  | #VALUE!
23 | Velocity Head |  |  | 1/2·ρV2/g |  | kg/cm2 |  | #VALUE! |  |  | #VALUE!
24 | Mass Velocity |  |  |  |  | kg/m2.h |  | #VALUE! |  |  | #VALUE!
25 | Reynolds No. |  |  | Re |  |  |  | #VALUE! |  |  | #VALUE!
26 | Diameter Ratio |  |  |  | β |  | #VALUE! |  |  | Static Head Diff. |  |  | #VALUE! | #VALUE!
27 | Flow Coefficient |  |  |  | K |  | #VALUE! |  |  | Pressure Drop |  |  | #VALUE! | #VALUE!
28 | Discharge Coefficient |  |  |  | C |  | #VALUE! |  |  | Loss Coeffient |  |  |  | #VALUE!
29 | P E R F O R M A N C E a t R E F E R E N C E C O N D I T I O N
30 | Inlet |  | Temp. |  | Recirculated Flowrate |  |  | Press. |  | Pumpping | Available Flow to Boiler | [16 empty] | Desnsity | Visco. |  | Static |  | Outlet | Flow
31 | Press. | [6 empty] | Drop |  | Flowrate |  |  |  | Remarks | [16 empty] | Head Diff |  | Press. | Coefficient | Loss Coeff.
32 | #VALUE! |  | ℃ |  | kg/h |  | m3/h | #VALUE! |  | m3/h | m3/h |  | kg/h | [15 empty] | kg/m.h |  | #VALUE! |  | #VALUE!
33 | 26 |  | 110 |  | #VALUE! |  | #VALUE! | #VALUE! | [5 empty] | Min. Flow Cond. |  |  |  |  | Pump Suction |  |  | 1.433 |  | #VALUE! |  |  |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
34 | #VALUE! |  | 110 |  | #VALUE! |  | #VALUE! | #VALUE! |  | 27.5 | #VALUE! |  | #VALUE! | Pump Rating |  |  |  |  | Pump Rating |  |  | 230 |  | m | 27.5 |  | m3/h | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
35 | 22 |  | 110 |  | #VALUE! |  | #VALUE! | #VALUE! |  | 30.5 | #VALUE! |  | #VALUE! | Boiler MCR |  |  |  | #VALUE! | Boiler MCR |  | Avail | 22 |  | #VALUE! | 30.5 |  | m3/h | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
36 | 11 |  | 110 |  | #VALUE! |  | #VALUE! | #VALUE! | [9 empty] | % | [9 empty] | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
37 | 2 |  | 110 |  | #VALUE! |  | #VALUE! | #VALUE! | [19 empty] | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
38
39 | S K E T C H
40
41
42
43
44
45 |  | Flow | → | #VALUE! | D | #VALUE! | d |  |  |  |  | e
46
47 | [7 empty] | 45 o | ± 15o |  |  | E
48
49
50
51 | [10 empty] | Thickness
52 | [10 empty] | e | : | Typically 0.005 D ~ 0.02 D |  |  |  |  | e > | #VALUE! | #VALUE! | 0.005 |  | 0.02
53 | [6 empty] | Concentric, Thin Plate, Square-edged Orifice |  |  |  | E | : | Typically less than 0.05 D |  |  |  |  | E > |  | #VALUE! |  |  | 0.05
54
55 | Notes
56 | *1)
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [15 empty] | Narai Thermal Engineering Services
Note on W3: Cell is filled !
Note on W8: Cell is filled !

## _ventDHH
O R I F I C E D A T A S H E E T
1 | Project |  |  | 동남권역 유통단지 CES 건설공사 | [9 empty] | Job No. | 070509 | [10 empty] | OD
2 | Client |  |  | 한국지역난방공사 | [9 empty] | Doc. No. | DS - MO - 100 | [8 empty] | 1 1/2" | 40 A | #VALUE!
3 | Contractor |  |  | 롯데건설 / 대우엔지니어링 | [9 empty] | Date | 2014. 1. 1. |  |  |  |  | Standard |  |  |  | Small Bore | Large Bore
4 | Standard |  |  | #VALUE! | [9 empty] | Revision | 0 |  |  |  |  | ASME |  |  | ISO | - N/A - | 5167
5 | Service |  |  | Vent Orifice | [9 empty] | Item No. | RO - 01 |  |  |  |  | #VALUE! |  |  | ASME | 14M | 3M
6 | Location |  |  | Vent Out | [9 empty] | Quantity | One( 1 ) |  |  | set(s) |  | #VALUE!
7 | Use |  |  | Flow Limiting | [6 empty] | Press. Tapping
8 | Type |  |  | Concentric, Thin Plate, Square-edged | [6 empty] | Not Required |  |  | Sheet No. | 1 | of |  | 1
9 | P R O C E S S D A T A | [9 empty] | O R I F I C E D A T A | [8 empty] | Fluid defined | [6 empty] | Pipe
10 | Fluid Name |  |  |  | Vent Steam | [5 empty] | Pipe Spec. |  |  | A 106-B , 1 1/2" , Sch.40 | [5 empty] | Fluid Kind |  |  | Saturated |  |  |  | ASTM
11 | Flowrate |  |  |  | 332 |  |  |  | kg/h |  | Pipe ID |  |  | #VALUE! |  |  | mm |  | 실적 | Fluid in DB |  |  | H2O |  |  |  | A 106-B |  | Initial Hole Dia / Pipe ID 초기값 가정
12 |  |  |  |  | #VALUE! |  |  |  | m3/h |  | Orifice Hole Dia. |  | Cal'd | #VALUE! |  |  | mm |  |  | Saturation |  |  | Yes |  |  |  | 1 1/2" |  | 0.5 | x | #VALUE! | = | #VALUE!
13 | Press., Inlet |  |  |  | 2.3 |  |  |  | #VALUE! |  |  |  | Act. | 18.6 |  |  | mm |  |  | Vapor "x" |  |  | 1 |  |  |  | Sch.40
14 | Temperature |  |  |  | #VALUE! |  |  |  | ℃ |  | Orifice Thickness |  |  | 3 |  |  | mm |  |  | Temp., Sat. |  |  | #VALUE! | ℃ |  |  | #VALUE! | < OD
15 | Density |  |  |  | #VALUE! |  |  |  | kg/m3 |  | Material |  |  | 304 SS | [5 empty] | Temp.,Input |  |  | 0 | ℃ |  |  | #VALUE! | < t
16 | Viscosity |  |  |  | #VALUE! |  |  |  | cP | [10 empty] | Press. Unit |  |  |  | kg/cm2.g |  | 대기압 | #VALUE! | < ID
17 | Press., Outlet, Input |  |  |  | 1.0332 |  |  |  | #VALUE! | [10 empty] | Gauge or Absolute |  |  |  | Absolute |  | #VALUE! | Data for Vapor
18 | " " Calculated |  |  |  | #VALUE! |  |  |  | #VALUE! | [10 empty] | Press., Inlet |  |  | 2.3 | #VALUE! |  |  | Universal Gas Const |  | 1.9859
19 | C A L C U L A T I O N | [18 empty] | Temp, Used |  |  | #VALUE! |  |  |  | Molecular Weight |  | #VALUE!
20 | Descrition |  |  |  |  | Unit | Upstream |  |  | Orifice Hole |  | Diameter Ratio |  |  | β | #VALUE! |  |  |  | Fluid State |  |  | Sat. Vapor | -> | Vapor |  | Gas Constant |  | #VALUE! |  | kcal/kg.℃
21 | Flow Area |  |  |  |  | m2 | #VALUE! |  |  | 0.00027172 |  | Discharge Coefficient |  |  | C | #VALUE! |  |  |  | Density |  | kg/m3 | #VALUE! |  |  |  | Cp |  | #VALUE!
22 | Velocity |  |  |  |  | m/sec | #VALUE! |  |  | #VALUE! |  | Flow Coefficient |  |  | K | #VALUE! | [10 empty] | Cv | = Cp - R | #VALUE!
23 | Velocity Head |  |  | 1/2·ρV2/g |  | kg/cm2 | #VALUE! |  |  | #VALUE! |  | Static Head Diff. |  |  | #VALUE! | #VALUE! | [9 empty] | Specific Heat Ratio | k | = Cp / Cv | #VALUE!
24 | Mass Velocity |  |  |  |  | kg/m2.h | #VALUE! |  |  | 1221862.4374 |  | Pressure Drop |  |  | #VALUE! | #VALUE! | [9 empty] | Pressure Ratio | P2 / P1 |  | 0.44922 |  | ???
25 | Reynolds No. |  |  | Re |  |  | #VALUE! |  |  | #VALUE! |  | Loss Coeffient |  |  |  | #VALUE! | [9 empty] | Expansion Factor | ε |  | #VALUE!
26 | P E R F O R M A N C E a t R E F E R E N C E C O N D I T I O N
27 | Inlet |  | Temp. |  | Flowrate |  |  |  | Flow |  | Press. | Outlet | [7 empty] | Desnsity | Visco. |  |  |  |  | Static
28 | Press. | [7 empty] | Coefficient |  | Drop | Press. |  | Remarks | [8 empty] | Loss Coeff. |  |  | Head Diff
29 | #VALUE! |  | ℃ |  | kg/h | Q | m3/h |  |  |  | #VALUE! | #VALUE! | [8 empty] | kg/m.h |  |  |  |  | #VALUE! | ΔP
30 | 2.5 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
31 | 2.3 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
32 | 2.1 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
33 | 1.9 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
34 | 1.7 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
35 | 1.5 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
36 | S K E T C H | [9 empty] | P E R F O R M A N C E
37
38
39
40 | Flow | → | #VALUE! | D | 18.6 | d
41
42 | [7 empty] | 45 o | ± 15o
43
44
45
46 | [5 empty] | Concentric, Thin Plate, Square-edged Orifice
47
48
49 | Thickness :
50 | e |  |  |  |  | e
51 | Typically 0.005 D ~ 0.02 D | [17 empty] | e > | #VALUE! | #VALUE! | 0.005 |  | 0.02
52 | E |  |  |  |  | E
53 | Typically less than 0.05 D | [17 empty] | E > |  | #VALUE! |  |  | 0.05
54
55 | Notes
56 | *1)
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [16 empty] | Narai Thermal Engineering Services
Note on W3: Cell is filled !
Note on W8: Cell is filled !

## _DEA
O R I F I C E D A T A S H E E T
1 | Project |  |  | 동남권역 유통단지 CES 건설공사 | [9 empty] | Job No. | 070509 | [10 empty] | OD
2 | Client |  |  | 한국지역난방공사 | [9 empty] | Doc. No. | DS - MO - 100 | [8 empty] | 1 1/2" | 40 A | #VALUE!
3 | Contractor |  |  | 롯데건설 / 대우엔지니어링 | [9 empty] | Date | 2014. 1. 1. |  |  |  |  | Standard |  |  |  | Small Bore | Large Bore
4 | Standard |  |  | #VALUE! | [9 empty] | Revision | 0 |  |  |  |  | ASME |  |  | ISO | - N/A - | 5167
5 | Service |  |  | Vent Orifice | [9 empty] | Item No. | RO - 01 |  |  |  |  | #VALUE! |  |  | ASME | 14M | 3M
6 | Location |  |  | Vent Out | [9 empty] | Quantity | One( 1 ) |  |  | set(s) |  | #VALUE!
7 | Use |  |  | Flow Limiting | [6 empty] | Press. Tapping
8 | Type |  |  | Concentric, Thin Plate, Square-edged | [6 empty] | Not Required |  |  | Sheet No. | 1 | of |  | 1
9 | P R O C E S S D A T A | [9 empty] | O R I F I C E D A T A | [8 empty] | Fluid defined | [6 empty] | Pipe
10 | Fluid Name |  |  |  | Vent Steam | [5 empty] | Pipe Spec. |  |  | A 106-B , 1 1/2" , Sch.40 | [5 empty] | Fluid Kind |  |  | Saturated |  |  |  | ASTM
11 | Flowrate |  |  |  | 140 |  |  |  | kg/h |  | Pipe ID |  |  | #VALUE! |  |  | mm |  | 실적 | Fluid in DB |  |  | H2O |  |  |  | A 106-B |  | Initial Hole Dia / Pipe ID 초기값 가정
12 |  |  |  |  | #VALUE! |  |  |  | m3/h |  | Orifice Hole Dia. |  | Cal'd | #VALUE! |  |  | mm |  |  | Saturation |  |  | Yes |  |  |  | 1 1/2" |  | 0.5 | x | #VALUE! | = | #VALUE!
13 | Press., Inlet |  |  |  | 2.47 |  |  |  | kg/cm2.g |  |  |  | Act. | 9.7 |  |  | mm |  |  | Vapor "x" |  |  | 1 |  |  |  | Sch.40
14 | Temperature |  |  |  | #VALUE! |  |  |  | ℃ |  | Orifice Thickness |  |  | 3 |  |  | mm |  |  | Temp., Sat. |  |  | #VALUE! | ℃ |  |  | #VALUE! | < OD
15 | Density |  |  |  | #VALUE! |  |  |  | kg/m3 |  | Material |  |  | 304 SS | [5 empty] | Temp.,Input |  |  | 0 | ℃ |  |  | #VALUE! | < t
16 | Viscosity |  |  |  | #VALUE! |  |  |  | cP | [10 empty] | Press. Unit |  |  |  | kg/cm2.g |  | 대기압 | #VALUE! | < ID
17 | Press., Outlet, Input |  |  |  | 0 |  |  |  | kg/cm2.g | [10 empty] | Gauge or Absolute |  |  |  | Gauge |  | 0 | Data for Vapor
18 | " " Calculated |  |  |  | #VALUE! |  |  |  | kg/cm2.g | [10 empty] | Press., Inlet |  |  | 2.47 | kg/cm2.g |  |  | Universal Gas Const |  | 1.9859
19 | C A L C U L A T I O N | [18 empty] | Temp, Used |  |  | #VALUE! |  |  |  | Molecular Weight |  | #VALUE!
20 | Descrition |  |  |  |  | Unit | Upstream |  |  | Orifice Hole |  | Diameter Ratio |  |  | β | #VALUE! |  |  |  | Fluid State |  |  | Sat. Vapor | -> | Vapor |  | Gas Constant |  | #VALUE! |  | kcal/kg.℃
21 | Flow Area |  |  |  |  | m2 | #VALUE! |  |  | 7.3898e-05 |  | Discharge Coefficient |  |  | C | #VALUE! |  |  |  | Density |  | kg/m3 | #VALUE! |  |  |  | Cp |  | #VALUE!
22 | Velocity |  |  |  |  | m/sec | #VALUE! |  |  | #VALUE! |  | Flow Coefficient |  |  | K | #VALUE! | [10 empty] | Cv | = Cp - R | #VALUE!
23 | Velocity Head |  |  | 1/2·ρV2/g |  | kg/cm2 | #VALUE! |  |  | #VALUE! |  | Static Head Diff. |  |  | #VALUE! | #VALUE! | [9 empty] | Specific Heat Ratio | k | = Cp / Cv | #VALUE!
24 | Mass Velocity |  |  |  |  | kg/m2.h | #VALUE! |  |  | 1894500.3323 |  | Pressure Drop |  |  | #VALUE! | #VALUE! | [9 empty] | Pressure Ratio | P2 / P1 |  | #VALUE! |  | #VALUE!
25 | Reynolds No. |  |  | Re |  |  | #VALUE! |  |  | #VALUE! |  | Loss Coeffient |  |  |  | #VALUE! | [9 empty] | Expansion Factor | ε |  | #VALUE!
26 | P E R F O R M A N C E a t R E F E R E N C E C O N D I T I O N
27 | Inlet |  | Temp. |  | Flowrate |  |  |  | Flow |  | Press. | Outlet | [7 empty] | Desnsity | Visco. |  |  |  |  | Static
28 | Press. | [7 empty] | Coefficient |  | Drop | Press. |  | Remarks | [8 empty] | Loss Coeff. |  |  | Head Diff
29 | kg/cm2.g |  | ℃ |  | kg/h | Q | m3/h |  |  |  | #VALUE! | kg/cm2.g | [8 empty] | kg/m.h |  |  |  |  | #VALUE! | ΔP
30 | 2.5 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
31 | 2.47 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
32 | 2.44 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
33 | 2.41 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
34 | 2.38 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
35 | 2.35 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
36 | S K E T C H | [9 empty] | P E R F O R M A N C E
37
38
39
40 | Flow | → | #VALUE! | D | 9.7 | d
41
42 | [7 empty] | 45 o | ± 15o
43
44
45
46 | [5 empty] | Concentric, Thin Plate, Square-edged Orifice
47
48
49 | Thickness :
50 | e |  |  |  |  | e
51 | Typically 0.005 D ~ 0.02 D | [17 empty] | e > | #VALUE! | #VALUE! | 0.005 |  | 0.02
52 | E |  |  |  |  | E
53 | Typically less than 0.05 D | [17 empty] | E > |  | #VALUE! |  |  | 0.05
54
55 | Notes
56 | *1)
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [16 empty] | Narai Thermal Engineering Services
Note on W3: Cell is filled !
Note on W8: Cell is filled !

## 중부발전DH1
O R I F I C E D A T A S H E E T
1 | Project |  |  | 인천복합 3호기 열병합설비 | [9 empty] | Job No. | 3239 | [10 empty] | OD
2 | Client |  |  | 한국중부발전㈜ | [9 empty] | Doc. No. | DS - MO - 100 | [8 empty] | 1 1/2" | 40 A | #VALUE!
3 | Contractor |  |  | *** | [9 empty] | Date | 2014. 1. 1. |  |  |  |  | Standard |  |  |  | Small Bore | Large Bore
4 | Standard |  |  | #VALUE! | [9 empty] | Revision | 0 |  |  |  |  | ISO |  |  | ISO | - N/A - | 5167
5 | Service |  |  | Vent Orifice for DH No.1 | [9 empty] | Item No. | RO - 01 |  |  |  |  | #VALUE! |  |  | ASME | 14M | 3M
6 | Location |  |  | Vent Out | [9 empty] | Quantity | One( 1 ) |  |  | set(s) |  | #VALUE!
7 | Use |  |  | Flow Limiting | [6 empty] | Press. Tapping
8 | Type |  |  | Concentric, Thin Plate, Square-edged | [6 empty] | Not Required |  |  | Sheet No. | 1 | of |  | 1
9 | P R O C E S S D A T A | [9 empty] | O R I F I C E D A T A | [8 empty] | Fluid defined | [6 empty] | Pipe
10 | Fluid Name |  |  |  | Vent Steam | [5 empty] | Pipe Spec. |  |  | A 106-B , 6" , Sch.40 | [5 empty] | Fluid Kind |  |  | Saturated |  |  |  | ASTM
11 | Flowrate |  |  |  | 2373 |  |  |  | kg/h |  | Pipe ID |  |  | #VALUE! |  |  | mm |  | 실적 | Fluid in DB |  |  | H2O |  |  |  | A 106-B |  | Initial Hole Dia / Pipe ID 초기값 가정
12 |  |  |  |  | #VALUE! |  |  |  | m3/h |  | Orifice Hole Dia. |  | Cal'd | #VALUE! |  |  | mm |  |  | Saturation |  |  | Yes |  |  |  | 6" |  | 0.5 | x | #VALUE! | = | #VALUE!
13 | Press., Inlet |  |  |  | 0.82 |  |  |  | #VALUE! |  |  |  | Act. | 77 |  |  | mm |  |  | Vapor "x" |  |  | 1 |  |  |  | Sch.40
14 | Temperature |  |  |  | #VALUE! |  |  |  | ℃ |  | Orifice Thickness |  |  | 7 |  |  | mm |  |  | Temp., Sat. |  |  | #VALUE! | ℃ |  |  | #VALUE! | < OD
15 | Density |  |  |  | #VALUE! |  |  |  | kg/m3 |  | Material |  |  | 304 SS | [5 empty] | Temp.,Input |  |  | 0 | ℃ |  |  | #VALUE! | < t
16 | Viscosity |  |  |  | #VALUE! |  |  |  | cP | [10 empty] | Press. Unit |  |  |  | bar.g |  | 대기압 | #VALUE! | < ID
17 | Press., Outlet, Input |  |  |  | 0.09 |  |  |  | #VALUE! | [10 empty] | Gauge or Absolute |  |  |  | Absolute |  | #VALUE! | Data for Vapor
18 | " " Calculated |  |  |  | #VALUE! |  |  |  | #VALUE! | [10 empty] | Press., Inlet |  |  | 0.82 | #VALUE! |  |  | Universal Gas Const |  | 1.9859
19 | C A L C U L A T I O N | [18 empty] | Temp, Used |  |  | #VALUE! |  |  |  | Molecular Weight |  | #VALUE!
20 | Descrition |  |  |  |  | Unit | Upstream |  |  | Orifice Hole |  | Diameter Ratio |  |  | β | #VALUE! |  |  |  | Fluid State |  |  | Sat. Vapor | -> | Vapor |  | Gas Constant |  | #VALUE! |  | kcal/kg.℃
21 | Flow Area |  |  |  |  | m2 | #VALUE! |  |  | 0.0046566 |  | Discharge Coefficient |  |  | C | #VALUE! |  |  |  | Density |  | kg/m3 | #VALUE! |  |  |  | Cp |  | #VALUE!
22 | Velocity |  |  |  |  | m/sec | #VALUE! |  |  | #VALUE! |  | Flow Coefficient |  |  | K | #VALUE! | [10 empty] | Cv | = Cp - R | #VALUE!
23 | Velocity Head |  |  | 1/2·ρV2/g |  | kg/cm2 | #VALUE! |  |  | #VALUE! |  | Static Head Diff. |  |  | #VALUE! | #VALUE! | [9 empty] | Specific Heat Ratio | k | = Cp / Cv | #VALUE!
24 | Mass Velocity |  |  |  |  | kg/m2.h | #VALUE! |  |  | 509596.4648 |  | Pressure Drop |  |  | #VALUE! | #VALUE! | [9 empty] | Pressure Ratio | P2 / P1 |  | 0.10976 |  | WARN : should be >= 0.75 !
25 | Reynolds No. |  |  | Re |  |  | #VALUE! |  |  | #VALUE! |  | Loss Coeffient |  |  |  | #VALUE! | [9 empty] | Expansion Factor | ε |  | #VALUE!
26 | P E R F O R M A N C E a t R E F E R E N C E C O N D I T I O N
27 | Inlet |  | Temp. |  | Flowrate |  |  |  | Flow |  | Press. | Outlet | [7 empty] | Desnsity | Visco. |  |  |  |  | Static
28 | Press. | [7 empty] | Coefficient |  | Drop | Press. |  | Remarks | [8 empty] | Loss Coeff. |  |  | Head Diff
29 | #VALUE! |  | ℃ |  | kg/h | Q | m3/h |  |  |  | #VALUE! | #VALUE! | [8 empty] | kg/m.h |  |  |  |  | #VALUE! | ΔP
30 | 0.92 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
31 | 0.82 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
32 | 0.72 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
33 | 0.62 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
34 | 0.52 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
35 | 0.42 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
36 | S K E T C H | [9 empty] | P E R F O R M A N C E
37
38
39
40 | Flow | → | #VALUE! | D | 77 | d
41
42 | [7 empty] | 45 o | ± 15o
43
44
45
46 | [5 empty] | Concentric, Thin Plate, Square-edged Orifice
47
48
49 | Thickness :
50 | e |  |  |  |  | e
51 | Typically 0.005 D ~ 0.02 D | [17 empty] | e > | #VALUE! | #VALUE! | 0.005 |  | 0.02
52 | E |  |  |  |  | E
53 | Typically less than 0.05 D | [17 empty] | E > |  | #VALUE! |  |  | 0.05
54
55 | Notes
56 | *1)
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [16 empty] | Narai Thermal Engineering Services
Note on W3: Cell is filled !
Note on W8: Cell is filled !

## _DH2
O R I F I C E D A T A S H E E T
1 | Project |  |  | 인천복합 3호기 열병합설비 | [9 empty] | Job No. | 3239 | [10 empty] | OD
2 | Client |  |  | 한국중부발전㈜ | [9 empty] | Doc. No. | DS - MO - 100 | [8 empty] | 1 1/2" | 40 A | #VALUE!
3 | Contractor |  |  | *** | [9 empty] | Date | 2014. 1. 1. |  |  |  |  | Standard |  |  |  | Small Bore | Large Bore
4 | Standard |  |  | #VALUE! | [9 empty] | Revision | 0 |  |  |  |  | ISO |  |  | ISO | - N/A - | 5167
5 | Service |  |  | Vent Orifice for DH No.2 | [9 empty] | Item No. | RO - 02 |  |  |  |  | #VALUE! |  |  | ASME | 14M | 3M
6 | Location |  |  | Vent Out | [9 empty] | Quantity | One( 1 ) |  |  | set(s) |  | #VALUE!
7 | Use |  |  | Flow Limiting | [6 empty] | Press. Tapping
8 | Type |  |  | Concentric, Thin Plate, Square-edged | [6 empty] | Not Required |  |  | Sheet No. | 1 | of |  | 1
9 | P R O C E S S D A T A | [9 empty] | O R I F I C E D A T A | [8 empty] | Fluid defined | [6 empty] | Pipe
10 | Fluid Name |  |  |  | Vent Steam | [5 empty] | Pipe Spec. |  |  | A 106-B , 4" , Sch.40 | [5 empty] | Fluid Kind |  |  | Saturated |  |  |  | ASTM
11 | Flowrate |  |  |  | 1496 |  |  |  | kg/h |  | Pipe ID |  |  | #VALUE! |  |  | mm |  | 실적 | Fluid in DB |  |  | H2O |  |  |  | A 106-B |  | Initial Hole Dia / Pipe ID 초기값 가정
12 |  |  |  |  | #VALUE! |  |  |  | m3/h |  | Orifice Hole Dia. |  | Cal'd | #VALUE! |  |  | mm |  |  | Saturation |  |  | Yes |  |  |  | 4" |  | 0.5 | x | #VALUE! | = | #VALUE!
13 | Press., Inlet |  |  |  | 2.194 |  |  |  | #VALUE! |  |  |  | Act. | 40 |  |  | mm |  |  | Vapor "x" |  |  | 1 |  |  |  | Sch.40
14 | Temperature |  |  |  | #VALUE! |  |  |  | ℃ |  | Orifice Thickness |  |  | 5 |  |  | mm |  |  | Temp., Sat. |  |  | #VALUE! | ℃ |  |  | #VALUE! | < OD
15 | Density |  |  |  | #VALUE! |  |  |  | kg/m3 |  | Material |  |  | 304 SS | [5 empty] | Temp.,Input |  |  | 0 | ℃ |  |  | #VALUE! | < t
16 | Viscosity |  |  |  | #VALUE! |  |  |  | cP | [10 empty] | Press. Unit |  |  |  | bar.g |  | 대기압 | #VALUE! | < ID
17 | Press., Outlet, Input |  |  |  | 0.09 |  |  |  | #VALUE! | [10 empty] | Gauge or Absolute |  |  |  | Absolute |  | #VALUE! | Data for Vapor
18 | " " Calculated |  |  |  | #VALUE! |  |  |  | #VALUE! | [10 empty] | Press., Inlet |  |  | 2.194 | #VALUE! |  |  | Universal Gas Const |  | 1.9859
19 | C A L C U L A T I O N | [18 empty] | Temp, Used |  |  | #VALUE! |  |  |  | Molecular Weight |  | #VALUE!
20 | Descrition |  |  |  |  | Unit | Upstream |  |  | Orifice Hole |  | Diameter Ratio |  |  | β | #VALUE! |  |  |  | Fluid State |  |  | Sat. Vapor | -> | Vapor |  | Gas Constant |  | #VALUE! |  | kcal/kg.℃
21 | Flow Area |  |  |  |  | m2 | #VALUE! |  |  | 0.0012566 |  | Discharge Coefficient |  |  | C | #VALUE! |  |  |  | Density |  | kg/m3 | #VALUE! |  |  |  | Cp |  | #VALUE!
22 | Velocity |  |  |  |  | m/sec | #VALUE! |  |  | #VALUE! |  | Flow Coefficient |  |  | K | #VALUE! | [10 empty] | Cv | = Cp - R | #VALUE!
23 | Velocity Head |  |  | 1/2·ρV2/g |  | kg/cm2 | #VALUE! |  |  | #VALUE! |  | Static Head Diff. |  |  | #VALUE! | #VALUE! | [9 empty] | Specific Heat Ratio | k | = Cp / Cv | #VALUE!
24 | Mass Velocity |  |  |  |  | kg/m2.h | #VALUE! |  |  | 1190478.9743 |  | Pressure Drop |  |  | #VALUE! | #VALUE! | [9 empty] | Pressure Ratio | P2 / P1 |  | 0.041021 |  | WARN : should be >= 0.75 !
25 | Reynolds No. |  |  | Re |  |  | #VALUE! |  |  | #VALUE! |  | Loss Coeffient |  |  |  | #VALUE! | [9 empty] | Expansion Factor | ε |  | #VALUE!
26 | P E R F O R M A N C E a t R E F E R E N C E C O N D I T I O N
27 | Inlet |  | Temp. |  | Flowrate |  |  |  | Flow |  | Press. | Outlet | [7 empty] | Desnsity | Visco. |  |  |  |  | Static
28 | Press. | [7 empty] | Coefficient |  | Drop | Press. |  | Remarks | [8 empty] | Loss Coeff. |  |  | Head Diff
29 | #VALUE! |  | ℃ |  | kg/h | Q | m3/h |  |  |  | #VALUE! | #VALUE! | [8 empty] | kg/m.h |  |  |  |  | #VALUE! | ΔP
30 | 2.294 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
31 | 2.194 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
32 | 2.094 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
33 | 1.994 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
34 | 1.894 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
35 | 1.794 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE! | #VALUE! |  | #VALUE! |  |  | #VALUE!
36 | S K E T C H | [9 empty] | P E R F O R M A N C E
37
38
39
40 | Flow | → | #VALUE! | D | 40 | d
41
42 | [7 empty] | 45 o | ± 15o
43
44
45
46 | [5 empty] | Concentric, Thin Plate, Square-edged Orifice
47
48
49 | Thickness :
50 | e |  |  |  |  | e
51 | Typically 0.005 D ~ 0.02 D | [17 empty] | e > | #VALUE! | #VALUE! | 0.005 |  | 0.02
52 | E |  |  |  |  | E
53 | Typically less than 0.05 D | [17 empty] | E > |  | #VALUE! |  |  | 0.05
54
55 | Notes
56 | *1)
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [16 empty] | Narai Thermal Engineering Services
Note on W3: Cell is filled !
Note on W8: Cell is filled !