## cover
|  |  |  | Doc. No. |  | TM - PSY - 200
Technical Material
P S Y C H R O M E T R I C S : P R O C E S S
|  |  |  | Total | 7 | sheets with a cover
5
4
3
2
1 | 2016. 3. 1. | Updated. |  | S. J. Lee |  | LSJ | Lee
0 | 2007. 7. 7. | Originally Prepared. |  | S. J. Lee |  | LSJ | Lee
Rev. | Date | Description |  | Prepared |  | Reviewed | Approved
나 래 열 기 술
Narai Thermal Engineering Services ( NTES )
| Homepage | www.ntes.co.kr |  | E-mail |  | ntes@ntes.co.kr
NTES | [7 empty] | Narai Thermal engineering Services

## TOC
| Technical Material : |  |  | Doc. No. | TM - PSY - 200
P S Y C H R O M E T R I C S : P R O C E S S |  |  |  | Date | 2016. 3. 1.
|  |  |  | Rev. | 0 | 1
|  |  |  | Sheet No. |  | 1 | of | 1
T a b l e of C o n t e n t s
|  | 1. | Introduction
|  | 2. | Definition
|  | 3. | Heating or Cooling Process
|  | 4. | Cooling and Dehumidifying Process
|  | 5. | Adiabatic Mixing Process
|  | 6. | Humidifying Process
NTES | [8 empty] | Narai Thermal engineering Services

## 1
| Technical Material : | [13 empty] | Doc. No. | TM - PSY - 200
P S Y C H R O M E T R I C S : P R O C E S S | [14 empty] | Date | 2016. 3. 1.
[15 empty] | Revision | 0 | 1
[15 empty] | Sheet No. |  | 1 | of | 5
|  | 1. | Introduction
Psychrometrics deals with thermodynamic properties of moist air and
uses these properties to analyze conditions and processes involving moist air.
|  | 2. | Definition
|  |  | Psychrometric Chart | [9 empty] | Humidity Ratio
[8 empty] | Tw |  |  |  |  | W
Saturation Line
Dry Bulb Temperature
Sensible Heating
Sensible Cooling
Dehumidifying
|  |  |  | Sensible Cooling |  |  |  | + | Dehumidifying
Ideal Process
[5 empty] | Thick Line |  |  |  |  | Actual Process
|  |  |  | Humidifying |  |  |  | hw | = | hg | Adiabatic Mixing ( Injection ) of |  |  | Steam
|  |  |  | Humidifying |  |  |  | hw | > | hg | Adiabatic Mixing ( Injection ) of |  |  | Steam
|  |  |  | Humidifying |  |  |  | hw | < | hg | Adiabatic Mixing ( Injection ) of |  |  | Water
[6 empty] | at Tw |  | : | Evaporative Cooling
Cooling Tower
|  | + |  | Adiabatic Mixing of Two Moist Air Streams
|  |  |  | Where, |  |  | Tw |  | Thermodynamic Wet Bulb Temperature
[7 empty] | hw |  | Enthalpy of Water
[7 empty] | hg |  | Enthalpy of Steam
NTES | [19 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
⑥
1
1
2
3
6
4
7
8
5
1
2
3
4
5
6
7
8
1
1
2
3
2
1
4
4
1
1
3
4
4
5
5
5
1
2
6
8
6
7
2
5

## 2
| Technical Material : | [16 empty] | Doc. No. |  |  | TM - PSY - 200
P S Y C H R O M E T R I C S : P R O C E S S | [17 empty] | Date |  |  | 2016. 3. 1.
[18 empty] | Revision |  |  | 0 | 1
[18 empty] | Sheet No. |  |  |  | 2 | of | 5
|  | 3. | Heating or Cooling Process
Humidity Ratio, W, g/kg.Dry Air
[27 empty] | Rh, % | Rh 100 %
[27 empty] | 100 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 95 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 90 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 85 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 80 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 75 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 70 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 65 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 60 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 55 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 50 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 45 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 40 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 35 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 30 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 25 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 20 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 15 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 10 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[28 empty] | 0.001 | 2.001 | 4.0009 | 6.0008 | 8.0008 | 10.0008 | 12.0007 | 14.0007 | 16.0006 | 18.0006 | 20.0005 | 22.0005 | 24.0004 | 26.0004 | 28.0003 | 30.0003 | 32.0002 | 34.0001 | 36.0001 | 38.0001 | 40
[28 empty] | Dry Bulb Temp. Td |  |  |  | ℃
[28 empty] | Pressure |  | 0 |  | mmH2O
Process
[27 empty] | #VALUE! | #VALUE!
|  | Process | [24 empty] | 2 | 40
|  |  | State 1 | [7 empty] | State 2 |  | S A M P L E C A L C U L A T I O N
[17 empty] | State 1 |  |  | State 2 | [6 empty] | Air defined
|  |  | ma | #VALUE! | [6 empty] | ma | #VALUE! | Flowrate |  |  |  | 3000 |  |  | #VALUE! |  | m3/h |  |  |  |  | Composition |  | volume% |  | Dry Air
|  |  | h1 | #VALUE! |  |  |  |  | Q |  | h2 | #VALUE! | Dry Bulb Temp. |  |  |  | 2 |  |  | 40 |  | ℃ |  |  |  |  | H2O |  | #VALUE! |  | 0
|  |  | W1 | #VALUE! | [6 empty] | W2 | #VALUE! | Relative Humidity |  |  |  | 100 |  |  | #VALUE! |  | % |  |  |  |  | N2 |  | #VALUE! |  | 78.084
[13 empty] | Pressure |  |  |  | 0 |  |  | 0 |  | mmH2O |  |  |  |  | O2 |  | #VALUE! |  | 20.9476
[8 empty] | Heat Exchanger |  |  |  |  | Humidity Ratio |  |  | W1 | #VALUE! |  | W2 | #VALUE! |  | kg wv / kg dry air |  |  |  |  | Ar |  | #VALUE! |  | 0.934
[13 empty] | Flowrate | Volumetric |  |  | #VALUE! |  |  | #VALUE! |  | m3/h |  |  |  |  | CO2 |  | #VALUE! |  | 0.0314
[13 empty] | Specific Volume |  |  |  | #VALUE! |  |  | #VALUE! |  | m3 / kg dry air |  |  |  | #VALUE!
|  |  | Where, |  | Q | Heat added or removed | [6 empty] | Flowrate |  |  | ma | #VALUE! |  | ma | #VALUE! |  | kg dry air / h
[6 empty] | Positive ( + ) sign for heat added | [6 empty] | Enthalpy |  |  | h1 | #VALUE! |  | h2 | #VALUE! |  | kcal / kg dry air |  |  |  | #VALUE! | Total |  | #VALUE! |  | 99.997
[17 empty] | #VALUE! |  |  | #VALUE! |  | kJ / kg dry air |  |  |  |  | M. Weight |  | #VALUE!
[13 empty] | Heat Load |  | Q | #VALUE! |  |  | / | #VALUE! |  | kcal/h / kW |  |  |  |  | Density |  | #VALUE! |  | kg/Nm3
|  | Heat and Mass Balance | [24 empty] | Dew Point |  | #VALUE! |  | ℃
|  |  | W2 | = | W1 | [21 empty] | Density |  | #VALUE! |  | #VALUE! |  | kg/m3
[27 empty] | Flowrate |  | #VALUE! |  | #VALUE! |  | kg/h
|  |  | Q | = | ma | ( | h2 | - | h1 | )
NTES | [24 empty] | Narai Thermal engineering Services
Note on AJ4: Cell is filled !
1

## 3
| Technical Material : | [22 empty] | Doc. No. |  |  |  | TM - PSY - 200
P S Y C H R O M E T R I C S : P R O C E S S | [23 empty] | Date |  |  |  | 2016. 3. 1.
[24 empty] | Revision |  |  |  | 0 | 1
[24 empty] | Sheet No. |  |  |  |  | 3 | of | 5
|  | 4. | Cooling and Dehumidifying Process
Humidity Ratio, W, g/kg.Dry Air
[33 empty] | Rh, % | Rh 100 %
[33 empty] | 100 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 95 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 90 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 85 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 80 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 75 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 70 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 65 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 60 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 55 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 50 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 45 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 40 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 35 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 30 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 25 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 20 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 15 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 10 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[33 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[34 empty] | 0.001 | 1.501 | 3.0009 | 4.5008 | 6.0008 | 7.5008 | 9.0007 | 10.5007 | 12.0006 | 13.5006 | 15.0005 | 16.5005 | 18.0004 | 19.5004 | 21.0003 | 22.5003 | 24.0002 | 25.5002 | 27.0001 | 28.5001 | 30
[34 empty] | Dry Bulb Temp. Td |  |  |  | ℃
[34 empty] | Pressure |  | 0 |  | mmH2O
Process
[33 empty] | #VALUE! | #VALUE!
|  | Process | [30 empty] | 30 | 10
|  |  | State 1 | [8 empty] | State 2 |  |  |  |  | S A M P L E C A L C U L A T I O N
[23 empty] | State 1 |  |  |  | State 2 | [5 empty] | Air defined | [6 empty] | State 2
|  |  | ma | #VALUE! | [7 empty] | ma | #VALUE! |  |  |  | Flowrate | [5 empty] | 17000 |  |  |  | #VALUE! |  | m3/h |  |  |  | Composition |  | volume% |  | Dry Air |  |  | Composition |  | volume% |  | Dry Air
|  |  | h1 | #VALUE! |  |  | Q |  |  |  |  | h2 | #VALUE! |  |  |  | Dry Bulb Temp. | [5 empty] | 30 |  |  |  | 10 |  | ℃ |  |  |  | H2O |  | #VALUE! |  | 0 |  |  | H2O |  | #VALUE! |  | 0
|  |  | W1 | #VALUE! |  |  |  |  | hs |  |  | W2 | #VALUE! |  |  |  | Relative Humidity | [5 empty] | 50 |  |  |  | 100 |  | % |  |  |  | N2 |  | #VALUE! |  | 78.084 |  |  | N2 |  | #VALUE! |  | 78.084
[17 empty] | Pressure | [5 empty] | 0 |  |  |  | 0 |  | mmH2O |  |  |  | O2 |  | #VALUE! |  | 20.9476 |  |  | O2 |  | #VALUE! |  | 20.9476
[8 empty] | Cooler | mw |  | #VALUE! | [5 empty] | Humidity Ratio |  |  |  |  | W1 | #VALUE! |  |  | W2 | #VALUE! |  | kg wv / kg dry air |  |  |  | Ar |  | #VALUE! |  | 0.934 |  |  | Ar |  | #VALUE! |  | 0.934
[9 empty] | hw |  | #VALUE! | [5 empty] | Flowrate |  |  | Volumetric |  |  | #VALUE! |  |  |  | #VALUE! |  | m3/h |  |  |  | CO2 |  | #VALUE! |  | 0.0314 |  |  | CO2 |  | #VALUE! |  | 0.0314
[17 empty] | Specific Volume | [5 empty] | #VALUE! |  |  |  | #VALUE! |  | m3 / kg dry air
[17 empty] | Flowrate |  |  |  |  | ma | #VALUE! |  |  | ma | #VALUE! |  | kg dry air / h
|  |  | Where, |  | Q | Heat Load | [19 empty] | mw | #VALUE! |  | kg/h |  |  |  | Total |  | #VALUE! |  | 99.997 |  |  | Total |  | #VALUE! |  | 99.997
[17 empty] | Enthalpy |  |  |  |  | h1 | #VALUE! |  |  | h2 | #VALUE! |  | kcal / kg dry air |  |  |  | M. Weight |  | #VALUE! |  |  |  |  | M. Weight |  | #VALUE!
[23 empty] | #VALUE! |  |  |  | #VALUE! |  | kJ / kg dry air |  |  |  | Density |  | #VALUE! |  | kg/Nm3 |  |  | Density |  | #VALUE! |  | kg/Nm3
|  | Heat and Mass Balance | [23 empty] | hw | #VALUE! |  | kcal/kg |  |  |  | Dew Point |  | #VALUE! |  | ℃ |  |  | Dew Point |  | #VALUE! |  | ℃
[17 empty] | Heat Load |  |  |  | Q | #VALUE! |  |  | / |  | #VALUE! |  | kcal/h / kW
|  |  | ma | h1 | = | ma | h2 | + | Q | + | mw | hw | [20 empty] | Density |  | #VALUE! |  | kg/m3 |  |  | Density |  | #VALUE! |  | kg/m3
|  |  | ma | W1 | = | ma | W2 |  |  | + | mw | [21 empty] | Flowrate |  | #VALUE! |  | kg/h |  |  | Flowrate |  | #VALUE! |  | kg/h
|  | -> | mw | = | ma | ( | W1 | - | W2 | ) | [29 empty] | Relative Humidity |  | #VALUE!
|  |  | Q | = | ma | [ | ( | h1 | - | h2 | ) | - | ( | W1 | - | W2 | ) | hw | ] | [20 empty] | W2 |  | #VALUE!
NTES | [31 empty] | Narai Thermal engineering Services
Note on AJ4: Cell is filled !
1

## 4
| Technical Material : | [16 empty] | Doc. No. |  |  | TM - PSY - 200
P S Y C H R O M E T R I C S : P R O C E S S | [17 empty] | Date |  |  | 2016. 3. 1.
[18 empty] | Revision |  |  | 0 | 1
[18 empty] | Sheet No. |  |  |  | 4 | of | 5
|  | 5. | Adiabatic Mixing Process
Humidity Ratio, W, g/kg.Dry Air
[27 empty] | Rh, % | Rh 100 %
[27 empty] | 100 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 95 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 90 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 85 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 80 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 75 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 70 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 65 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 60 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 55 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 50 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 45 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 40 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 35 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 30 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 25 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 20 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 15 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 10 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[27 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[28 empty] | 0.001 | 1.251 | 2.5009 | 3.7508 | 5.0008 | 6.2508 | 7.5007 | 8.7507 | 10.0006 | 11.2506 | 12.5005 | 13.7505 | 15.0004 | 16.2504 | 17.5003 | 18.7503 | 20.0002 | 21.2502 | 22.5001 | 23.7501 | 25
[28 empty] | Dry Bulb Temp. Td |  |  |  | ℃
[28 empty] | Pressure |  | 0 |  | mmH2O
[27 empty] | Process 1->3 |  |  | Process 2->3
[27 empty] | #VALUE! | #VALUE! |  | #VALUE! | #VALUE!
|  | Process | [24 empty] | 4 | #VALUE! |  | 25 | #VALUE!
|  |  | State 1 | [5 empty] | State 3 |  |  | S A M P L E C A L C U L A T I O N
[15 empty] | State 1 |  | State 2 |  |  | State 3 | [6 empty] | Air defined
|  |  | ma1 | #VALUE! | [7 empty] | Flowrate |  |  | 8000 |  | 25000 |  |  | #VALUE! |  | m3/h |  |  |  | 33000 | Composition |  | volume% |  | Dry Air |  |  | Composition |  | volume% |  | Dry Air
|  |  | h1 | #VALUE! | [7 empty] | Dry Bulb Temp. |  |  | 4 |  | 25 |  |  | #VALUE! |  | ℃ |  |  |  |  | H2O |  | #VALUE! |  | 0 |  |  | H2O |  | #VALUE! |  | 0
|  |  | W1 | #VALUE! |  |  |  |  | ma3 | #VALUE! |  | Relative Humidity |  |  | 70.8 |  | 50 |  |  | #VALUE! |  | % |  |  |  |  | N2 |  | #VALUE! |  | 78.084 |  |  | N2 |  | #VALUE! |  | 78.084
[9 empty] | h3 | #VALUE! |  | Pressure |  |  | 0 |  | 0 |  |  | 0 |  | mmH2O |  |  |  |  | O2 |  | #VALUE! |  | 20.9476 |  |  | O2 |  | #VALUE! |  | 20.9476
|  |  | State 2 | [5 empty] | W3 | #VALUE! |  | Humidity Ratio |  | W1 | #VALUE! | W2 | #VALUE! |  | W3 | #VALUE! |  | kg wv / kg dry air |  |  |  | #VALUE! | Ar |  | #VALUE! |  | 0.934 |  |  | Ar |  | #VALUE! |  | 0.934
[12 empty] | Flowrate | Volumetric |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | m3/h |  |  |  |  | CO2 |  | #VALUE! |  | 0.0314 |  |  | CO2 |  | #VALUE! |  | 0.0314
|  |  | ma2 | #VALUE! | [7 empty] | Specific Volume |  |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | m3 / kg dry air
|  |  | h2 | #VALUE! | [7 empty] | Flowrate |  | ma1 | #VALUE! | ma2 | #VALUE! |  | ma3 | #VALUE! |  | kg dry air / h |  |  |  | #VALUE!
|  |  | W2 | #VALUE! | [7 empty] | Enthalpy |  | h1 | #VALUE! | h2 | #VALUE! |  | h3 | #VALUE! |  | kcal / kg dry air |  |  |  |  | Total |  | #VALUE! |  | 99.997 |  |  | Total |  | #VALUE! |  | 99.997
[15 empty] | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | kJ / kg dry air |  |  |  |  | M. Weight |  | #VALUE! |  |  |  |  | M. Weight |  | #VALUE!
[12 empty] | Heat Capacity |  |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | kcal/h |  |  |  | #VALUE! | Density |  | #VALUE! |  | kg/Nm3 |  |  | Density |  | #VALUE! |  | kg/Nm3
|  | Heat and Mass Balance | [24 empty] | Dew Point |  | #VALUE! |  | ℃ |  |  | Dew Point |  | #VALUE! |  | ℃
[27 empty] | Density |  | #VALUE! |  | kg/m3 |  |  | Density |  | #VALUE! |  | kg/m3
|  |  | ma1 |  | + | ma2 |  | = | ma3 | [17 empty] | Flowrate |  | #VALUE! |  | kg/h | Enthalpy |  | Flowrate |  | #VALUE! |  | kg/h | Enthalpy
|  |  | ma1 | h1 | + | ma2 | h2 | = | ma3 | h3 | [16 empty] | Heat Capacity |  | #VALUE! |  |  | #VALUE! |  | Heat Capacity |  | #VALUE! |  |  | #VALUE!
|  |  | ma1 | W1 | + | ma2 | W2 | = | ma3 | W3 | [25 empty] | #VALUE!
State 2
|  | -> | h2 | - | h3 | = | W2 | - | W3 | = | ma1 | [15 empty] | Composition |  | volume% |  | Dry Air
|  |  | h3 | - | h1 |  | W3 | - | W1 |  | ma2 | [15 empty] | H2O |  | #VALUE! |  | 0
[27 empty] | N2 |  | #VALUE! |  | 78.084
[27 empty] | O2 |  | #VALUE! |  | 20.9476
[27 empty] | Ar |  | #VALUE! |  | 0.934
[27 empty] | CO2 |  | #VALUE! |  | 0.0314
[27 empty] | Total |  | #VALUE! |  | 99.997
[27 empty] | M. Weight |  | #VALUE!
[27 empty] | Density |  | #VALUE! |  | kg/Nm3
[27 empty] | Dew Point |  | #VALUE! |  | ℃
[27 empty] | Density |  | #VALUE! |  | kg/m3
[27 empty] | Flowrate |  | #VALUE! |  | kg/h | Enthalpy
[27 empty] | Heat Capacity |  | #VALUE! |  |  | #VALUE!
NTES | [24 empty] | Narai Thermal engineering Services
Note on AJ4: Cell is filled !
1

## 5
| Technical Material : | [15 empty] | Doc. No. |  |  | TM - PSY - 200
P S Y C H R O M E T R I C S : P R O C E S S | [16 empty] | Date |  |  | 2016. 3. 1.
[17 empty] | Revision |  |  | 0 | 1
[17 empty] | Sheet No. |  |  |  | 5 | of | 5
|  | 6. | Humidifying Process
Humidity Ratio, W, g/kg.Dry Air
[25 empty] | Rh, % | Rh 100 %
[25 empty] | 100 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 95 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 90 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 85 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 80 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 75 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 70 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 65 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 60 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 55 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 50 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 45 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 40 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 35 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 30 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 25 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 20 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 15 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 10 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[25 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[26 empty] | 0.001 | 1.501 | 3.0009 | 4.5008 | 6.0008 | 7.5008 | 9.0007 | 10.5007 | 12.0006 | 13.5006 | 15.0005 | 16.5005 | 18.0004 | 19.5004 | 21.0003 | 22.5003 | 24.0002 | 25.5002 | 27.0001 | 28.5001 | 30
[26 empty] | Dry Bulb Temp. Td |  |  |  | ℃
[26 empty] | Pressure |  | 0 |  | mmH2O
Process
[25 empty] | #VALUE! | #VALUE!
|  | Process | [22 empty] | 20 | 20.2
|  |  | State 1 | [7 empty] | State 2 |  | S A M P L E C A L C U L A T I O N
[16 empty] | State 1 |  |  | State 2 | [5 empty] | Air defined | [6 empty] | State 2
|  |  | ma | #VALUE! | [6 empty] | ma | #VALUE! | Flowrate |  |  | 6000 |  |  | #VALUE! |  | kg/h |  |  |  | Composition |  | volume% |  | Dry Air |  |  | Composition |  | volume% |  | Dry Air
|  |  | h1 | #VALUE! | [6 empty] | h2 | #VALUE! | Dry Bulb Temp. |  |  | 20 |  |  | 20.2 |  | ℃ |  |  |  | H2O |  | #VALUE! |  | 0 |  |  | H2O |  | #VALUE! |  | 0
|  |  | W1 | #VALUE! | [6 empty] | W2 | #VALUE! | Relative Humidity |  |  | 12.5 |  |  | 64 |  | % |  |  |  | N2 |  | #VALUE! |  | 78.084 |  |  | N2 |  | #VALUE! |  | 78.084
[13 empty] | Pressure |  |  | 0 |  |  | 0 |  | mmH2O |  |  |  | O2 |  | #VALUE! |  | 20.9476 |  |  | O2 |  | #VALUE! |  | 20.9476
[8 empty] | mw |  |  |  |  | Humidity Ratio |  | W1 | #VALUE! |  | W2 | #VALUE! |  | kg wv / kg dry air |  |  |  | Ar |  | #VALUE! |  | 0.934 |  |  | Ar |  | #VALUE! |  | 0.934
[8 empty] | hw |  |  |  |  | Flowrate | Volumetric |  | #VALUE! |  |  | #VALUE! |  | m3/h |  |  |  | CO2 |  | #VALUE! |  | 0.0314 |  |  | CO2 |  | #VALUE! |  | 0.0314
[13 empty] | Specific Volume |  |  | #VALUE! |  |  | #VALUE! |  | m3 / kg dry air
[13 empty] | Flowrate |  | ma | #VALUE! |  | ma | #VALUE! |  | kg dry air / h
[15 empty] | mw | #VALUE! |  |  |  |  | kg/h |  |  |  | Total |  | #VALUE! |  | 99.997 |  |  | Total |  | #VALUE! |  | 99.997
[13 empty] | Enthalpy |  | h1 | #VALUE! |  | h2 | #VALUE! |  | kcal / kg dry air |  |  |  | M. Weight |  | #VALUE! |  |  |  |  | M. Weight |  | #VALUE!
[16 empty] | #VALUE! |  |  | #VALUE! |  | kJ / kg dry air |  |  |  | Density |  | #VALUE! |  | kg/Nm3 |  |  | Density |  | #VALUE! |  | kg/Nm3
|  | Heat and Mass Balance | [12 empty] | hw | #VALUE! |  |  |  |  | kacl/kg |  |  |  | Dew Point |  | #VALUE! |  | ℃ |  |  | Dew Point |  | #VALUE! |  | ℃
[13 empty] | Heat Capacity |  | #VALUE! |  |  | / | #VALUE! |  | kcal/h
[25 empty] | Density |  | #VALUE! |  | kg/m3 |  |  | Density |  | #VALUE! |  | kg/m3
|  |  | ma | h1 | + | mw | hw | = | ma | h2 | [14 empty] | Flowrate |  | 6000 |  | kg/h |  |  | Flowrate |  | #VALUE! |  | kg/h
|  |  | ma | W1 | + | mw |  | = | ma | W2
[32 empty] | Relative Humidity |  | #VALUE!
|  | -> | h2 | - | h1 | = | hw | [24 empty] | W2 |  | #VALUE!
|  |  | W2 | - | W1
NTES | [23 empty] | Narai Thermal engineering Services
Note on AJ4: Cell is filled !
1

## 0
| Technical Material : |  |  | Doc. No. | TM - PSY - 200
P S Y C H R O M E T R I C S : P R O C E S S |  |  |  | Date | 2007. 7. 7.
|  |  |  | Revision | 0
|  |  |  | Sheet No. |  | 0 | of | 5
|  | 0. | Aaaaaa
NTES | [8 empty] | Narai Thermal engineering Services
Note on AJ4: Cell is filled !
1