## Firing
| C O M B U S T I O N C A L C U L A T I O N | [19 empty] | Gas Fuel |  |  | Natural Gas |  | 10832 | 9807 | < The Other Fuel |  |  | Commercial Fuel
[20 empty] | Sel. > | Input |  |  | *** |  | Input |  |  | volume% |  | volume% |  | LNG | LPG | City Gas 13A | City Gas 6B
1 | Project |  |  | Misurata Combined Cycle Projects | [10 empty] | Job No. |  | SO-2219 |  |  |  | *** |  |  | *** |  | Nitrogen |  |  | 0.67 |  | Methane |  | 90 |  | 88 | 29
2 | Client |  |  | GECOL / Lybia | [10 empty] | Doc. No. |  | CAL - COMB - 100 |  |  |  | *** |  |  | *** |  | Carbon dioxide |  |  | 7.353 |  | Ethane |  | 6 | 1 | 5 | 1
3 | Contractor |  |  | Daewoo E&C | [10 empty] | Date |  | 2014. 1. 1. |  |  |  | *** |  |  | *** |  | Methane |  |  | 82.656 |  | Propane |  | 4 | 96 | 5
4 | [14 empty] | Revision |  | 0 |  |  |  | *** |  |  | *** |  | Ethane |  |  | 4.757 |  | n-Butane |  |  | 3 | 2
5 | Service of Unit |  |  | Auxiliary Boiler & Auxiliary Equipment | [10 empty] | Item No. |  | 90EKG51 AV001 |  |  |  | *** |  |  | *** |  | Propane |  |  | 2.143 |  | i-Butane
6 | Operating Case |  |  | Design | [16 empty] | *** |  |  | *** |  | i-Butane |  |  | 0.556 |  | Ethylene |  |  |  |  | 3
7 | [16 empty] | 90EKG51 AV001 |  |  |  | *** |  |  | *** |  | n-Butane |  |  | 0.734 |  | Propylene |  |  |  |  | 2
8 | F U E L D A T A | [19 empty] | *** |  |  | *** |  | i-Pentane |  |  | 0.28 |  | Hydrogen |  |  |  |  | 37
9 | Kind for Design |  |  | Liquid Fuel |  |  | Dual Fuel |  | Yes |  | Pressure |  |  |  |  | 26 |  | bar.g |  |  | *** |  |  | *** |  | n-Pentane |  |  | 0.239 |  | Oxygen |  |  |  |  | 2
10 | Fuel Name |  |  | Diesel Oil |  |  | The Other Fuel |  | Natural Gas |  | Temperature |  |  |  |  | 37 |  | ℃ |  |  | *** |  |  | *** |  | i-Hexane |  |  | 0.254 |  | Nitrogen |  |  |  |  | 8
11 | Composition : | [19 empty] | *** |  |  | *** |  | n-Hexane |  |  | 0.12 |  | Carbon monoxide |  |  |  |  | 3
12 | Component |  | Formula |  | M.W. |  | HHV |  | LHV |  | weight% |  | weight | mole | volume | kmole | HHV | LHV |  |  | *** |  |  | *** |  | n-Heptane |  |  | 0.192 |  | Carbon dioxide |  |  |  |  | 15
13 | [6 empty] | kcal/kg |  |  |  | Input |  | % |  |  |  | kcal/kg |  |  | <- | Unit for Design |  |  | 0 |  |  |  |  | 99.954 |  |  |  | 100 | 100 | 100 | 100 |  | kcal/Nm3
14 | Carbon |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 85 |  | 85 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  |  | kcal/kg |  |  |  |  | HHV | LHV |  |  |  |  | HHVinput > | #VALUE! | #VALUE! | #VALUE! | #VALUE! | kcal/kg | 10454.3194 | 22551.0881 | 10923.5906 | 5031.6301
15 | Hydrogen |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 14.1 |  | 14.1 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  |  | Liquid Fuel |  |  | Diesel Oil |  | 10600 | 10204 | < The Other Fuel |  |  |  | LHVinput > | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 9515.777 | 22316.4525 | 9958.9776 | 4510.2176
16 | Oxygen |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0.3 |  | 0.3 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  | Sel. > | Input |  |  | weight% |  | Input |  |  | weight% |  | weight% |  | Diesel Oil |  | B-C, Low S | B-C, High S
17 | Nitrogen |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0.1 |  | 0.1 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  |  | Carbon |  |  | 85 |  | Carbon |  |  | 85 |  | Carbon |  | 85 |  | 85.5 | 84
18 | Sulfur |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0.5 |  | 0.5 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  |  | Hydrogen |  |  | 14.1 |  | Hydrogen |  |  | 14.1 |  | Hydrogen |  | 14.1 |  | 11.8 | 11.3
19 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | Oxygen |  |  | 0.3 |  | Oxygen |  |  | 0.3 |  | Oxygen |  | 0.3 |  | 0.4 | 0.4
20 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | Nitrogen |  |  | 0.1 |  | Nitrogen |  |  | 0.1 |  | Nitrogen |  | 0.1 |  | 0.3 | 0.3
21 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | Sulfur |  |  | 0.5 |  | Sulfur |  |  | 0.5 |  | Sulfur |  | 0.5 |  | 2 | 4
22 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | 0 |  |  | 0
23 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | 0 |  |  | 0
24 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | 0 |  |  | 0
25 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | 0 |  |  | 0
26 | Total | [5 empty] | kcal/kg |  |  |  | 100 |  | 100 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! |  | VBA | 0 |  |  | 0
27 |  |  |  | M.W. > | #VALUE! |  |  | H2O > | #VALUE! | wt% | #VALUE! | kg/kg.fuel |  |  |  | Input > | 10600 | 10204 |  | #VALUE! | 0 |  |  | 0
28 |  |  |  | Density > | *** |  | kg/Nm3 |  | #VALUE! | vol% | *** | *** |  | *** |  | *** | *** | *** |  |  | 0 |  |  | 0
29 | C O M B U S T I O N A I R D A T A | [9 empty] | B U R N E R D A T A | [12 empty] | 100 |  |  |  |  | 100 |  |  |  | 100 |  | 100 | 100
30 | Temperature |  |  |  |  | 45 |  |  | ℃ | [5 empty] | Recommended EA > | 15 |  |  |  |  | 환산 > | kJ | -> | kcal | [7 empty] | HHVinput > | 10900 |  | 10300 | 10250 | kcal/kg
31 | Pressure |  |  |  |  | 0 |  |  | bar.g |  | Excess Air |  |  |  |  | 10 |  | % |  |  | 41060 |  | 9807.0125 | [8 empty] | LHVinput > | 10160 |  | 9680 | 9650
32 | Rel. Humidity |  |  |  |  | 65 |  |  | % |  | Atomizing Steam |  |  |  |  | 10 |  | %wt.fuel |  | <- | 10 | < Atmz.Stm > |  | Yes | -> | Yes | < Application
33 | [20 empty] | A I R d e f i n e d
34 | C O M B U S T I O N C A L C U L A T I O N | [19 empty] | Temperature |  |  | 45 |  | ℃ |  |  | The Other Fuel
35 | Component |  | Formula | Mole | Required, kmole / kmole | [7 empty] | Flue Gas, kmole / kmole | [7 empty] | Pressure |  |  | 0 |  | bar.g |  |  | Kind | Gas Fuel
36 |  |  |  | Frac. | O2 |  | N2a |  | Moist/Steam |  | Air |  | CO2 |  | H2O |  | N2a | SO2 |  |  | Relative Humidity |  |  | 65 |  | % |  |  | HHV | LHV | < Selected
37 | Carbon |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Dew Point |  |  | #VALUE! |  | ℃ |  |  | 10832 | 9807 | kcal/kg
38 | Hydrogen |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Composition |  |  | volume% |  | Dry Air |  | weight%
39 | Oxygen |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | H2O |  |  | #VALUE! |  | 0 |  | #VALUE!
40 | Nitrogen |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | N2a |  |  | #VALUE! |  | 79.05
41 | Sulfur |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | O2 |  |  | #VALUE! |  | 20.95
42 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [9 empty] | Ar | 0.934
43 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [9 empty] | CO2 | 0.0314
44 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Total |  |  | #VALUE! |  | 100
45 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | M. Weight |  |  | #VALUE!
46 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Density |  |  | #VALUE! |  | kg/Nm3 | #VALUE! | kg/m3
47 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Dew Point |  |  | #VALUE! |  | ℃
48 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
49 | Sum | Theoretical |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Atomizing Steam
50 |  | with Excess Air |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | #VALUE! |  | kmole/kmole.fuel
51 | F L U E G A S D A T A | [19 empty] | #VALUE! |  | kg/kg.fuel |  | *** |  | ***
52 | Formula |  | kmole / |  | Composition, Wet |  |  |  | Composition, Dry | [6 empty] | Flue Gas | Comb. Air |  |  |  | H2O from Burning H2 | [6 empty] | DRY | Flue Gas |  | Comb. Air
53 |  |  | kmole.fuel |  | volume% |  | weight% |  | volume% |  | weight% |  | M. W. |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  | kg/kg.fuel |  | *** |  | *** | M. W. | #VALUE! |  | #VALUE!
54 | H2O |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | #VALUE! |  | Density |  | #VALUE! |  | #VALUE! | kg/Nm3 |  |  | H2O in Air | [6 empty] | Density | #VALUE! |  | #VALUE! |  | kg/Nm3
55 | CO2 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | Dew P., H2O |  | #VALUE! |  | #VALUE! | ℃ |  |  | #VALUE! |  | kg/kg.fuel |  | *** |  | *** |  | Flue Gas |  | Comb. Air
56 | N2a |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | Flowrate |  | #VALUE! |  | #VALUE! | kg/kg.fuel |  |  | Dry Gas | [7 empty] | #VALUE! |  | #VALUE! |  | kg/kg.fuel
57 | O2 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  | #VALUE! | Nm3/kg.fuel |  |  | #VALUE! |  | kg/kg.fuel |  | *** |  | *** |  | #VALUE! |  | #VALUE! |  | Nm3/kg.fuel
58 | SO2 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | *** |  | *** | kg/Nm3.fuel |  |  | #VALUE! |  | <- VBA -> |  | *** |  |  |  | *** |  | *** |  | kg/Nm3.fuel
59 | Sum |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | *** |  | *** | Nm3/Nm3.fuel | [10 empty] | *** |  | *** |  | Nm3/Nm3.fuel
60 | Notes
61 | *1)
62 | *2)
62 | *3)
| NTES | [17 empty] | Narai Thermal Engineering Services
VBA
| F U E L D A T A | [19 empty] | Air |  |  |  |  | Dry Air
| #VALUE! |  | #VALUE! | [17 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
[21 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
| #VALUE! |  | #VALUE! | [17 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
| #VALUE! |  | #VALUE! | [17 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
[21 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
[17 empty] | #VALUE! | #VALUE! | [5 empty] | #VALUE!
[5 empty] | #VALUE! | [18 empty] | #VALUE!
[5 empty] | #VALUE! | [18 empty] | #VALUE!
C O M B U S T I O N C A L C U L A T I O N
[5 empty] | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
[5 empty] | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE!
| F L U E G A S D A T A | [14 empty] | Flue Gas | Comb. Air
| #VALUE! |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE!
| #VALUE! |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE!
| #VALUE! |  | #VALUE! |  | #VALUE! | [12 empty] | #VALUE!
| #VALUE! |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE! | #VALUE!
| #VALUE! |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE!
| Sum |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE!
[15 empty] | #VALUE! |  | #VALUE!
Note on R8: Cell is filled !
Note on R9: Cell is filled !
Note on T87: Cell is filled !
Note on T88: Cell is filled !
Note on T89: Cell is filled !
Note on T90: Cell is filled !

## IS
I N P U T S H E E T f o r P R O C E S S F L O W D I A G R AM | [37 empty] | Doc. No. |  |  | ISPFD - WTB - 100
[38 empty] | Date |  |  | 2014. 1. 1. | [7 empty] | VBA | [7 empty] | m
Job No. |  |  |  | SO-2219 | [12 empty] | Item No. |  |  |  | 90EKG51 AV001 | [16 empty] | Revision |  |  | 0 | [7 empty] | Battery Limit | [7 empty] | #VALUE! |  | < | Continous B/D Water
Project |  |  |  | Misurata Combined Cycle Projects | [12 empty] | Service |  |  |  | Auxiliary Boiler & Auxiliary Equipment | [16 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1 | [6 empty] | #VALUE! |  | < Tsat |  | #VALUE! |  | < | Atom. Steam
[17 empty] | * During Start-up | [18 empty] | Sch.40 |  | #VALUE! | ID |  | Steam Name & Delivery Limit Name | [7 empty] | #VALUE! |  | #VALUE! |  | #VALUE! |  | < Psat |  | #VALUE! |  | < | Inlet Water to Deaerator with Storage Tank
| Legend | [12 empty] | Pinput > | 0.1 |  | 20 |  | %MCR |  | Sch.40 |  | #VALUE! | ID | [11 empty] | 8" |  | #VALUE! | m/s |  | Auxiliary Steam | [15 empty] | #VALUE! |  | < | Steam to DEA
| P | T | [14 empty] | 0.1 |  | #VALUE! |  | 8" |  | #VALUE! | m/s | [8 empty] | ΔPpiping > | 1 |  | 16 |  | 270 |  |  | Battery Limit | [7 empty] | Piping Spec. | [7 empty] | #VALUE! |  | < | De-superheater
| m | h |  | Water/Steam |  |  | Fuel |  | Air / Flue Gas | [7 empty] | 4000 |  | #VALUE! |  |  |  | ~200 | [12 empty] | 20000 |  | #VALUE! | [10 empty] | Code |  | ASTM | [5 empty] | #VALUE! |  | < | Primary S/H
| P | Press. |  | bar.g |  |  | bar.g |  | mmH2O |  |  |  |  | QHA10BS001 |  |  | Start-up Vent | [9 empty] | Sch.40 |  | #VALUE! | ID |  | - N/A - |  |  | * 추후 반영 |  | 80 | % | [10 empty] | Mat. |  | A 106-B | [5 empty] | #VALUE! |  | < | Secondary S/H
| T | Temp. |  | ℃ |  |  | ℃ |  | ℃ | [5 empty] | Vent Silencer |  | Yes |  |  | Nozzle on S/D | [6 empty] | 3" |  | #VALUE! | m/s | [6 empty] | 16614.88 |  | 5.5 |  | 37 |  |  | Yes | [5 empty] | T.P. > | A 335-P22 | [5 empty] | #VALUE! |  | < | Boiler Feedwater |  |  |  |  | IAPWS_IF97_Tph(psi, ups, eh, no)
| m | Flow |  | kg/h |  |  | kg/h |  | Nm3/h |  | QHA10BB001 |  |  |  |  | Sch.40 |  | #VALUE! | ID | 8" | #VALUE! | 1 | #VALUE! | m/s |  |  | 16 |  | 270 |  |  | Sch.40 |  | #VALUE! | ID | mi > | 1600 |  | 1600 |  | #VALUE! | [15 empty] | #VALUE! |  | < | Evaporation
| h | Enthalpy |  | kcal/kg |  |  | *** |  | kcal/kg |  | Auxiliary Boiler |  |  |  |  | 8" |  | #VALUE! | m/s |  | Sch.40 |  | #VALUE! | ID |  | f. Header | #VALUE! |  | #VALUE! |  |  | 3" |  | #VALUE! | m/s |  | 7.7039 | % | [10 empty] | Deaerator with Storage Tank
[13 empty] | DP > | 22 |  | 19 |  | #VALUE! |  |  | 3" |  | #VALUE! | m/s |  | mInput > | 0 |  |  |  |  | 1.933 |  | #VALUE! |  | #VALUE! | < T |  | 7 |  | 69.5 |  | Cond. Supply Pump | [5 empty] | Common or Indiv |  |  |  | Individual |  |  | #VALUE! |  |  | < | Heat in Steam
[13 empty] | DT > | #VALUE! |  | #VALUE! |  | #VALUE! |  |  | Boiler Feedwater | [7 empty] | QLA10BB001 |  |  | 20768.6 |  | #VALUE! |  | #VALUE! | < h |  | 19168.6 |  | #VALUE! | [14 empty] | #VALUE! |  |  | < | De-superheater
[7 empty] | Supply Cond. |  |  |  | Sat. |  | Sat.> | #VALUE! |  |  | h1 > | #VALUE! |  |  | 19 |  | #VALUE! | [5 empty] | Deaerator with Storage Tank |  |  |  | Inlet Water | [15 empty] | Demi. Water |  |  |  | < Name |  |  | #VALUE! |  |  | < | Inlet Water
|  | Y / N > | Yes |  |  |  | 7 |  | *** |  | 210 | [9 empty] | #VALUE! |  | #VALUE! | [8 empty] | Yes | [7 empty] | - N/A - |  | Cond. Supply Pump Capacity | [6 empty] | Condensate | [6 empty] | #VALUE! |  |  | < | Continous B/D Water
|  | from > | Boiler |  |  |  | 16 |  | 270 |  | *** |  | < h2 | [7 empty] | S/H DP> | 22 | [6 empty] | DEA OP |  | 1.433 |  | #VALUE! |  |  | ΔPinput | [5 empty] | Flowrate |  | *** |  | kg/h | [9 empty] | #VALUE! |  |  | < | Misc. Steam
[6 empty] | Input > | 136 |  | #VALUE! | [11 empty] | S/H DT> | 420 |  | #VALUE! | < DT, In Header |  |  |  | 1.433 |  | #VALUE! |  | #VALUE! |  |  | 0.5 |  |  |  | kcal/h |  |  |  | *** |  | m3/h |  |  | Cond. Supply Pump Capacity |  |  |  |  | Round-up |  | #VALUE! |  |  | < | Heat Output
[6 empty] | Cal'd > | #VALUE! | [8 empty] | Primary S/H |  |  |  |  | Twall, Cal'd > | #REF! |  | 350 | < DT, Out Header | [6 empty] | QLA10AP001/002 |  |  |  | *** |  | *** |  |  |  | Disc. P. |  | *** |  | bar.g |  |  | Flowrate |  | 25 |  | % | 100
|  | QSA |  |  |  |  | 26 |  | 37 | [6 empty] | Yes |  |  |  |  | Tinput > | 275 |  | ΔT= To - Ti | [7 empty] | BFW Pump |  |  |  | *** |  | *** |  |  |  | Suct. P. |  | 0 |  | bar.g |  |  | Disc. P. |  | 2 |  | Plus
[7 empty] | #VALUE! | [8 empty] | ΔPcal > | #REF! |  |  | 18 |  | 275 |  | #VALUE! | [6 empty] | Yes | - N/A - |  |  | Pinput> | 5 |  | 32 | [10 empty] | 2010. 8. 10. |  |  | VBA 추후 반영 !
Y / N | [15 empty] | ΔPinput > | 1 |  |  | #VALUE! |  | #VALUE! | [8 empty] | 22.5 |  | #VALUE! |  |  | *** |  | *** | [10 empty] | Heating Steam for DEA | [10 empty] | Vent Steam Flow
- N/A - |  | QJA |  |  |  |  | *** |  | *** | [6 empty] | QLA10DS001 |  |  |  | h | #VALUE! |  | Sch.40 |  | #VALUE! | ID |  |  |  |  | #VALUE! |  | #VALUE! |  |  | *** |  | *** |  |  | Serivice Water | [7 empty] | from | : | Boiler |  | LPS | [6 empty] | 0 | % Heating Steam |  |  | #VALUE! |  | kg/h
from | [6 empty] | *** | [8 empty] | De-superheater |  |  |  | m | #VALUE! |  | 1" |  | #VALUE! | m/s |  |  | ΔPpiping | [5 empty] | minput > | 3000 |  |  |  |  | - N/A - | [7 empty] | Steam from Header |  |  |  |  | S/H | [8 empty] | Input > | 0
Boiler |  | HPS | to | LPS Header | [10 empty] | Inter-stage | Inter-stage |  |  |  |  | Tinput > | 223 | [5 empty] | Max. Req.> | #VALUE! | [19 empty] | Cond. | P > | 16 |  | bar.g |  | Tsat > | #VALUE! |  |  | h
Driving Steam |  |  |  | Driver |  | Single |  | S/H | [7 empty] | ΔPdsh > | 0.3 |  |  | 17.7 |  | 223 |  |  |  | ΔPpiping |  |  | 2 |  | Sch.40 |  | #VALUE! | ID |  |  | : | 다른 계산, pload 에도 추후 반영 요 ! | [11 empty] | T > | *** |  | ℃ |  | Tsh > | 270 |  | ℃ | ***
*** |  | *** |  | Turbine |  | - N/A - |  | 260 |  | < Ts/h | [9 empty] | #VALUE! |  | #VALUE! |  |  |  |  | 1 |  |  |  | 3" |  | #VALUE! | m/s |  | ECO after GAH | [7 empty] | Calculation > | Yes |  |  |  | Stack Out Temp. | [6 empty] | Stack Insu
??? |  | *** |  | Motor |  | Yes |  | 14 |  | bar.g | [10 empty] | Tinput > | 275 |  | ΔT= To - Ti | [5 empty] | ΔPcal > | #REF! |  |  |  |  | - N/A - |  |  |  | - N/A - |  |  |  | <- Common ? > | Individual |  |  |  | ΔT / m |  | #REF! | ℃ | He | #REF! | m | In | #REF!
4" | *** |  |  | QHL10AN001 B | 394 |  | #VALUE! |  |  | 324 |  | #VALUE! |  |  |  | Secondary S/H |  |  |  | 17 |  | 275 |  | 52 | [5 empty] | ΔPinput > | 0.5 |  | 26 |  | < DP | [13 empty] | ΔT | #REF! |  | ℃ |  |  |  | Out | #REF!
[5 empty] | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  |  |  | Yes | Yes |  | DP | #VALUE! |  | #VALUE! |  | 20 |  | #VALUE! |  |  | 20.5 |  | #VALUE! |  | 300 |  | < DT | [13 empty] | Tout | #REF! |  | ℃
[5 empty] | Comb. Air | [10 empty] | ΔPcal > | #REF! |  | 22 |  | S/H DT > | 480 |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | < Tsat |  |  | ΔPcal> | *** |  |  | ΔT | Temp. |  |  | QHN10BR001 | [10 empty] | 2014. 12. 2 ! | [6 empty] | QHN10AN001
LP Steam |  |  | FD Fan |  | ΔPcal> | *** | [6 empty] | ΔPwindbox |  |  | ΔPinput > | 0.7 |  |  |  | Twall, Cal'd > | #REF! |  | 400 | < DT, Header | [5 empty] | Tinput > | 190 |  |  | ΔPcal > | *** |  | ΔPduct | 5 |  |  | 3 | 154 |  |  | Stack |  |  | Final Flue Gas | [7 empty] | Flue Gas Recirculation System | [6 empty] | FGR Fan |  |  | 100 | % x | 1
3.4 |  | *** |  |  | ΔPduct | 70 | [5 empty] | 160 |  |  | Furnace Press. |  |  |  |  | 64 |  | 275 |  |  | ΔPcal > | #REF! |  |  |  | 4 |  | 157 |  |  | ΔPinput > | 50 |  | 4 |  | 157 |  |  | Press. | [5 empty] | 4 |  | 157 | [5 empty] | Installation |  |  | - N/A -
*** |  | *** |  | QHL10AN001 | [6 empty] | ΔPcal |  | ΔPboiler |  | 164 |  |  |  |  | #VALUE! |  | #VALUE! |  |  | ΔPinput > | 50 |  |  |  | #VALUE! |  | #VALUE! | [5 empty] | #VALUE! |  | #VALUE! |  |  | -1 | [7 empty] | #VALUE! | [5 empty] | Type |  |  | External
S/H |  | FD Fan Capacity |  |  |  | 45 | ℃ |  |  |  | #REF! | 100 | [7 empty] | Flue Gas |  |  | ΔPcal> | *** | [5 empty] | QLA10AC001 | [7 empty] | GAH-100 |  |  |  | Cal'd > | #REF! |  |  | Sch.40 |  | *** | ID | [7 empty] | Flowrate |  |  | 20 |  | % Flue Gas |  |  |  |  | Composition |  | volume%
217 |  | Flowrate |  | #VALUE! |  | Nm3/min |  | 0.1 |  | < Pinput | [12 empty] | ΔPduct | 10 |  |  | Yes |  |  | Economizer |  |  |  |  | - N/A - |  |  | Gas Air Heater | [7 empty] | 1 1/2" |  | *** | m/s |  |  |  | from | [6 empty] | *** |  | Nm3/h |  | *** |  | kg/h | H2O |  | ***
|  | Static Head |  | 540 |  | mmH2O |  | 0.1 |  | #VALUE! |  | x = | #VALUE! |  | % Actual |  | Continous B/D Water |  |  |  | 4.4 |  | < Pinput | [6 empty] | ΔPcal > | *** | [11 empty] | Heating Steam | [5 empty] | Heating Steam |  |  |  | Boiler |  |  |  | Temperature |  |  | *** |  | ℃ |  | *** |  | kcal/h | CO2 |  | ***
8" | Sch.40 | [6 empty] | #VALUE! |  | #VALUE! |  | h1 > | #VALUE! |  | #VALUE! |  | 3.163 |  | % Steam Flowrate |  | *** |  | *** |  |  | Flash Steam |  |  |  | ΔPinput > | 50 |  |  |  | ΔPcal > | *** | *** |  | 85 |  | DP > | 22 | 16 |  | *** |  |  |  | S/H |  |  | < Steam Kind |  |  |  |  | Mixed w Air |  |  | *** |  | ℃ |  |  |  |  | N2a |  | ***
ID | *** | [5 empty] | Sch.40 |  | 2" |  | #VALUE! | m/s | #VALUE! | ID | % BFW |  | 632.6 |  | kg/h |  | *** |  | *** | [7 empty] | *** |  | *** |  | ΔPinput > | 25 | *** |  | *** |  | DT > | *** | *** |  | *** |  |  |  | 270 |  |  | < S/H Steam Temp. |  |  |  |  | Comb. Air | [6 empty] | *** |  | kg/h | O2 |  | ***
*** | m/sec | [13 empty] | #VALUE! |  | *** |  | *** |  |  | h1 > | *** | [7 empty] | *** |  | *** | [7 empty] | ΔPcal |  | Condensate | [5 empty] | #VALUE! |  |  | ℃ | < Sat. Temp. | [10 empty] | *** |  | kcal/h | SO2 |  | *** | ***
|  |  |  | Pinput > | 3 |  | bar.g | 3 |  | 40 |  | 40 | < Tinput |  |  |  | *** |  | *** |  |  | x = | *** | [14 empty] | - N/A - |  |  | ΔP | 0.5 | *** |  | *** |  |  |  | 16 |  |  | bar.g |  |  |  |  | Capacity |  |  | *** |  | Nm3/min |  |  |  |  | M.W. |  | ***
[8 empty] | #VALUE! |  | #VALUE! | [7 empty] | from No. 2 > | - N/A - |  |  |  | Flue Gas Treatment |  |  |  |  | ΔPfgas | [9 empty] | SAH-100 |  |  |  |  | *** |  | *** |  |  |  | to | Deaerator |  |  | - N/A - | [13 empty] | Density |  | ***
[9 empty] | Tinput > | 60 | [5 empty] | 0.1 |  | #VALUE! |  |  |  |  | Dust Collector |  |  | - N/A - |  | 50 |  |  |  |  | *** |  | *** |  |  | Steam Air Heater |  |  |  |  | 0
|  |  |  | Service Water | Yes |  |  | 0.1 |  | 60 | [5 empty] | 632.6 |  | #VALUE! |  |  |  |  | De-Nox Unit |  |  | - N/A - |  | 50 |  |  |  |  | *** |  | *** |  |  | D E S I G N D A T A
[8 empty] | #VALUE! |  | #VALUE! | [10 empty] | QHE10BB002 |  | De-Sox Unit |  |  | - N/A - |  | 50 | BFW Pump Capacity |  |  |  |  | No. of Boilers |  |  |  | Boiler Capacity |  |  |  | 20000 |  |  | kg/h
[8 empty] | 0.5 |  | < ΔPinput | [10 empty] | CBD Tank | [7 empty] | Flowrate |  | #VALUE! |  | kg/h |  | Working | 1 |  | Load |  |  |  | 100 |  |  | % |  |  |  | bar.g |  |  | < Press. Unit |  |  |  | 대기압
[5 empty] | CW Return T > | 42 | ℃ | *** |  | *** |  |  |  | QHE10BB001 |  |  | - N/A - |  |  |  | - N/A - | [9 empty] | #VALUE! |  | m3/h |  | Stand-by | 0 |  | Steam Flowrate |  |  |  | 20000 |  |  | kg/h |  |  |  | Gauge |  |  | < Gauge or Absolute |  |  |  | 0
[8 empty] | *** |  | *** |  |  |  | Blowdown Tank |  |  |  | Yes | [10 empty] | Disch. P. |  | #VALUE! |  | bar.g |  | Total | 1 |  | Steam Press. |  |  |  | 16 |  |  | bar.g |  |  |  | S/H |  |  | < Steam Kind
[8 empty] | BC-100 |  | Blowdown Cooler |  |  |  | - N/A - | [14 empty] | Suct. P. |  | #VALUE! |  | bar.g |  |  |  |  | Steam Temp. |  |  |  | 270 |  |  | ℃ |  |  |  | 270 |  |  | < S/H Steam Temp.
NTES | [46 empty] | Narai Thermal Engineering Services |  | #VALUE! |  |  | ℃ | < Sat. Temp.
[14 empty] | Common or Individual > | Blowdown Tank | [5 empty] | CBD Tank | [27 empty] | 16 |  |  | bar.g
| Fuel |  |  |  |  | Comb. Air | [6 empty] | Overload > | 0 | Individual | [5 empty] | Individual | [7 empty] | BFW Pump Capacity |  |  |  |  | Round-up
| Kind | Liquid Fuel | [9 empty] | FD Fan Capacity |  |  |  |  | Round-up |  | Heat Duty | [9 empty] | Flowrate |  | 20 | % |  | 100
| Name | Diesel Oil | [8 empty] | Suct. ΔP | Flowrate |  | 15 | % Up |  | 10 |  | ECO |  |  |  | GAH | [5 empty] | Disch. P. |  | 4 | Plus above Boiler DP
| Press. | 26 |  | bar.g |  | Temp. | 45 |  | ℃ |  | 30 | Disch. P. |  | 394 | mmH2O |  | 10 |  | mfw | #VALUE! |  |  | mfg | *** |  |  | kg/h |  | Density |  | #VALUE! |  | kg/m3
| Temp. | 37 |  | ℃ |  | Press. | 0 |  | bar.g |  |  |  |  | 25 | % Up |  |  |  | Hfw | #VALUE! |  |  | Hfg | *** |  |  | kcal/h |  | Diff. |  | #VALUE! |  | #VALUE!
| HHV | 10600 |  | kcal/kg |  | RH | 65 |  | % |  |  | 100 | % x | 1 |  |  |  |  | mfg | #VALUE! |  |  | mair | *** |  |  | kg/h |  | Total Head |  | #VALUE! |  | mTH
| LHV | 10204 |  | kcal/kg | [14 empty] | Hfg | #VALUE! |  |  | Hair | *** |  |  | kcal/h |  | Flow | Nor. | #VALUE! |  | m3/h
| Flue Gas | [9 empty] | Atom. Steam | [7 empty] | ΔH | #VALUE! |  |  | ΔH | *** |  |  | % |  |  | Des. | #VALUE! |  | %
| Composition |  | volume% |  |  | Composition |  | volume% |  |  | Yes
| H2O |  | #VALUE! |  |  | H2O |  | #VALUE! |  |  | 10 |  | %wt.fuel
| CO2 |  | #VALUE! |  |  | N2a |  | #VALUE!
| N2a |  | #VALUE! |  |  | O2 |  | #VALUE! |  |  |  | Fan Power Cal. |  |  |  | Steam 41, Page 25-10~11
| O2 |  | #VALUE! |  |  | 0 |  | 0 | [10 empty] | P1 | : | 10302 |  | mmH2O.abs |  |  | Inlet Press.
| SO2 |  | #VALUE! |  |  | 0 |  | 0 | [10 empty] | P2 | : | 10842 |  | mmH2O.abs |  |  | Outlet Press.
| M.W. |  | #VALUE! |  |  | M.W. |  | #VALUE! | [10 empty] | r | : | 1.4 |  | Spec. Heat Ratio
| Density |  | #VALUE! |  | kg/Nm3 | Density |  | #VALUE! |  | kg/Nm3 |  | Pair |  | = | k | ΔP | V |  | k | : | 0.98182 |  |  |  |  | 2012. 10.
| Dew Point |  | * SO2 -> SO3, % |  |  | 3 | [9 empty] | C |  |  | ΔP | : | 21.2598 |  | inH2O |  |  | Actual Steam Rate |  |  |  | = | 3413 | [5 empty] | = | *** |  | lb/kWh
| Water |  | #VALUE! |  | ℃ | [8 empty] | = | #VALUE! |  | hp |  | V | : | #VALUE! |  | ACFM |  |  | ( | ASR |  | ) |  | ( | #VALUE! | - | #VALUE! | ) | 0.8 | [5 empty] | Steam Consumption
| Sulfuric |  | #VALUE! |  | ℃ | [13 empty] | C | : | 6354 |  |  |  |  | PshaftOper |  |  | = | #VALUE! |  | x | 394 |  | x | 1.1 | = | #VALUE! |  | kW | -> | *** |  | kg/h
[12 empty] | Pmotor |  | = | Pair | / | ηF |  | ηF | : | 0.8 |  | Mechanical Eff. | [6 empty] | 6120 |  | x | 0.7
[14 empty] | = | #VALUE! |  | hp | [8 empty] | PshaftDesign |  |  | = | #VALUE! |  | x | 540 |  | x | 1.1 | = | #VALUE! |  | kW | -> | *** |  | kg/h
[14 empty] | = | #VALUE! |  | kw |  |  |  | 0.746 | [8 empty] | 6120 |  | x | 0.8
[14 empty] | -> | #VALUE! |  | kw | #VALUE! | % margin
[15 empty] | #VALUE! |  | hp
Note on G32: incl. Venturi
Note on G68: 2 ~ 5
Note on H13: Cell is filled !
Note on I35: Cell is filled !
Note on M35: Evap. + S/H
Note on R47: Cell is filled !
Note on T42: Cell is filled !
Note on AO28: Cell is filled !
Note on BJ20: Cell is filled !
Stack
Deaerator
ECO
Vent Steam
Fuel : Gas
Cond. Drain
Condensate
Steam Supply
Cooling Water
Cooling Water
Cooling Water
Water Drum
Steam Drum
GAH
Flash Steam
Cooling Water
GAH
Fuel : Oil
Atom. Steam
Make-up Water
SAH
M
ST
No. 2
No. 2
No. 2
1

## Beff
B O I L E R E F F I C I E N C Y C A L C U L A T I O N
1 | Project |  |  | Misurata Combined Cycle Projects | [10 empty] | Job No. |  | SO-2219
2 | Client |  |  | GECOL / Lybia | [10 empty] | Doc. No. |  | CAL - BEFF - 100
3 | Contractor |  |  | Daewoo E&C | [10 empty] | Date |  | 2014. 1. 1.
4 | [14 empty] | Revision |  | 0
5 | Service of Unit |  |  | Auxiliary Boiler & Auxiliary Equipment | [10 empty] | Item No. |  | 90EKG51 AV001
6 | Boiler Capacity |  |  | 20000 |  | kg/h
7 | Load |  |  | 100 |  | % | [16 empty] | Flow Unit > | kg/h |  | Liquid Fuel Spec. Heat |  |  |  |  | Yes | < Atomizing Steam |  |  |  | Driving Steam for FD Fan
8 | B O I L E R E F F I C I E N C Y C A L C U L A T I O N | [21 empty] | Kind | Liquid Fuel |  | 0.45 |  | kcal/kg.℃ |  |  | Boiler | < Atomizing Steam from |  |  |  | - N/A -
9 | [11 empty] | LHV Base |  |  |  | HHV Base |  |  |  |  | VBA | Fuel | Name | Diesel Oil |  |  | Comb. Air |  |  |  | Atom. Steam |  |  |  |  | Boiler
10 |  | Input |  |  | Hf | Heat in Fuel |  |  | ( Chemical ) |  |  | 10204 |  |  |  | 10600 | [5 empty] | Press. |  | 26 | bar.g |  | Press. | 0 | bar.g |  | Press. | 16 | bar.g |  |  | *** | ***
11 |  |  |  |  | BA | Heat in Entering Air | [5 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  |  | #VALUE! | Temp. |  | 37 | ℃ |  | Temp. | 45 | ℃ | EA | Temp. | 270 | ℃ |  |  | *** | ***
12 | Credits ( B ) |  |  |  | BZ | Heat in Atomizing Steam | [5 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  |  | #VALUE! | [5 empty] | RH | 65 | % | 10
13 |  |  |  |  | Bf | Sensible Heat in Fuel | [5 empty] | -3.6 |  |  |  | -3.6 |  |  |  |  | #VALUE! | [5 empty] | Psat. | #VALUE! | kg/cm2.g |  | Steam Air Heater
14 |  |  |  |  | BmA | Heat by Moisture in Entering Air | [5 empty] | 0 |  |  |  | 0 |  |  | 2010. 9. 29. |  | #VALUE! | M.W. |  | #VALUE! |  |  | M.W. | #VALUE! |  |  | - N/A - | *** | < Tout, Air
15 | [11 empty] | #VALUE! |  |  |  | #VALUE! |  |  | kcal/kg.fuel |  | #VALUE! | Density |  | *** | kg/Nm3 |  | Density | #VALUE! | kg/Nm3 |  | Psat. | #VALUE! | kg/cm2.g
16 | [20 empty] | #VALUE! | Spec. Heat |  | 0.45 | kcal/kg.℃ |  | h, Ref. | #VALUE! | kcal/kg |  | h, Ref. | #VALUE! | kcal/kg
17 | [11 empty] | * Reference Temp. |  |  | 45 |  | ℃ | 45 | < Air Temp. |  |  | Enthalpy |  | *** | kcal/kg |  | h, In | #VALUE! | kcal/kg |  | h, In | #VALUE! | kcal/kg
18 |  | Boundary | [19 empty] | HHV |  | 10600 | kcal/kg |  | Flow | #VALUE! | kg/kg.fuel |  | Flow | #VALUE! | kg/kg.fuel
19 | [11 empty] | Heat Output |  |  |  | Boiler Proper | [5 empty] | LHV |  | 10204 | kcal/kg |  |  | *** | kg/Nm3.fuel |  |  | 10 | < Atmz. Steam Percent
20 | [5 empty] | Heat in Steam | [5 empty] | #VALUE! |  |  |  | Evap. | #VALUE! |  |  |  |  | Fuel |  |  | weight% |  | Comb. Air |  | volume%
21 | [5 empty] | Heat in Desuperheating Water | [5 empty] | 0 |  |  |  | SH1 | #VALUE! |  |  |  |  | Carbon |  | #VALUE! | 85 |  | H2O |  | #VALUE!
22 | [5 empty] | Heat in Feedwater | [5 empty] | #VALUE! |  |  |  | SH2 | #VALUE! |  |  |  |  | Hydrogen |  | #VALUE! | 14.1 |  | N2a |  | #VALUE! |  | bar.g |  | < Press. Unit
23 | [5 empty] | Heat in Blowdown | [5 empty] | #VALUE! |  |  |  | Sum | #VALUE! |  |  |  |  | Oxygen |  | #VALUE! | 0.3 |  | O2 |  | #VALUE! |  | Gauge |  | < Gauge or Absolute
24 | [5 empty] | Heat in Steam for Miscell Uses | [5 empty] | #VALUE! |  |  |  | Output | #VALUE! |  |  |  |  | Nitrogen |  | #VALUE! | 0.1 |  | 0 |  | 0 |  |  |  | 2010. 8. 10.
25 | [11 empty] | #VALUE! |  |  | kcal/h | -> | #VALUE! |  | MBTu |  |  | Sulfur |  | #VALUE! | 0.5 |  | 0 |  | 0 |  |  | DEA | Yes
26 | [10 empty] | 100% > | #VALUE! |  |  | kcal/h | -> | #VALUE! |  | MBTu |  |  | 0 |  | #VALUE! | 0 | [6 empty] | H. Steam from | Boiler |  |  |  | VBA
27 | [21 empty] | 0 |  | #VALUE! | 0 |  | Heat Output |  |  | Steam Kind | S/H | Flowrate |  | Enthalpy |  |  | Heat Output
28 |  | Losses (L) | [19 empty] | 0 |  | #VALUE! | 0 |  | Steam at T.P. |  |  |  |  | 20000 |  | #VALUE! | hDEA | Yes | #VALUE!
29 |  |  |  |  | LG | Heat in Dry Gas | [5 empty] | #VALUE! | [8 empty] | #VALUE! | 0 |  | #VALUE! | 0 |  |  | Evap. |  |  |  | #VALUE! |  | #VALUE! | #VALUE!
30 |  |  |  |  | Lmf | Moisture in Fuel | [5 empty] | #VALUE! | [8 empty] | #VALUE! | 0 |  | #VALUE! | 0 |  |  | SH1 |  |  | Yes | #VALUE! |  | #VALUE!
31 |  |  |  |  | LH | Moisture from Burning Hydrogen | [5 empty] | #VALUE! | [8 empty] | #VALUE! | 0 |  | #VALUE! | 0 |  |  | SH2 |  |  | Yes | #VALUE! |  | #VALUE! | #VALUE!
32 |  |  |  |  | LmA | Moisture in Air | [5 empty] | #VALUE! | [8 empty] | #VALUE! | 0 |  | #VALUE! | 0 |  | Heat in Desuperheating Water |  |  |  | No | 0 |  | 0 | *** |  | #VALUE!
33 |  |  |  |  | LZ | Heat in Atomizing Steam | [5 empty] | #VALUE! |  |  | 100% | Part | Fac. |  |  |  | #VALUE! | [5 empty] | Heat in Feedwater |  |  |  |  | 20768.6 |  | #VALUE! |  |  | #VALUE!
34 |  |  |  |  | Lβ | Radiation and Convection | [5 empty] | #VALUE! |  |  | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | Tfgfinal |  |  |  |  | Heat in Blowdown |  |  |  |  | 632.6 |  | #VALUE! |  |  | #VALUE!
35 |  |  |  |  | LUNC | Unburned Hydrocarbons | [5 empty] | 0.3 | [9 empty] | 157 | ℃ | Tfgtheo |  |  | Heat in Steam for Miscell Uses |  |  |  | Yes | 136 |  | #VALUE! |  |  | #VALUE!
36 |  |  |  |  | Ldm | Design Margin | [5 empty] | 1 |  |  |  | HHV Base | [5 empty] | #VALUE! | < Cal'd | #REF! |  | ℃ |  | Driving Steam for FD Fan |  |  | No | 0 |  | 0 |  | Total | #VALUE!
37 | [10 empty] | Loss Total > | #VALUE! |  |  |  | #VALUE! |  |  |  |  | #VALUE! |  | #VALUE! |  |  |  |  | #VALUE!
38 | [10 empty] | Efficiency > | #VALUE! |  |  |  | #VALUE! |  |  |  |  | #VALUE! |  | #VALUE!
39 | H E A T L O S S C A L C U L A T I O N | [20 empty] | Flue Gas |  | volume% |  |  |  | m
40 | LG |  | = | WG | x ( | CptG | x | tG | - | CpGtRA | x | tRA | ) | [5 empty] | LHV Base |  |  | H2O |  | #VALUE! |  |  | LG | #VALUE! | kg/kg.fuel |  | *** | kg/Nm3.fuel
41 |  |  | = | #VALUE! | x ( | #VALUE! | x | #VALUE! | - | #VALUE! | x | #VALUE! | ) = | #VALUE! |  | kcal/kg.fuel |  | -> | #VALUE! | % |  | CO2 |  | #VALUE! |  |  | tG | #VALUE! | tRA | #VALUE! | ℃ | Ppartial |  | #VALUE! | kg/cm2.g
42 | Lmf |  | = | mmf x ( htG - hRwv ) = |  |  |  | #VALUE! | x ( | #VALUE! | - | #VALUE! | ) = | #VALUE! |  | kcal/kg.fuel |  | -> | #VALUE! | % |  | N2a |  | #VALUE! |  |  | Lmf | #VALUE! | kg/kg.fuel |  | *** | kg/Nm3.fuel
43 | LH |  | = | mH x ( htG - hRwv ) = |  |  |  | #VALUE! | x ( | #VALUE! | - | #VALUE! | ) = | #VALUE! |  | kcal/kg.fuel |  | -> | #VALUE! | % |  | O2 |  | #VALUE! |  |  | LH | #VALUE! | kg/kg.fuel |  | *** | kg/Nm3.fuel
44 | LmA |  | = | mmA x ( htG - hRwv ) = |  |  |  | #VALUE! | x ( | #VALUE! | - | #VALUE! | ) = | #VALUE! |  | kcal/kg.fuel |  | -> | #VALUE! | % |  | SO2 |  | #VALUE! |  |  | LmA | #VALUE! | kg/kg.fuel |  | *** | kg/Nm3.fuel
45 | LZ |  | = | mZ x ( htG - hRwv ) = |  |  |  | #VALUE! | x ( | #VALUE! | - | #VALUE! | ) = | #VALUE! |  | kcal/kg.fuel |  | -> | #VALUE! | % |  | M.W. |  | #VALUE! |  |  | LZ | #VALUE! | kg/kg.fuel |  | *** | kg/Nm4.fuel
46 | [21 empty] | Density |  | #VALUE! |  | kg/Nm3
47 | F U E L C O N S U M P T I O N | [9 empty] | C O M B. A I R & F L U E G A S | [16 empty] | Dry
48 | Boiler Efficiency |  |  |  |  | #VALUE! |  |  | % |  |  |  | Comb. Air |  |  | Flue Gas | [5 empty] | Unit Flowrate | [9 empty] | Comb. Air |  | Flue Gas
49 | Heat Input |  |  |  |  | #VALUE! |  |  | kcal/h |  | Flowrate |  | #VALUE! |  |  | #VALUE! |  |  | kg/h |  |  | #VALUE! |  | #VALUE! |  | kg/kg.fuel |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | kg/h
50 | Fuel Flowrate |  |  |  |  | #VALUE! |  |  | kg/h |  |  |  | #VALUE! |  |  | #VALUE! |  |  | Nm3/h |  |  | #VALUE! |  | #VALUE! |  | Nm3/kg.fuel |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | Nm3/h
51 | [5 empty] | *** |  |  | Nm3/h | [12 empty] | Gas Air Heater |  |  |  |  | Flue Gas Recirculation System
52 | Heat Input by GAH + FGR |  |  |  |  | 0 |  |  | kcal/h | [12 empty] | - N/A - | *** | < Tout, Air |  |  | - N/A - | ***
53 | Furnace Heat Input |  |  |  |  | #VALUE! |  |  | kcal/h | [12 empty] | h | ***
54 | - B L A N K -
55
56
57
58
59 | Notes
60 | *1)
*2)
*3)
| NTES | [18 empty] | Narai Thermal Engineering Services