## Firing
| C O M B U S T I O N C A L C U L A T I O N | [19 empty] | Gas Fuel |  |  | Natural Gas |  | 10832 | 9807 | < The Other Fuel |  |  | Commercial Fuel
[20 empty] | Sel. > | Input |  |  | *** |  | Input |  |  | volume% |  | volume% |  | LNG | LPG | City Gas 13A | City Gas 6B
1 | Project |  |  | Misurata Combined Cycle Projects | [10 empty] | Job No. |  | SO-2219 |  |  |  | *** |  |  | *** |  | Nitrogen |  |  | 0.67 |  | Methane |  | 90 |  | 88 | 29
2 | Client |  |  | GECOL / Lybia | [10 empty] | Doc. No. |  | CAL - COMB - 100 |  |  |  | *** |  |  | *** |  | Carbon dioxide |  |  | 7.353 |  | Ethane |  | 6 | 1 | 5 | 1
3 | Contractor |  |  | Daewoo E&C | [10 empty] | Date |  | 2014. 1. 1. |  |  |  | *** |  |  | *** |  | Methane |  |  | 82.656 |  | Propane |  | 4 | 96 | 5
4 | [14 empty] | Revision |  | 0 |  |  |  | *** |  |  | *** |  | Ethane |  |  | 4.757 |  | n-Butane |  |  | 3 | 2
5 | Service of Unit |  |  | Auxiliary Boiler & Auxiliary Equipment | [10 empty] | Item No. |  | 90EKG51 AV001 |  |  |  | *** |  |  | *** |  | Propane |  |  | 2.143 |  | i-Butane
6 | Operating Case |  |  | Design | [16 empty] | *** |  |  | *** |  | i-Butane |  |  | 0.556 |  | Ethylene |  |  |  |  | 3
7 | [16 empty] | 90EKG51 AV001 |  |  |  | *** |  |  | *** |  | n-Butane |  |  | 0.734 |  | Propylene |  |  |  |  | 2
8 | F U E L D A T A | [19 empty] | *** |  |  | *** |  | i-Pentane |  |  | 0.28 |  | Hydrogen |  |  |  |  | 37
9 | Kind for Design |  |  | Liquid Fuel |  |  | Dual Fuel |  | Yes |  | Pressure |  |  |  |  | 26 |  | bar.g |  |  | *** |  |  | *** |  | n-Pentane |  |  | 0.239 |  | Oxygen |  |  |  |  | 2
10 | Fuel Name |  |  | Diesel Oil |  |  | The Other Fuel |  | Natural Gas |  | Temperature |  |  |  |  | 37 |  | ℃ |  |  | *** |  |  | *** |  | i-Hexane |  |  | 0.254 |  | Nitrogen |  |  |  |  | 8
11 | Composition : | [19 empty] | *** |  |  | *** |  | n-Hexane |  |  | 0.12 |  | Carbon monoxide |  |  |  |  | 3
12 | Component |  | Formula |  | M.W. |  | HHV |  | LHV |  | weight% |  | weight | mole | volume | kmole | HHV | LHV |  |  | *** |  |  | *** |  | n-Heptane |  |  | 0.192 |  | Carbon dioxide |  |  |  |  | 15
13 | [6 empty] | kcal/kg |  |  |  | Input |  | % |  |  |  | kcal/kg |  |  | <- | Unit for Design |  |  | 0 |  |  |  |  | 99.954 |  |  |  | 100 | 100 | 100 | 100 |  | kcal/Nm3
14 | Carbon |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 85 |  | 85 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  |  | kcal/kg |  |  |  |  | HHV | LHV |  |  |  |  | HHVinput > | #VALUE! | #VALUE! | #VALUE! | #VALUE! | kcal/kg | 10454.3194 | 22551.0881 | 10923.5906 | 5031.6301
15 | Hydrogen |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 14.1 |  | 14.1 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  |  | Liquid Fuel |  |  | Diesel Oil |  | 10600 | 10204 | < The Other Fuel |  |  |  | LHVinput > | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 9515.777 | 22316.4525 | 9958.9776 | 4510.2176
16 | Oxygen |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0.3 |  | 0.3 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  | Sel. > | Input |  |  | weight% |  | Input |  |  | weight% |  | weight% |  | Diesel Oil |  | B-C, Low S | B-C, High S
17 | Nitrogen |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0.1 |  | 0.1 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  |  | Carbon |  |  | 85 |  | Carbon |  |  | 85 |  | Carbon |  | 85 |  | 85.5 | 84
18 | Sulfur |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0.5 |  | 0.5 | #VALUE! | *** | #VALUE! | #VALUE! | #VALUE! |  |  | Hydrogen |  |  | 14.1 |  | Hydrogen |  |  | 14.1 |  | Hydrogen |  | 14.1 |  | 11.8 | 11.3
19 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | Oxygen |  |  | 0.3 |  | Oxygen |  |  | 0.3 |  | Oxygen |  | 0.3 |  | 0.4 | 0.4
20 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | Nitrogen |  |  | 0.1 |  | Nitrogen |  |  | 0.1 |  | Nitrogen |  | 0.1 |  | 0.3 | 0.3
21 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | Sulfur |  |  | 0.5 |  | Sulfur |  |  | 0.5 |  | Sulfur |  | 0.5 |  | 2 | 4
22 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | 0 |  |  | 0
23 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | 0 |  |  | 0
24 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | 0 |  |  | 0
25 | 0 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | 0 | 0 | *** | 0 | #VALUE! | #VALUE! |  |  | 0 |  |  | 0
26 | Total | [5 empty] | kcal/kg |  |  |  | 100 |  | 100 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! |  | VBA | 0 |  |  | 0
27 |  |  |  | M.W. > | #VALUE! |  |  | H2O > | #VALUE! | wt% | #VALUE! | kg/kg.fuel |  |  |  | Input > | 10600 | 10204 |  | #VALUE! | 0 |  |  | 0
28 |  |  |  | Density > | *** |  | kg/Nm3 |  | #VALUE! | vol% | *** | *** |  | *** |  | *** | *** | *** |  |  | 0 |  |  | 0
29 | C O M B U S T I O N A I R D A T A | [9 empty] | B U R N E R D A T A | [12 empty] | 100 |  |  |  |  | 100 |  |  |  | 100 |  | 100 | 100
30 | Temperature |  |  |  |  | 45 |  |  | ℃ | [5 empty] | Recommended EA > | 15 |  |  |  |  | 환산 > | kJ | -> | kcal | [7 empty] | HHVinput > | 10900 |  | 10300 | 10250 | kcal/kg
31 | Pressure |  |  |  |  | 0 |  |  | bar.g |  | Excess Air |  |  |  |  | 10 |  | % |  |  | 41060 |  | 9807.0125 | [8 empty] | LHVinput > | 10160 |  | 9680 | 9650
32 | Rel. Humidity |  |  |  |  | 65 |  |  | % |  | Atomizing Steam |  |  |  |  | 10 |  | %wt.fuel |  | <- | 10 | < Atmz.Stm > |  | Yes | -> | Yes | < Application
33 | [20 empty] | A I R d e f i n e d
34 | C O M B U S T I O N C A L C U L A T I O N | [19 empty] | Temperature |  |  | 45 |  | ℃ |  |  | The Other Fuel
35 | Component |  | Formula | Mole | Required, kmole / kmole | [7 empty] | Flue Gas, kmole / kmole | [7 empty] | Pressure |  |  | 0 |  | bar.g |  |  | Kind | Gas Fuel
36 |  |  |  | Frac. | O2 |  | N2a |  | Moist/Steam |  | Air |  | CO2 |  | H2O |  | N2a | SO2 |  |  | Relative Humidity |  |  | 65 |  | % |  |  | HHV | LHV | < Selected
37 | Carbon |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Dew Point |  |  | #VALUE! |  | ℃ |  |  | 10832 | 9807 | kcal/kg
38 | Hydrogen |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Composition |  |  | volume% |  | Dry Air |  | weight%
39 | Oxygen |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | H2O |  |  | #VALUE! |  | 0 |  | #VALUE!
40 | Nitrogen |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | N2a |  |  | #VALUE! |  | 79.05
41 | Sulfur |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | O2 |  |  | #VALUE! |  | 20.95
42 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [9 empty] | Ar | 0.934
43 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! | [9 empty] | CO2 | 0.0314
44 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Total |  |  | #VALUE! |  | 100
45 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | M. Weight |  |  | #VALUE!
46 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Density |  |  | #VALUE! |  | kg/Nm3 | #VALUE! | kg/m3
47 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Dew Point |  |  | #VALUE! |  | ℃
48 | 0 |  | #VALUE! | 0 | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
49 | Sum | Theoretical |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | Atomizing Steam
50 |  | with Excess Air |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  |  | #VALUE! |  | kmole/kmole.fuel
51 | F L U E G A S D A T A | [19 empty] | #VALUE! |  | kg/kg.fuel |  | *** |  | ***
52 | Formula |  | kmole / |  | Composition, Wet |  |  |  | Composition, Dry | [6 empty] | Flue Gas | Comb. Air |  |  |  | H2O from Burning H2 | [6 empty] | DRY | Flue Gas |  | Comb. Air
53 |  |  | kmole.fuel |  | volume% |  | weight% |  | volume% |  | weight% |  | M. W. |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  | kg/kg.fuel |  | *** |  | *** | M. W. | #VALUE! |  | #VALUE!
54 | H2O |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 |  | #VALUE! |  | Density |  | #VALUE! |  | #VALUE! | kg/Nm3 |  |  | H2O in Air | [6 empty] | Density | #VALUE! |  | #VALUE! |  | kg/Nm3
55 | CO2 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | Dew P., H2O |  | #VALUE! |  | #VALUE! | ℃ |  |  | #VALUE! |  | kg/kg.fuel |  | *** |  | *** |  | Flue Gas |  | Comb. Air
56 | N2a |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | Flowrate |  | #VALUE! |  | #VALUE! | kg/kg.fuel |  |  | Dry Gas | [7 empty] | #VALUE! |  | #VALUE! |  | kg/kg.fuel
57 | O2 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  | #VALUE! | Nm3/kg.fuel |  |  | #VALUE! |  | kg/kg.fuel |  | *** |  | *** |  | #VALUE! |  | #VALUE! |  | Nm3/kg.fuel
58 | SO2 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | *** |  | *** | kg/Nm3.fuel |  |  | #VALUE! |  | <- VBA -> |  | *** |  |  |  | *** |  | *** |  | kg/Nm3.fuel
59 | Sum |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | *** |  | *** | Nm3/Nm3.fuel | [10 empty] | *** |  | *** |  | Nm3/Nm3.fuel
60 | Notes
61 | *1)
62 | *2)
62 | *3)
| #REF! | [17 empty] | #REF!
VBA
| F U E L D A T A | [19 empty] | Air |  |  |  |  | Dry Air
| #VALUE! |  | #VALUE! | [17 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
[21 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
| #VALUE! |  | #VALUE! | [17 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
| #VALUE! |  | #VALUE! | [17 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
[21 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE!
[17 empty] | #VALUE! | #VALUE! | [5 empty] | #VALUE!
[5 empty] | #VALUE! | [18 empty] | #VALUE!
[5 empty] | #VALUE! | [18 empty] | #VALUE!
C O M B U S T I O N C A L C U L A T I O N
[5 empty] | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
[5 empty] | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE!
| F L U E G A S D A T A | [14 empty] | Flue Gas | Comb. Air
| #VALUE! |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE!
| #VALUE! |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE!
| #VALUE! |  | #VALUE! |  | #VALUE! | [12 empty] | #VALUE!
| #VALUE! |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE! | #VALUE!
| #VALUE! |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE!
| Sum |  | #VALUE! |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE!
[15 empty] | #VALUE! |  | #VALUE!
Note on R8: Cell is filled !
Note on R9: Cell is filled !
Note on T87: Cell is filled !
Note on T88: Cell is filled !
Note on T89: Cell is filled !
Note on T90: Cell is filled !