## 1.17 ata
P R O C E S S F L O W D I A G R A M f o r L E T D O W N S Y S T E M | [18 empty] | Doc. No. |  | PFD - LD - 100
[19 empty] | Date |  | 2010. 10. 5.
Job No. |  | 080115 | [8 empty] | Item No. |  |  |  | FW-HE-02 |  |  |  | Revision |  | 0
Project |  | 군장 국가산업단지 집단에너지 건설공사 | [8 empty] | Service |  |  |  | #2 LP Heater |  |  |  | Sheet No. |  |  | 1 | of | 1
O P E R A T I O N D A T A
[19 empty] | Legend | [6 empty] | Steam Flowrate |  |  | 10000 | kg/h
[26 empty] | Steam Press. |  |  | 15 | #VALUE!
[19 empty] | P | T | [5 empty] | Steam Temp. |  |  | #VALUE! | ℃
[19 empty] | m | h | [5 empty] | Feedwater Temp. |  |  | 20 | ℃
[26 empty] | Deaerator Press. |  |  | 1 | #VALUE!
[19 empty] | P | Press. |  | #VALUE! |  |  |  | Blowdown Rate |  |  | 3 | %Steam Flow
[19 empty] | T | Temp. |  | ℃
[19 empty] | m | Flowrate |  | kg/h
| Pressure Reducing Only | [17 empty] | h | Enthalpy |  | kcal/kg
[26 empty] | kg/cm2.g |  | < Press. Unit
[26 empty] | Absolute |  | < Gauge or Absolute
| MP Steam |  |  |  |  | LP Steam | [19 empty] | Sat. |  | < Steam Kind
| 15 |  | 234 |  |  | 1.17 | #VALUE! | [18 empty] | 270 |  | < S/H Steam Temp.
| 30530 |  | #VALUE! |  |  | 30530 | #VALUE! | [18 empty] | #VALUE! |  | ℃ | < Sat. Temp.
[26 empty] | #VALUE! |  | kg/cm2.g
Press. Reducing Valve
[26 empty] | NPS | NPS |  | Nominal Pipe Size |  | mm
[26 empty] | Vel. | Vel. |  | Fluid Velocity |  | m/sec
Pressure Reducing & De-superheating
ΔP
| MP Steam |  |  |  |  | LP Steam |  |  | 0.1 |  |  | De-S/H Steam
| 15 |  | 234 |  |  | 1.27 | #VALUE! |  |  |  |  | 1.17 |  | #VALUE!
| 31000 |  | #VALUE! |  |  | 31000 | #VALUE! |  |  |  |  | #VALUE! |  | #VALUE!
[5 empty] | Press. Reducing Valve | [5 empty] | De-superheater
Spray Water
[8 empty] | 5 |  | 60
[8 empty] | #VALUE! |  | #VALUE!
NTES | [24 empty] | Narai Thermal Engineering Services
MP Steam
|  | Tsat > | #VALUE! | S/H |  | LP Steam | [6 empty] | Tsat > | #VALUE! |  | Sat.
| 15 |  | 234 | < TS/H |  | 1.17 | #VALUE! |  | < Tsat |  |  | 1.17 |  | 120
| 30530 | [5 empty] | #VALUE! |  | < hsat |  |  |  |  | #VALUE! |  | < hsat
[6 empty] | 1.27 | #VALUE! |  | < Tsat |  | H&M Balance Check for De-superheater
[7 empty] | #VALUE! |  | < hsat |  | LP Steam |  |  | Spray Water |  |  | De-S/H Steam
[10 empty] | m | 31000 |  |  | #VALUE! |  |  | #VALUE!
[10 empty] | h | #VALUE! |  |  | #VALUE! |  |  | #VALUE!
[10 empty] | m x h | #VALUE! |  |  | #VALUE! |  |  | #VALUE!
[16 empty] | Deviation > | #VALUE! | %

## 3 ata
P R O C E S S F L O W D I A G R A M f o r L E T D O W N S Y S T E M | [18 empty] | Doc. No. |  | PFD - LD - 100
[19 empty] | Date |  | 2010. 10. 5.
Job No. |  | 080115 | [8 empty] | Item No. |  |  |  | FW-HE-02 |  |  |  | Revision |  | 0
Project |  | 군장 국가산업단지 집단에너지 건설공사 | [8 empty] | Service |  |  |  | #2 LP Heater |  |  |  | Sheet No. |  |  | 1 | of | 1
O P E R A T I O N D A T A
[19 empty] | Legend | [6 empty] | Steam Flowrate |  |  | 10000 | kg/h
[26 empty] | Steam Press. |  |  | 15 | #VALUE!
[19 empty] | P | T | [5 empty] | Steam Temp. |  |  | #VALUE! | ℃
[19 empty] | m | h | [5 empty] | Feedwater Temp. |  |  | 20 | ℃
[26 empty] | Deaerator Press. |  |  | 1 | #VALUE!
[19 empty] | P | Press. |  | #VALUE! |  |  |  | Blowdown Rate |  |  | 3 | %Steam Flow
[19 empty] | T | Temp. |  | ℃
[19 empty] | m | Flowrate |  | kg/h
| Pressure Reducing Only | [17 empty] | h | Enthalpy |  | kcal/kg
[26 empty] | kg/cm2.g |  | < Press. Unit
[26 empty] | Absolute |  | < Gauge or Absolute
| MP Steam |  |  |  |  | LP Steam | [19 empty] | Sat. |  | < Steam Kind
| 15 |  | 234 |  |  | 3 | #VALUE! | [18 empty] | 270 |  | < S/H Steam Temp.
| 30530 |  | #VALUE! |  |  | 30530 | #VALUE! | [18 empty] | #VALUE! |  | ℃ | < Sat. Temp.
[26 empty] | #VALUE! |  | kg/cm2.g
Press. Reducing Valve
[26 empty] | NPS | NPS |  | Nominal Pipe Size |  | mm
[26 empty] | Vel. | Vel. |  | Fluid Velocity |  | m/sec
Pressure Reducing & De-superheating
ΔP
| MP Steam |  |  |  |  | LP Steam |  |  | 0.1 |  |  | De-S/H Steam
| 15 |  | 234 |  |  | 3.1 | #VALUE! |  |  |  |  | 3 |  | #VALUE!
| 30500 |  | #VALUE! |  |  | 30500 | #VALUE! |  |  |  |  | #VALUE! |  | #VALUE!
[5 empty] | Press. Reducing Valve | [5 empty] | De-superheater
Spray Water
[8 empty] | 5 |  | 60
[8 empty] | #VALUE! |  | #VALUE!
NTES | [24 empty] | Narai Thermal Engineering Services
MP Steam
|  | Tsat > | #VALUE! | S/H |  | LP Steam | [6 empty] | Tsat > | #VALUE! |  | Sat.
| 15 |  | 234 | < TS/H |  | 3 | #VALUE! |  | < Tsat |  |  | 3 |  | 120
| 30530 | [5 empty] | #VALUE! |  | < hsat |  |  |  |  | #VALUE! |  | < hsat
[6 empty] | 3.1 | #VALUE! |  | < Tsat |  | H&M Balance Check for De-superheater
[7 empty] | #VALUE! |  | < hsat |  | LP Steam |  |  | Spray Water |  |  | De-S/H Steam
[10 empty] | m | 30500 |  |  | #VALUE! |  |  | #VALUE!
[10 empty] | h | #VALUE! |  |  | #VALUE! |  |  | #VALUE!
[10 empty] | m x h | #VALUE! |  |  | #VALUE! |  |  | #VALUE!
[16 empty] | Deviation > | #VALUE! | %

## 1.5 ata
P R O C E S S F L O W D I A G R A M f o r L E T D O W N S Y S T E M | [18 empty] | Doc. No. |  | PFD - LD - 100
[19 empty] | Date |  | 2010. 10. 5.
Job No. |  | 080115 | [8 empty] | Item No. |  |  |  | FW-HE-02 |  |  |  | Revision |  | 0
Project |  | 군장 국가산업단지 집단에너지 건설공사 | [8 empty] | Service |  |  |  | #2 LP Heater |  |  |  | Sheet No. |  |  | 1 | of | 1
O P E R A T I O N D A T A
[19 empty] | Legend | [6 empty] | Steam Flowrate |  |  | 10000 | kg/h
[26 empty] | Steam Press. |  |  | 15 | #VALUE!
[19 empty] | P | T | [5 empty] | Steam Temp. |  |  | #VALUE! | ℃
[19 empty] | m | h | [5 empty] | Feedwater Temp. |  |  | 20 | ℃
[26 empty] | Deaerator Press. |  |  | 1 | #VALUE!
[19 empty] | P | Press. |  | #VALUE! |  |  |  | Blowdown Rate |  |  | 3 | %Steam Flow
[19 empty] | T | Temp. |  | ℃
[19 empty] | m | Flowrate |  | kg/h
| Pressure Reducing Only | [17 empty] | h | Enthalpy |  | kcal/kg
[26 empty] | kg/cm2.g |  | < Press. Unit
[26 empty] | Absolute |  | < Gauge or Absolute
| MP Steam |  |  |  |  | LP Steam | [19 empty] | Sat. |  | < Steam Kind
| 15 |  | 234 |  |  | 1.5 | #VALUE! | [18 empty] | 270 |  | < S/H Steam Temp.
| 30530 |  | #VALUE! |  |  | 30530 | #VALUE! | [18 empty] | #VALUE! |  | ℃ | < Sat. Temp.
[26 empty] | #VALUE! |  | kg/cm2.g
Press. Reducing Valve
[26 empty] | NPS | NPS |  | Nominal Pipe Size |  | mm
[26 empty] | Vel. | Vel. |  | Fluid Velocity |  | m/sec
Pressure Reducing & De-superheating
ΔP
| MP Steam |  |  |  |  | LP Steam |  |  | 0.1 |  |  | De-S/H Steam
| 15 |  | 234 |  |  | 1.6 | #VALUE! |  |  |  |  | 1.5 |  | #VALUE!
| 31000 |  | #VALUE! |  |  | 31000 | #VALUE! |  |  |  |  | #VALUE! |  | #VALUE!
[5 empty] | Press. Reducing Valve | [5 empty] | De-superheater
Spray Water
[8 empty] | 5 |  | 60
[8 empty] | #VALUE! |  | #VALUE!
NTES | [24 empty] | Narai Thermal Engineering Services
MP Steam
|  | Tsat > | #VALUE! | S/H |  | LP Steam | [6 empty] | Tsat > | #VALUE! |  | Sat.
| 15 |  | 234 | < TS/H |  | 1.5 | #VALUE! |  | < Tsat |  |  | 1.5 |  | 120
| 30530 | [5 empty] | #VALUE! |  | < hsat |  |  |  |  | #VALUE! |  | < hsat
[6 empty] | 1.6 | #VALUE! |  | < Tsat |  | H&M Balance Check for De-superheater
[7 empty] | #VALUE! |  | < hsat |  | LP Steam |  |  | Spray Water |  |  | De-S/H Steam
[10 empty] | m | 31000 |  |  | #VALUE! |  |  | #VALUE!
[10 empty] | h | #VALUE! |  |  | #VALUE! |  |  | #VALUE!
[10 empty] | m x h | #VALUE! |  |  | #VALUE! |  |  | #VALUE!
[16 empty] | Deviation > | #VALUE! | %