## SS
D E A E R A T O R S P E C I F I C A T I O N S H E E T
Job No.
1 | Project |  |  | Program Development | [13 empty] | Job No. |  | J |  |  |  |  | Unit
2 | Client |  |  | C | [13 empty] | Doc. No. |  | SS - DEA - 100 |  |  |  |  | bar.g |  | Gauge | [7 empty] | ***
3 | Contractor |  |  | C | [13 empty] | Date |  | 2015. 1. 10. |  |  |  |  | ℃ |  | 0 |  | < 대기압 | [5 empty] | Condensate Return |  |  | P | T | h
4 | Code/Standard |  |  | ASME |  | Sec. VIII Div. 1 |  |  | / | HEI |  |  | ASME Stamp |  |  | No |  | Revision |  | 0 | [14 empty] | 398450 |  |  | 3 | #VALUE! | #VALUE!
5 | Service of Unit |  |  | Deaerator with Storage Tank | [6 empty] | Type |  | Spray-Tray |  |  |  |  | Item No. |  | DEA - 100 |  |  |  |  | Kind> | Heating Steam |  |  |  | Sat. |  |  |  |  | 166000 |  |  | 3 | 105 | #VALUE!
6 | Size |  |  | ID/TL / , / | [6 empty] | Deaerator Position |  |  |  | Horizontal |  |  | No., Units |  |  | 1 |  | set(s) |  |  | Steam from B/D Tk |  |  |  | Sat. |  |  |  |  | 232450 |  |  | 3 | 60 | #VALUE!
7 | Location |  |  | Outdoor | [6 empty] | Storage Tank Position |  |  |  | Horizontal |  |  | Sheet No. |  | 1 | of |  | 2 |  | Cal. Method > |  |  | Deaerated Water Out | [6 empty] | 0 |  |  | 4 | 40 | #VALUE!
8 | P E R F O R M A N C E | [37 empty] | h, Cal'd > | #VALUE!
9 | Load ID. |  |  |  |  | Design | [5 empty] | *** | [5 empty] | *** | [6 empty] | Flowrate, kg/h > |  |  | *** |  |  | *** |  |  |  | ***
10 | Flows |  |  |  | Unit | kg/h |  | ℃ |  | bar.g |  | kg/h |  | ℃ |  | bar.g |  | kg/h |  | ℃ |  | bar.g | [12 empty] | Condensate Return |  |  | P | T | h
11 |  | Condensate Return |  |  |  | #VALUE! |  | 131.2 |  | 3.5 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- |  |  |  |  | Condensate Return | 0 |  |  | 0 |  |  |  | 398450 |  |  | 3 | #VALUE! | #VALUE!
12 |  | Make-up Water |  |  |  | 0 |  | 0 |  | 0 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- |  |  |  |  | Make-up Water | 0 |  |  | 0 |  |  |  | 0 |  |  | 3 | 105 | #VALUE!
13 |  | Heating Steam |  |  |  | #VALUE! |  | #VALUE! |  | 4.01 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- | [12 empty] | 232450 |  |  | 3 | 60 | #VALUE!
14 |  | Steam from B/D Tk |  |  |  | 0 |  | 0 |  | 0 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- |  |  |  |  | Steam from B/D Tk | 0 |  |  | 0 |  |  |  | 166000 |  |  | 4 | 30 | #VALUE!
15 |  | HP Condensate |  |  |  | 0 |  | 0 |  | 0 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- |  |  |  |  | HP Condensate | 0 |  |  | 0 | [7 empty] | h, Cal'd > | #VALUE!
16 |  | LP Condensate |  |  |  | 0 |  | 0 |  | 0 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- |  |  |  |  | LP Condensate | 0 |  |  | 0
17 |  | Vent Steam |  |  |  | #VALUE! |  | #VALUE! |  | 3.5 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- |  |  |  |  | Vent Steam Flow % | 1 |  |  | 1 |  |  |  | Cal. Of Spray Valves |  |  |  | Press. Drop |  | kg/cm2
18 | Deaerated Water |  |  |  |  | 514700 |  | #VALUE! |  | 3.5 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- |  |  |  |  | Deaerated Water | 0 |  |  | 0 |  |  |  |  | set(s) |  | %Up |  |  |  | ton/h
19 | Operating Temp. / Press. | [6 empty] | #VALUE! |  | 3.5 |  |  |  | --- |  | --- |  |  |  | --- |  | --- |  |  |  |  | Oper. Press. > | 3.5 |  |  | 3.5 |  |  |  | 소형 Spray Valve | [6 empty] | 중, 대형 Spray Valve
20 | Dissolved Gases, Max. |  |  |  |  | O2 |  | CO2 |  |  |  |  | Spray Valve | [17 empty] | Spray Valve | [10 empty] | Spray Valve
21 | In | Condensate Return | [7 empty] | ppm, Max |  |  | Q'ty |  |  | set(s) |  |  | One Valve |  | Total | [9 empty] | Q'ty |  |  | set(s) |  |  | One Valve |  | Total |  |  | Q'ty | 0 | set(s) |  | One Valve | Total
22 |  | Make-up Water | [7 empty] | ppm, Max |  |  | Capacity |  |  |  |  | Maximum |  |  |  |  | ton/h |  | Storage Capa. Base | [5 empty] | Capacity |  |  |  |  | Maximum |  |  |  |  | ton/h | Capacity |  |  | Maximum |  |  | ton/h
23 | Out | Deaerated Water | [7 empty] | ppm | [7 empty] | at Load : Design |  |  |  |  | ton/h | [12 empty] | at Load : Design |  |  |  |  | ton/h |  |  |  | at Load : Design |  |  | ton/h
24 | Water Storage Capacity | [11 empty] | Press. Drop |  |  |  |  | at Load : Design |  |  |  |  | #VALUE! | [7 empty] | Press. Drop |  |  |  |  | at Load : Design |  |  |  |  | #VALUE! | Press. Drop |  |  | at Load : Design |  |  | #VALUE!
25 |  | Volume | [9 empty] | m3 | [19 empty] | L E V E L S E T T I N G
26 |  | Holding Time | [9 empty] | min
27 | C O N S T R U C T I O N | [29 empty] | Volume
28 | [7 empty] | D E A E R A T O R | [7 empty] | STORAGE VESSEL | [8 empty] | HEI Requirements, 5.4 | [5 empty] | Holding Time
29 | Design Pressure | [6 empty] | 3 |  |  |  |  | bar.g |  |  | 3 |  |  |  |  | bar.g |  |  |  | DP | minimum |  | #VALUE! | bar.g
30 | Vacuum | [6 empty] | F/V | [7 empty] | F/V | [7 empty] | Hydro | Vac |  |  | The vessel shall be designed for vacuum,
31 | Test Pressure | [6 empty] | 3.9 |  |  |  |  | bar.g |  |  | 3.9 |  |  |  |  | bar.g |  |  | 1.3 |  |  |  | or shall be provided with a vacuum relief valve.
32 | Design Temperature / MDMT |  |  |  |  | #VALUE! |  | 210 |  | / | 0 |  | ℃ |  |  | 210 |  | / | 0 |  | ℃ |  |  |  | DT | minimum |  | #VALUE! | ℃
33 | Corrosion Allowance | [6 empty] | 3.2 |  |  |  |  | mm |  |  | 3.2 |  |  |  |  | mm |  |  |  | HEI Requirements, Special, 5.3
34 | Shell ID / Thickness | [11 empty] | mm | [7 empty] | mm |  |  |  | C.A. | 1/8" | -> | 3.175 | mm, minimum
35 | TL-TL / Head Thickness | [11 empty] | mm | [7 empty] | mm
36 | Type Heads | [6 empty] | 2:1 Ellipsoidal | [7 empty] | 2:1 Ellipsoidal
37 | Vacuum Rings
38 | Weight : Empty / Operating / Flooded | [12 empty] | kg | [7 empty] | kg |  |  | HEI Requirements, Special, 5.3
39 | Radiography : Shell / Head | [6 empty] | Full |  |  | / | Full |  |  |  | Full |  |  | / | Full |  |  |  |  | RT |  | 100% x-rayed
40 | Magnetic Particle Inspection | [6 empty] | Yes | [7 empty] | Yes | [8 empty] | WFMPT |  | Yes | * Wet Fluorescent Magnetic Particle Testing
41 | Stress Relief ( PWHT ) | [6 empty] | Yes | [7 empty] | Yes | [8 empty] | PWHT |  | Yes
42 | Surface Preparation : Internal / External | [6 empty] | as per spec. |  |  | / | as per spec. |  |  |  | as per spec. |  |  | / | as per spec.
43 | Insulation Clips |  |  | / | Insulation |  |  | Provided |  |  | / | by Others |  |  |  | Provided |  |  | / | by Others | [11 empty] | SA 516-70 | [5 empty] | SA 516-70
44 | M A T E R I A L S | [27 empty] | M A T E R I A L S
45 | [7 empty] | D E A E R A T O R | [7 empty] | STORAGE VESSEL | [8 empty] | Shell |  | Head |  | D E A E R A T O R | [5 empty] | STORAGE VESSEL | [6 empty] | ASME Material
46 | Shell |  | & | Head |  |  |  | SA 516-70 | [7 empty] | SA 516-70 | [8 empty] | ASME |  | ASME |  | A 516-70 |  |  | A 516-70 |  |  | A 516-70 |  |  | A 516-70 |  |  |  | S
47 | Spray Valves |  |  | / | Trays |  |  | 316 SS |  |  |  | 430 SS | [15 empty] | Cladding > | No |  |  | SS 316 L |  | 3 | No |  |  | SS 316 L |  | 3 | t, mm
48 | Support | [6 empty] | SA 283-C | [7 empty] | SA 283-C | [8 empty] | ASME |  |  |  | A 283-C | [5 empty] | A 283-C | [6 empty] | S
49 | Platform / Ladder |  |  |  | Provided |  |  | SA 36 | [7 empty] | SA 36 | [8 empty] | ASME |  |  |  | A 36 | [5 empty] | A 36 | [6 empty] | S
50 | M A I N A C C E S S O R I E S | [11 empty] | M A I N N O Z Z L E L I S T
51 | D E A E R A T O R | Vent Condenser |  |  |  |  | Internal | [5 empty] | Service |  |  |  | Size |  | Q'ty | Type |  | Rating
52 |  | Safety Relief Valve |  |  |  |  | Provided |  |  | 8" x | 1 | set(s) | Condensate Return |  |  |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  |  | Common |  | *** | *** |  | *** | *** |  | ***
53 |  | Vacuum Breaker |  |  |  |  | - N/A - |  |  |  | 0 | set(s) | Make-up Water |  |  |  | *** |  | *** | *** |  | *** |  |  | - N/A -
54 |  | Press. Gauge |  |  |  |  | by Others | [5 empty] | Heating Steam |  |  |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE!
55 |  | Press. Transmitter |  |  |  |  | by Others | [5 empty] | Steam from B/D Tk |  |  |  | *** |  | *** | *** |  | *** |  |  | - N/A - | < | Steam from B/D Tk |  |  |  | *** |  | *** | *** |  | ***
56 |  | Temp. Gauge |  |  |  |  | - N/A - | [5 empty] | Vent Steam |  |  |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  |  | Orifice Dia. |  | #VALUE! |  | 1 | < Vent Nozzle Q'ty
57 |  | Temp. Transmitter |  |  |  |  | - N/A - | [5 empty] | Safety Valve |  |  |  | 8" |  | 1 | Flanged |  | 150 lb |  |  | Safety Valve |  |  | 1 > | 8" | 1 | Flanged |  | 150 lb
58 | STORAGE VESSEL | Level Bridle |  |  |  |  | Provided | [5 empty] | Deaerated Water |  |  |  | 20" |  | 1 | Flanged |  | 150 lb |  |  | Deaerated Water |  |  | Main BFW Out
59 |  | Level Gauge |  |  |  |  | by Others | [5 empty] | Overflow |  |  |  | 12" |  | 1 | Flanged |  | 150 lb |  |  | Sparger Pipe for Start-up |  |  |  |  | Provided |  | < | Sparger Pipe for Start-up
60 |  | Level Transmitter |  |  |  |  | by Others | [5 empty] | Sparger Pipe for Start-up | [5 empty] | 1 | #VALUE! |  | #VALUE! |  |  | - Suggested in case of frequent cooldown and reheat.
61 |  | Temp. Gauge |  |  |  |  | by Others | [5 empty] | Manhole on Deaerator |  |  |  | 24" |  | 1 | Flanged |  | 150 lb |  |  | Manhole on Deaerator |  |  |  |  | 24" | 1 | Flanged | 150 lb
62 |  | Temp. Transmitter |  |  |  |  | by Others | [5 empty] | Manhole on Storage Vessel |  |  |  | 24" |  | 1 | Flanged |  | 150 lb |  |  | Manhole on Storage Vessel |  |  |  |  | 24" | 1 | Flanged | 150 lb
63 |  | Sparger Pipe for Start-up |  |  |  |  | Provided
64 | Notes
65 | *1) | [23 empty] | Water Column Name
66 | *2) | [23 empty] | Level Bridle
67 | *3)
| NTES | [21 empty] | Narai Thermal Engineering Services
| HEI Requirements, 5.9 | [7 empty] | Max. Capa.
| Safety Relief Valve |  |  |  | Size | 6" |  |  | 514700 |  | kg/h |  | Safety Valve |  |  |  | *** |  | 0 | *** |  | *** |  |  | Safety Valve |  |  | 2 > | *** | 0 | Flanged |  | 150 lb
| Vacuum Breaker |  |  |  | Size | 6" |  |  | 1134700.1764 |  | lb/h
| * Aboves may not be provided unless requested by others. | [11 empty] | Aux. BFW Out |  |  |  | *** |  | *** | *** |  | *** |  |  | - N/A - | < | Aux. BFW Out |  |  | *** | 0
| Temp. Gauge |  |  | 2 sets, 1 to steam space, 1 to storage section
[27 empty] | Extracted Steam | 0 |  |  | 0
|  | Extracted Steam |  |  |  | 0 |  | #VALUE! |  | 3.5 |  | --- |  | --- |  | --- |  | --- |  | --- |  | ---
|  | Condensate |  |  |  | 0 |  | 0 |  | 0 |  | --- |  | --- |  | --- |  | --- |  | --- |  | --- |  |  |  |  | Condensate | 0 |  |  | 0
[13 empty] | Steam 2 |  |  |  | *** |  | *** | *** |  | *** |  |  | 0 | < | Steam 2 |  |  |  | *** |  | *** | *** |  | ***
[13 empty] | HP Condensate |  |  |  | *** |  | *** | *** |  | ***
[13 empty] | LP Condensate |  |  |  | *** |  | *** | *** |  | ***
Note on G34: Cell is filled !
Note on J6: Cell is filled !
Note on M48: Cell is filled !
Note on N28: Cell is filled !
Note on O13: Design 값과 다른 경우 직접 Input 요 !
Note on P28: Cell is filled !
Note on Q13: Design 값과 다른 경우 직접 Input 요 !
Note on R28: Cell is filled !
Note on S28: Cell is filled !
Note on U13: Design 값과 다른 경우 직접 Input 요 !
Note on U48: Cell is filled !
Note on W13: Design 값과 다른 경우 직접 Input 요 !
Note on AQ48: Cell is filled !
Note on AQ50: Cell is filled !
Note on AQ51: Cell is filled !
1
Refer to " General Assembly "

## SS2
D E A E R A T O R S P E C I F I C A T I O N S H E E T
1 | Project |  |  | Program Development | [12 empty] | Job No. |  | J |  |  |  | Unit
2 | Client |  |  | C | [12 empty] | Doc. No. |  | SS - DEA - 100 |  |  |  | bar.g | Gauge
3 | Contractor |  |  | C | [12 empty] | Date |  | 2015. 1. 10. |  |  |  | ℃ | 0 | < 대기압
4 | Code/Standard |  |  | ASME | Sec. VIII Div. 1 |  |  | / | HEI |  |  | ASME Stamp |  |  | No |  | Revision |  | 0
5 | Service of Unit |  |  | Deaerator with Storage Tank | [5 empty] | Type |  | Spray-Tray |  |  |  |  | Item No. |  | DEA - 100
6 | Size |  |  | ID/TL / , / | [5 empty] | Deaerator Position |  |  |  | Horizontal |  |  | No., Units |  |  | 1 |  | set(s)
7 | Location |  |  | Outdoor | [5 empty] | Storage Tank Position |  |  |  | Horizontal |  |  | Sheet No. |  | 2 | of |  | 2
8 | H E A T & M A S S B A L A N C E D I A G R A M
9 | [17 empty] | Legend
10 |  | Load | : | Design | [13 empty] | P | T
11 | [17 empty] | m | h
12 |  | Condensate Return | [10 empty] | Vent Steam |  |  |  |  | P | Pressure |  | bar.g |  | Condensate Return
13 |  | 3.5 |  | 131.2 |  | 12" | 1 | #VALUE! |  |  |  |  | 3.5 |  | #VALUE! |  |  | T | Temperatue |  | ℃ |  | Make-up Water
14 |  | #VALUE! |  | #VALUE! | [8 empty] | #VALUE! |  | #VALUE! |  |  | m | Mass Flow |  | kg/h |  | ↓
15 |  | Make-up Water | [15 empty] | h | Enthalpy |  | kcal/kg |  | Common
16 |  | 0 |  | 0 |  | 4" | 1 | *** |  |  |  |  | 1 1/2" | 1 | #VALUE! | [7 empty] | - N/A -
17 |  | 0 |  | 0 | [13 empty] | NPS | Nz | Vel |  |  | kcal/kg | 4.1868 | kJ
18 | [17 empty] | NPS | Nominal Pipe Size
19 |  | Heating Steam | [15 empty] | Nz | No. of Nozzles
20 |  | 4.01 |  | #VALUE! |  | 10" | 1 | #VALUE! | [9 empty] | Vel | Fluid Vel. |  | m/sec
21 |  | #VALUE! |  | #VALUE!
22 |  | Steam from B/D Tk
23 |  | 0 |  | 0 |  | *** | 0 | *** |  | D E A E R A T O R
24 |  | 0 |  | 0 | [10 empty] | Level Setting | [15 empty] | Extracted Steam
25 | [15 empty] | Level Gap |  | Volume |  | Hold Time | [6 empty] | *** | 0 | *** |  | 0 |  | 0
26 | [15 empty] | mm |  | m3 |  | min | [10 empty] | 0 |  | 0
27 | [22 empty] | HP Condensate
28 | [9 empty] | OP | 3.5 |  | bar.g | [9 empty] | LP Condensate
29 | [9 empty] | OT | #VALUE! |  | ℃ | [9 empty] | Condensate
30 | [9 empty] | Shell Center | [12 empty] | ↓ | Shell ID
31 | [22 empty] | to DEA
32 | [22 empty] | - N/A - |  |  | Condensate
33 | [8 empty] | STORAGE VESSEL | [16 empty] | 0 |  | 0 |  | *** | 0 | ***
34 | [22 empty] | Deaerated Water |  |  | 0 |  | 0
35 | [22 empty] | Main BFW Out
36 |  | Overflow | [15 empty] | Deaerated Water
37 |  | 3.5 |  | #VALUE! | 12" | 1 | #VALUE! | [6 empty] | 20" | 1 | #VALUE! |  | 3.5 |  | #VALUE! |  |  | - N/A - | [9 empty] | Aux. BFW Out
38 |  | 514700 |  | #VALUE! | [13 empty] | 514700 |  | #VALUE! | [8 empty] | *** | 0 | *** |  | 0 | 0
39 |  | * for Nozzle Sizing | [30 empty] | 0 | 0
40
41 | H E A T & M A S S B A L A N C E
42 | [5 empty] | Flowrate |  |  | Enthalpy |  |  | Energy
43 | [5 empty] | kg/h |  |  | kcal/kg |  |  | kcal/h
44 | Input |  | Condensate Return |  |  | #VALUE! |  | x | #VALUE! |  | = | #VALUE!
45 |  |  | Make-up Water |  |  | 0 |  | x | 0 |  | = | 0
46 |  |  | Heating Steam |  |  | #VALUE! |  | x | #VALUE! |  | = | #VALUE!
47 |  |  | Steam from B/D Tk |  |  | 0 |  | x | 0 |  | = | 0
48 |  |  | HP Condensate |  |  | 0 |  | x | 0 |  | = | 0
49 |  |  | LP Condensate |  |  | 0 |  | x | 0 |  | = | 0
50 |  |  | Total |  |  | #VALUE! | [5 empty] | #VALUE!
51 | Output |  | Vent Steam |  |  | #VALUE! |  | x | #VALUE! |  | = | #VALUE!
52 |  |  | Deaerated Water |  |  | 514700 |  | x | #VALUE! |  | = | #VALUE!
53 |  |  | Total |  |  | #VALUE! | [5 empty] | #VALUE!
54 | Deviation, Input - Output |  |  |  |  | #VALUE! |  | % |  |  |  | #VALUE! |  |  | %
55 | - B L A N K -
56
57
58
59
60
61 | [22 empty] | Storage Capa. Base
62 | Notes
63 | *1)
64 | *2)
65 | *3)
66 | *4)
67 | *5)
| NTES | [20 empty] | Narai Thermal Engineering Services
|  |  | Extracted Steam |  |  | 0 |  | x | 0 |  | = | 0
|  |  | Aux. BFW Out |  |  | 0 |  | x | 0 |  | = | 0
|  |  | Condensate |  |  | 0 |  | x | 0 |  | = | 0
HP Condensate
|  | 0 |  | 0 | *** | 0 | *** | O
|  | 0 |  | 0
LP Condensate
|  | 0 |  | 0 | *** | 0 | ***
|  | 0 |  | 0
Steam 2
|  | 0 |  | 0 |  | *** | 0 | ***
|  | 0 |  | 0
Note on C65: Cell is filled !
Note on G17: Cell is filled !
Note on J6: Cell is filled !
Note on J78: Cell is filled !
Note on J80: Cell is filled !
Note on L20: Cell is filled !
Note on Z2: Cell is filled !
1
Tray Stack

## H&MB
H E A T & M A S S B A L A N C E a t D E S I G N L O A D
1 | Project |  |  | Program Development | [13 empty] | Doc. No. |  | HMB - DEA - 100
2 | Client |  |  | C | [13 empty] | Date |  | 2014. 1. 1.
3 | Contractor |  |  | C | [13 empty] | Revision |  | 0
4 | Code/Standard |  |  | ASME |  | / | HEI | [10 empty] | Sheet No. |  | 1 | of |  | 1
5 | Service of Unit |  |  | Deaerator with Storage Tank | [13 empty] | Item No. |  | DEA - 100
6 | Size
7 | P R O C E S S F L O W D I A G R A M a t L O A D : Design | [23 empty] | Legend | [5 empty] | 2010. 12. 1.
8 |  | Given > | 0 |  |  | * Make-up |  |  |  | Given > | 0 |  |  |  | Given > | 0 |  |  | * Aux. Steam |  |  | - N/A - |  |  | Flow | Flowrate |  | kg/h |  |  | Gauge or Absolute
9 |  | Condensate Return |  |  |  | Make-up Water |  |  |  | Vent Steam |  |  |  |  | Heating Steam |  |  |  | Steam from B/D Tk |  |  | Common |  |  | P | Press. |  | bar.g |  |  | Gauge |  |  |  | Mixed Condensate |  |  |  | Flowrate | P | T | h
10 |  | Flow | #VALUE! |  |  | 0 |  |  |  | Flow | #VALUE! |  |  |  | Flow | #VALUE! |  |  | 0 |  |  | *** |  |  | T | Temp. |  | ℃ |  |  | 0 |  | < 대기압 |  | Treated Condensate |  |  |  | 182750 | 3 | 105 | #VALUE!
11 |  | P | 3.5 |  |  | 3.5 |  |  |  | P | 3.5 |  |  |  | P | 4.01 |  |  | 0 |  |  | *** |  |  | h | Enthalpy |  | kcal/kg |  |  | 4.1868 |  | kJ |  | Pure Condensate |  |  |  | 284080 | 3 | 60 | #VALUE!
12 |  | T | 131.2 |  |  | 60 |  |  |  | T | #VALUE! |  |  |  | T | #VALUE! |  |  | *** |  |  | *** | [5 empty] | Kind |  | Tsh |  | P |  |  | Backup Demin Water |  |  |  | 0 | 4 | 40 | #VALUE!
13 |  | h | #VALUE! |  |  | 0 |  |  |  | h | #VALUE! |  |  |  | h | #VALUE! |  |  | 0 |  |  | *** |  |  |  |  | Heating Steam | Sat. |  | 250 |  |  |  |  | Condensate Return |  |  |  | 466830 | 3 | #VALUE! | #VALUE!
14 | [9 empty] | Cal'd V.S. > | #VALUE! |  | Net H.S. > | #VALUE! | kg/h |  |  |  | Steam 2 |  |  | *** |  |  |  |  | Steam from B/D Tk | Sat. |  | 200 |  | 3.5 | [8 empty] | h, Cal'd > | #VALUE!
15 | [5 empty] | Common | [12 empty] | 0 |  |  | 150 |  |  | Vent Steam Flow |  |  | Sat. |  | 200 |  | 3.5
16 | [5 empty] | - N/A - | [12 empty] | *** |  |  | ↑ | Tinput |  | 1 |  | Standard : |  | 1 | % Net H.S.
17 | [12 empty] | Flow | #VALUE! |  |  |  |  | *** | [9 empty] | at DEA Inlet
18 | Condensate Return | [5 empty] | at Inlet Nozzle | [5 empty] | P | 3.5 |  |  |  |  | 0 | [10 empty] | Heating Steam |  | Steam from B/D Tk |  |  | Steam 2
19 | Flow Input |  | 497816.5 |  |  |  | Flowrate | #VALUE! |  |  |  |  | T | #VALUE! |  |  | * h Check |  |  | HP Condensate |  |  |  | #VALUE! | #VALUE! |  |  |  | P | 3.5 |  | *** |  |  | ***
20 |  |  |  |  | * h Check |  | P | 3.5 |  |  |  |  | h | #VALUE! |  |  | #VALUE! |  |  | Flow | 0 | [7 empty] | T | #VALUE! |  | *** |  |  | ***
21 | Calculation Method |  |  |  | #VALUE! |  | T | #VALUE! | [11 empty] | P | 0 |  |  | Tsat | #VALUE! |  | Sat. ? |  | h | #VALUE! |  | *** |  |  | ***
22 | Deaerated Water Out | [5 empty] | h | #VALUE! | [7 empty] | VBA > | 0 |  |  | T | 0 |  |  | Tinput | 160 |  | Yes |  | h, chk | #VALUE! |  | *** |  |  | *** |  |  | Sum, Flash Check
23 | [5 empty] | Flow through DC |  |  | D E A E R A T O R | [6 empty] | Flash Steam > | 0 |  | kg/h | h | 0 | [7 empty] | Density | #VALUE! |  | *** |  |  | *** |  | kg/m3 | ' x ' | ***
24 | Deaerated Water | [5 empty] | Down, Water | Up, Steam |  |  |  |  | to DEA |  | Sum |  |  |  |  | LP Condensate |  |  |  | #VALUE! | #VALUE!
25 | Flow Input |  | 514700 |  |  | #VALUE! |  | 0 |  |  |  |  | - N/A - |  | Flow | 0 |  |  |  | Flow | 0 | [7 empty] | Extracted Steam
26 | [5 empty] | Density | [8 empty] | P | *** |  |  |  | P | 0 |  |  | Tsat | #VALUE! |  | Sat. ? |  | Flow | 0
27 |  |  |  |  | Sat. Steam | #VALUE! | kg/m3 |  |  | Oper. Press. | 3.5 |  |  |  | T | *** |  |  |  | T | 0 |  |  | Tinput | 150 |  | No |  | P | 3.5
28 |  |  |  |  | Sat. Water | #VALUE! | kg/m3 |  |  | Temp., Sat. | #VALUE! |  |  |  | h | *** |  |  |  | h | 0 | [7 empty] | T | #VALUE!
29 | Deaerated Water |  |  |  | Deaerated Water Out 1 | [9 empty] | * h check |  | *** |  |  | Condensate |  |  |  | #VALUE! | #VALUE! |  |  |  | h | 0
30 | Flow | 514700 |  |  | Main BFW Out |  |  |  | STORAGE VESSEL | [10 empty] | Flow | 0
31 | P | 3.5 | [17 empty] | P | 0 |  |  | Tsat | #VALUE! |  | Sat. ?
32 | T | #VALUE! | [8 empty] | Deaerated Water Out 2 |  |  |  |  | - N/A - |  |  |  | T | 0 |  |  | Tinput | 140 |  | No
33 | h | #VALUE! | [8 empty] | Aux. BFW Out |  |  |  |  | 100000 |  | kg/h |  | h | 0
34 | E N E R G Y & M A T E R I A L B A L A N C E a t L O A D : Design
35 | [6 empty] | Flowrate |  |  | Enthalpy |  |  | Energy |  |  | Total
36 | [6 empty] | kg/h |  |  | kcal/kg |  |  | kcal/h |  |  | kcal/h
37 | Input |  | Condensate Return |  |  |  | #VALUE! |  | x | #VALUE! |  | = | #VALUE! | [5 empty] | Flowrate
38 |  |  | Make-up Water |  |  |  | 0 |  | x | 0 |  | = | 0 | [5 empty] | Input |  | #VALUE!
39 |  |  | Heating Steam |  |  |  | #VALUE! |  | x | #VALUE! |  | = | #VALUE! | [5 empty] | Output |  | #VALUE!
40 |  |  | Steam from B/D Tk |  |  |  | 0 |  | x | 0 |  | = | 0 | [5 empty] | * Dev. |  | #VALUE! |  | %
41 |  |  | HP Condensate |  |  |  | 0 |  | x | 0 |  | = | 0 | [13 empty] | Condensate, Non-flashing
42 |  |  | LP Condensate |  |  |  | 0 |  | x | 0 |  | = | 0 | [12 empty] | Condensate Return > | Vmax. = |  | #VALUE!
43 |  |  | Condensate |  |  |  | 0 |  | x | 0 |  | = | 0 |  |  | #VALUE! |  |  | #VALUE! |  |  | < VBA |  |  |  | Vent Steam > | Vent Silencer : |  |  | No |  |  | Design
44 | Output |  | Vent Steam |  |  |  | #VALUE! |  | x | #VALUE! |  | = | #VALUE! | [19 empty] | 3 | bar.g
45 |  |  | Extracted Steam |  |  |  | 0 |  | x | 0 |  | = | 0 | [5 empty] | * Deviation |  | #VALUE! |  | % | [9 empty] | 210 | ℃
46 |  |  | Deaerated Water |  |  |  | 514700 |  | x | #VALUE! |  | = | #VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  | < VBA |  |  |  | Projection > | 200
47 | N O Z Z L E S I Z I N G | [23 empty] | Connection | [5 empty] | Dearator |  |  | Storage
48 | Nozzle ID |  |  |  | Density | Flow |  | Size |  | Sch. |  | OD |  | t | Q'ty | Velocity |  |  | Maximum | [6 empty] | Nozzle > | ASTM |  |  |  | A 106-B |  |  | A 106-B
49 |  |  |  |  | kg/m3 | m3/h |  | NPS |  |  |  | mm |  | mm |  | m/sec |  |  | HEI |  | SHI |  |  |  |  | Flange > | ANSI |  | forging |  | A 105 |  |  | A 105
50 | Condensate Return |  |  |  | #VALUE! | #VALUE! |  | 12" |  | Sch.40 |  | #VALUE! |  | #VALUE! | 1 | #VALUE! |  | #VALUE! | 2.4384 |  | #VALUE! |  | #VALUE! |  |  | Condensate Return | Flanged |  | WN |  | 150 lb
51 | Make-up Water |  |  |  | *** | 0 |  | 4" |  | Sch.40 |  | *** |  | *** | 1 | *** |  | *** | 2.4384 |  | 7 |  | *** |  |  | Make-up Water | Flanged |  | WN |  | 150 lb |  | Req.
52 | Heating Steam |  |  |  | #VALUE! | #VALUE! |  | 10" |  | Sch.40 |  | #VALUE! |  | #VALUE! | 1 | #VALUE! |  | #VALUE! | 53.34 |  | #VALUE! |  | #VALUE! |  |  | Heating Steam | Flanged |  | WN |  | 150 lb |  | #VALUE!
53 | Steam from B/D Tk |  |  |  | *** | 0 |  | *** |  | *** |  | *** |  | *** | 0 | *** |  | *** | *** |  | *** |  | ***
54 | Vent Steam |  |  |  | #VALUE! | #VALUE! |  | 1 1/2" |  | Sch.40 |  | #VALUE! |  | #VALUE! | 1 | #VALUE! |  | #VALUE! |  |  | 15 |  | #VALUE! |  |  | Vent Steam | Flanged |  | WN |  | 150 lb
55 | Deaerated Water |  |  |  | #VALUE! | #VALUE! |  | 20" |  | Sch.80 |  | #VALUE! |  | #VALUE! | 1 | #VALUE! |  | #VALUE! | #VALUE! |  |  |  | #VALUE! |  |  | Deaerated Water | Flanged |  | WN |  |  |  |  | 150 lb
56 | Aux. BFW Out |  |  |  | *** | 0 |  | *** |  | *** |  | *** |  | *** | 0 | *** |  | *** | *** |  |  |  | ***
57 | HP Condensate |  |  |  | *** | 0 |  | *** |  | *** |  | *** |  | *** | 0 | *** |  | *** |  |  | *** |  | *** |  |  | HP Condensate | Flanged |  | WN |  |  |  |  | 150 lb
58 | LP Condensate |  |  |  | *** | 0 |  | *** |  | *** |  | *** |  | *** | 0 | *** |  | *** |  |  | *** |  | *** |  |  | LP Condensate | Flanged |  | WN |  |  |  |  | 150 lb
59 | Condensate |  |  |  | *** | 0 |  | *** |  | *** |  | *** |  | *** | 0 | *** |  | *** |  |  | *** |  | *** |  |  | Condensate | Flanged |  | WN |  |  |  |  | 150 lb
60 | Common for Cond. |  |  |  | *** | 0 |  | *** |  | *** |  | *** |  | *** | 0 | *** |  | *** |  |  | *** |  | *** |  |  | Common for Cond. | Flanged |  | WN |  |  |  |  | 150 lb
61 | Overflow |  |  |  | #VALUE! | #VALUE! |  | 12" |  | Sch.40 |  | #VALUE! |  | #VALUE! | 1 | #VALUE! |  | #VALUE! | 3.048 |  |  |  | #VALUE! |  |  |  | Flanged |  | WN |  |  |  |  | 150 lb |  |  | SV Capa.
62 | Safety Valve | [6 empty] | 8" |  | Sch.40 |  | #VALUE! |  | #VALUE! | 1 | Req. | #VALUE! |  | kg/h | Capa. | #VALUE! |  | #VALUE! |  | Safety Valve |  | Flanged |  | WN |  | 150 lb | [5 empty] | #VALUE!
63 | [7 empty] | *** |  | Sch.40 |  | *** |  | *** | 0 | [8 empty] | Flash Steam 포함 > |  |  |  | Yes | [8 empty] | 0
64 | Extracted Steam |  |  |  | *** | 0 |  | *** |  | *** |  | *** |  | *** | 0 | *** |  | *** |  |  | *** |  | *** |  |  |  | Flanged |  | WN |  |  |  |  | 150 lb |  | B / N
65 | M/H for Deaerator | [6 empty] | 24" |  | STD |  | #VALUE! |  | #VALUE! | 1 | [11 empty] | Flanged |  | WN |  | 150 lb |  |  |  |  | #VALUE! | #VALUE!
66 | M/H for Storage | [6 empty] | 24" |  | STD |  | #VALUE! |  | #VALUE! | 1 | [11 empty] | Flanged |  | WN |  |  |  |  | 150 lb |  | #VALUE! | #VALUE!
67 | Notes
68 | *1) | [23 empty] | HEI Requirements, 5.9 | [6 empty] | Max. Capa.
| NTES | [21 empty] | Narai Thermal Engineering Services |  | Safety Relief Valve Size |  |  |  | 6" |  |  | 514700 |  | kg/h
[32 empty] | 1134700.1764 |  | lb/h
|  |  | Steam 2 |  |  |  | 0 |  | x | 0 |  | = | 0
| Steam 2 |  |  |  | *** | 0 |  | *** |  | *** |  | *** |  | *** | 0 | *** |  | *** | *** |  | *** |  | ***
Note on C32: " Rated Capacity " acc. to HEI Definition
Note on F33: Cell is filled !
Note on F34: Cell is filled !
Note on F35: Cell is filled !
Note on G6: Cell is filled !
Note on H18: Cell is filled !
Note on J17: Cell is filled !
Note on N24: Cell is filled !
Note on N29: Cell is filled !
Note on N30: Cell is filled !
Note on T51: Oly as a guideline, not mandatory !
Note on W10: Cell is filled !
Note on Y21: Cell is filled !
Note on Y26: Cell is filled !
Note on Y31: Cell is filled !
Note on Z3: Cell is filled !
Note on Z21: Cell is filled !
Note on Z26: Cell is filled !
Note on Z31: Cell is filled !
Note on AE28: " Rated Capacity " acc. to HEI Definition