## IS
| I N P U T & S U M M A R Y f o r W H B , F C | [35 empty] | Fuel -> |  | BC,S=4 |  | BC,S=2 |  | DO,S=0.5 |  | LNG
[37 empty] | H2O |  | 11.2 |  | 11.44 |  | 12.75 |  | 15.47 | [6 empty] | P-1307 A |  |  | P-1307 B | H & M B A L A N C E around D E A
1 | Project |  |  |  | Lavan Refinery Upgrading & Revamping Project | [19 empty] | Job No. |  |  | 143 | [8 empty] | CO2 |  | 12.02 |  | 12.02 |  | 11.32 |  | 8.43 | [5 empty] | - N/A - | BW Circ. Pump |  |  | Round-up | 2014. 12. 5.
2 | Client |  |  |  | Lavan Oil Refinery Company | [19 empty] | Doc. No. |  |  | IS - HRSG - 100 | [8 empty] | N2 |  | 74.01 |  | 73.87 |  | 73.56 |  | 72.87 | [6 empty] | Flow | 20 | % Up | 100 | [5 empty] | Heating Steam
3 | Contractor |  |  |  | IGC | [12 empty] | Application |  |  | WHB |  |  |  | Date |  |  | 2014. 1. 1. | [8 empty] | O2 |  | 2.56 |  | 2.56 |  | 2.35 |  | 3.23 | [7 empty] | *** | kg/h |  |  | DEA - 100 |  |  |  | S/H |  |  | h
4 | Code/Standard |  |  |  | ASME |  |  | Sec. I |  |  |  |  | Mat. Code | ASTM |  |  |  | ASME Stamp |  |  | No |  |  |  | Revision |  |  | 0 | [8 empty] | SO2 |  | 0.21 |  | 0.11 |  | 0.02 |  | 0 | [7 empty] | *** | m3/h |  |  | Deaerator & Stotage Tank | [5 empty] | Vent | ***
5 | Service of Unit |  |  |  | Waste Heat Boiler for H-1302/3/4 | [9 empty] | added BFW ??? | [9 empty] | Item No. |  |  | WHB-1300 | [8 empty] | Sum |  | 100 |  | 100 |  | 100 |  | 100 | [6 empty] | Disch. P. | 3 | Plus |  |  | - N/A - |  |  | *** | *** |  | 1 | %
6 | Location |  |  |  | Out-door |  |  |  | Non-hazardous | [5 empty] | 0 |  |  | <- | *** | [5 empty] | No. of Units |  |  |  |  | 1 | [21 empty] | Disch. P. | *** | kg/cm2.g | [5 empty] | *** | *** |  | *** | kg/h |  |  | Demi. Water
7 | P R O C E S S D A T A | [32 empty] | Component |  |  | M. Weight |  |  | volume% |  |  | weight% |  |  | volume% | [5 empty] | Suct. P. | *** | kg/cm2.g | [7 empty] | Input> | 7.4 |  | 5 | % | Yes
8 | Terminal Point |  |  |  |  | Sat. |  |  | S/H |  |  | -> | Yes |  | Add. S/H |  |  | Source | [5 empty] | Fired Heater | [9 empty] | CO2 |  |  | #VALUE! |  |  | 8.58 |  |  | #VALUE! |  |  | 8.58 | [5 empty] | Diff. P. | *** | #VALUE! | [10 empty] | *** |  | 5 | 30
9 | Capacity |  |  |  |  | 3000 |  |  | 5000 |  |  | kg/h |  |  | 10000 |  |  | Waste Gas Name | [5 empty] | Flue Gas | [9 empty] | H2O |  |  | #VALUE! |  |  | 17.24 |  |  | #VALUE! |  |  | 17.2399 | [5 empty] | Total Head | *** | mTH | [9 empty] | minput > | 470 |  | *** | ***
10 | Steam Press. |  |  |  |  | 44.9 |  |  | 41.2 |  |  | kg/cm2.g |  |  | *** |  |  | WG Kind | [5 empty] | Gas Mixture |  |  |  | Dry Air | [5 empty] | N2 |  |  | #VALUE! |  |  | 71.7 |  |  | #VALUE! |  |  | 71.6997 | [5 empty] | 2012. 11. 28. ! | [6 empty] | OP | OT |  |  |  |  | *** | %
11 | Steam Temp. |  |  |  |  | #VALUE! |  |  | 370 |  |  | ℃ |  |  | *** |  |  | WG in DB | [5 empty] | -N/A- | [6 empty] | Overload |  |  | O2 |  |  | #VALUE! |  |  | 2.48 |  |  | #VALUE! |  |  | 2.48 | [5 empty] | Start-up Vent | - N/A - | [5 empty] | kg/cm2.g | ℃ | [6 empty] | Condensate
12 | Blowdown rate |  |  |  |  | 2.7 |  |  | #VALUE! |  | <Act. | %Steam Flow |  |  | *** |  |  | Oper. Case | [5 empty] | Design Case | [6 empty] | 0 |  |  | SO2 |  |  | #VALUE! |  |  | 0.00037 |  |  | #VALUE! |  |  | 0.00037 | [5 empty] | 20 | % Design Case |  | * During Start-up |  |  |  | 1 | *** |  |  | *** | *** | *** | < T | 5 | 80
13 | Feedwater Temp. |  |  |  | 120 |  | 120 |  | 2.629 |  | %BWF | ℃ |  |  | - N/A - |  |  | Flowrate, Inlet |  |  |  |  | 27902 |  |  | kg/h | [19 empty] | 0 |  |  |  |  | OP > | 0.1 | kg/cm2.g | [9 empty] | 9396 | *** | *** | < h | *** | ***
14 | Feedwater Press. |  |  |  | 60 |  | 60 |  |  |  |  | kg/cm2.g |  |  | - N/A - |  |  | Temp., Inlet |  |  |  |  | 866 |  |  | ℃ | [19 empty] | 0 | [5 empty] | SL - 100 | [5 empty] | BFP - 100 |  |  |  |  | ***
15 | Economizer |  |  |  |  | Yes |  |  | 216.1 |  |  | ℃ |  | * ECO Out Temp. |  |  |  | Press., Inlet |  |  |  |  | -15 |  |  | mmH2O | [19 empty] | 0 | [5 empty] | Vent Silencer |  |  |  | DP-OP |  | BFW Pump
16 | Circulation Ratio | [5 empty] | 1 | : | 4.8161 |  |  | -> | x = | 0.20764 |  |  |  | Heat Loss |  |  |  |  | 1 |  |  | % | [19 empty] | 0 | [5 empty] | 6" | *** | m/sec | Sch.40 | 2 | [12 empty] | BFW Pump Capacity
17 | Mix Circ.W. to ECO Inlet |  |  |  |  | - N/A - |  |  | 157 |  |  | ℃ |  | * ECO In Temp. |  |  |  | WG Density |  |  |  |  | #VALUE! |  |  | kg/m3 |  |  | #VALUE! |  |  | kg/Nm3 | [13 empty] | 0 | [5 empty] | *** | *** |  |  | *** | *** |  | *** | *** | [8 empty] | Flowrate |  | *** |  | kg/h
18 |  |  | Equip. No.> | COIL 2 |  |  |  | COIL 1 |  |  |  | COIL 3 |  |  |  | H E A T & M A S S B A L A N C E | [17 empty] | Total | [5 empty] | 100.0004 |  |  | #VALUE! |  |  | 100 | [5 empty] | *** | *** |  |  | *** | *** |  | *** | *** | [10 empty] | *** |  | m3/h
19 |  |  |  | Steam Generator |  |  |  | Economizer |  |  |  | Superheater | [5 empty] | H = | [7 empty] | Circ. W. |  |  | Feedwater |  |  |  |  | Density |  |  | #VALUE! |  |  | kg/Nm3 |  |  | MW | #VALUE! | [14 empty] | *** | [9 empty] | Disch. P. |  | *** |  | kg/cm2.g
20 |  |  |  | Inlet |  | Outlet |  | Inlet |  | Outlet |  | Inlet |  | Outlet |  |  |  | #VALUE! |  |  | 45.4 |  | 120 |  |  | 0 |  |  | 60 |  | 120 |  |  | Dew Point |  |  | #VALUE! |  |  | ℃ | #VALUE! | [10 empty] | Flow | h1 | h2 | [14 empty] | Suct. P. |  | *** |  | kg/cm2.g
21 | Water / Steam Side | [19 empty] | #VALUE! |  | #VALUE! | [5 empty] | 8216 |  | #VALUE! |  |  | * SO2 -> SO3 |  |  |  | 3 | % | ( 2 | ~ | 5 | % ) | [5 empty] | Equip. No. |  |  | kg/h | [7 empty] | 2010. 4. 28.
22 |  | Flowrate |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | kg/h |  |  |  |  | 44.9 |  | 216.1 | [5 empty] | 2 1/2" |  | #VALUE! |  | m/s |  | Steam Drum | [8 empty] | OP |  |  |  |  | D-1309 | [10 empty] | S E C O N D A R Y S / H | [8 empty] | Flowrate |  |  |  | Round-up
23 |  | Temp. |  | #VALUE! |  | #VALUE! |  | 120 |  | 216.1 |  | #VALUE! |  | 390 |  | ℃ |  |  |  |  | #VALUE! |  | #VALUE! | [11 empty] | Flash Tank | [5 empty] | Yes |  |  | 5 |  | kg/cm2.g |  |  | D-1310 |  |  | #VALUE! | #VALUE! | #VALUE! | [5 empty] | Superheater " 2 " |  |  | - N/A - | <- | - N/A - |  |  |  | Flowrate |  | 20 | % | 100
24 |  | Press. |  | 46.9 |  | 44.9 |  | 45.4 |  | 44.9 |  | 44.9 |  | 43.9 |  | kg/cm2.g |  | H = | [10 empty] | Sat. Steam | [5 empty] | Sat. Steam, Separate Flow from Drum | [10 empty] | LP Steam |  |  |  |  | Cond. > | #VALUE! | [7 empty] | De-superheater Loc. |  |  | - N/A - | <- | Inter-stage |  |  |  | Disch. P. |  | 3 | Plus above SD DP
25 |  | Density |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | kg/m3 |  | #VALUE! |  |  | 44.9 |  | #VALUE! | [5 empty] | 44.9 |  | #VALUE! |  |  |  | to Flash Tank | [5 empty] | - N/A - | [17 empty] | ΔP > | 1 | ΔP > | 0.5 | 315 | *** | < ΔP |  |  |  | Density |  | *** |  | kg/m3
26 |  | Vol. Flow |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | m3/h |  |  |  |  | #VALUE! |  | #VALUE! | [5 empty] | 3000 |  | #VALUE! |  |  |  | 0 |  | <- | 3000 |  | kg/h | - N/A - |  |  | OP | [10 empty] | Vent |  |  | *** | *** | *** | 325 | *** | *** | *** | *** | *** | *** | ℃ | Diff. |  | *** |  | #VALUE!
27 | Heat Duty |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | kcal/h | [12 empty] | 3" |  | #VALUE! |  | m/s |  | Blowdown Tank | [5 empty] | Yes |  |  | 0.1 |  | kg/cm2.g |  |  | D-1315 |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** |  | Total Head |  | *** |  | mTH
28 |  | Total |  | #VALUE! |  | #VALUE! |  | #VALUE! | [7 empty] | kcal/h |  |  |  |  | 46.9 |  | #VALUE! | [5 empty] | Continuous B/D Water | [5 empty] | Sea Water | [5 empty] | Yes | [10 empty] | #VALUE! |  |  |  |  | Hduty > | *** |  |  |  | *** |  |  |  | S/H Steam |  |  | Flow | Nor. | *** |  | m3/h
29 | Flow Pattern |  |  | Cross |  |  |  | Cross-Counter |  |  |  | Cross-Counter | [8 empty] | #VALUE! |  | #VALUE! | [5 empty] | 44.9 |  | #VALUE! |  |  |  | Blowdown Cooler | [5 empty] | - N/A - | [7 empty] | BC-100 | [7 empty] | Sum > |  |  | *** | [9 empty] | Des. | *** |  | %
30 | WG | Flowrate |  | 27902 |  |  |  | 27902 |  |  |  | 27902 |  |  |  | kg/h |  |  |  |  | C.W. Out> | 8" |  | #VALUE! |  | m/s |  |  | 216 |  | #VALUE! |  |  |  | Temp., Out |  |  | 40 |  | ℃ | [5 empty] | #VALUE! | [10 empty] | Tgas > | *** |  | *** |  | *** |  | *** |  |  |  | ℃
31 |  | Temp. |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 866 |  | #VALUE! |  | ℃ |  | H = |  |  | 0 | [7 empty] | 1 1/4" |  | #VALUE! |  | m/s |  | Sea Water |  |  |  | Ti / To | 33 |  | 43 |  | ℃ |  | #VALUE! |  | #VALUE! | [13 empty] | Ft / MTD | *** | *** | Cross-Counter
32 |  |  |  |  | Pinch Point > | #VALUE! |  | #VALUE! |  | < Approach Point | [5 empty] | ℃ |  | #VALUE! |  |  | 44.9 |  | #VALUE! |  |  | De-S/H,kg/h | [12 empty] | Pi / Po | 3 |  | 2.5 |  | kg/cm2.g | [13 empty] | SH - 1 |  |  | Feedwater |  | SH - 2 |  |  | Feedwater
33 | Ft / MTD |  |  | 1 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | ℃ |  |  |  |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  |  | 2" |  | #VALUE! |  | m/s |  | BW Circ. |  |  |  | ΔP |  | 0.5 | [16 empty] | Primary S/H |  |  | *** | *** | Secondary S/H |  |  | *** | ***
34 | T U B E D A T A | [19 empty] | 43.9 |  | 390 |  | S/H Steam |  |  |  | 41.2 |  | 370 | [29 empty] | 0 | *** |  |  |  | *** | ***
35 |  |  |  | Steam Generator |  |  |  | Economizer |  |  |  | Superheater | [8 empty] | #VALUE! |  | #VALUE! | [5 empty] | 5000 |  | #VALUE! |  |  |  | Cooling Water |  |  |  | Ti / To | 33 |  | 43 |  | ℃ | [7 empty] | Screen Tube |  |  | * Fin Tube 추후 ! |  |  |  |  | Superheater " 2 "
36 | Material Code | [16 empty] | T U B E A R R A N G E M E N T | [20 empty] | Pi / Po | 4.5 |  | 4 |  | kg/cm2.g
37 | Tube Type | [14 empty] | C.A. |  |  |  |  | Steam Generator |  |  |  | Economizer |  |  |  | Superheater | [9 empty] | ΔP |  | 0.5 |  |  |  |  | ΔP
38 | Tube | [16 empty] | Tube Lgt, Eff. | [14 empty] | mm |  | De-superheater | [5 empty] | Yes | <- | Yes |  |  | 0.5 |  |  | DS-1301
39 |  | T. Cond. | [13 empty] | kcal/mh℃ |  | Tube Q'ty /Row | [16 empty] | Screen Tube | [5 empty] | - N/A - | <- | - N/A - |  |  | Ft | 1
40 |  | S.G. | [15 empty] | Row Q'ty, Total | [16 empty] | Loc. : before S/H ? | [5 empty] | - N/A - | <- | - N/A - |  |  | Mtd | *** |  | COIL 4
41 |  | OD / t | [18 empty] | per Tube Pass | [13 empty] | ΔTgasdown |  |  | 338 |  | ℃ | Tigas |  | *** |  | ℃
42 |  | ID / treq. | [18 empty] | No. of Tube Passes | [13 empty] | Togas |  |  | *** |  | ℃ | ΔPgas |  | 2 |  | 0 |  | #VALUE! |  | Cpi | ***
43 | Fin Type | [19 empty] | No. of Tubes | [13 empty] | Hgas |  | *** |  |  | kcal/h | ΔPtube |  | 0.3 |  | 0 |  | #VALUE! |  | Cpo | ***
44 | Fin | [16 empty] | H. Surface Area | [9 empty] | Total > |  |  |  |  | m2 |  | Hduty |  | *** |  |  | kcal/h
45 |  | T. Cond. | [13 empty] | kcal/mh℃ |  |  | Outside | [13 empty] | m2 | Pitch, Diagonal | [32 empty] | m2
46 |  | S.G. | [17 empty] | Pitch Type | [19 empty] | < Pitch, Diagonal | [26 empty] | m2
47 |  | Hf / t | [13 empty] | mm |  |  |  | Pitch, W / H | [12 empty] | mm |  | Flow Passage Area, 1 m Tube | [23 empty] | m2 | [7 empty] | m2
48 |  | OD | [13 empty] | mm |  |  |  | Bundle W / H | [12 empty] | mm |  |  | Tube In | [13 empty] | m2 | [8 empty] | m2 | [7 empty] | m2
49 |  |  | FPI / FPM | [14 empty] | Mass Vel. | [17 empty] | Fin | [13 empty] | m2 | [8 empty] | m2 | [7 empty] | kg/m2h
50 |  | Pitch | [13 empty] | mm |  |  | Tube In | [13 empty] | kg/m2h |  | Flow Passage Area | [23 empty] | m2 | [7 empty] | kg/m2h
51 | Heating Surface Area, 1 m Tube | [17 empty] | WG | [13 empty] | kg/m2h |  |  | Tube In | [13 empty] | m2 | [8 empty] | kg/m2 | [7 empty] | kg/m3
52 |  | Inside | [13 empty] | m2 |  | Velocity |  |  | Inlet |  | Outlet |  | Inlet |  | Outlet |  | Inlet |  | Outlet |  |  |  |  | Outside | [13 empty] | m2 | [8 empty] | kg/m2 | [7 empty] | *** | ***
53 |  | Outside | [13 empty] | m2 |  |  | Tube In | [13 empty] | m/s | Density |  | kg/m3 | [22 empty] | kg/m3 | [7 empty] | kg/h
54 |  | Ratio | [16 empty] | WG | [13 empty] | m/s | [33 empty] | kg/h
55 | Weight, 1 m Tube | [16 empty] | Header |  |  | ASTM |  |  | A 106-B |  |  |  | Sch.80 |  |  | A 335-P22 |  |  | Sch.160 |  | Wall Thick > Cal. ASME Sec. I | [7 empty] | CA |  | #REF! |  | *** | [10 empty] | kg/h
56 |  | Tube | [13 empty] | kg |  |  | Size | [14 empty] | t, used | [24 empty] | kg/h | [7 empty] | kg/m3
57 |  | Fin | [13 empty] | kg |  |  | Sa,Req./Act. | [13 empty] | m2 | t, req. | [32 empty] | m3/h
58 |  | Sum | [13 empty] | kg |  |  | Vel. | [13 empty] | m/s | judge
59 | H E A T T R A N S F E R C O E F F. | [16 empty] | Nozzle | [16 empty] | from S/D |  |  | Add. S/H |  |  | < S/H Line Size in case of Add. S/H
60 | [9 empty] | S/H Wall Temp., Inlet > |  |  | fin Tip |  |  |  | ℃ |  | Size | [31 empty] | Twall >
61 |  | ro / i | [13 empty] | m2h℃/kcal |  |  | Vel. | [13 empty] | m/s | [17 empty] | ro / i
62 |  | ho / i | [13 empty] | kcal/m2.h.℃ |  | D E S I G N D A T A | [32 empty] | ho / i
63 |  | Feff | [19 empty] | Press. |  |  |  | Temp. | [24 empty] | Feff
63 |  | Two / i | [13 empty] | ℃ | [5 empty] | kg/cm2.g |  |  |  | ℃ | [24 empty] | Two / i
63 |  |  | Input > | [12 empty] | ℃ | [5 empty] | Oper. |  | Design |  | Oper. |  | Design |  | Tsat. | [20 empty] | Input >
64 |  |  | Clean. Fac. | [12 empty] | ho %Up |  | Steam Drum | [32 empty] | Clean. Fac.
65 | B A S I C H. T. R E L A T I O N | [16 empty] | Steam Generator | [32 empty] | Circ. Ratio>
66 |  | U | [13 empty] | kcal/m2.h.℃ |  | Economizer | [13 empty] | Superheater " 2 " | [18 empty] | U
67 |  | MTD | [13 empty] | ℃ |  | Superheater | [32 empty] | MTD
68 |  |  | HSA, Req. | [12 empty] | m2 | [34 empty] | HSA, Req.
69 |  |  | HSA, Mgn | [12 empty] | % | [34 empty] | HSA, Mgn
70 |  | dPo | [13 empty] | #VALUE! | [34 empty] | dPo
71 |  | dPi | [13 empty] | #VALUE! | [34 empty] | dPi
72 | Notes
73 | *1)
74 | *2)
75 | *3)
| NTES | [31 empty] | Narai Thermal Engineering Services
|  |  |  | B.W.G. |  | t, mm
|  |  |  | 10 |  | #VALUE! |  | 10 |  | #VALUE! |  | 7 |  | #VALUE!
|  |  |  | Finned Tube Data | [6 empty] | Materials |  |  | Max. Temp.
|  |  |  | Tube | Fin> | C.S. |  | SUS | [5 empty] | ℉ |  | ℃
|  |  |  | OD |  | Hf | t | Hf | t |  | A 178 A |  |  | 950 |  | 510 |  |  | 2011. 1. 31. |  |  |  | Overload
|  |  | 31.8 |  |  | 15 | 1.2 | 11 | 0.8 |  | A 178 C |  |  | 950 |  | 510 |  |  | Safety Valves |  |  |  | 0 |  |  | Data from Above | [5 empty] | 직접 입력 |  |  |  | Design Data for PSV | [8 empty] | Capacity
|  |  | 38.1 |  |  | 18 | 1.2 | 12 | 1 |  | A 213 T11 |  |  | 1050 |  | 565.5556 |  |  | Tag No. | [6 empty] | Flow |  | Press. |  | Temp. |  | Flow |  | Temp. |  | Flow |  | Press. |  | Temp. |  | Size |  |  | Flow |  | Portion |  | Margin |  |  | ID |  |  | ANSI |  | WN
|  |  | 45 |  |  | 20 | 1.2 | 13 | 1 |  | A 213 T12 |  |  | 1050 |  | 565.5556 | [9 empty] | kg/h |  | kg/cm2.g |  | ℃ |  |  | No |  |  | kg/h |  | kg/cm2.g |  | ℃ |  | Sch.80 |  |  |  |  | % |  | % |  |  | mm |  | Rating
|  |  | 50.8 |  |  | 21 | 1.2 | 13 | 1 |  | A 213 T22 |  |  | 1115 |  | 601.6667 |  |  | PSV - 1 | [5 empty] | PSV2_setratio | #VALUE! |  | 0 |  | #VALUE! | [5 empty] | #VALUE! |  | 0 |  | #VALUE! |  | 1" |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! | Flanged |  | 600 lb
|  |  | 63.5 |  |  | 22 | 1.2 | 13 | 1 |  | A 213 T91 |  |  | 1200 |  | 648.8889 |  |  | PSV - 2 |  |  |  |  | 1.03 |  | #VALUE! |  | 0 |  | #VALUE! | [5 empty] | #VALUE! |  | 0 |  | #VALUE! |  | 1" |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! | Flanged |  | 600 lb
|  |  | 76.2 |  |  | 25 | 1.2 | 13 | 1 |  | A 335 P11 |  |  | 1050 |  | 565.5556 |  |  | PSV - SH |  |  |  |  | 20 | % | #VALUE! |  | -1 |  | 0 | [5 empty] | #VALUE! |  | -1 |  | 0 |  | 1" |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! | Flanged |  | 600 lb
[11 empty] | A 335 P12 |  |  | 1050 |  | 565.5556 | [6 empty] | S/H > | Yes |  | #VALUE! | [5 empty] | 0 |  |  |  | #VALUE! | [8 empty] | #VALUE! |  | #VALUE! |  | #VALUE!
[11 empty] | A 335 P22 |  |  | 1115 |  | 601.6667 | [11 empty] | -1
Data for cal. of Acoustic Vibration
|  |  | Spec. Heat > | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE!
|  |  | Viscosity > | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE!
Note on D63: Fouling Resistance m2h℃/kcal
Note on D64: Film H.T. Coeff. Kcal/m2h℃
Note on D65: Fin Effiecincy
Note on D66: Wall Temp.
Note on D68: Overall H.T.Coeff., Clean Kcal/m2h℃ Cleanliness Factor %
Note on G34: Tgi Bare Fin > 650 70~80 20~30 < 650 40~70 5~20
Note on I6: Cell is filled !
Note on I34: Tgi > 650 20~40 < 650 5~20
Note on R83: Cell is filled !
Note on V63: 1 ~ 2
Note on X55: < 20
Note on X63: 15 ~ 20
Note on Y32: 0.5 ~ 1
Note on Z63: 2 ~ 2.5
Note on AB63: 15 ~ 20
Note on AD33: 40A ~ 50A
Note on AD63: 20 ~ 30
Note on AE71: Header !
Note on AF24: 1 ~ 2
Note on AF29: 20 ~ 30
Note on AF35: 30 ~ 50
Note on AF55: < 50
Note on AF63: 30 ~ 50
Note on AJ38: Cell is filled !
Note on AV93: Less than 25 % !
Note on AX24: Cell is filled !
Note on AX25: Cell is filled !
Note on AX29: Cell is filled !
Note on AX31: Cell is filled !
Note on AX40: Cell is filled !
Note on BA2: Cell is filled !
Note on BD2: Cell is filled !
Note on BI5: Cell is filled !
ECO
EVAP
S/H
S/D

## pfd
P R O C E S S F L O W D I A G R AM | [33 empty] | Doc. No. |  |  | PFD - FC - 100
[34 empty] | Date |  |  | 2015. 9. 1.
Job No. |  |  | 143 | [10 empty] | Item No. |  |  |  | WHB-1300 | [15 empty] | Revision |  |  | 0
Project |  |  | Lavan Refinery Upgrading & Revamping Project | [10 empty] | Service |  |  |  | Waste Heat Boiler for H-1302/3/4 | [15 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[34 empty] | O P E R A T I O N D A T A | [9 empty] | Application
| Heat Duty, kcal/h | [32 empty] | S/H Steam Flow |  |  |  | 5000 |  |  | kg/h |  |  | - N/A - |  | < Screen Tube |  |  |  | - N/A -
| Superheater |  |  | #VALUE! | [29 empty] | S/H Steam Press. |  |  |  | 41.2 |  |  | kg/cm2.g |  |  | Yes |  | < Superheater |  |  |  | Yes
| Steam Generator |  |  | #VALUE! | [11 empty] | DS-1301 | [17 empty] | S/H Steam Temp. |  |  |  | 370 |  |  | ℃ |  |  | - N/A - |  | < S/H from Others |  |  |  | - N/A -
| Economizer |  |  | #VALUE! | [11 empty] | De-superheater | [5 empty] | 41.2 |  | 370 |  | 2" |  |  | S/H Steam |  |  |  |  | Sat. Steam Flow |  |  |  | 3000 |  |  | kg/h |  |  | - N/A - |  | < Secondary S/H |  |  |  | - N/A -
| Total |  |  | #VALUE! | [17 empty] | 5000 |  | #VALUE! |  | #VALUE! | [7 empty] | Feedwater Temp. |  |  |  | 120 |  |  | ℃ |  |  | Yes |  | < Economizer |  |  |  | Yes
[34 empty] | Blowdown Rate |  |  |  | #VALUE! |  |  | %Steam Flow
[17 empty] | 60 |  | 120 | [14 empty] | W A S T E G A S D A T A
[17 empty] | #VALUE! |  | #VALUE! | [14 empty] | Source |  |  |  |  | Fired Heater
[6 empty] | 45.4 |  | 120 |  | 0 | [11 empty] | 60 |  | 120 |  | 2 1/2" |  |  | Feedwater |  |  |  |  | Waste Gas |  |  |  |  | Flue Gas
|  |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 0 | [11 empty] | 8216 |  | #VALUE! |  | #VALUE! | [7 empty] | Load |  |  |  |  | Design Case |  |  |  |  | 적용
|  | 27902 |  | #VALUE! | [29 empty] | Flowrate, Inlet |  |  |  | 27902 |  |  | kg/h |  |  | Yes
|  |  | COIL 1 | [9 empty] | 46.9 |  | #VALUE! | [18 empty] | Temp., Inlet |  |  |  | 866 |  |  | ℃
|  |  | Economizer | [9 empty] | 0 |  | #VALUE! | [18 empty] | Press., Inlet |  |  |  | -15 |  |  | mmH2O
[6 empty] | 44.9 |  | 216.1 |  | 0 | [11 empty] | 44.9 |  | #VALUE! |  | 3" | [7 empty] | Heat Loss |  |  |  | 1 |  |  | % |  |  | Piping |  | ASTM
[6 empty] | #VALUE! |  | #VALUE! |  | 0 | [11 empty] | 3000 |  | #VALUE! |  | #VALUE!
[6 empty] | #VALUE! | * Approach Point | [26 empty] | Legend | [9 empty] | - N/A - | < Mix by Circ. Water
[34 empty] | P | T
|  |  |  | #VALUE! | [9 empty] | 44.9 |  | #VALUE! |  | 0 | [15 empty] | Q | h
|  | 27902 |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE! |  | 0 | [19 empty] | Water/Steam |  |  | Waste Gas
|  | #VALUE! | * Pinch Point | [30 empty] | P | Press. |  |  | kg/cm2.g |  |  | mmH2O
[23 empty] | D-1309 | [10 empty] | T | Temp. |  |  | ℃ |  |  | →
|  |  | COIL 2 |  |  | 44.9 |  | #VALUE! |  | 0 | [5 empty] | Circ. Ratio | [6 empty] | Steam Drum | [10 empty] | Q | Flow |  |  | kg/h |  |  | → |  |  | WG Kind |  |  | Gas Mixture
|  |  | Steam Generator |  |  | #VALUE! |  | #VALUE! |  | 0 | [5 empty] | 4.8161 | : 1 | [5 empty] | * Oper. Press. | [10 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | WG in DB |  |  | Dry Air
[23 empty] | 44.9 |  | kg/cm2.g | [18 empty] | Mass Flow
[23 empty] | #VALUE! |  | ℃ | Sat. | [7 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch |  | 27902 |  |  | kg/h
[6 empty] | 46.9 |  | #VALUE! |  | 0 | [5 empty] | 44.9 |  | #VALUE! | [15 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | Density |  |  |  | #VALUE! |  |  | kg/m3
[6 empty] | #VALUE! |  | #VALUE! |  | 0 | [5 empty] | #VALUE! |  | #VALUE! | [29 empty] | #VALUE! |  |  | kg/Nm3
|  |  |  | #VALUE! | [12 empty] | 8" | [7 empty] | 5 |  | #VALUE! | [18 empty] | Composition
|  | 27902 |  | #VALUE! | [8 empty] | P-1307 A |  |  |  | #VALUE! | [7 empty] | #VALUE! |  | #VALUE! | [16 empty] | Component |  |  | M. Weight |  |  | volume% |  | weight%
|  |  | COIL 3 | [9 empty] | BW Circ. Pump | [30 empty] | CO2 |  |  | #VALUE! |  |  | 8.58 |  | #VALUE!
|  |  | Superheater | [21 empty] | D-1310 | [6 empty] | 0.1 |  | #VALUE! | [9 empty] | H2O |  |  | #VALUE! |  |  | 17.24 |  | #VALUE!
[19 empty] | 5 |  | #VALUE! |  |  |  | Flash Tank | [6 empty] | #VALUE! |  | #VALUE! | [9 empty] | N2 |  |  | #VALUE! |  |  | 71.7 |  | #VALUE!
[19 empty] | 216 |  | #VALUE! | [22 empty] | O2 |  |  | #VALUE! |  |  | 2.48 |  | #VALUE!
[6 empty] | 43.9 |  | 390 |  | 0 | [14 empty] | 0.1 |  | #VALUE! |  |  |  |  | 2.5 |  | 43 | [9 empty] | SO2 |  |  | #VALUE! |  |  | 0.00037 |  | #VALUE!
|  | -15 |  | 866 |  | #VALUE! |  | #VALUE! |  | 0 | [14 empty] | #VALUE! |  | #VALUE! |  |  |  |  | #VALUE! |  | #VALUE! | [9 empty] | 0 | [5 empty] | 0
|  | 27902 |  | #VALUE! | [39 empty] | 0 | [5 empty] | 0
[28 empty] | D-1315 |  |  |  | 0.1 |  | 40 | [9 empty] | 0 | [5 empty] | 0
[8 empty] | BW Circ. Pump Capacity | [7 empty] | 4 |  | 43 | [9 empty] | Blowdown Tank |  |  |  | #VALUE! |  | #VALUE! | [9 empty] | 0 | [5 empty] | 0
[8 empty] | Flowrate |  | #VALUE! | kg/h |  |  |  |  | 0 |  | #VALUE! | [25 empty] | 0 | [5 empty] | 0
[10 empty] | #VALUE! | m3/h |  |  |  |  | 4.5 |  | 33 | [11 empty] | BC-100 |  | 3 |  | 33 | [9 empty] | Total | [5 empty] | 100.0004 |  | #VALUE!
|  |  | Flue Gas |  |  |  |  | Disch. P. |  | 49.9 | kg/cm2.g | [6 empty] | #VALUE! | [11 empty] | Blowdown Cooler |  | #VALUE! |  | #VALUE! | [9 empty] | M. Weight |  |  |  |  | #VALUE! |  |  | ***
[8 empty] | Suct. P. |  | 44.9 | kg/cm2.g | [32 empty] | Density |  |  |  |  | #VALUE! |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[8 empty] | Diff. P. |  | 5 | #VALUE! | [32 empty] | Dew Point |  |  | #VALUE! |  | #VALUE! |  |  | ℃ |  | * SO2 -> SO3 |  |  | 3 | %
NTES | [42 empty] | Narai Thermal Engineering Services
| Heat & Mass Balance Check | [21 empty] | BW Circ. Pump Capacity |  |  |  |  | Round-up |  |  | P-1307 A |  |  | Blowdown Rate |  |  |  |  | Sea Water
| COIL 2 Steam Generator | [21 empty] | Flowrate |  | 20 | % Up |  | 100 |  |  | P-1307 B |  | Inpt | 2.7 |  | %Steam Flow |  |  | Yes
| Sat. Steam from Drum |  |  |  | #VALUE! | x ( | #VALUE! |  | - | #VALUE! | ) = | #VALUE! |  |  | kcal/h | [7 empty] | Disch. P. |  | 3 | Plus | [6 empty] | Actual | #VALUE! |  | %Steam Flow
| Blowdown Water |  |  |  | 216 | x ( | #VALUE! |  | - | #VALUE! | ) = | #VALUE! |  |  | kcal/h | [17 empty] | Cla'd from this sheet | #VALUE!
| Mixing Water to ECO |  |  |  | 0 | x ( | #VALUE! |  | - | #VALUE! | ) = | #VALUE! |  |  | kcal/h | [18 empty] | 2.629 |  | %BFW Flow
[5 empty] | mbw | [5 empty] | Total > | #VALUE! |  |  | kcal/h |  | Dev. | [15 empty] | Cla'd from this sheet | #VALUE!
| from Circ. BW side |  |  |  | #VALUE! | x ( | #VALUE! |  | - | #VALUE! | ) = | #VALUE! |  |  | kcal/h |  | #VALUE! | %
at Outlet of COIL 2 Steam Generator
| Circ. Ratio |  |  |  |  | CR | = | [5 empty] | 4.8161
| Steam Quality " X " |  |  |  |  | X | = | 1 / CR |  |  | = |  | 0.20764
| Enthalpy from PFD |  |  |  |  | h | = | [5 empty] | #VALUE! |  | kcal/kg
| Enthalpy, Sat. Water |  |  |  |  | h1 | = | [5 empty] | #VALUE! |  | kcal/kg | [28 empty] | Deaerator & Stotage Tank | [5 empty] | H. Steam |  | Vent |  | Make-up Water
| Enthalpy, Sat. Steam |  |  |  |  | h2 | = | [5 empty] | #VALUE! |  | kcal/kg |  | Dev. | [26 empty] | - N/A - | [5 empty] | S/H |  | 1 | % | Yes
| Enthalpy from " x " |  |  |  |  | h | = | h1 + X ( h2 - h1 ) |  |  | = |  | #VALUE! |  | kcal/kg |  | #VALUE! | %
| Steam Amount in Circ. BW |  |  |  |  | ms | = | mbw x X |  |  | = |  | #VALUE! |  | kg/h | [30 empty] | *** |  | *** | [5 empty] | *** | ***
| Water Amount in Circ. BW |  |  |  |  | mw | = | mbw - ms |  |  | = |  | #VALUE! |  | kg/h | [30 empty] | *** |  | *** | [5 empty] | *** | ***
Inside Steam Drum
| Heat to FW entering Steam Drum |  |  |  |  | Hfw | = | mfw x ( h1 - hfw ) |  |  | = | #VALUE! |  |  | kcal/h |  | * from ECO Outlet Temp. to Sat. Temp. | [32 empty] | *** |  | *** |  | *** | ***
| Equiv. Steam Amount, Required |  |  |  |  | mse | = | Hfw / ( h2 - h1 ) |  |  | = |  | #VALUE! |  | kg/h | [32 empty] | DEA - 100 |  | *** |  | *** |  | *** | ***
| Net Out Steam, Available |  |  |  |  | mn | = | ms - mse |  |  | = |  | #VALUE! |  | kg/h |  | Dev. | [30 empty] | Deaerator & Stotage Tank
| Act. Out Steam from Steam Drum |  |  |  |  | mo | = | from PFD |  |  | = |  | #VALUE! |  | kg/h |  | #VALUE! | %
| H&M Balance |  |  |  | from Side | [13 empty] | from Water / Steam Side | Dev. | [23 empty] | *** |  | *** |  |  |  | *** |  | ***
| Superheater |  |  |  | 27902 | x ( | #VALUE! |  | - | #VALUE! | ) = | #VALUE! |  |  | kcal/h |  | #VALUE! |  |  | #VALUE! | % | [22 empty] | *** |  | *** |  |  |  | *** |  | ***
| Steam Generator |  |  |  | 27902 | x ( | #VALUE! |  | - | #VALUE! | ) = | #VALUE! |  |  | kcal/h |  | #VALUE! |  |  | #VALUE! | %
| Economizer |  |  |  | 27902 | x ( | #VALUE! |  | - | #VALUE! | ) = | #VALUE! |  |  | kcal/h |  | #VALUE! |  |  | #VALUE! | % | [26 empty] | BFP - 100
| Total |  |  |  | 27902 | x ( | #VALUE! |  | - | #VALUE! | ) = | #VALUE! |  |  | kcal/h |  | #VALUE! |  |  | #VALUE! | % | [26 empty] | BFW Pump
Note on D26: Tgi Bare Fin > 650 70~80 20~30 < 650 40~70 5~20
Note on I22: Tgi > 650 20~40 < 650 5~20
Note on M16: 1 ~ 2
Note on M21: 1 ~ 2
Note on M29: 15 ~ 20
Note on M33: 2 ~ 2.5
Note on M41: 30 ~ 50
Note on U35: 0.5 ~ 1
Note on V25: 20 ~ 30
Note on AD10: 30 ~ 50
Note on AD16: 1 ~ 2
Note on AD21: 20 ~ 30
Note on AI53: Cell is filled !
Note on AX4: Cell is filled !
Feedwater
S/H Steam
Steam Drum
Flash Steam
Cond. Drain
Cooling Water
Cooling Water
Sat. Steam
Cooling Water
Vent Steam
Cooling Water
Condensate
Make-up Water
1

## +SH2
P R O C E S S F L O W D I A G R AM | [33 empty] | Doc. No. |  |  | PFD - FC - 100
[34 empty] | Date |  |  | 2015. 9. 1.
Job No. |  |  | *** | [10 empty] | Item No. |  |  |  | *** | [15 empty] | Revision |  |  | 0
Project |  |  | *** | [10 empty] | Service |  |  |  | *** | [15 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[34 empty] | O P E R A T I O N D A T A | [9 empty] | Application
| Heat Duty, kcal/h | [32 empty] | S/H Steam Flow |  |  |  | *** |  |  | kg/h |  |  | - N/A - |  | < Screen Tube |  |  |  | - N/A -
| Secondary S/H |  |  | *** | [29 empty] | S/H Steam Press. |  |  |  | *** |  |  | kg/cm2.g |  |  | Yes |  | < Superheater |  |  |  | Yes
| Primary S/H |  |  | *** | [11 empty] | DS-1301 | [17 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - |  | < S/H from Others |  |  |  | - N/A - |  | Location
| Steam Generator |  |  | *** | [11 empty] | De-superheater | [5 empty] | *** |  | *** |  | *** |  |  | S/H Steam |  |  |  |  | Sat. Steam Flow |  |  |  | *** |  |  | kg/h |  |  | Yes |  | < Secondary S/H |  |  |  | - N/A - |  | - N/A -
| Economizer |  |  | *** | [17 empty] | *** |  | *** |  | *** | [7 empty] | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes |  | < Economizer |  |  |  | Yes
| Total |  |  | *** | [29 empty] | Blowdown Rate |  |  |  | #VALUE! |  |  | %Steam Flow
[17 empty] | *** |  | ***
[17 empty] | *** |  | *** | [14 empty] | W A S T E G A S D A T A
|  |  |  | *** |  | *** |  | *** |  | *** | [11 empty] | *** |  | *** |  | *** |  |  | Feedwater |  |  |  |  | Source |  |  |  |  | ***
|  | *** |  | *** |  | *** |  | *** |  | *** | [11 empty] | *** |  | *** |  | *** | [7 empty] | Waste Gas |  |  |  |  | ***
|  |  | COIL 1 | [30 empty] | Load |  |  |  |  | *** |  |  |  |  | 적용
|  |  | Economizer | [9 empty] | *** |  | *** | [18 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h |  |  | - N/A -
[6 empty] | *** |  | *** |  | *** |  |  | *** |  | *** | [6 empty] | *** |  | *** |  | *** | [7 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃
[6 empty] | *** |  | *** |  | *** | [11 empty] | *** |  | *** |  | *** | [7 empty] | Press., Inlet |  |  |  | *** |  |  | mmH2O
[6 empty] | *** | * Approach Point | [26 empty] | Heat Loss |  |  |  | *** |  |  | % |  |  | Piping |  | ASTM
|  |  |  | *** | [9 empty] | *** |  | *** |  | *** | [15 empty] | Legend | [9 empty] | - N/A - | < Mix by Circ. Water
|  | *** |  | *** | [9 empty] | *** |  | *** |  | *** | [15 empty] | P | T
|  | *** | * Pinch Point | [19 empty] | D-1309 | [10 empty] | Q | h
|  |  | COIL 2 |  |  | *** |  | *** |  | *** | [5 empty] | Circ. Ratio | [6 empty] | Steam Drum | [14 empty] | Water/Steam |  |  | Waste Gas
|  |  | Steam Generator |  |  | *** |  | *** |  | *** | [5 empty] | 4.8161 | : 1 | [5 empty] | * Oper. Press. | [10 empty] | P | Press. |  |  | kg/cm2.g |  |  | mmH2O
[23 empty] | *** |  | kg/cm2.g | [8 empty] | T | Temp. |  |  | ℃ |  |  | →
[6 empty] | *** |  | *** |  | *** | [5 empty] | *** |  | *** |  |  |  |  | *** |  | ℃ | Sat. | [7 empty] | Q | Flow |  |  | kg/h |  |  | → |  |  | WG Kind |  |  | Gas Mixture
[6 empty] | *** |  | *** |  | *** | [5 empty] | *** |  | *** | [15 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | WG in DB |  |  | Dry Air
|  |  |  | *** | [12 empty] | *** | [26 empty] | Mass Flow
|  | *** |  | *** | [8 empty] | P-1307 A |  |  |  | *** | [16 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch |  | *** |  |  | kg/h
|  |  | SH - 1 | [9 empty] | BW Circ. Pump | [20 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | Density |  |  |  | *** |  |  | kg/m3
|  |  | Primary S/H | [44 empty] | *** |  |  | kg/Nm3
[25 empty] | *** |  | *** | [18 empty] | Composition
[7 empty] | *** |  | *** | [15 empty] | *** |  | *** | [16 empty] | Component |  |  | M. Weight |  |  | volume% |  | weight%
|  |  |  | *** |  |  | *** |  | *** |  |  | *** |  | *** | [29 empty] | CO2 |  |  | *** |  |  | 8.58 |  | ***
|  | *** |  | *** | [7 empty] | *** |  | *** | [10 empty] | D-1310 | [6 empty] | *** |  | *** | [9 empty] | H2O |  |  | *** |  |  | 17.24 |  | ***
|  |  | SH - 2 | [15 empty] | *** |  | *** |  |  |  | Flash Tank | [6 empty] | *** |  | *** | [9 empty] | N2 |  |  | *** |  |  | 71.7 |  | ***
|  |  | Secondary S/H |  |  |  | *** |  | *** | [9 empty] | *** |  | *** | [22 empty] | O2 |  |  | *** |  |  | 2.48 |  | ***
[7 empty] | *** |  | *** | [15 empty] | *** |  | *** |  |  |  |  | *** |  | *** | [9 empty] | SO2 |  |  | *** |  |  | 0.00037 |  | ***
[25 empty] | *** |  | *** |  |  |  |  | *** |  | *** | [9 empty] | 0 |  |  | *** |  |  | 0 |  | ***
|  | *** |  | *** |  | *** |  | *** |  | *** | [33 empty] | 0 |  |  | *** |  |  | 0 |  | ***
|  | *** |  | *** |  | *** |  | *** |  | *** | [17 empty] | D-1315 |  |  |  | *** |  | *** | [9 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[8 empty] | BW Circ. Pump Capacity | [7 empty] | *** |  | *** | [9 empty] | Blowdown Tank |  |  |  | *** |  | *** | [9 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[8 empty] | Flowrate |  | #VALUE! | kg/h |  |  |  |  | *** |  | *** | [25 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[10 empty] | #VALUE! | m3/h |  |  |  |  | *** |  | *** | [11 empty] | BC-100 |  | *** |  | *** | [9 empty] | Total | [5 empty] | 100.0004 |  | 0
[8 empty] | Disch. P. |  | #VALUE! | kg/cm2.g | [6 empty] | *** | [11 empty] | Blowdown Cooler |  | *** |  | *** | [9 empty] | M. Weight |  |  |  |  | *** |  |  | ***
|  |  | *** |  |  |  |  | Suct. P. |  | *** | kg/cm2.g | [32 empty] | Density |  |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[8 empty] | Diff. P. |  | #VALUE! | #VALUE! | [32 empty] | Dew Point |  |  | *** |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  |  | 3 | %
NTES | [42 empty] | Narai Thermal Engineering Services
| Heat & Mass Balance Check | [21 empty] | BW Circ. Pump Capacity |  |  |  |  | Round-up |  |  | P-1307 A |  |  | Blowdown Rate |  |  |  |  | Sea Water
| COIL 2 Steam Generator | [21 empty] | Flowrate |  | 20 | % Up |  | 100 |  |  | P-1307 B |  | Inpt | 2.7 |  | %Steam Flow |  |  | Yes
| Sat. Steam from Drum |  |  |  | #VALUE! | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h | [7 empty] | Disch. P. |  | 3 | Plus | [6 empty] | Actual | #VALUE! |  | %Steam Flow
| Blowdown Water |  |  |  | *** | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h | [17 empty] | Cla'd from this sheet | ***
| Mixing Water to ECO |  |  |  | *** | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h | [18 empty] | 2.629 |  | %BFW Flow
[5 empty] | mbw | [5 empty] | Total > | #VALUE! |  |  | kcal/h |  | Dev. | [15 empty] | Cla'd from this sheet | ***
| from Circ. BW side |  |  |  | *** | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h |  | #VALUE! | %
at Outlet of COIL 2 Steam Generator
| Circ. Ratio |  |  |  |  | CR | = | [5 empty] | 4.8161
| Steam Quality " X " |  |  |  |  | X | = | 1 / CR |  |  | = |  | 0.20764
| Enthalpy from PFD |  |  |  |  | h | = | [5 empty] | *** |  | kcal/kg
| Enthalpy, Sat. Water |  |  |  |  | h1 | = | [5 empty] | *** |  | kcal/kg | [28 empty] | Deaerator & Stotage Tank | [5 empty] | H. Steam |  | Vent |  | Make-up Water
| Enthalpy, Sat. Steam |  |  |  |  | h2 | = | [5 empty] | *** |  | kcal/kg |  | Dev. | [26 empty] | - N/A - | [5 empty] | S/H |  | 1 | % | Yes
| Enthalpy from " x " |  |  |  |  | h | = | h1 + X ( h2 - h1 ) |  |  | = |  | #VALUE! |  | kcal/kg |  | #VALUE! | %
| Steam Amount in Circ. BW |  |  |  |  | ms | = | mbw x X |  |  | = |  | #VALUE! |  | kg/h | [30 empty] | *** |  | *** | [5 empty] | *** | ***
| Water Amount in Circ. BW |  |  |  |  | mw | = | mbw - ms |  |  | = |  | #VALUE! |  | kg/h | [30 empty] | *** |  | *** | [5 empty] | *** | ***
Inside Steam Drum
| Heat to FW entering Steam Drum |  |  |  |  | Hfw | = | mfw x ( h1 - hfw ) |  |  | = | #VALUE! |  |  | kcal/h |  | * from ECO Outlet Temp. to Sat. Temp. | [32 empty] | *** |  | *** |  | *** | ***
| Equiv. Steam Amount, Required |  |  |  |  | mse | = | Hfw / ( h2 - h1 ) |  |  | = |  | #VALUE! |  | kg/h | [32 empty] | DEA - 100 |  | *** |  | *** |  | *** | ***
| Net Out Steam, Available |  |  |  |  | mn | = | ms - mse |  |  | = |  | #VALUE! |  | kg/h |  | Dev. | [30 empty] | Deaerator & Stotage Tank
| Act. Out Steam from Steam Drum |  |  |  |  | mo | = | from PFD |  |  | = |  | #VALUE! |  | kg/h |  | #VALUE! | %
| H&M Balance |  |  |  | from *** Side | [13 empty] | from Water / Steam Side | Dev. | [23 empty] | *** |  | *** |  |  |  | *** |  | ***
| Secondary S/H |  |  |  | *** | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h |  | *** |  |  | #VALUE! | % | [22 empty] | *** |  | *** |  |  |  | *** |  | ***
| Primary S/H |  |  |  | *** | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h |  | *** |  |  | #VALUE! | %
| Steam Generator |  |  |  | *** | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h |  | *** |  |  | #VALUE! | % | [26 empty] | BFP - 100
| Economizer |  |  |  | *** | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h |  | *** |  |  | #VALUE! | % | [26 empty] | BFW Pump
| Total |  |  |  | *** | x ( | *** |  | - | *** | ) = | #VALUE! |  |  | kcal/h |  | *** |  |  | #VALUE! | %
Note on D24: Tgi Bare Fin > 650 70~80 20~30 < 650 40~70 5~20
Note on I20: Tgi > 650 20~40 < 650 5~20
Note on M15: 1 ~ 2
Note on M19: 1 ~ 2
Note on M26: 15 ~ 20
Note on M29: 2 ~ 2.5
Note on M43: 30 ~ 50
Note on U31: 0.5 ~ 1
Note on V23: 20 ~ 30
Note on AD10: 30 ~ 50
Note on AD15: 1 ~ 2
Note on AD19: 20 ~ 30
Note on AI53: Cell is filled !
Note on AX4: Cell is filled !
Feedwater
S/H Steam
Steam Drum
Flash Steam
Cond. Drain
Cooling Water
Cooling Water
Sat. Steam
Cooling Water
Vent Steam
Cooling Water
Condensate
Make-up Water
1

## -S
P R O C E S S F L O W D I A G R AM | [23 empty] | Doc. No. |  |  | PFD - FCEE - 100
[24 empty] | Date |  |  | 2015. 9. 1.
Job No. |  |  | *** | [10 empty] | Item No. |  |  | *** | [6 empty] | Revision |  |  | 0
Project |  |  | *** | [10 empty] | Service |  |  | *** | [6 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[24 empty] | O P E R A T I O N D A T A | [9 empty] | Application
| Heat Duty, kcal/h | [22 empty] | Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - | < Screen Tube |  |  |  | - N/A -
| Steam Generator |  |  | *** | [19 empty] | Oper. Press. |  |  |  | *** |  |  | kg/cm2.g |  |  | - N/A - | < Superheater |  |  |  | Yes
| Economizer |  |  | *** | [19 empty] | Oper. Temp., Sat. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < S/H from Others |  |  |  | - N/A -
| Total |  |  | *** | [19 empty] | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < Secondary S/H |  |  |  | - N/A -
[24 empty] | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow |  |  | Yes | < Economizer |  |  |  | Yes
[17 empty] | *** |  | *** |  | *** |  | Sat. Steam
[17 empty] | *** |  | *** |  | *** |  |  | W A S T E G A S D A T A
|  |  |  | *** | [19 empty] | Source |  |  |  |  | ***
|  | *** |  | *** | [19 empty] | Waste Gas |  |  |  |  | *** |  |  |  |  | 적용
[24 empty] | Load |  |  |  |  | *** |  |  |  |  | - N/A -
|  |  | COIL 1 |  | *** |  | *** |  | *** | [7 empty] | *** |  | *** |  | *** |  | Feedwater | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
|  |  | Economizer |  | *** |  | *** |  | *** | [7 empty] | *** |  | *** |  | *** |  |  | Temp., Inlet |  |  |  | *** |  |  | ℃
[24 empty] | Press., Inlet |  |  |  | *** |  |  | mmH2O
[5 empty] | *** |  | *** |  | *** | [14 empty] | Heat Loss |  |  |  | *** |  |  | %
[5 empty] | *** |  | *** |  | *** | [24 empty] | Piping | ASTM
[5 empty] | *** | * Approach Point | [17 empty] | Legend
|  |  |  | *** |  |  |  |  | *** |  | *** | [12 empty] | P | T
|  | *** |  | *** |  |  |  |  | *** |  | *** | [12 empty] | Q | h | [8 empty] | WG Kind |  | Gas Mixture
|  | *** | * Pinch Point | [12 empty] | D-1309 | [11 empty] | Water/Steam |  |  | Waste Gas |  |  | WG in DB |  | Dry Air
|  |  | COIL 2 |  | *** |  | *** |  | *** |  | Circ. Ratio |  |  |  |  | Steam Drum | [7 empty] | P | Press. |  |  | kg/cm2.g |  |  | mmH2O |  |  | Mass Flow
|  |  | Steam Generator |  | *** |  | *** |  | *** |  | 4.8161 | : 1 |  |  |  | * Oper. Press. | [7 empty] | T | Temp. |  |  | ℃ |  |  | → |  |  | *** |  | kg/h
[16 empty] | *** |  | kg/cm2.g | [5 empty] | Q | Flow |  |  | kg/h |  |  | kg/h |  |  | Density |  |  | *** |  |  | kg/m3
[16 empty] | *** |  | ℃ | Sat. |  |  |  |  | h | Enthalpy |  |  | kcal/kg |  |  | → | [5 empty] | *** |  |  | kg/Nm3
[5 empty] | *** |  | *** |  |  |  | *** |  | *** | [21 empty] | Composition, vol%
[5 empty] | *** |  | *** |  |  |  | *** |  | *** | [10 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch |  | Component |  | M. Weight |  |  | volume% |  | weight%
[6 empty] | *** | [5 empty] | *** | [7 empty] | 0 |  | *** |  | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | CO2 |  | #VALUE! |  |  | 8.58 |  | #VALUE!
|  | *** |  | *** |  | *** |  |  | BW Circ. Pump |  |  | *** | [7 empty] | *** |  | *** | [11 empty] | H2O |  | #VALUE! |  |  | 17.24 |  | #VALUE!
|  | *** |  | *** | [9 empty] | *** | *** |  | *** | [16 empty] | N2 |  | #VALUE! |  |  | 71.7 |  | #VALUE!
[14 empty] | *** | *** |  | *** | [16 empty] | O2 |  | #VALUE! |  |  | 2.48 |  | #VALUE!
[34 empty] | SO2 |  | #VALUE! |  |  | 0.00037 |  | #VALUE!
[18 empty] | Blowdown Vessel | [15 empty] | 0 |  |  |  |  | 0
[20 empty] | *** |  | *** | [11 empty] | 0 |  |  |  |  | 0
|  |  | *** | [16 empty] | *** |  | *** | [11 empty] | 0 |  |  |  |  | 0
[11 empty] | #VALUE! |  | 2.5 | [20 empty] | 0 |  |  |  |  | 0
[11 empty] | 40 |  | #VALUE! | [20 empty] | 0 |  |  |  |  | 0
[34 empty] | Total |  |  |  |  | 100.0004 |  | #VALUE!
[10 empty] | * m3/h | 10 |  | 3 | [20 empty] | M. Weight |  |  |  | *** |  |  | ***
[11 empty] | 32 |  | #VALUE! | [20 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  | 2 | ~ | 5 | %
[34 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ | * SO2 -> SO3 |  |  | 3 | %
NTES | [32 empty] | Narai Thermal Engineering Services
[8 empty] | Heat Duty | [20 empty] | Blowdown Rate
|  |  |  | Superheater |  |  |  | Steam Generator | [7 empty] | Economizer | [11 empty] | Inpt | 2.7 |  | %Steam Flow
[8 empty] | S/H Steam |  |  | 0 | [16 empty] | Actual | #VALUE! |  | %Steam Flow
[8 empty] | Sat. Steam |  |  | #VALUE! | [16 empty] | Cla'd from this sheet | ***
[8 empty] | Blowdown |  |  | #VALUE! | [17 empty] | 2.629 |  | %BFW Flow
|  |  |  | 0 |  |  |  | Sum |  |  | #VALUE! |  |  |  |  | #VALUE! | [11 empty] | Cla'd from this sheet | ***
[8 empty] | Total |  |  | #VALUE!
sqtk
| 27902 |  |  | 0 |  |  |  | Sum |  |  | #VALUE! |  |  |  |  | #VALUE!
[8 empty] | Total |  |  | #VALUE!
Note on D24: Tgi Bare Fin > 650 70~80 20~30 < 650 40~70 5~20
Note on I21: Tgi > 650 20~40 < 650 5~20
Note on J32: 2 ~ 2.5
Note on M17: 1 ~ 2
Note on M20: 1 ~ 2
Note on M26: 15 ~ 20
Note on P32: 0.5 ~ 1
Note on R34: 20 ~ 30
Note on Z12: 20 ~ 30
Note on Z17: 1 ~ 2
Note on AS4: Cell is filled !
Feedwater
Steam Supply
Steam Drum
Vent Steam
Cond. Drain
Cooling Water
Cooling Water
1

## -E
P R O C E S S F L O W D I A G R AM | [24 empty] | Doc. No. |  |  | PFD - FCSE - 100
[25 empty] | Date |  |  | 2015. 9. 1.
Job No. |  |  | *** | [10 empty] | Item No. |  |  |  | *** | [6 empty] | Revision |  |  | 0
Project |  |  | *** | [10 empty] | Service |  |  |  | *** | [6 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[25 empty] | O P E R A T I O N D A T A | [9 empty] | Application
[25 empty] | S/H Steam Flow |  |  |  | *** |  |  | kg/h |  |  | - N/A - | < Screen Tube |  |  |  | - N/A -
| Heat Duty, kcal/h | [23 empty] | S/H Steam Press. |  |  |  | *** |  |  | kg/cm2.g |  |  | Yes | < Superheater |  |  |  | Yes
| Superheater |  |  | *** | [7 empty] | DS-1301 | [12 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < S/H from Others |  |  |  | - N/A -
| Steam Generator |  |  | *** | [7 empty] | De-superheater | [7 empty] | *** |  | *** |  | S/H Steam | Sat. Steam Flow |  |  |  | *** |  |  | kg/h |  |  | - N/A - | < Secondary S/H |  |  |  | - N/A -
| Total |  |  | *** | [15 empty] | *** |  | *** |  |  | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < Economizer |  |  |  | Yes
[21 empty] | *** |  |  |  | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow
***
[13 empty] | *** |  | *** | [9 empty] | W A S T E G A S D A T A
[13 empty] | 0 |  | *** |  |  |  |  | *** |  | *** |  | Feedwater | Source |  |  |  |  | *** |  |  |  |  | 적용
[20 empty] | *** |  | *** |  |  | Waste Gas |  |  |  |  | *** |  |  |  |  | - N/A -
[21 empty] | *** |  |  |  | Load |  |  |  |  | ***
[11 empty] | *** |  | *** |  | *** | [5 empty] | *** |  |  |  | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
[11 empty] | *** |  | *** |  | *** | [9 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃
[20 empty] | *** |  | *** |  |  | Press., Inlet |  |  |  | *** |  |  | mmH2O
|  |  |  | *** | [5 empty] | *** |  | *** |  | *** | [5 empty] | *** |  | *** |  |  | Heat Loss |  |  |  | *** |  |  | % |  |  | Piping | ASTM
|  | *** |  | *** | [5 empty] | *** |  | *** |  | *** | [6 empty] | ***
|  | *** | * Pinch Point | [17 empty] | *** |  |  |  | Legend
[19 empty] | D-1309 | [5 empty] | P | T | [8 empty] | WG Kind |  | Gas Mixture
|  |  | COIL 2 |  | *** |  | *** |  | *** |  |  | Circ. Ratio | [6 empty] | Steam Drum | [5 empty] | Q | h | [8 empty] | WG in DB |  | Dry Air
|  |  | Steam Generator |  | *** |  | *** |  | *** |  |  | 4.8161 | : 1 | [5 empty] | * Oper. Press. | [9 empty] | Water/Steam |  |  | Waste Gas |  |  | Mass Flow
[19 empty] | *** |  | kg/cm2.g |  |  |  | P | Press. |  |  | kg/cm2.g |  |  | mmH2O |  |  | *** |  | kg/h
[12 empty] | *** |  | m3/h |  |  |  |  | *** |  | ℃ | Sat. |  |  | T | Temp. |  |  | ℃ |  |  | → |  |  | Density |  |  | *** |  |  | kg/m3
[5 empty] | *** |  | *** |  |  |  |  | *** |  | *** | [10 empty] | Q | Flow |  |  | kg/h |  |  | kg/h | [5 empty] | *** |  |  | kg/Nm3
[5 empty] | *** |  | *** |  |  |  |  | *** |  | *** | [10 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  |  | Composition
|  |  |  | *** |  | *** | [6 empty] | *** | [21 empty] | Component |  | M. Weight |  |  | volume% |  | weight%
|  | *** |  | *** |  | *** |  |  | BW Circ. Pump |  |  |  | *** | [7 empty] | 0 |  | *** |  | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch |  | CO2 |  | #VALUE! |  |  | 8.58 |  | #VALUE!
|  |  | COIL 3 | [17 empty] | *** |  | *** |  | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | H2O |  | #VALUE! |  |  | 17.24 |  | #VALUE!
|  |  | Superheater | [10 empty] | *** |  | *** |  | *** | [16 empty] | N2 |  | #VALUE! |  |  | 71.7 |  | #VALUE!
[14 empty] | *** |  | *** |  | *** | [16 empty] | O2 |  | #VALUE! |  |  | 2.48 |  | #VALUE!
[35 empty] | SO2 |  | #VALUE! |  |  | 0.00037 |  | #VALUE!
[5 empty] | *** |  | *** | [11 empty] | Blowdown Vessel | [15 empty] | 0 |  |  |  |  | 0
|  | *** |  | *** | *** |  | *** | [13 empty] | *** |  | *** | [11 empty] | 0 |  |  |  |  | 0
|  | *** |  | *** |  | *** | [14 empty] | *** |  | *** | [11 empty] | 0 |  |  |  |  | 0
[6 empty] | *** |  |  |  |  | 2.5 |  | 40 | [21 empty] | 0 |  |  |  |  | 0
[11 empty] | #VALUE! |  | #VALUE! | [21 empty] | 0 |  |  |  |  | 0
[35 empty] | Total |  |  |  |  | 100.0004 |  | #VALUE!
|  |  | *** | [7 empty] | 3 |  | 32 | [21 empty] | M. Weight |  |  |  | *** |  |  | ***
[10 empty] | * m3/h | 10 |  | #VALUE! | [21 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  | 2 | ~ | 5 | %
[35 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ | * SO2 -> SO3 |  |  | 3 | %
NTES | [33 empty] | Narai Thermal Engineering Services
[8 empty] | Heat Duty | [21 empty] | Blowdown Rate
|  |  |  | Superheater |  |  |  | Steam Generator | [8 empty] | Economizer | [11 empty] | Inpt | 2.7 |  | %Steam Flow
[8 empty] | S/H Steam |  |  | #VALUE! | [17 empty] | Actual | #VALUE! |  | %Steam Flow
[8 empty] | Sat. Steam |  |  | #VALUE! | [17 empty] | Cla'd from this sheet | ***
[8 empty] | Blowdown |  |  | #VALUE! | [18 empty] | 2.629 |  | %BFW Flow
|  |  |  | #VALUE! |  |  |  | Sum |  |  | #VALUE! | [5 empty] | 0 | [11 empty] | Cla'd from this sheet | ***
[8 empty] | Total |  |  | #VALUE!
sqtk
| 27902 |  |  | #VALUE! |  |  |  | Sum |  |  | #VALUE! | [5 empty] | 0
[8 empty] | Total |  |  | #VALUE!
Note on D22: Tgi Bare Fin > 650 70~80 20~30 < 650 40~70 5~20
Note on J31: 2 ~ 2.5
Note on J39: 30 ~ 50
Note on M25: 15 ~ 20
Note on N21: 20 ~ 30
Note on O18: 1 ~ 2
Note on Q31: 0.5 ~ 1
Note on R34: 20 ~ 30
Note on Y12: 30 ~ 50
Note on Y17: 1 ~ 2
Note on Y22: 20 ~ 30
Note on AS4: Cell is filled !
Feedwater
S/H Steam
Steam Drum
Vent Steam
Cond. Drain
Cooling Water
Cooling Water
Sat. Steam
1

## -S-E
P R O C E S S F L O W D I A G R AM | [23 empty] | Doc. No. |  |  | PFD - FCE - 100
[24 empty] | Date |  |  | 2015. 9. 1.
Job No. |  |  | *** | [10 empty] | Item No. |  |  | *** | [6 empty] | Revision |  |  | 0
Project |  |  | *** | [10 empty] | Service |  |  | *** | [6 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[24 empty] | O P E R A T I O N D A T A | [9 empty] | Application
[24 empty] | Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - | < Screen Tube |  |  |  | - N/A -
| Heat Duty, kcal/h | [22 empty] | Oper. Press. |  |  |  | *** |  |  | kg/cm2.g |  |  | - N/A - | < Superheater |  |  |  | Yes
| Steam Generator |  |  | *** | [19 empty] | Oper. Temp., Sat. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < S/H from Others |  |  |  | - N/A -
[24 empty] | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < Secondary S/H |  |  |  | - N/A -
[19 empty] | *** |  | *** |  | Sat. Steam | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow |  |  | - N/A - | < Economizer |  |  |  | Yes
[19 empty] | *** |  | ***
[20 empty] | *** |  |  |  | W A S T E G A S D A T A
[20 empty] | *** |  |  |  | Source |  |  |  |  | ***
[24 empty] | Waste Gas |  |  |  |  | *** |  |  |  |  | 적용
[24 empty] | Load |  |  |  |  | *** |  |  |  |  | - N/A -
[19 empty] | *** |  | *** |  | Feedwater | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
|  |  |  | *** | [14 empty] | *** |  | *** |  |  | Temp., Inlet |  |  |  | *** |  |  | ℃
|  | *** |  | *** | [15 empty] | *** |  |  |  | Press., Inlet |  |  |  | *** |  |  | mmH2O
|  | *** | * Pinch Point | [16 empty] | *** |  |  |  | Heat Loss |  |  |  | *** |  |  | %
[18 empty] | D-1309 | [15 empty] | Piping | ASTM
|  |  | COIL 2 |  | *** |  | *** |  | *** |  |  | Circ. Ratio | [5 empty] | Steam Drum | [5 empty] | Legend
|  |  | Steam Generator |  | *** |  | *** |  | *** |  |  | 4.8161 | : 1 |  |  |  |  | * Oper. Press. | [5 empty] | P | T
[18 empty] | *** |  | kg/cm2.g |  |  |  | Q | h | [8 empty] | WG Kind |  | Gas Mixture
[12 empty] | *** |  | m3/h |  |  |  | *** |  | ℃ | Sat. | [6 empty] | Water/Steam |  |  | Waste Gas |  |  | WG in DB |  | Dry Air
[5 empty] | *** |  | *** |  |  |  |  | *** |  | *** | [9 empty] | P | Press. |  |  | kg/cm2.g |  |  | mmH2O |  |  | Mass Flow
[5 empty] | *** |  | *** |  |  |  |  | *** |  | *** | [9 empty] | T | Temp. |  |  | ℃ |  |  | → |  |  | *** |  | kg/h
[6 empty] | *** | [7 empty] | *** | [9 empty] | Q | Flow |  |  | kg/h |  |  | kg/h |  |  | Density |  |  | *** |  |  | kg/m3
[6 empty] | *** |  |  | BW Circ. Pump |  |  |  |  | *** | [9 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → | [5 empty] | *** |  |  | kg/Nm3
|  | *** |  | *** | [15 empty] | 0 |  | *** | [12 empty] | Composition, vol%
|  | *** |  | *** | [15 empty] | *** |  | *** |  | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch |  | Component |  | M. Weight |  |  | volume% |  | weight%
[14 empty] | *** | *** |  | *** | [6 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | CO2 |  | #VALUE! |  |  | 8.58 |  | #VALUE!
[14 empty] | *** | *** |  | *** | [16 empty] | H2O |  | #VALUE! |  |  | 17.24 |  | #VALUE!
[34 empty] | N2 |  | #VALUE! |  |  | 71.7 |  | #VALUE!
[18 empty] | Blowdown Vessel | [15 empty] | O2 |  | #VALUE! |  |  | 2.48 |  | #VALUE!
|  |  | *** | [16 empty] | *** |  | *** | [11 empty] | SO2 |  | #VALUE! |  |  | 0.00037 |  | #VALUE!
[20 empty] | *** |  | *** | [11 empty] | 0 |  |  |  |  | 0
[34 empty] | 0 |  |  |  |  | 0
[11 empty] | 2.5 |  | 40 | [20 empty] | 0 |  |  |  |  | 0
[11 empty] | #VALUE! |  | #VALUE! | [20 empty] | 0 |  |  |  |  | 0
[34 empty] | 0 |  |  |  |  | 0
[11 empty] | 3 |  | 32 | [20 empty] | Total |  |  |  |  | 100.0004 |  | #VALUE!
[10 empty] | * m3/h | 10 |  | #VALUE! | [20 empty] | M. Weight |  |  |  | *** |  |  | ***
[34 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  | 2 | ~ | 5 | %
[34 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ | * SO2 -> SO3 |  |  | 3 | %
NTES | [32 empty] | Narai Thermal Engineering Services
[8 empty] | Heat Duty | [20 empty] | Blowdown Rate
|  |  |  | Superheater |  |  |  | Steam Generator | [7 empty] | Economizer | [11 empty] | Inpt | 2.7 |  | %Steam Flow
[8 empty] | S/H Steam |  |  | 0 | [16 empty] | Actual | #VALUE! |  | %Steam Flow
[8 empty] | Sat. Steam |  |  | #VALUE! | [16 empty] | Cla'd from this sheet | ***
[8 empty] | Blowdown |  |  | #VALUE! | [17 empty] | 2.629 |  | %BFW Flow
|  |  |  | 0 |  |  |  | Sum |  |  | #VALUE! |  |  |  |  | 0 | [11 empty] | Cla'd from this sheet | ***
[8 empty] | Total |  |  | #VALUE!
sqtk
| 27902 |  |  | 0 |  |  |  | Sum |  |  | #VALUE! |  |  |  |  | 0
[8 empty] | Total |  |  | #VALUE!
Note on D19: Tgi Bare Fin > 650 70~80 20~30 < 650 40~70 5~20
Note on J28: 2 ~ 2.5
Note on M22: 15 ~ 20
Note on R28: 0.5 ~ 1
Note on R32: 20 ~ 30
Note on Y13: 20 ~ 30
Note on Y19: 1 ~ 2
Note on AS4: Cell is filled !
Feedwater
Steam Drum
Vent Steam
Cond. Drain
Cooling Water
Cooling Water
Steam Supply
1