## IS
| I N P U T & S U M M A R Y f o r W H B , N C | [35 empty] | Fuel -> |  | BC,S=4 |  | BC,S=2 |  | DO,S=0.5 |  | LNG | [6 empty] | 2014. 11. 10. 추가 !
[37 empty] | H2O |  | 11.2 |  | 11.44 |  | 12.75 |  | 15.47 | [6 empty] | P-1307 A |  |  | P-1307 B | H & M B A L A N C E around D E A
1 | Project |  |  |  | Yanbu Export Refinery Project / EPC - 3 | [12 empty] | Location |  |  | Out-door |  |  |  | Job No. |  |  | J11301001 | [8 empty] | CO2 |  | 12.02 |  | 12.02 |  | 11.32 |  | 8.43 | [6 empty] | BW Circ. Pump |  |  | Round-up | 2014. 12. 5.
2 | Client |  |  |  | Saudi Aramco + Conoco Philips | [15 empty] | Non-hazardous |  |  |  | Doc. No. |  |  | IS - HRSG - 100 | [8 empty] | N2 |  | 74.01 |  | 73.87 |  | 73.56 |  | 72.87 | [6 empty] | Flow | 20 | % Up | 100 | [5 empty] | Heating Steam
3 | Contractor |  |  |  | Daelim Industrial Co., Ltd. | [12 empty] | Application |  |  | WHB |  |  |  | Date |  |  | 2015. 1. 10. | [8 empty] | O2 |  | 2.56 |  | 2.56 |  | 2.35 |  | 3.23 | [7 empty] | *** | kg/h |  |  | DEA - 100 |  |  |  | S/H |  |  | h
4 | Code/Standard |  |  |  | ASME |  |  | Sec. I |  |  | Mat. Code |  |  | ASTM |  |  |  | Stamp |  |  | Yes |  |  |  | Revision |  |  | 0 | [8 empty] | SO2 |  | 0.21 |  | 0.11 |  | 0.02 |  | 0 |  |  | Name for W. cooled Chmb for long. |  |  |  |  | *** | m3/h |  |  | Deaerator & Stotage Tank | [5 empty] | Vent | ***
5 | Service of Unit |  |  |  | HRSG | [5 empty] | 2 Drum Gas Flow | [6 empty] | long. | [6 empty] | Item No. |  |  | HRSG - 100 / 200 / 300 | [8 empty] | Sum |  | 100 |  | 100 |  | 100 |  | 100 |  |  | Water Cooled Chamber |  |  |  | Disch. P | 3 | Plus |  |  | - N/A - |  |  | *** | *** |  | 1 | %
6 | Type |  |  |  | Elevated Drum | [5 empty] | W. cooled Chmb for long. | [6 empty] | No | [6 empty] | No. of Units |  |  |  |  | 3 | [21 empty] | Disch. P | *** | bar.g | [5 empty] | *** | *** |  | *** | kg/h |  |  | Demi. Water
7 |  |  |  | 3 Drum > | No | [7 empty] | P R O C E S S D A T A |  | 0 |  |  | <- | *** |  |  | < ??? added BFW | [11 empty] | Component |  |  | M. Weight |  |  | volume% |  |  | weight% |  |  | volume% | [5 empty] | Suct. P. | *** | bar.g | [7 empty] | Input> | 5.3 |  | 5 | % | Yes
8 | Terminal Point |  |  |  |  | Sat. |  |  | S/H |  |  | -> | Yes |  | Steam fr SRU |  |  | Source | [5 empty] | Gas Turbine | [9 empty] | H2O |  |  | #VALUE! |  |  | 14 |  |  | #VALUE! |  |  | 14 | [5 empty] | Diff. P. | *** | #VALUE! | [10 empty] | *** |  | 5 | 30
9 | Capacity |  |  |  |  | 0 |  |  | 7000 |  |  | kg/h |  |  | 15000 |  |  | Waste Gas Name | [5 empty] | Exhaust Gas | [9 empty] | O2 |  |  | #VALUE! |  |  | 2 |  |  | #VALUE! |  |  | 2 | [5 empty] | Total Head | *** | mTH | [9 empty] | minput > | 386 |  | *** | ***
10 | Steam Press. |  |  |  |  | 42.4 |  |  | 41.4 |  |  | bar.g |  |  | *** |  |  | WG Kind | [5 empty] | Gas Mixture |  |  |  | Dry Air | [5 empty] | N2 |  |  | #VALUE! |  |  | 80 |  |  | #VALUE! |  |  | 80 | [5 empty] | 2012. 11. 28. ! | [6 empty] | OP | OT |  |  |  |  | *** | %
11 | Steam Temp. |  |  |  |  | #VALUE! |  |  | 370 |  |  | ℃ |  |  | *** |  |  | WG in DB | [5 empty] | -N/A- | [6 empty] | Overload |  |  | CO2 |  |  | #VALUE! |  |  | 4 |  |  | #VALUE! |  |  | 4 | [5 empty] | Start-up Vent | - N/A - | [5 empty] | bar.g | ℃ | [6 empty] | Condensate
12 | Blowdown rate |  |  |  |  | 2.99 |  |  | #VALUE! |  | <Act. | %Steam Flow |  |  | *** |  |  | Oper. Case | [5 empty] | Design Case | [6 empty] | 0 |  |  | Ar |  |  | #VALUE! |  |  | 0 |  |  | #VALUE! |  |  | 0 | [5 empty] | 20 | % Design Case |  | * During Start-up |  |  |  | 1 | *** |  |  | *** | *** | *** | < T | 5 | 80
13 | Feedwater Temp. |  |  |  | 139 |  | 139 |  | #VALUE! |  | %BWF | ℃ |  |  | - N/A - |  |  | Flowrate, Inlet |  |  |  |  | 53037 |  |  | kg/h |  |  | #VALUE! |  |  | Nm3/h |  | SO2 |  |  | #VALUE! | [8 empty] | 0 |  |  |  |  | OP > | 0.1 | bar.g | [9 empty] | 7711 | *** | *** | < h | *** | ***
14 | Feedwater Press. |  |  |  | 62 |  | 62 |  |  |  |  | bar.g |  |  | - N/A - |  |  | Temp., Inlet |  |  |  |  | 600 |  |  | ℃ | [19 empty] | 0 | [5 empty] | SL - 100 | [5 empty] | BFP - 100 |  |  |  |  | ***
15 | Economizer |  |  |  |  | Yes |  |  | 250 |  |  | ℃ |  | * ECO Out Temp. |  |  |  | Press., Inlet |  |  |  |  | 250 |  |  | mmH2O |  |  |  | BW to ECO Inlet | [15 empty] | 0 | [5 empty] | Vent Silencer |  |  |  | DP-OP |  | BFW Pump
16 | Mix Circ.W. to ECO Inlet |  |  |  |  | - N/A - |  |  | 177 |  |  | ℃ | *** |  | < h |  |  | Heat Loss |  |  |  |  | 1 |  |  | % |  |  |  | 0 | [15 empty] | 0 | [5 empty] | 6" | *** | m/sec | Sch.40 | 2 | [12 empty] | BFW Pump Capacity
17 |  |  | Equip. No.> | EV - 100 |  |  |  | EC - 100 |  |  |  | SH - 100 |  |  |  | H E A T & M A S S B A L A N C E | [29 empty] | 0 | [5 empty] | *** | *** |  |  | *** | *** |  | *** | *** | [8 empty] | Flowrate |  | *** |  | kg/h
18 |  |  |  | Evaporator |  |  |  | Economizer |  |  |  | Superheater | [6 empty] | S/H Steam |  |  |  |  | Sat. Steam | [9 empty] | Total | [5 empty] | 100 |  |  | #VALUE! |  |  | 100 | [5 empty] | *** | *** |  |  | *** | *** |  | *** | *** | [10 empty] | *** |  | m3/h
19 |  |  |  | Inlet |  | Outlet |  | Inlet |  | Outlet |  | Inlet |  | Outlet |  |  |  | 41.4 |  | 370 |  |  | 42.4 |  | #VALUE! |  | 4" | [6 empty] | Density |  |  | #VALUE! |  |  | kg/Nm3 |  |  | MW | #VALUE! |  | Inlet WG Density | [12 empty] | *** | [9 empty] | Disch. P. |  | *** |  | bar.g
20 | Water / Steam Side | [16 empty] | 7000 |  | #VALUE! |  |  | 0 |  | #VALUE! |  | *** |  | m/s |  |  |  |  | Dew Point |  |  | #VALUE! |  |  | ℃ | #VALUE! |  |  |  |  | #VALUE! |  | kg/m3 |  |  |  | Flow | h1 | h2 | [14 empty] | Suct. P. |  | *** |  | bar.g
21 |  | Flowrate |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | kg/h |  | 12" |  | #VALUE! |  | m/s | [7 empty] | BFW |  |  |  | * SO2 -> SO3 |  |  |  | 3 | % | ( 2 | ~ | 5 | % ) |  |  | #VALUE! |  | kg/Nm3 |  |  |  | kg/h | [7 empty] | 2010. 4. 28.
22 |  | Temp. |  | #VALUE! |  | #VALUE! |  | 139 |  | 250 |  | #VALUE! |  | 390 |  | ℃ |  |  |  | #VALUE! |  | <De-S/H, kg/h |  |  | 42.4 |  | 250 |  |  | 62 |  | 139 |  |  | Steam Drum | [8 empty] | OP |  |  |  |  | SD-100 | [10 empty] | S E C O N D A R Y S / H | [8 empty] | Flowrate |  |  |  | Round-up
23 |  | Press. |  | 42.4 |  | 42.4 |  | 62 |  | 42.4 |  | 42.4 |  | 41.7 |  | bar.g |  | 41.7 |  |  | 42.4 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  | 7209.3 |  | #VALUE! |  |  | Flash Tank | [5 empty] | - N/A - |  |  | 5 |  | bar.g |  |  | FV-100 |  |  | 0 | #VALUE! | #VALUE! | [5 empty] | Superheater " 2 " |  |  | - N/A - | <- | - N/A - |  |  |  | Flowrate |  | 20 | % | 100
24 |  | Density |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | kg/m3 |  | 390 |  |  | #VALUE! |  | #VALUE! | [7 empty] | 2" |  |  |  | Sat. Steam, Separate Flow from Drum | [15 empty] | Cond. > | 0 | [7 empty] | De-superheater Loc. |  |  | - N/A - | <- | Inter-stage |  |  |  | Disch. P. |  | 3 | Plus above SD DP
25 |  | Vol. Flow |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | m3/h |  | #VALUE! |  |  | 0 | [9 empty] | #VALUE! |  | m/s |  | to Flash Tank | [5 empty] | - N/A - | [17 empty] | ΔP > | 1 | ΔP > | 0.5 | 315 | *** | < ΔP |  |  |  | Density |  | *** |  | kg/m3
26 | Heat Duty |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | kcal/h |  | #VALUE! |  |  | T(h) | #VALUE! | [12 empty] | 0 |  | <- | 3000 |  | kg/h | - N/A - |  |  | OP | [13 empty] | *** | *** | *** | 325 | *** | *** | *** | *** | *** | *** | ℃ | Diff. |  | *** |  | #VALUE!
27 |  | Total |  | #VALUE! |  | #VALUE! |  | #VALUE! | [7 empty] | kcal/h |  | WG Temp. |  |  | h(T) | #VALUE! | [12 empty] | Blowdown Tank | [5 empty] | Yes |  |  | 0.1 |  | bar.g |  |  | BV-100 |  |  | #VALUE! | #VALUE! | #VALUE! |  |  |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** |  | Total Head |  | *** |  | mTH
28 | Flow Pattern |  |  | Cross |  |  |  | Cross-Counter |  |  |  | Cross-Counter | [5 empty] | 600 |  |  | #VALUE! |  |  |  |  | #VALUE! |  |  |  | #VALUE! |  | ℃ |  |  | Cooling Water | [5 empty] | Yes | [15 empty] | Hduty > | *** |  |  |  | *** |  |  |  | S/H Steam |  |  | Flow | Nor. | *** |  | m3/h
29 | WG |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | <Cp for Acoustic Vib. | [18 empty] | Blowdown Cooler | [5 empty] | - N/A - | [7 empty] | BC-100 | [7 empty] | Sum > |  |  | *** | [9 empty] | Des. | *** |  | %
30 |  | Flowrate |  | 53037 |  |  |  | 53037 |  |  |  | 53037 |  |  |  | kg/h |  | WG | [16 empty] | Temp., Out |  |  | 60 |  | ℃ | [16 empty] | Tgas > | *** |  | *** |  | *** |  | *** |  |  |  | ℃
31 |  | Temp. |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | 600 |  | #VALUE! |  | ℃ | [18 empty] | Cooling Water |  |  |  | Ti / To | 32 |  | 42 |  | ℃ |  | ΔP | [15 empty] | Ft / MTD | *** | *** | Cross-Counter
32 |  |  |  |  | Pinch Point > | #VALUE! |  | #VALUE! |  | < Approach Point | [5 empty] | ℃ | [9 empty] | 42.4 |  | #VALUE! |  |  | Continuous Blowdown | [7 empty] | Pi / Po | 3 |  | 2.5 |  | bar.g |  | 0.5 | [11 empty] | SH - 1 |  |  | BFW |  | SH - 2 |  |  | BFW
33 | Ft / MTD |  |  | 1 |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | ℃ |  |  |  |  | 2" |  | #VALUE! |  | m/s | 209.3 |  | #VALUE! | [29 empty] | Primary S/H |  |  | *** | *** | Secondary S/H |  |  | *** | ***
34 | T U B E D A T A | [16 empty] | T U B E A R R A N G E M E N T | [42 empty] | *** | *** |  |  |  | *** | ***
35 |  |  |  | Evaporator |  |  |  | Economizer |  |  |  | Superheater | [8 empty] | Evaporator |  |  |  | Economizer |  |  |  | Superheater | [22 empty] | Screen Tubes | [7 empty] | Superheater " 2 "
36 | Material Code | [16 empty] | Tube Lgt, Eff. | [14 empty] | mm |  | Boiler Water Name
37 | Tube Type | [14 empty] | C.A. |  | Tube Q'ty /Row | [16 empty] | BW Circ. | [10 empty] | ΔP
38 | Tube | [16 empty] | Row Q'ty, Total | [16 empty] | De-superheater | [5 empty] | Yes | <- | Yes |  |  | 0.5 |  |  | DSH-100
39 |  | T. Cond. | [13 empty] | kcal/mh℃ |  |  |  |  | per Tube Pass | [13 empty] | Screen Tubes | [5 empty] | - N/A - | <- | - N/A - |  |  | Ft | 1
40 |  | S.G. | [18 empty] | No. of Tube Passes | [13 empty] | Loc. : before S/H ? | [5 empty] | - N/A - | <- | - N/A - |  |  | MTD | *** |  | Coil 0
41 |  | OD / t | [18 empty] | No. of Tubes | [13 empty] | ΔTgasdown |  |  | 68 |  | ℃ | Tigas |  | *** |  | ℃
42 |  | ID / treq. | [13 empty] | mm |  | H. Surface Area | [9 empty] | Total > |  |  |  |  | m2 |  | Togas |  |  | *** |  | ℃ | ΔPgas |  | 3 |  | 0 |  | #VALUE! |  | Cpi | ***
43 | Fin Type | [17 empty] | Outside | [13 empty] | m2 |  | Hgas |  | *** |  |  | kcal/h | ΔPtube |  | 0.03 |  | 0 |  | #VALUE! |  | Cpo | ***
44 | Fin | [18 empty] | Pitch Type | Staggered |  |  |  | Staggered |  |  |  | In-line | [10 empty] | < Pitch, Diagonal |  |  |  |  | Hduty |  | *** |  |  | kcal/h | [8 empty] | 0
45 |  | T. Cond. | [13 empty] | kcal/mh℃ |  |  |  | Pitch, W / L | [12 empty] | mm |  | Flow Area, 1 m Tube |  |  |  |  | Tube In | [9 empty] | m2 | [8 empty] | m2 | [7 empty] | m2
46 |  | S.G. | [17 empty] | Bundle W / L | [12 empty] | mm | [6 empty] | Fin | [9 empty] | m2 | [8 empty] | m2 | [7 empty] | m2
47 |  | Hf / t | [13 empty] | mm |  | Velocity | [16 empty] | Flow Area |  |  |  | Tube In | [10 empty] | m2 | [8 empty] | m2 | [7 empty] | m2
48 |  | OD | [13 empty] | mm |  |  | Tube In | [13 empty] | m/s | [5 empty] | Outside | [10 empty] | m2 | [8 empty] | m2 | [7 empty] | m2
49 |  |  | FPI / FPM | [15 empty] | WG | [13 empty] | m/s |  | Mass Vel. |  |  |  | Tube In | [10 empty] | kg/m2h | [8 empty] | kg/m2h | [7 empty] | kg/m2h
50 |  | Pitch | [13 empty] | mm |  | Header |  |  | ASTM |  |  | A 106-B |  |  |  | Sch.80 |  |  | A 335-P22 | [7 empty] | WG | [10 empty] | kg/m2h | [8 empty] | kg/m2h | [7 empty] | kg/m2h
51 | Heating Surface Area, 1 m Tube | [17 empty] | Size | [13 empty] | Sch.160 |  | WG Density | [14 empty] | kg/m3 | [8 empty] | kg/m3 | [7 empty] | kg/m3
52 |  | Inside | [13 empty] | m2 |  |  | Sa,Req./Act. | [13 empty] | OK ! | m2 |  | Viscosity | [13 empty] | kg/m.h | [8 empty] | *** | [7 empty] | *** | ***
53 |  | Outside | [13 empty] | m2 |  |  | Vel. | [14 empty] | m/s | S/H Line Size in case of Add. S/H | [10 empty] | Header S. Cal. |  |  |  | *** | [8 empty] | kg/h | [7 empty] | kg/h
54 |  | Ratio | [15 empty] | Nozzle | [16 empty] | from S/D |  |  | Add. S/H | [5 empty] | ID | [14 empty] | kg/h | [7 empty] | kg/h
55 | Weight, 1 m Tube | [17 empty] | Size | [24 empty] | t, Req./Act.
56 |  | Tube | [13 empty] | kg |  |  | Vel. | [13 empty] | m/s | [25 empty] | kg/m3 | [7 empty] | kg/m3
57 |  | Fin | [13 empty] | kg |  | D E S I G N D A T A | [16 empty] | S T E A M D R U M | [7 empty] | for |  | Elevated Drum | [13 empty] | m3/h | [7 empty] | m3/h
58 |  | Sum | [13 empty] | kg | [5 empty] | Press. |  |  |  | Temp. | [12 empty] | Steam Drum | Water Drum
59 | H E A T T R A N S F E R C O E F F. | [20 empty] | bar.g |  |  |  | ℃ | [8 empty] | ID
60 | [9 empty] | S/H Wall Temp., Inlet > |  |  | fin Tip |  |  |  | ℃ |  |  |  |  | Oper. |  | Design |  | Oper. |  | Design |  | Tsat. |  |  |  |  | tl | [15 empty] | Twall >
61 |  | ro / i | [13 empty] | m2h℃/kcal |  | Steam Drum | [16 empty] | t | Shell | [14 empty] | ro / i
62 |  | ho / i | [13 empty] | kcal/m2.h.℃ |  | Evaporator | [16 empty] | t | Tubeplate | [14 empty] | ho / i
63 |  | Re / Feff | [15 empty] | Economizer | [13 empty] | Superheater " 2 " |  |  |  |  | CA | [13 empty] | Re / Feff
63 |  | Two / i | [13 empty] | ℃ |  | Superheater | [32 empty] | Two / i
63 |  |  | Input > | [12 empty] | ℃ |  | A R R ' T f o r E L E V A T E D D R U M | [12 empty] | Yes |  |  | A R R ' T f o r 2 DRUM | [11 empty] | - N/A - |  |  |  |  | Input >
64 |  |  | Clean. Fac. | [12 empty] | ho %Up | [6 empty] | Circulation Ratio |  |  |  | 1 : | 15 |  | x = | 0.066667 | [19 empty] | Clean. Fac.
65 | B A S I C H. T. R E L A T I O N | [49 empty] | Circ. Ratio>
66 |  | U | [13 empty] | kcal/m2.h.℃ | [34 empty] | U
67 |  | MTD | [13 empty] | ℃ | [34 empty] | MTD
68 |  |  | HSA, Req. | [12 empty] | m2 | [34 empty] | HSA, Req.
69 |  |  | HSA, Mgn | [12 empty] | % | [34 empty] | HSA, Mgn
70 |  | dPo > | [13 empty] | #VALUE! | [34 empty] | dPo >
71 |  | dPi > | [13 empty] | #VALUE! | [34 empty] | dPi >
72 | Notes
73 | *1)
74 | *2)
75 | *3)
| NTES | [31 empty] | Narai Thermal Engineering Services |  | Water Drum
|  |  |  | B.W.G. |  | t, mm
|  |  |  | 10 |  | #VALUE! |  | 9 |  | #VALUE! |  | 7 |  | #VALUE!
|  |  |  | Finned Tube Data | [6 empty] | Materials |  |  | Max. Temp.
|  |  |  | Tube | Fin> | C.S. |  | SUS | [5 empty] | ℉ |  | ℃
|  |  |  | OD |  | Hf | t | Hf | t |  | A 178 A |  |  | 950 |  | 510 |  |  | 2011. 1. 31. |  |  |  | Overload
|  |  | 31.8 |  |  | 15 | 1.2 | 11 | 0.8 |  | A 178 C |  |  | 950 |  | 510 |  |  | Safety Valves |  |  |  | 0 |  |  | Data from Above | [5 empty] | 직접 입력 |  |  |  | Design Data for PSV | [8 empty] | Capacity
|  |  | 38.1 |  |  | 18 | 1.2 | 12 | 1 |  | A 213 T11 |  |  | 1050 |  | 565.5556 |  |  | Tag No. | [6 empty] | Flow |  | Press. |  | Temp. |  | Flow |  | Temp. |  | Flow |  | Press. |  | Temp. |  | Size |  |  | Flow |  | Portion |  | Margin |  |  | ID |  |  | ANSI |  | WN
|  |  | 45 |  |  | 20 | 1.2 | 13 | 1 |  | A 213 T12 |  |  | 1050 |  | 565.5556 | [9 empty] | kg/h |  | bar.g |  | ℃ |  |  | No |  |  | kg/h |  | bar.g |  | ℃ |  | Sch.80 |  |  |  |  | % |  | % |  |  | mm |  | Rating
|  |  | 50.8 |  |  | 21 | 1.2 | 13 | 1 |  | A 213 T22 |  |  | 1115 |  | 601.6667 |  |  | PSV - 0258 - 521 | [5 empty] | PSV2_setratio | #VALUE! |  | 0 |  | #VALUE! | [5 empty] | #VALUE! |  | 0 |  | #VALUE! |  | 1" |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  | #VALUE! | #REF! | #VALUE! | Flanged |  | 600 lb
|  |  | 63.5 |  |  | 22 | 1.2 | 13 | 1 |  | A 213 T91 |  |  | 1200 |  | 648.8889 |  |  | PSV - 0258 - 522 |  |  |  |  | 1.03 |  | #VALUE! |  | 0 |  | #VALUE! | [5 empty] | #VALUE! |  | 0 |  | #VALUE! |  | 1" |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! | Flanged |  | 600 lb
|  |  | 76.2 |  |  | 25 | 1.2 | 13 | 1 |  | A 335 P11 |  |  | 1050 |  | 565.5556 |  |  | PSV - 0258 - 523 |  |  |  |  | 20 | % | #VALUE! |  | -1 |  | 0 | [5 empty] | #VALUE! |  | -1 |  | 0 |  | 1" |  |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! | Flanged |  | 600 lb
[11 empty] | A 335 P12 |  |  | 1050 |  | 565.5556 | [6 empty] | S/H > | Yes |  | #VALUE! | [5 empty] | 0 |  |  |  | #VALUE! | [8 empty] | #VALUE! |  | #VALUE! |  | #VALUE!
[11 empty] | A 335 P22 |  |  | 1115 |  | 601.6667 | [11 empty] | -1
Note on D63: Fouling Resistance m2h℃/kcal
Note on D64: Film H.T. Coeff. Kcal/m2h℃
Note on D65: Fin Effiecincy
Note on D66: Wall Temp.
Note on D68: Overall H.T.Coeff., Clean Kcal/m2h℃ Cleanliness Factor %
Note on G34: Tgi Bare Fin > 650 70~80 20~30 < 650 40~70 5~20
Note on I6: Cell is filled !
Note on I34: Tgi > 650 20~40 < 650 5~20
Note on R8: Gas Temp. > 750 ℃
Note on R83: Cell is filled !
Note on V35: 40A ~ 50A
Note on X50: < 20
Note on Z58: 2 ~ 2.5
Note on AB22: 20 ~ 30
Note on AB58: 15 ~ 20
Note on AD58: 20 ~ 30
Note on AD71: < 3.6
Note on AD77: < 1.8
Note on AD79: < 1.8
Note on AE66: Header !
Note on AF27: 1 ~ 2
Note on AF50: < 50
Note on AF58: 30 ~ 50
Note on AI66: Header !
Note on AJ36: Cell is filled !
Note on AV93: Less than 25 % !
Note on AX24: Cell is filled !
Note on AX25: Cell is filled !
Note on AX29: Cell is filled !
Note on AX31: Cell is filled !
Note on AX40: Cell is filled !
Note on BA2: Cell is filled !
Note on BD2: Cell is filled !
Note on BI5: Cell is filled !
ECO
EVAP
S/H
S/D

## pfd.2D.E
P R O C E S S F L O W D I A G R AM | [15 empty] | Doc. No. |  |  | PFD - NCE - 100
[16 empty] | Date |  |  | 2015. 1. 10.
Job No. |  | *** | [7 empty] | Item No. | *** |  |  |  |  | Revision |  |  | 0
Project |  | *** | [7 empty] | Service | *** |  |  |  |  | Sheet No. |  |  |  | 1 |  | of |  | 1
[16 empty] | O P E R A T I O N D A T A | [9 empty] | 2 Drum | [5 empty] | Elevated Drum
[16 empty] | Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Application
[16 empty] | Steam Press. |  |  |  | *** |  |  | bar.g
[16 empty] | Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < Superheater |  |  |  |  | Yes
[16 empty] | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < Economizer |  |  |  |  | Yes
[16 empty] | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow |  |  | Yes | < Evaporator |  |  |  |  | Yes
[11 empty] | *** |  | *** | Sat. Steam
[11 empty] | *** |  | ***
[12 empty] | *** |  |  |  | W A S T E G A S
[12 empty] | *** |  |  |  | Source |  |  |  |  | ***
[16 empty] | Waste Gas |  |  |  |  | ***
[16 empty] | Oper. Case |  |  |  |  | ***
[16 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
[16 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃ |  |  | No | < 적용
[16 empty] | Press., Inlet |  |  |  | *** |  |  | mmH2O
[7 empty] | *** |  | *** |  | *** |  | *** |  |  | Heat Loss |  |  |  | *** |  |  | %
[7 empty] | *** |  | *** |  | *** |  | *** | [12 empty] | IAPWS_IF97 |  |  |  | ysat, xvap, ntsat,
[12 empty] | *** |  |  |  | Legend | [9 empty] | IAPWS_IF97_Tph |  |  |  | "", 1, 0,
[12 empty] | *** | [13 empty] | WG Kind |  | Gas Mixture |  | "", 1, 0, -1
[16 empty] | P | T | [8 empty] | WG in DB |  | Dry Air
[16 empty] | Q | h | [8 empty] | Mass Flow
[20 empty] | Water/Steam |  |  | Gas/Air |  |  | *** |  | kg/h
[16 empty] | P | Press. |  |  | bar.g |  |  | mmH2O |  |  | Density |  |  | *** |  |  | kg/m3
|  | *** | *** |  |  |  |  | *** | [7 empty] | T | Temp. |  |  | ℃ |  |  | → | [5 empty] | *** |  |  | kg/Nm3
|  | *** | *** |  |  | *** |  | *** | [7 empty] | Q | Flow |  |  | kg/h |  |  | kg/h
|  |  |  | Evaporator | [11 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | Component |  | M. Weight |  |  | volume% |  | weight%
[26 empty] | H2O |  | #VALUE! |  |  | 14 |  | #VALUE!
[16 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | mm |  | O2 |  | #VALUE! |  |  | 2 |  | #VALUE!
[16 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | N2 |  | #VALUE! |  |  | 80 |  | #VALUE!
| *** | [24 empty] | CO2 |  | #VALUE! |  |  | 4 |  | #VALUE!
[26 empty] | Ar |  | #VALUE! |  |  | 0 |  | #VALUE!
[26 empty] | SO2 |  | #VALUE! |  |  | 0
[26 empty] | 0 |  |  |  |  | 0
[26 empty] | 0 |  |  |  |  | 0
[26 empty] | 0 |  |  |  |  | 0
[6 empty] | *** |  | *** | [17 empty] | 0 |  |  |  |  | 0
[6 empty] | *** |  | *** | [17 empty] | Total |  |  |  |  | 100 |  | #VALUE!
[26 empty] | M. Weight |  |  |  | *** |  |  | ***
[26 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[26 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [24 empty] | Narai Thermal Engineering Services
[5 empty] | Heat Amount for EVAP. | [10 empty] | Blowdown Rate
[15 empty] | Inpt | 2.99 |  | %Steam Flow | [13 empty] | *** |  | ***
[5 empty] | Sat. Steam |  | #VALUE! | [7 empty] | Actual | #VALUE! |  | %Steam Flow | [13 empty] | *** |  | ***
[5 empty] | Blowdown |  | #VALUE! | [7 empty] | Cla'd from this sheet | *** | [10 empty] | *** | *** |  |  |  | *** |  | ***
[5 empty] | Total |  | #VALUE! | [8 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** | *** |  |  |  | *** |  | ***
|  | sqtk | [12 empty] | Cla'd from this sheet | ***
|  | 53037 |  |  | Total |  | #VALUE! | [21 empty] | BV-100 |  |  | *** |  | ***
[29 empty] | Blowdown Tank |  |  | *** |  | ***
Blowdown
Feedwater
Sat. Steam
Vent Steam
Cooling Water
Cond. Drain

## .EE
P R O C E S S F L O W D I A G R AM | [18 empty] | Doc. No. |  |  | PFD - NCEE - 100
[19 empty] | Date |  |  | 2015. 1. 10.
Job No. |  | *** | [8 empty] | Item No. |  |  | *** |  |  |  |  | Revision |  |  | 0
Project |  | *** | [8 empty] | Service |  |  | *** |  |  |  |  | Sheet No. |  |  |  | 1 |  | of |  | 1
[19 empty] | O P E R A T I O N D A T A | [9 empty] | 2 Drum | [5 empty] | Elevated Drum
[19 empty] | Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Application
[19 empty] | Steam Press. |  |  |  | *** |  |  | bar.g
[19 empty] | Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - | < Superheater |  |  |  |  | Yes
[19 empty] | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Economizer |  |  |  |  | Yes
[19 empty] | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow |  |  | Yes | < Evaporator |  |  |  |  | Yes
[14 empty] | *** |  | *** | Sat. Steam
[14 empty] | *** |  | ***
[15 empty] | *** |  |  |  | W A S T E G A S
[15 empty] | *** |  |  |  | Source |  |  |  |  | ***
[19 empty] | Waste Gas |  |  |  |  | ***
[19 empty] | Oper. Case |  |  |  |  | ***
[19 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
[19 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃ |  |  | No | < 적용
[19 empty] | Press., Inlet |  |  |  | *** |  |  | mmH2O
[7 empty] | *** |  | *** |  |  |  |  | *** |  | *** |  |  | Heat Loss |  |  |  | *** |  |  | %
[7 empty] | *** |  | *** |  |  |  |  | *** |  | *** | [12 empty] | IAPWS_IF97 |  |  |  | ysat, xvap, ntsat,
[8 empty] | *** | [6 empty] | *** |  |  |  | Legend | [9 empty] | IAPWS_IF97_Tph |  |  |  | "", 1, 0,
[8 empty] | *** | [6 empty] | *** | [13 empty] | WG Kind |  | Gas Mixture |  | "", 1, 0, -1
[19 empty] | P | T | [8 empty] | WG in DB |  | Dry Air
[19 empty] | Q | h | [8 empty] | Mass Flow
[23 empty] | Water/Steam |  |  | Gas/Air |  |  | *** |  | kg/h
[19 empty] | P | Press. |  |  | bar.g |  |  | mmH2O |  |  | Density |  |  | *** |  |  | kg/m3
|  | *** | *** |  |  |  |  | *** | [5 empty] | *** |  |  |  |  | T | Temp. |  |  | ℃ |  |  | → | [5 empty] | *** |  |  | kg/Nm3
|  | *** | *** |  |  | *** |  | *** |  |  |  |  | *** | *** |  |  |  |  | Q | Flow |  |  | kg/h |  |  | kg/h
|  |  |  | Evaporator | [5 empty] | Economizer | [8 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | Component |  | M. Weight |  |  | volume% |  | weight%
[29 empty] | H2O |  | #VALUE! |  |  | 14 |  | #VALUE!
[19 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | mm |  | O2 |  | #VALUE! |  |  | 2 |  | #VALUE!
[19 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | N2 |  | #VALUE! |  |  | 80 |  | #VALUE!
| *** | [27 empty] | CO2 |  | #VALUE! |  |  | 4 |  | #VALUE!
[29 empty] | Ar |  | #VALUE! |  |  | 0 |  | #VALUE!
[29 empty] | SO2 |  | #VALUE! |  |  | 0
[29 empty] | 0 |  |  |  |  | 0
[29 empty] | 0 |  |  |  |  | 0
[29 empty] | 0 |  |  |  |  | 0
[6 empty] | *** |  | *** | [20 empty] | 0 |  |  |  |  | 0
[6 empty] | *** |  | *** | [20 empty] | Total |  |  |  |  | 100 |  | #VALUE!
[29 empty] | M. Weight |  |  |  | *** |  |  | ***
[29 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[29 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [27 empty] | Narai Thermal Engineering Services
[5 empty] | Heat Amount for EVAP. | [6 empty] | ECO. | [6 empty] | Blowdown Rate
[18 empty] | Inpt | 2.99 |  | %Steam Flow | [13 empty] | *** |  | ***
[5 empty] | Sat. Steam |  | #VALUE! | [10 empty] | Actual | #VALUE! |  | %Steam Flow | [13 empty] | *** |  | ***
[5 empty] | Blowdown |  | #VALUE! | [10 empty] | Cla'd from this sheet | *** | [10 empty] | *** | *** |  |  |  | *** |  | ***
[5 empty] | Sum |  | #VALUE! |  |  |  |  | #VALUE! | [6 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** | *** |  |  |  | *** |  | ***
|  | sqtk | [15 empty] | Cla'd from this sheet | ***
|  | 53037 |  |  | Sum |  | #VALUE! |  |  |  |  | #VALUE! | [19 empty] | BV-100 |  |  | *** |  | ***
[32 empty] | Blowdown Tank |  |  | *** |  | ***
Blowdown
Feedwater
Sat. Steam
Vent Steam
Cooling Water
Cond. Drain

## .SE
P R O C E S S F L O W D I A G R AM | [21 empty] | Doc. No. |  |  | PFD - NCSE - 100
[22 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  | *** | [10 empty] | Item No. |  | *** | [5 empty] | Revision |  |  | 0
Project |  |  | *** | [10 empty] | Service |  | *** | [5 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[22 empty] | O P E R A T I O N D A T A | [9 empty] | 2 Drum | [5 empty] | Elevated Drum
[22 empty] | S/H Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Application
[22 empty] | S/H Steam Press. |  |  |  | *** |  |  | bar.g
[22 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Superheater |  |  |  |  | Yes
[17 empty] | *** |  | *** | S/H Steam |  | Sat. Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - | < Secondary S/H |  |  |  |  | - N/A -
[17 empty] | *** |  | *** |  |  | Sat. Steam Press. |  |  |  | *** |  |  | bar.g |  |  | - N/A - | < Economizer |  |  |  |  | Yes |  | Screen Tubes
[18 empty] | *** |  |  |  | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Evaporator |  |  |  |  | Yes |  | - N/A - | < Installation |  |  | - N/A -
[18 empty] | *** |  |  |  | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow
[13 empty] | *** |  | ***
[13 empty] | *** |  | ***
[17 empty] | *** |  | *** |  |  | W A S T E G A S
[17 empty] | *** |  | *** |  |  | Source |  |  |  |  | ***
[18 empty] | *** |  |  |  | Waste Gas |  |  |  |  | ***
[18 empty] | *** |  |  |  | Oper. Case |  |  |  |  | *** |  |  |  |  | No | < 적용
[22 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
[22 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃
|  | *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** |  | *** |  |  | Press., Inlet |  |  |  | *** |  |  | mmH2O |  |  | IAPWS_IF97 |  |  |  | ysat, xvap, ntsat,
|  | *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** |  | *** |  |  | Heat Loss |  |  |  | *** |  |  | % |  |  | IAPWS_IF97_Tph |  |  |  | "", 1, 0,
|  |  | *** |  |  |  | *** | [10 empty] | *** | [13 empty] | WG Kind |  | Gas Mixture |  | "", 1, 0, -1
|  |  | *** |  |  |  | *** | [10 empty] | *** |  |  |  | Legend | [9 empty] | WG in DB |  | Dry Air
Mass Flow
[22 empty] | P | T | [8 empty] | *** |  | kg/h
[22 empty] | Q | h | [8 empty] | Density |  |  | *** |  |  | kg/m3
[26 empty] | Water/Steam |  |  | Gas/Air | [5 empty] | *** |  |  | kg/Nm3
| *** |  | *** |  |  |  |  | *** |  |  |  |  | *** | [8 empty] | P | Press. |  |  | bar.g |  |  | mmH2O
| *** |  | *** |  |  | *** |  | *** |  |  | *** |  | *** | [8 empty] | T | Temp. |  |  | ℃ |  |  | → |  |  | Component |  | M. Weight |  |  | volume% |  | weight%
[5 empty] | Superheater |  |  |  | Evaporator | [12 empty] | Q | Flow |  |  | kg/h |  |  | kg/h |  |  | H2O |  | #VALUE! |  |  | 14 |  | #VALUE!
[22 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | O2 |  | #VALUE! |  |  | 2 |  | #VALUE!
[32 empty] | N2 |  | #VALUE! |  |  | 80 |  | #VALUE!
[22 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | mm |  | CO2 |  | #VALUE! |  |  | 4 |  | #VALUE!
|  |  | *** | [18 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | Ar |  | #VALUE! |  |  | 0 |  | #VALUE!
[32 empty] | SO2 |  | #VALUE! |  |  | 0
[32 empty] | 0 |  |  |  |  | 0
[32 empty] | 0 |  |  |  |  | 0
[32 empty] | 0 |  |  |  |  | 0
[11 empty] | *** |  | *** | [18 empty] | 0 |  |  |  |  | 0
[11 empty] | *** |  | *** | [18 empty] | Total |  |  |  |  | 100 |  | #VALUE!
[32 empty] | M. Weight |  |  |  | *** |  |  | ***
[32 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[32 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [30 empty] | Narai Thermal Engineering Services
[5 empty] | S/H |  |  | Heat Amount for EVAP. | [13 empty] | Blowdown Rate
[8 empty] | S/H Steam |  | #VALUE! | [10 empty] | Inpt | 2.99 |  | %Steam Flow | [13 empty] | *** |  | ***
[8 empty] | Sat. Steam |  | #VALUE! | [10 empty] | Actual | #VALUE! |  | %Steam Flow | [13 empty] | *** |  | ***
[8 empty] | Blowdown |  | #VALUE! | [10 empty] | Cla'd from this sheet | *** | [10 empty] | *** | *** |  |  |  | *** |  | ***
[5 empty] | #VALUE! |  |  | Sum |  | #VALUE! | [11 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** | *** |  |  |  | *** |  | ***
| sqtk | [19 empty] | Cla'd from this sheet | ***
| 53037 |  |  |  | #VALUE! |  |  | Sum |  | #VALUE! | [24 empty] | BV-100 |  |  | *** |  | ***
[35 empty] | Blowdown Tank |  |  | *** |  | ***
Blowdown
Feedwater
S/H Steam
Sat. Steam
De-superheater
Vent Steam
Cooling Water
Cond. Drain

## .SEE
P R O C E S S F L O W D I A G R AM | [21 empty] | Doc. No. |  |  | PFD - NCSEE - 100
[22 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  | *** | [10 empty] | Item No. |  | *** | [5 empty] | Revision |  |  | 0
Project |  |  | *** | [10 empty] | Service |  | *** | [5 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[22 empty] | O P E R A T I O N D A T A | [9 empty] | 2 Drum | [5 empty] | Elevated Drum
[22 empty] | S/H Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Application
[22 empty] | S/H Steam Press. |  |  |  | *** |  |  | bar.g
[22 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Superheater |  |  |  |  | Yes
[17 empty] | *** |  | *** | S/H Steam |  | Sat. Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - | < Secondary S/H |  |  |  |  | - N/A -
[17 empty] | *** |  | *** |  |  | Sat. Steam Press. |  |  |  | *** |  |  | bar.g |  |  | Yes | < Economizer |  |  |  |  | Yes |  | Screen Tubes
[18 empty] | *** |  |  |  | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Evaporator |  |  |  |  | Yes |  | - N/A - | < Installation |  |  | - N/A -
[18 empty] | *** |  |  |  | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow
[13 empty] | *** |  | ***
[13 empty] | *** |  | ***
[17 empty] | *** |  | *** |  |  | W A S T E G A S
[17 empty] | *** |  | *** |  |  | Source |  |  |  |  | ***
[18 empty] | *** |  |  |  | Waste Gas |  |  |  |  | ***
[18 empty] | *** |  |  |  | Oper. Case |  |  |  |  | *** |  |  |  |  | No | < 적용
[22 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
[22 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃
|  | *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** |  | *** |  |  | Press., Inlet |  |  |  | *** |  |  | mmH2O |  |  | IAPWS_IF97 |  |  |  | ysat, xvap, ntsat,
|  | *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** |  | *** |  |  | Heat Loss |  |  |  | *** |  |  | % |  |  | IAPWS_IF97_Tph |  |  |  | "", 1, 0,
|  |  | *** |  |  |  | *** | [5 empty] | *** |  |  |  |  | *** | [13 empty] | WG Kind |  | Gas Mixture |  | "", 1, 0, -1
|  |  | *** |  |  |  | *** | [5 empty] | *** |  |  |  |  | *** |  |  |  | Legend | [9 empty] | WG in DB |  | Dry Air
Mass Flow
[22 empty] | P | T | [8 empty] | *** |  | kg/h
[22 empty] | Q | h | [8 empty] | Density |  |  | *** |  |  | kg/m3
[26 empty] | Water/Steam |  |  | Gas/Air | [5 empty] | *** |  |  | kg/Nm3
| *** |  | *** |  |  |  |  | *** |  |  |  |  | *** |  |  |  |  | *** |  |  |  | P | Press. |  |  | bar.g |  |  | mmH2O
| *** |  | *** |  |  | *** |  | *** |  |  | *** |  | *** |  |  | *** |  | *** |  |  |  | T | Temp. |  |  | ℃ |  |  | → |  |  | Component |  | M. Weight |  |  | volume% |  | weight%
[5 empty] | Superheater |  |  |  | Evaporator | [5 empty] | Economizer | [6 empty] | Q | Flow |  |  | kg/h |  |  | kg/h |  |  | H2O |  | #VALUE! |  |  | 14 |  | #VALUE!
[22 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | O2 |  | #VALUE! |  |  | 2 |  | #VALUE!
[32 empty] | N2 |  | #VALUE! |  |  | 80 |  | #VALUE!
[22 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | mm |  | CO2 |  | #VALUE! |  |  | 4 |  | #VALUE!
|  |  | *** | [18 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | Ar |  | #VALUE! |  |  | 0 |  | #VALUE!
[32 empty] | SO2 |  | #VALUE! |  |  | 0
[32 empty] | 0 |  |  |  |  | 0
[32 empty] | 0 |  |  |  |  | 0
[32 empty] | 0 |  |  |  |  | 0
[11 empty] | *** |  | *** | [18 empty] | 0 |  |  |  |  | 0
[11 empty] | *** |  | *** | [18 empty] | Total |  |  |  |  | 100 |  | #VALUE!
[32 empty] | M. Weight |  |  |  | *** |  |  | ***
[32 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[32 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [30 empty] | Narai Thermal Engineering Services
[5 empty] | S/H |  |  | Heat Amount for EVAP. | [6 empty] | ECO. | [6 empty] | Blowdown Rate
[8 empty] | S/H Steam |  | #VALUE! | [10 empty] | Inpt | 2.99 |  | %Steam Flow | [13 empty] | *** |  | ***
[8 empty] | Sat. Steam |  | #VALUE! | [10 empty] | Actual | #VALUE! |  | %Steam Flow | [13 empty] | *** |  | ***
[8 empty] | Blowdown |  | #VALUE! | [10 empty] | Cla'd from this sheet | *** | [10 empty] | *** | *** |  |  |  | *** |  | ***
[5 empty] | #VALUE! |  |  | Sum |  | #VALUE! |  |  |  |  | #VALUE! | [6 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** | *** |  |  |  | *** |  | ***
| sqtk | [19 empty] | Cla'd from this sheet | ***
| 53037 |  |  |  | #VALUE! |  |  | Sum |  | #VALUE! |  |  |  |  | #VALUE! | [19 empty] | BV-100 |  |  | *** |  | ***
[35 empty] | Blowdown Tank |  |  | *** |  | ***
Blowdown
Feedwater
S/H Steam
Sat. Steam
De-superheater
Vent Steam
Cooling Water
Cond. Drain

## .S2E
P R O C E S S F L O W D I A G R AM | [25 empty] | Doc. No. |  |  | PFD - NCSE - 100
[26 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  |  | *** | [12 empty] | Item No. |  | *** | [6 empty] | Revision |  |  | 0
Project |  |  |  | *** | [12 empty] | Service |  | *** | [6 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[26 empty] | O P E R A T I O N D A T A | [9 empty] | 2 Drum | [5 empty] | Elevated Drum
[26 empty] | S/H Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Application
[26 empty] | S/H Steam Press. |  |  |  | *** |  |  | bar.g
[26 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Superheater |  |  |  |  | Yes
[20 empty] | *** |  | *** |  | S/H Steam |  | Sat. Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Yes | < Secondary S/H |  |  |  |  | - N/A -
[20 empty] | *** |  | *** |  |  |  | Sat. Steam Press. |  |  |  | *** |  |  | bar.g |  |  | - N/A - | < Economizer |  |  |  |  | Yes |  | Screen Tubes
[21 empty] | *** |  |  |  |  | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Evaporator |  |  |  |  | Yes |  | - N/A - | < Installation |  |  | - N/A -
[21 empty] | *** |  |  |  |  | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow
[20 empty] | *** |  | *** |  |  |  | W A S T E G A S
[20 empty] | *** |  | *** |  |  |  | Source |  |  |  |  | ***
[12 empty] | *** |  | *** | [6 empty] | *** |  |  |  |  | Waste Gas |  |  |  |  | ***
[12 empty] | *** |  | *** | [6 empty] | *** |  |  |  |  | Oper. Case |  |  |  |  | *** |  |  |  |  | No | < 적용
[26 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
[26 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃
|  | *** |  | *** |  |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** | *** |  | *** |  | *** |  |  | Press., Inlet |  |  |  | *** |  |  | mmH2O |  |  | IAPWS_IF97 |  |  |  | ysat, xvap, ntsat,
|  | *** |  | *** |  |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** | *** |  | *** |  | *** |  |  | Heat Loss |  |  |  | *** |  |  | % |  |  | IAPWS_IF97_Tph |  |  |  | "", 1, 0,
|  |  | *** | [10 empty] | *** | [7 empty] | *** | [13 empty] | WG Kind |  | Gas Mixture |  | "", 1, 0, -1
|  |  | *** |  |  |  |  | *** |  | *** |  |  |  | *** | [7 empty] | *** |  |  |  | Legend | [9 empty] | WG in DB |  | Dry Air
[8 empty] | *** |  | *** | [25 empty] | Mass Flow
[26 empty] | P | T | [8 empty] | *** |  | kg/h
[26 empty] | Q | h | [8 empty] | Density |  |  | *** |  |  | kg/m3
[30 empty] | Water/Steam |  |  | Gas/Air | [5 empty] | *** |  |  | kg/Nm3
| *** |  | *** | [5 empty] | *** | [5 empty] | *** |  |  |  | *** | [6 empty] | P | Press. |  |  | bar.g |  |  | mmH2O
| *** |  | *** |  |  |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** | *** | [6 empty] | T | Temp. |  |  | ℃ |  |  | → |  |  | Component |  | M. Weight |  |  | volume% |  | weight%
[5 empty] | Secondary S/H | [5 empty] | Primary S/H |  |  |  |  | Evaporator | [9 empty] | Q | Flow |  |  | kg/h |  |  | kg/h |  |  | H2O |  | #VALUE! |  |  | 14 |  | #VALUE!
[26 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | O2 |  | #VALUE! |  |  | 2 |  | #VALUE!
[36 empty] | N2 |  | #VALUE! |  |  | 80 |  | #VALUE!
[26 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | mm |  | CO2 |  | #VALUE! |  |  | 4 |  | #VALUE!
|  |  | *** | [22 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | Ar |  | #VALUE! |  |  | 0 |  | #VALUE!
[36 empty] | SO2 |  | #VALUE! |  |  | 0
[36 empty] | 0 |  |  |  |  | 0
[36 empty] | 0 |  |  |  |  | 0
[36 empty] | 0 |  |  |  |  | 0
[18 empty] | *** | *** | [16 empty] | 0 |  |  |  |  | 0
[18 empty] | *** | *** | [16 empty] | Total |  |  |  |  | 100 |  | #VALUE!
[36 empty] | M. Weight |  |  |  | *** |  |  | ***
[36 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[36 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [34 empty] | Narai Thermal Engineering Services
[6 empty] | Secondary S/H |  |  |  | Primary S/H |  |  |  | Heat Amount for EVAP. | [11 empty] | Blowdown Rate
[14 empty] | S/H Steam |  |  | #VALUE! | [7 empty] | Inpt | 2.99 |  | %Steam Flow | [13 empty] | *** |  | ***
[14 empty] | Sat. Steam |  |  | #VALUE! | [7 empty] | Actual | #VALUE! |  | %Steam Flow | [13 empty] | *** |  | ***
[14 empty] | Blowdown |  |  | #VALUE! | [7 empty] | Cla'd from this sheet | *** | [10 empty] | *** | *** |  |  |  | *** |  | ***
[6 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | Sum |  |  | #VALUE! | [8 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** | *** |  |  |  | *** |  | ***
[14 empty] | Total |  |  | #VALUE! | [7 empty] | Cla'd from this sheet | ***
| sqtk | [37 empty] | BV-100 |  |  | *** |  | ***
| 53037 |  |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | Sum |  |  | #REF! | [21 empty] | Blowdown Tank |  |  | *** |  | ***
[14 empty] | Total |  |  | #VALUE!
Blowdown
Feedwater
S/H Steam
Sat. Steam
De-superheater
Vent Steam
Cooling Water
Cond. Drain

## .S2EE
P R O C E S S F L O W D I A G R AM | [25 empty] | Doc. No. |  |  | PFD - NCSEE - 100
[26 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  |  | *** | [10 empty] | Item No. |  |  |  | *** | [6 empty] | Revision |  |  | 0
Project |  |  |  | *** | [10 empty] | Service |  |  |  | *** | [6 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1
[26 empty] | O P E R A T I O N D A T A | [9 empty] | 2 Drum | [5 empty] | Elevated Drum
[26 empty] | S/H Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Application
[26 empty] | S/H Steam Press. |  |  |  | *** |  |  | bar.g
[26 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Superheater |  |  |  |  | Yes
[20 empty] | *** |  | *** |  | S/H Steam |  | Sat. Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Yes | < Secondary S/H |  |  |  |  | - N/A -
[20 empty] | *** |  | *** |  |  |  | Sat. Steam Press. |  |  |  | *** |  |  | bar.g |  |  | Yes | < Economizer |  |  |  |  | Yes |  | Screen Tubes
[21 empty] | *** |  |  |  |  | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes | < Evaporator |  |  |  |  | Yes |  | - N/A - | < Installation |  |  | - N/A -
[21 empty] | *** |  |  |  |  | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow
[20 empty] | *** |  | *** |  |  |  | W A S T E G A S
[20 empty] | *** |  | *** |  |  |  | Source |  |  |  |  | ***
[10 empty] | *** |  | *** | [8 empty] | *** |  |  |  |  | Waste Gas |  |  |  |  | ***
[10 empty] | *** |  | *** | [8 empty] | *** |  |  |  |  | Oper. Case |  |  |  |  | *** |  |  |  |  | No | < 적용
[26 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
[26 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃
| *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** |  | *** |  |  | *** |  | *** |  |  | Press., Inlet |  |  |  | *** |  |  | mmH2O |  |  | IAPWS_IF97 |  |  |  | ysat, xvap, ntsat,
| *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** |  | *** |  |  | *** |  | *** |  |  | Heat Loss |  |  |  | *** |  |  | % |  |  | IAPWS_IF97_Tph |  |  |  | "", 1, 0,
|  | *** | [9 empty] | *** |  |  |  |  | *** |  |  |  |  | *** | [13 empty] | WG Kind |  | Gas Mixture |  | "", 1, 0, -1
|  | *** |  |  |  | *** |  | *** |  |  |  | *** |  |  |  |  | *** |  |  |  |  | *** |  |  |  | Legend | [9 empty] | WG in DB |  | Dry Air
[6 empty] | *** |  | *** | [27 empty] | Mass Flow
[26 empty] | P | T | [8 empty] | *** |  | kg/h
[26 empty] | Q | h | [8 empty] | Density |  |  | *** |  |  | kg/m3
[30 empty] | Water/Steam |  |  | Gas/Air | [5 empty] | *** |  |  | kg/Nm3
*** |  | *** |  |  |  |  | *** | [5 empty] | *** |  |  |  |  | *** |  |  |  |  | *** |  |  | P | Press. |  |  | bar.g |  |  | mmH2O
*** |  | *** |  |  | *** |  | *** |  |  |  | *** |  | *** |  |  | *** |  | *** |  |  | *** |  | *** |  |  | T | Temp. |  |  | ℃ |  |  | → |  |  | Component |  | M. Weight |  |  | volume% |  | weight%
|  |  |  | Secondary S/H |  |  |  |  | Primary S/H |  |  |  |  | Evaporator |  |  |  |  | Economizer | [6 empty] | Q | Flow |  |  | kg/h |  |  | kg/h |  |  | H2O |  | #VALUE! |  |  | 14 |  | #VALUE!
[26 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | O2 |  | #VALUE! |  |  | 2 |  | #VALUE!
[36 empty] | N2 |  | #VALUE! |  |  | 80 |  | #VALUE!
[26 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | mm |  | CO2 |  | #VALUE! |  |  | 4 |  | #VALUE!
|  | *** | [23 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | Ar |  | #VALUE! |  |  | 0 |  | #VALUE!
[36 empty] | SO2 |  | #VALUE! |  |  | 0
[36 empty] | 0 |  |  |  |  | 0
[36 empty] | 0 |  |  |  |  | 0
[36 empty] | 0 |  |  |  |  | 0
[16 empty] | *** |  | *** | [17 empty] | 0 |  |  |  |  | 0
[16 empty] | *** |  | *** | [17 empty] | Total |  |  |  |  | 100 |  | #VALUE!
[36 empty] | M. Weight |  |  |  | *** |  |  | ***
[36 empty] | Density |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[36 empty] | Dew Point |  | #VALUE! |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [34 empty] | Narai Thermal Engineering Services
[5 empty] | Secondary S/H |  |  |  | Primary S/H |  |  |  | Heat Amount for EVAP. | [5 empty] | ECO. | [6 empty] | Blowdown Rate
[13 empty] | S/H Steam |  | #VALUE! | [9 empty] | Inpt | 2.99 |  | %Steam Flow | [13 empty] | *** |  | ***
[13 empty] | Sat. Steam |  | #VALUE! | [9 empty] | Actual | #VALUE! |  | %Steam Flow | [13 empty] | *** |  | ***
[13 empty] | Blowdown |  | #VALUE! | [9 empty] | Cla'd from this sheet | *** | [10 empty] | *** | *** |  |  |  | *** |  | ***
[5 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | Sum |  | #VALUE! |  |  |  | #VALUE! | [6 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** | *** |  |  |  | *** |  | ***
[13 empty] | Total |  | #VALUE! | [9 empty] | Cla'd from this sheet | ***
sqtk | [38 empty] | BV-100 |  |  | *** |  | ***
53037 |  |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | Sum |  | #VALUE! |  |  |  | #VALUE! | [19 empty] | Blowdown Tank |  |  | *** |  | ***
[13 empty] | Total |  | #VALUE!
Blowdown
Feedwater
S/H Steam
Sat. Steam
De-superheater
Vent Steam
Cooling Water
Cond. Drain

## pfd.ED
P R O C E S S F L O W D I A G R AM | [29 empty] | Doc. No. |  |  | PFD - NCED - 900
[30 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  |  | J11301001 | [9 empty] | Item No. |  |  |  | HRSG - 100 / 200 / 300 | [11 empty] | Revision |  |  | 0
Project |  |  |  | Yanbu Export Refinery Project / EPC - 3 | [9 empty] | Service |  |  |  | HRSG | [11 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1 |  | Elevated Drum | [5 empty] | Elevated Drum
[30 empty] | O P E R A T I O N D A T A | [9 empty] | Application
| Heat Duty | [9 empty] | SD-100 | [18 empty] | S/H Steam Flowrate |  |  |  | 7000 |  |  | kg/h |  |  | - N/A - |  | < Screen Tubes |  |  |  | - N/A -
| Superheater |  |  |  | #VALUE! | kcal/h |  |  |  |  | Steam Drum | [18 empty] | S/H Steam Press. |  |  |  | 41.4 |  |  | bar.g |  |  | Yes |  | < Superheater |  |  |  | Yes
| Evaporator |  |  |  | #VALUE! | kcal/h |  |  |  |  | OP | 42.4 | bar.g | [16 empty] | S/H Steam Temp. |  |  |  | 370 |  |  | ℃ |  |  | - N/A - |  | < S/H from Others |  |  |  | - N/A -
| Economizer |  |  |  | #VALUE! | kcal/h |  |  |  |  | OT | #VALUE! | ℃ |  |  |  |  | DSH-100 | [11 empty] | Sat. Steam Flowrate |  |  |  | 0 |  |  | kg/h |  |  | - N/A - |  | < Secondary S/H |  |  |  | - N/A -
| Total |  |  |  | #VALUE! | kcal/h | [11 empty] | De-superheater |  |  |  |  | 41.4 |  | 370 |  | S/H Steam |  |  | Sat. Steam Press. |  |  |  | 42.4 |  |  | bar.g |  |  | Yes |  | < Economizer |  |  |  | Yes
[23 empty] | 7000 |  | #VALUE! |  |  |  |  | Feedwater Temp. |  |  |  | 139 |  |  | ℃
[24 empty] | 12" | [5 empty] | Blowdown Rate |  |  |  | #VALUE! |  |  | %Steam Flow
#VALUE!
[19 empty] | 62 |  | 139
[19 empty] | #VALUE! |  | #VALUE! | [8 empty] | W A S T E G A S
[23 empty] | 42.4 |  | #VALUE! |  |  |  |  | Source |  |  |  |  | Gas Turbine |  |  |  |  | 적용
[23 empty] | 0 |  | #VALUE! |  |  |  |  | Waste Gas |  |  |  |  | Exhaust Gas |  |  |  |  | Yes
[24 empty] | 4" | [5 empty] | Oper. Case |  |  |  |  | Design Case
|  | 41.7 |  | 390 |  | 42.4 |  | #VALUE! | [15 empty] | *** | [5 empty] | Flowrate, Inlet |  |  |  | 53037 |  |  | kg/h
|  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! | [21 empty] | Temp., Inlet |  |  |  | 600 |  |  | ℃ |  |  | Piping |  | ASTM
|  |  | 0 |  |  |  | 0 | [22 empty] | Press., Inlet |  |  |  | 250 |  |  | mmH2O
|  |  | 0 |  |  |  | 0 | [5 empty] | 42.4 |  | 250 | [7 empty] | 62 |  | 139 |  | BFW |  |  | Heat Loss |  |  |  | 1 |  |  | %
[13 empty] | #VALUE! |  | #VALUE! | [7 empty] | 7209.3 |  | #VALUE!
[14 empty] | 0 | [9 empty] | 2" | [5 empty] | Legend
[14 empty] | 0 | [9 empty] | #VALUE! | [5 empty] | P | T
[30 empty] | Q | h
[34 empty] | Water/Steam |  |  | Waste Gas
[30 empty] | P | Press. |  |  | bar.g |  |  | mmH2O |  |  | WG Kind |  |  | Gas Mixture
| 250 |  | 600 |  |  |  |  | #VALUE! | [6 empty] | #VALUE! | [6 empty] | #VALUE! | [7 empty] | T | Temp. |  |  | ℃ |  |  | → |  |  | WG in DB |  |  | Dry Air
| 53037 |  | #VALUE! |  |  | 53037 |  | #VALUE! |  |  |  |  | 53037 |  | #VALUE! |  |  |  |  | 53037 |  | #VALUE! | [7 empty] | Q | Flow |  |  | kg/h |  |  | → |  |  | Mass Flow
[5 empty] | Superheater |  |  |  |  | Evaporator | [6 empty] | Economizer | [12 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | 53037 |  |  | kg/h
[40 empty] | Density |  |  |  | #VALUE! |  |  | kg/m3
[30 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch | [5 empty] | #VALUE! |  |  | kg/Nm3
[30 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec
|  |  | Exhaust Gas | [36 empty] | Component |  |  | M. Weight |  |  | volume% |  | weight%
[40 empty] | H2O |  |  | #VALUE! |  |  | 14 |  | #VALUE!
[40 empty] | O2 |  |  | #VALUE! |  |  | 2 |  | #VALUE!
[26 empty] | 5 |  | #VALUE! | [11 empty] | N2 |  |  | #VALUE! |  |  | 80 |  | #VALUE!
[26 empty] | #VALUE! |  | #VALUE! | [11 empty] | CO2 |  |  | #VALUE! |  |  | 4 |  | #VALUE!
[14 empty] | 5 |  | #VALUE! | [9 empty] | 0.1 |  | #VALUE! | [11 empty] | Ar |  |  | #VALUE! |  |  | 0 |  | #VALUE!
[14 empty] | 209.3 |  | #VALUE! | [9 empty] | #VALUE! |  | #VALUE! | [11 empty] | SO2 |  |  | #VALUE! |  |  | 0
[26 empty] | 2.5 |  | 42 | [11 empty] | 0 | [5 empty] | 0
[20 empty] | 0.1 |  | #VALUE! |  |  |  | #VALUE! |  | #VALUE! | [11 empty] | 0 | [5 empty] | 0
[20 empty] | #VALUE! |  | #VALUE! |  |  |  | 0.1 |  | 60 | [11 empty] | 0 | [5 empty] | 0
[26 empty] | #VALUE! |  | #VALUE! | [11 empty] | 0 | [5 empty] | 0
[26 empty] | 3 |  | 32 | [11 empty] | Total | [5 empty] | 100 |  | #VALUE!
[26 empty] | #VALUE! |  | #VALUE! | [11 empty] | M. Weight |  |  |  |  | #VALUE! |  |  | ***
[40 empty] | Density |  |  |  |  | #VALUE! |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[40 empty] | Dew Point |  |  | #VALUE! |  | #VALUE! |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [38 empty] | Narai Thermal Engineering Services
[9 empty] | Heat Duty | [20 empty] | Blowdown Rate
[5 empty] | Superheater |  |  |  | Evaporator | [7 empty] | Economizer | [11 empty] | Inpt | 2.99 |  | %Steam Flow | [14 empty] | 0.1 |  | #VALUE!
[9 empty] | S/H Steam |  |  | #VALUE! | [16 empty] | Actual | #VALUE! |  | %Steam Flow | [14 empty] | #VALUE! |  | #VALUE!
[9 empty] | Sat. Steam |  |  | #VALUE! | [16 empty] | Cla'd from this sheet | #VALUE! | [10 empty] | 0.1 |  | #VALUE! |  |  |  | 3 |  | 32
[9 empty] | Blowdown |  |  | #VALUE! | [17 empty] | #VALUE! |  | %BFW Flow | [8 empty] | 209.3 |  | #VALUE! |  |  |  | #VALUE! |  | #VALUE! | [5 empty] | Cooling Water
[5 empty] | #VALUE! |  |  |  | Sum |  |  | #VALUE! |  |  |  |  | #VALUE! | [11 empty] | Cla'd from this sheet | #VALUE! | [24 empty] | Yes
[9 empty] | Total |  |  | #VALUE! | [31 empty] | BV-100 |  |  | 0.1 |  | 60
| sqtk | [42 empty] | Blowdown Tank |  |  | #VALUE! |  | #VALUE!
| 53037 |  |  |  | #VALUE! |  |  |  | Sum |  |  | #VALUE! |  |  |  |  | #VALUE!
[9 empty] | Total |  |  | #VALUE!
Feedwater
S/H Steam
Sat. Steam
Flash Steam
Cond. Drain
Cooling Water
Vent Steam
Cooling Water
1
Vent Steam
Cooling Water
Cond. Drain

## -S
P R O C E S S F L O W D I A G R AM | [22 empty] | Doc. No. |  |  | PFD - NCED - 900
[23 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  | *** | [9 empty] | Item No. |  |  | *** | [6 empty] | Revision |  |  | 0
Project |  |  | *** | [9 empty] | Service |  |  | *** | [6 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1 |  | Elevated Drum | [5 empty] | Elevated Drum
[23 empty] | O P E R A T I O N D A T A | [9 empty] | Application
| Heat Duty | [21 empty] | Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - |  | < Screen Tubes |  |  |  | - N/A -
| Evaporator |  |  | *** |  | kcal/h | [16 empty] | Sat. Steam Press. |  |  |  | *** |  |  | bar.g |  |  | - N/A - |  | < Superheater |  |  |  | Yes
| Economizer |  |  | *** |  | kcal/h | [16 empty] | Feedwater Temp. |  |  |  | *** |  |  | ℃ |  |  | Yes |  | < S/H from Others |  |  |  | - N/A -
| Total |  |  | *** |  | kcal/h | [16 empty] | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow |  |  | - N/A - |  | < Secondary S/H |  |  |  | - N/A -
[33 empty] | Yes |  | < Economizer |  |  |  | Yes
W A S T E G A S
[17 empty] | *** |  | *** |  | Sat. Steam |  | Source |  |  |  |  | ***
[17 empty] | *** |  | *** |  |  |  | Waste Gas |  |  |  |  | ***
[18 empty] | *** |  |  |  |  | Oper. Case |  |  |  |  | ***
[18 empty] | *** |  |  |  |  | Flowrate, Inlet |  |  |  | *** |  |  | kg/h |  |  | 적용
[23 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃ |  |  | - N/A -
[23 empty] | Press., Inlet |  |  |  | *** |  |  | mmH2O
|  |  | SD-100 | [19 empty] | Heat Loss |  |  |  | *** |  |  | %
|  |  | Steam Drum | [29 empty] | Piping |  | ASTM
|  |  | OP | *** | bar.g | [17 empty] | Legend
|  |  | OT | *** | ℃ |  |  | *** |  | *** | [6 empty] | *** |  | *** |  | BFW |  | P | T
[8 empty] | *** |  | *** | [6 empty] | *** |  | *** |  |  |  | Q | h
[9 empty] | *** | [8 empty] | *** | [8 empty] | Water/Steam |  |  | Waste Gas
[9 empty] | *** | [8 empty] | *** |  |  |  |  | P | Press. |  |  | bar.g |  |  | mmH2O
[23 empty] | T | Temp. |  |  | ℃ |  |  | ℃
[23 empty] | Q | Flow |  |  | kg/h |  |  | →
[23 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | WG Kind |  |  | Gas Mixture
|  | *** |  | *** | [5 empty] | *** | [5 empty] | *** | [16 empty] | WG in DB |  |  | Dry Air
|  | *** |  | *** |  |  |  | *** |  | *** |  |  |  | *** |  | *** | [6 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch |  | Mass Flow
[6 empty] | Evaporator | [5 empty] | Economizer | [10 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec |  | *** |  |  | kg/h
[33 empty] | Density |  |  |  | *** |  |  | kg/m3
[37 empty] | *** |  |  | kg/Nm3
|  |  |  | *** | [28 empty] | Component |  |  | M. Weight |  |  | volume% |  | weight%
[33 empty] | H2O |  |  | *** |  |  | 14 |  | ***
[33 empty] | O2 |  |  | *** |  |  | 2 |  | ***
[20 empty] | *** | *** | [11 empty] | N2 |  |  | *** |  |  | 80 |  | ***
[20 empty] | *** | *** | [11 empty] | CO2 |  |  | *** |  |  | 4 |  | ***
[9 empty] | *** |  | *** | [8 empty] | *** | *** | [11 empty] | Ar |  |  | *** |  |  | 0 |  | ***
[9 empty] | *** |  | *** | [8 empty] | *** | *** | [11 empty] | SO2 |  |  | *** |  |  | 0 |  | ***
[20 empty] | *** | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[14 empty] | *** |  | *** |  |  |  | *** | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[14 empty] | *** |  | *** |  |  |  | *** | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[20 empty] | *** | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[20 empty] | *** | *** | [11 empty] | Total | [5 empty] | 100 |  | 0
[20 empty] | *** | *** | [11 empty] | M. Weight |  |  |  |  | *** |  |  | ***
[33 empty] | Density |  |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[33 empty] | Dew Point |  |  | *** |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [31 empty] | Narai Thermal Engineering Services
[7 empty] | Heat Duty | [15 empty] | Blowdown Rate
[7 empty] | Evaporator | [7 empty] | Economizer | [6 empty] | Inpt | 2.99 |  | %Steam Flow | [14 empty] | *** |  | ***
[22 empty] | Actual | #VALUE! |  | %Steam Flow | [14 empty] | *** |  | ***
[7 empty] | Sat. Steam |  |  | #VALUE! | [11 empty] | Cla'd from this sheet | *** | [10 empty] | *** |  | *** |  |  |  | *** |  | ***
[7 empty] | Blowdown |  |  | #VALUE! | [12 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** |  | *** |  |  |  | *** |  | *** | [5 empty] | Cooling Water
[7 empty] | Sum |  |  | #VALUE! |  |  |  |  | #VALUE! | [6 empty] | Cla'd from this sheet | *** | [24 empty] | Yes
[7 empty] | Total |  |  | #VALUE! | [26 empty] | BV-100 |  |  | *** |  | ***
|  | sqtk | [34 empty] | Blowdown Tank |  |  | *** |  | ***
|  | 53037 |  |  |  |  | Sum |  |  | #VALUE! |  |  |  |  | #VALUE!
[7 empty] | Total |  |  | #VALUE!
Feedwater
Sat. Steam
Flash Steam
Cond. Drain
Cooling Water
Vent Steam
Cooling Water
Vent Steam
Cooling Water
Cond. Drain
1

## -E
P R O C E S S F L O W D I A G R AM | [28 empty] | Doc. No. |  |  | PFD - NCED - 900
[29 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  |  | *** | [9 empty] | Item No. |  |  | *** | [11 empty] | Revision |  |  | 0
Project |  |  |  | *** | [9 empty] | Service |  |  | *** | [11 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1 |  | Elevated Drum | [5 empty] | Elevated Drum
[29 empty] | O P E R A T I O N D A T A | [9 empty] | Application
| Heat Duty | [9 empty] | SD-100 | [17 empty] | S/H Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - |  | < Screen Tubes |  |  |  | - N/A -
| Superheater |  |  |  | *** | kcal/h |  |  |  |  | Steam Drum | [17 empty] | S/H Steam Press. |  |  |  | *** |  |  | bar.g |  |  | Yes |  | < Superheater |  |  |  | Yes
| Evaporator |  |  |  | *** | kcal/h |  |  |  |  | OP | *** | bar.g |  |  |  | DSH-100 | [11 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - |  | < S/H from Others |  |  |  | - N/A -
| Total |  |  |  | *** | kcal/h |  |  |  |  | OT | *** | ℃ |  |  |  | De-superheater |  |  |  |  | *** |  | *** |  | S/H Steam |  |  | Sat. Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - |  | < Secondary S/H |  |  |  | - N/A -
[22 empty] | *** |  | *** |  |  |  |  | Sat. Steam Press. |  |  |  | *** |  |  | bar.g |  |  | - N/A - |  | < Economizer |  |  |  | Yes
[23 empty] | *** | [5 empty] | Feedwater Temp. |  |  |  | *** |  |  | ℃
[23 empty] | *** | [5 empty] | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow
[18 empty] | *** |  | ***
[18 empty] | *** |  | ***
W A S T E G A S
[22 empty] | *** |  | *** |  |  |  |  | Source |  |  |  |  | *** |  |  |  |  | 적용
[22 empty] | *** |  | *** |  |  |  |  | Waste Gas |  |  |  |  | *** |  |  |  |  | - N/A -
[23 empty] | *** | [5 empty] | Oper. Case |  |  |  |  | ***
|  | *** |  | *** |  | *** |  | *** | [14 empty] | *** | [5 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
|  | *** |  | *** |  | *** |  | *** | [20 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃ |  |  | Piping |  | ASTM
|  |  | *** |  |  |  | *** | [21 empty] | Press., Inlet |  |  |  | *** |  |  | mmH2O
|  |  | *** |  |  |  | *** | [5 empty] | *** |  | *** | [6 empty] | *** |  | *** |  | BFW |  |  | Heat Loss |  |  |  | *** |  |  | %
[13 empty] | *** |  | *** | [6 empty] | *** |  | ***
[14 empty] | *** | [8 empty] | *** | [5 empty] | Legend
[14 empty] | *** | [8 empty] | *** | [5 empty] | P | T
[29 empty] | Q | h
[33 empty] | Water/Steam |  |  | Waste Gas
[29 empty] | P | Press. |  |  | bar.g |  |  | mmH2O |  |  | WG Kind |  |  | Gas Mixture
| *** |  | *** |  |  |  |  | *** | [6 empty] | *** | [13 empty] | T | Temp. |  |  | ℃ |  |  | → |  |  | WG in DB |  |  | Dry Air
| *** |  | *** |  |  | *** |  | *** |  |  |  |  | *** |  | *** | [13 empty] | Q | Flow |  |  | kg/h |  |  | → |  |  | Mass Flow
[5 empty] | Superheater |  |  |  |  | Evaporator | [18 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | *** |  |  | kg/h
[39 empty] | Density |  |  |  | *** |  |  | kg/m3
[29 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch | [5 empty] | *** |  |  | kg/Nm3
[29 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec
|  |  | *** | [35 empty] | Component |  |  | M. Weight |  |  | volume% |  | weight%
[39 empty] | H2O |  |  | *** |  |  | 14 |  | ***
[39 empty] | O2 |  |  | *** |  |  | 2 |  | ***
[25 empty] | *** |  | *** | [11 empty] | N2 |  |  | *** |  |  | 80 |  | ***
[25 empty] | *** |  | *** | [11 empty] | CO2 |  |  | *** |  |  | 4 |  | ***
[14 empty] | *** |  | *** | [8 empty] | *** |  | *** | [11 empty] | Ar |  |  | *** |  |  | 0 |  | ***
[14 empty] | *** |  | *** | [8 empty] | *** |  | *** | [11 empty] | SO2 |  |  | *** |  |  | 0 |  | ***
[25 empty] | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[19 empty] | *** |  | *** |  |  |  | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[19 empty] | *** |  | *** |  |  |  | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[25 empty] | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[25 empty] | *** |  | *** | [11 empty] | Total | [5 empty] | 100 |  | 0
[25 empty] | *** |  | *** | [11 empty] | M. Weight |  |  |  |  | *** |  |  | ***
[39 empty] | Density |  |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[39 empty] | Dew Point |  |  | *** |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [37 empty] | Narai Thermal Engineering Services
[9 empty] | Heat Duty | [19 empty] | Blowdown Rate
[5 empty] | Superheater |  |  |  | Evaporator | [18 empty] | Inpt | 2.99 |  | %Steam Flow | [14 empty] | *** |  | ***
[9 empty] | S/H Steam |  |  | #VALUE! | [15 empty] | Actual | #VALUE! |  | %Steam Flow | [14 empty] | *** |  | ***
[9 empty] | Sat. Steam |  |  | #VALUE! | [15 empty] | Cla'd from this sheet | *** | [10 empty] | *** |  | *** |  |  |  | *** |  | ***
[9 empty] | Blowdown |  |  | #VALUE! | [16 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** |  | *** |  |  |  | *** |  | *** | [5 empty] | Cooling Water
[5 empty] | #VALUE! |  |  |  | Sum |  |  | #VALUE! | [15 empty] | Cla'd from this sheet | *** | [24 empty] | Yes
[9 empty] | Total |  |  | #VALUE! | [30 empty] | BV-100 |  |  | *** |  | ***
| sqtk | [41 empty] | Blowdown Tank |  |  | *** |  | ***
| 53037 |  |  |  | #VALUE! |  |  |  | Sum |  |  | #VALUE!
[9 empty] | Total |  |  | #VALUE!
Feedwater
S/H Steam
Sat. Steam
Flash Steam
Cond. Drain
Cooling Water
Vent Steam
Cooling Water
Vent Steam
Cooling Water
Cond. Drain
1

## +SH2
P R O C E S S F L O W D I A G R AM | [31 empty] | Doc. No. |  |  | PFD - NCED - 900
[32 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  |  | *** | [11 empty] | Item No. |  |  |  | *** | [11 empty] | Revision |  |  | 0
Project |  |  |  | *** | [11 empty] | Service |  |  |  | *** | [11 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1 |  | Elevated Drum | [5 empty] | Elevated Drum
[32 empty] | O P E R A T I O N D A T A | [9 empty] | Application
| Heat Duty | [14 empty] | SD-100 | [15 empty] | S/H Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - |  | < Screen Tubes |  |  |  | - N/A -
| Secondary S/H |  |  |  | *** |  | kcal/h | [8 empty] | Steam Drum | [15 empty] | S/H Steam Press. |  |  |  | *** |  |  | bar.g |  |  | Yes |  | < Superheater |  |  |  | Yes
| Primary S/H |  |  |  | *** |  | kcal/h | [8 empty] | OP | *** |  | bar.g | [12 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - |  | < S/H from Others |  |  |  | - N/A -
| Evaporator |  |  |  | *** |  | kcal/h | [8 empty] | OT | *** |  | ℃ | [12 empty] | Sat. Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Yes |  | < Secondary S/H |  |  |  | - N/A -
| Economizer |  |  |  | *** |  | kcal/h | [24 empty] | Sat. Steam Press. |  |  |  | *** |  |  | bar.g |  |  | Yes |  | < Economizer |  |  |  | Yes
| Total |  |  |  | *** |  | kcal/h | [16 empty] | *** | *** |  | *** |  | S/H Steam |  |  | Feedwater Temp. |  |  |  | *** |  |  | ℃
[24 empty] | *** | *** |  | *** |  |  |  |  | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow
[24 empty] | *** | *** |  | ***
[10 empty] | DSH-100 | *** |  | *** | [10 empty] | *** | *** |  | *** |  |  |  |  | W A S T E G A S
[10 empty] | De-superheater | *** |  | *** | [18 empty] | Source |  |  |  |  | *** |  |  |  |  | 적용
[32 empty] | Waste Gas |  |  |  |  | *** |  |  |  |  | - N/A -
[32 empty] | Oper. Case |  |  |  |  | ***
|  | *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** | [17 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
|  | *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** | [17 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃ |  |  | Piping |  | ASTM
|  |  | *** | [9 empty] | *** | [18 empty] | Press., Inlet |  |  |  | *** |  |  | mmH2O
|  |  | *** | [9 empty] | *** | [5 empty] | *** |  | *** |  |  |  | *** |  | *** |  | BFW |  |  | Heat Loss |  |  |  | *** |  |  | %
[7 empty] | *** |  | *** | [9 empty] | *** |  | *** |  |  |  | *** |  | ***
[7 empty] | *** |  | *** | [10 empty] | *** | [5 empty] | *** | [5 empty] | Legend
[20 empty] | *** | [5 empty] | *** | [5 empty] | P | T
[32 empty] | Q | h
[36 empty] | Water/Steam |  |  | Waste Gas
[32 empty] | P | Press. |  |  | bar.g |  |  | mmH2O |  |  | WG Kind |  |  | Gas Mixture
| *** |  | *** |  |  |  |  | *** | [5 empty] | *** | [6 empty] | *** | [5 empty] | *** |  |  |  |  | T | Temp. |  |  | ℃ |  |  | → |  |  | WG in DB |  |  | Dry Air
| *** |  | *** |  |  | *** |  | *** |  |  |  | *** |  | *** |  |  |  |  | *** |  | *** |  |  |  | *** |  | *** |  |  |  |  | Q | Flow |  |  | kg/h |  |  | → |  |  | Mass Flow
[5 empty] | Secondary S/H |  |  |  |  | Primary S/H |  |  |  |  | Evaporator | [7 empty] | Economizer | [8 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | *** |  |  | kg/h
[42 empty] | Density |  |  |  | *** |  |  | kg/m3
[32 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch | [5 empty] | *** |  |  | kg/Nm3
[32 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec
|  |  | *** | [38 empty] | Component |  |  | M. Weight |  |  | volume% |  | weight%
[42 empty] | H2O |  |  | *** |  |  | 14 |  | ***
[42 empty] | O2 |  |  | *** |  |  | 2 |  | ***
[28 empty] | *** |  | *** | [11 empty] | N2 |  |  | *** |  |  | 80 |  | ***
[28 empty] | *** |  | *** | [11 empty] | CO2 |  |  | *** |  |  | 4 |  | ***
[16 empty] | *** |  | *** | [9 empty] | *** |  | *** | [11 empty] | Ar |  |  | *** |  |  | 0 |  | ***
[16 empty] | *** |  | *** | [9 empty] | *** |  | *** | [11 empty] | SO2 |  |  | *** |  |  | 0 |  | ***
[28 empty] | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[22 empty] | *** |  | *** |  |  |  | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[22 empty] | *** |  | *** |  |  |  | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[28 empty] | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[28 empty] | *** |  | *** | [11 empty] | Total | [5 empty] | 100 |  | 0
[28 empty] | *** |  | *** | [11 empty] | M. Weight |  |  |  |  | *** |  |  | ***
[42 empty] | Density |  |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[42 empty] | Dew Point |  |  | *** |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [40 empty] | Narai Thermal Engineering Services
[13 empty] | Heat Duty | [18 empty] | Blowdown Rate
[5 empty] | Secondary S/H |  |  | Primary S/H |  |  |  |  | Evaporator | [8 empty] | Economizer | [8 empty] | Inpt | 2.99 |  | %Steam Flow | [14 empty] | *** |  | ***
[13 empty] | S/H Steam |  |  | #VALUE! | [14 empty] | Actual | #VALUE! |  | %Steam Flow | [14 empty] | *** |  | ***
[13 empty] | Sat. Steam |  |  | #VALUE! | [14 empty] | Cla'd from this sheet | *** | [10 empty] | *** |  | *** |  |  |  | *** |  | ***
[13 empty] | Blowdown |  |  | #VALUE! | [15 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** |  | *** |  |  |  | *** |  | *** | [5 empty] | Cooling Water
[5 empty] | #VALUE! |  |  | #VALUE! |  |  |  |  | Sum |  |  | #VALUE! | [5 empty] | #VALUE! | [8 empty] | Cla'd from this sheet | *** | [24 empty] | Yes
[13 empty] | Total |  |  | #VALUE! | [29 empty] | BV-100 |  |  | *** |  | ***
| sqtk | [44 empty] | Blowdown Tank |  |  | *** |  | ***
| 53037 |  |  |  | #VALUE! |  |  | #VALUE! |  |  |  |  | Sum |  |  | #VALUE! | [5 empty] | #VALUE!
[13 empty] | Total |  |  | #VALUE!
Feedwater
S/H Steam
Sat. Steam
Flash Steam
Cond. Drain
Cooling Water
Vent Steam
Cooling Water
Vent Steam
Cooling Water
Cond. Drain
1

## --E
P R O C E S S F L O W D I A G R AM | [28 empty] | Doc. No. |  |  | PFD - NCED - 900
[29 empty] | Date |  |  | 2015. 1. 10.
Job No. |  |  |  | *** | [10 empty] | Item No. |  |  | *** | [10 empty] | Revision |  |  | 0
Project |  |  |  | *** | [10 empty] | Service |  |  | *** | [10 empty] | Sheet No. |  |  |  | 1 |  | of |  | 1 |  | Elevated Drum | [5 empty] | Elevated Drum
[29 empty] | O P E R A T I O N D A T A | [9 empty] | Application
| Heat Duty | [14 empty] | SD-100 | [12 empty] | S/H Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | - N/A - |  | < Screen Tubes |  |  |  | - N/A -
| Secondary S/H |  |  |  | *** |  | kcal/h | [8 empty] | Steam Drum | [12 empty] | S/H Steam Press. |  |  |  | *** |  |  | bar.g |  |  | Yes |  | < Superheater |  |  |  | Yes
| Primary S/H |  |  |  | *** |  | kcal/h | [8 empty] | OP | *** | bar.g | [10 empty] | S/H Steam Temp. |  |  |  | *** |  |  | ℃ |  |  | - N/A - |  | < S/H from Others |  |  |  | - N/A -
| Evaporator |  |  |  | *** |  | kcal/h | [8 empty] | OT | *** | ℃ | [10 empty] | Sat. Steam Flowrate |  |  |  | *** |  |  | kg/h |  |  | Yes |  | < Secondary S/H |  |  |  | - N/A -
| Total |  |  |  | *** |  | kcal/h | [13 empty] | *** | *** |  | *** |  | S/H Steam |  |  | Sat. Steam Press. |  |  |  | *** |  |  | bar.g |  |  | - N/A - |  | < Economizer |  |  |  | Yes
[21 empty] | *** | *** |  | *** |  |  |  |  | Feedwater Temp. |  |  |  | *** |  |  | ℃
[29 empty] | Blowdown Rate |  |  |  | *** |  |  | %Steam Flow
[21 empty] | *** | *** |  | ***
[21 empty] | *** | *** |  | ***
[10 empty] | DSH-100 | *** |  | *** | [15 empty] | W A S T E G A S
[10 empty] | De-superheater | *** |  | *** | [15 empty] | Source |  |  |  |  | *** |  |  |  |  | 적용
[29 empty] | Waste Gas |  |  |  |  | *** |  |  |  |  | - N/A -
[29 empty] | Oper. Case |  |  |  |  | ***
|  | *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** | [14 empty] | Flowrate, Inlet |  |  |  | *** |  |  | kg/h
|  | *** |  | *** |  | *** |  | *** |  |  |  | *** |  | *** | [14 empty] | Temp., Inlet |  |  |  | *** |  |  | ℃ |  |  | Piping |  | ASTM
|  |  | *** | [9 empty] | *** | [15 empty] | Press., Inlet |  |  |  | *** |  |  | mmH2O
|  |  | *** | [9 empty] | *** |  |  |  |  | *** |  | *** |  | *** |  | *** |  | BFW |  |  | Heat Loss |  |  |  | *** |  |  | %
[7 empty] | *** |  | *** | [8 empty] | *** |  | *** |  | *** |  | ***
[7 empty] | *** |  | *** | [9 empty] | *** |  |  |  | *** | [5 empty] | Legend
[19 empty] | *** |  |  |  | *** | [5 empty] | P | T
[29 empty] | Q | h
[33 empty] | Water/Steam |  |  | Waste Gas
[29 empty] | P | Press. |  |  | bar.g |  |  | mmH2O |  |  | WG Kind |  |  | Gas Mixture
| *** |  | *** |  |  |  |  | *** | [5 empty] | *** | [5 empty] | *** | [8 empty] | T | Temp. |  |  | ℃ |  |  | → |  |  | WG in DB |  |  | Dry Air
| *** |  | *** |  |  | *** |  | *** |  |  |  | *** |  | *** |  |  |  | *** |  | *** | [8 empty] | Q | Flow |  |  | kg/h |  |  | → |  |  | Mass Flow
[5 empty] | Secondary S/H |  |  |  |  | Primary S/H |  |  |  |  | Evaporator | [13 empty] | h | Enthalpy |  |  | kcal/kg |  |  | → |  |  | *** |  |  | kg/h
[39 empty] | Density |  |  |  | *** |  |  | kg/m3
[29 empty] | NPS |  | NPS |  | Nominal Pipe Size |  |  |  | inch | [5 empty] | *** |  |  | kg/Nm3
[29 empty] | Vel. |  | Vel. |  | Fluid Velocity |  |  |  | m/sec
|  |  | *** | [35 empty] | Component |  |  | M. Weight |  |  | volume% |  | weight%
[39 empty] | H2O |  |  | *** |  |  | 14 |  | ***
[39 empty] | O2 |  |  | *** |  |  | 2 |  | ***
[25 empty] | *** |  | *** | [11 empty] | N2 |  |  | *** |  |  | 80 |  | ***
[25 empty] | *** |  | *** | [11 empty] | CO2 |  |  | *** |  |  | 4 |  | ***
[15 empty] | *** |  | *** | [7 empty] | *** |  | *** | [11 empty] | Ar |  |  | *** |  |  | 0 |  | ***
[15 empty] | *** |  | *** | [7 empty] | *** |  | *** | [11 empty] | SO2 |  |  | *** |  |  | 0 |  | ***
[25 empty] | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[20 empty] | *** | *** |  |  |  | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[20 empty] | *** | *** |  |  |  | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[25 empty] | *** |  | *** | [11 empty] | 0 |  |  | *** |  |  | 0 |  | ***
[25 empty] | *** |  | *** | [11 empty] | Total | [5 empty] | 100 |  | 0
[25 empty] | *** |  | *** | [11 empty] | M. Weight |  |  |  |  | *** |  |  | ***
[39 empty] | Density |  |  |  |  | *** |  |  | kg/Nm3 |  |  | 2 | ~ | 5 | %
[39 empty] | Dew Point |  |  | *** |  | *** |  |  | ℃ |  | * SO2 -> SO3 |  | 3 |  | %
NTES | [37 empty] | Narai Thermal Engineering Services
[14 empty] | Heat Duty | [14 empty] | Blowdown Rate
[5 empty] | Secondary S/H |  |  | Primary S/H | [5 empty] | Evaporator | [13 empty] | Inpt | 2.99 |  | %Steam Flow | [14 empty] | *** |  | ***
[14 empty] | S/H Steam |  | #VALUE! | [11 empty] | Actual | #VALUE! |  | %Steam Flow | [14 empty] | *** |  | ***
[14 empty] | Sat. Steam |  | #VALUE! | [11 empty] | Cla'd from this sheet | *** | [10 empty] | *** |  | *** |  |  |  | *** |  | ***
[14 empty] | Blowdown |  | #VALUE! | [12 empty] | #VALUE! |  | %BFW Flow | [8 empty] | *** |  | *** |  |  |  | *** |  | *** | [5 empty] | Cooling Water
[5 empty] | #VALUE! |  |  | #VALUE! | [5 empty] | Sum |  | #VALUE! | [11 empty] | Cla'd from this sheet | *** | [24 empty] | Yes
[14 empty] | Total |  | #VALUE! | [26 empty] | BV-100 |  |  | *** |  | ***
|  | sqtk | [40 empty] | Blowdown Tank |  |  | *** |  | ***
|  | 53037 |  |  | #VALUE! |  |  | #VALUE! | [5 empty] | Sum |  | #VALUE!
[14 empty] | Total |  | #VALUE!
Feedwater
S/H Steam
Sat. Steam
Flash Steam
Cond. Drain
Cooling Water
Vent Steam
Cooling Water
Vent Steam
Cooling Water
Cond. Drain
1