## Steam Drum
C A L C U L A T I O N o f H O L D - U P V O L U M E & R E T E N T I O N T I M E
Job No.
1 | Project |  | P | [7 empty] | Job No. |  | J
2 | Client |  | A | [7 empty] | Doc. No. |  | CAL - HVRT - 100
3 | Contractor |  | B | [7 empty] | Date |  | 2015. 1. 10.
4 | [10 empty] | Revision |  | 0
5 | Service of Unit |  | Steam Drum |  |  |  | Type |  | Cylindrical |  | Item No. |  | SD - 100 |  |  |  | Fluid defined
6 | Size |  | ID 1500 x TL 10000 |  |  |  | Installation |  | Horizontal | [7 empty] | Fluid Kind |  |  | Saturated
7 | Volume, Full |  | #VALUE! | m3 |  |  | Load |  | Design Case |  | Sheet No. |  | 1 | of |  | 1 | Fluid in DB |  |  | H2O
8 | D E S I G N D A T A | [15 empty] | Saturation |  |  | Yes
9 | Fluid Name |  | Steam |  | Blowdown | [5 empty] | Pressure |  |  | Temperature |  |  | Vapor "x" |  |  | 0 | * valid if level does not exist
10 | Flowrate, Out |  | 100000 |  | 3000 |  | kg/h |  |  |  | bar.g |  |  | ℃ |  |  | Temp., Sat. |  |  | #VALUE! | ℃
11 | Flowrate, Total |  | 103000 |  |  |  | kg/h |  | Operating |  | 40 |  |  | #VALUE! |  |  | Temp.,Input |  | OP | 0 | ℃ | #VALUE!
12 | [16 empty] | Press. |  | OP | 40 | bar.g | 대기압
13 | [16 empty] | Temp, Used |  | OP | #VALUE! | Gauge | 0
14 | [8 empty] | Density | Vapor | #VALUE! |  | kg/m3 |  |  |  | Fluid State |  |  | Sat. Liquid
15 | [9 empty] | Liquid | #VALUE! |  | kg/m3 |  |  |  | Density |  | kg/m3 | #VALUE!
16 | [16 empty] | Liquid Level |  |  |  | Yes
17 | C A L C U L A T I O N o f V O L U M E & R E T E N T I O N T I M E
18
19 |  | Head Type
20 |  | 2:1 Ellipsoidal
21
22 | [5 empty] | 550
23 | [5 empty] | 36.6667 | %ID
24 | [9 empty] | Hold-up Volume |  | Retention Time | [5 empty] | Hold-up Volume |  |  | Retention Time
25 |  |  |  | HHWL | [5 empty] | m3 | %vol | min. | [5 empty] | HHWL
26 | [5 empty] | 100 |  |  |  | #VALUE! | #VALUE! | #VALUE!
27 |  |  |  | HWL | [13 empty] | HWL
28 |  | ID | Center Line |  |  | 150 |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
29 |  | 1500 | 50 | NWL | [10 empty] | NWL |  |  | NWL
30 | [5 empty] | 200 |  |  | 950 | #VALUE! | #VALUE! | #VALUE! |  | #VALUE!
31 |  |  |  | LWL | [13 empty] | LWL
32 | [5 empty] | 100 |  |  | 850 | #VALUE! | #VALUE! | #VALUE!
33 |  |  |  | LLWL |  |  |  | 700 | [9 empty] | LLWL
34 | [6 empty] | 500
35 | [5 empty] | 400 |  |  |  | #VALUE! | #VALUE! | #VALUE!
36 | [5 empty] | 26.6667 | %ID
37
38
39 | [6 empty] | TL-to-TL | 10000 | [11 empty] | hcone
40 | [7 empty] | #VALUE! | [9 empty] | #VALUE! |  | 500
41
42
43
44 | - B L A N K -
45
46
47
48
49
50
51
52
53
54
55 | Notes
56 | *1) | NWL is located below Center Line.
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [14 empty] | Narai Thermal Engineering Services
Note on C58: Cell is filled !
Note on W4: Cell is filled !
Note on AB13: Cell is filled !
1

## Horizontal
C A L C U L A T I O N o f H O L D - U P V O L U M E & R E T E N T I O N T I M E
Job No.
1 | Project |  | P | [7 empty] | Job No. |  | J
2 | Client |  | A | [7 empty] | Doc. No. |  | CAL - HVRT - 100
3 | Contractor |  | B | [7 empty] | Date |  | 2015. 1. 10.
4 | [10 empty] | Revision |  | 0
5 | Service of Unit |  | Storage Tank |  |  |  | Type |  | Cylindrical |  | Item No. |  | TK - 100 |  |  |  | Fluid defined
6 | Size |  | ID 3000 x TL 10000 |  |  |  | Installation |  | Horizontal | [7 empty] | Fluid Kind |  |  | Saturated
7 | Volume, Full |  | #VALUE! | m3 |  |  | Load |  | Design Case |  | Sheet No. |  | 1 | of |  | 1 | Fluid in DB |  |  | H2O
8 | D E S I G N D A T A | [15 empty] | Saturation |  |  | Yes
9 | Fluid Name |  | BFW |  | Blowdown | [5 empty] | Pressure |  |  | Temperature |  |  | Vapor "x" |  |  | 0 | * valid if level does not exist
10 | Flowrate, Out |  | 100000 |  | 0 |  | kg/h |  |  |  | bar.g |  |  | ℃ |  |  | Temp., Sat. |  |  | #VALUE! | ℃
11 | Flowrate, Total |  | 100000 |  |  |  | kg/h |  | Operating |  | 1 |  |  | #VALUE! |  |  | Temp.,Input |  | OP | 0 | ℃ | #VALUE!
12 | [16 empty] | Press. |  | OP | 1 | bar.g | 대기압
13 | [16 empty] | Temp, Used |  | OP | #VALUE! | Gauge | 0
14 | [8 empty] | Density | Vapor | #VALUE! |  | kg/m3 |  |  |  | Fluid State |  |  | Sat. Liquid
15 | [9 empty] | Liquid | #VALUE! |  | kg/m3 |  |  |  | Density |  | kg/m3 | #VALUE!
16 | [16 empty] | Liquid Level |  |  |  | Yes
17 | C A L C U L A T I O N o f V O L U M E & R E T E N T I O N T I M E
18
19 |  | Head Type
20 |  | 2:1 Ellipsoidal
21
22 | [5 empty] | 450 | 15 | %ID |  | Hold-up Volume |  | Retention Time | [5 empty] | Hold-up Volume |  |  | Retention Time
23 |  |  |  | HHWL | [5 empty] | m3 | %vol | min. | [5 empty] | HHWL
24 | [5 empty] | 150 |  |  |  | #VALUE! | #VALUE! | #VALUE!
25 |  |  |  | HWL | [13 empty] | HWL
26 | [5 empty] | 300 |  |  |  | #VALUE! | #VALUE! | #VALUE!
27 |  |  |  | NWL | [10 empty] | NWL |  |  | NWL
28 |  | ID | 600 | [5 empty] | 2550 |  |  |  | #VALUE!
29 |  | 3000 | Center Line |  |  | 1600 |  |  |  | #VALUE! | #VALUE! | #VALUE!
30 | [8 empty] | 2400 |  |  |  |  | #VALUE!
31 |  |  |  | LWL | [13 empty] | LWL
32 | [5 empty] | 200 |  | 2100 |  | #VALUE! | #VALUE! | #VALUE!
33 |  |  |  | LLWL |  |  |  | 70 | %ID | [8 empty] | LLWL
34 | [6 empty] | 500
35 | [5 empty] | 300 |  |  |  | #VALUE! | #VALUE! | #VALUE!
36 | [5 empty] | 10 | %ID
37
38
39 | [6 empty] | TL-to-TL | 10000 | [11 empty] | hcone
40 | [7 empty] | #VALUE! | [9 empty] | #VALUE! |  | 500
41
42
43
44 | - B L A N K -
45
46
47
48
49
50
51
52
53
54
55 | Notes
56 | *1) | NWL is located above Center Line.
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [14 empty] | Narai Thermal Engineering Services
Note on C58: Cell is filled !
Note on I38: 10 %ID, Min. 200.
Note on J24: Min. 15 %ID.
Note on K35: ~ 80 %ID.
Note on W4: Cell is filled !
Note on AB13: Cell is filled !
1

## Vertical
C A L C U L A T I O N o f H O L D - U P V O L U M E & R E T E N T I O N T I M E
Job No.
1 | Project |  | P | [8 empty] | Job No. |  | J
2 | Client |  | A | [8 empty] | Doc. No. |  | CAL - HVRT - 100
3 | Contractor |  | B | [8 empty] | Date |  | 2015. 1. 10.
4 | [11 empty] | Revision |  | 0
5 | Service of Unit |  | Blowdown Tank |  |  |  | Type |  | Cylindrical |  |  | Item No. |  | BT - 100 |  |  |  | Fluid defined
6 | Size |  | ID 1500 x TL 3000 |  |  |  | Installation |  | Vertical | [8 empty] | Fluid Kind |  |  | Saturated
7 | Volume, Full |  | #VALUE! | m3 |  |  | Load |  | Design Case |  |  | Sheet No. |  | 1 | of |  | 1 | Fluid in DB |  |  | H2O
8 | D E S I G N D A T A | [16 empty] | Saturation |  |  | Yes
9 | In Flow | [10 empty] | Pressure |  |  | Temperature |  |  | Vapor "x" |  |  | 0 | * valid if level does not exist
10 |  | Blowdown Water |  |  | 6000 |  | kg/h |  |  |  |  | bar.g |  |  | ℃ |  |  | Temp., Sat. |  |  | #VALUE! | ℃
11 |  | Cooling Water |  |  | 9000 |  | kg/h |  | Operating |  |  | 8 |  |  | #VALUE! |  |  | Temp.,Input |  | OP | 0 | ℃ |  | #VALUE!
12 | Out Flow | [16 empty] | Press. |  | OP | 8 | bar.g |  | 대기압
13 |  | Vent Steam |  |  | 600 |  | kg/h | [10 empty] | Temp, Used |  | OP | #VALUE! | Gauge |  | 0
14 | Flowrate for Calculation |  |  |  | 14400 |  | kg/h |  | Density | Vapor |  | #VALUE! |  | kg/m3 |  |  |  | Fluid State |  |  | Sat. Liquid
15 | [9 empty] | Liquid |  | #VALUE! |  | kg/m3 |  |  |  | Density |  | kg/m3 | #VALUE!
16 | [17 empty] | Liquid Level |  |  |  | Yes
17 | C A L C U L A T I O N o f V O L U M E & R E T E N T I O N T I M E
18
19 | [18 empty] | proppv(inst, hdtp, hdtp2, vid, tl, hcone, llc, nprop)
20 | [14 empty] | Head Type
21 | [14 empty] | 2:1 Ellipsoidal |  |  |  | Head Type |  |  |  | hcone
22 | [5 empty] | #VALUE! | [11 empty] | #VALUE! | 2:1 Ellipsoidal |  |  |  | 500
23
24
25 | [5 empty] | 1100 |  |  |  | Hold-up Volume |  |  | Retention Time | [5 empty] | Hold-up Volume |  |  | Retention Time
26 |  |  |  | HHWL | [5 empty] | m3 |  | %vol | min. | [5 empty] | HHWL
27 | [5 empty] | 150 |  |  |  | #VALUE! |  | #VALUE! | #VALUE!
28 |  |  |  | HWL | [14 empty] | HWL
29 |  | TL-to-TL | Center Line |  |  | 300 |  |  |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
30 |  | 3000 | 50 | NWL |  |  |  |  | 1900 | [6 empty] | NWL |  |  | NWL
31 | [5 empty] | 1100 |  |  |  | #VALUE! |  | #VALUE! | #VALUE!
32 |  |  |  | LWL |  |  |  |  | 1750 | [9 empty] | LWL
33 | [5 empty] | 150 |  |  |  | #VALUE! |  | #VALUE! | #VALUE!
34 |  |  |  | LLWL |  |  |  | 1450 | [6 empty] | #VALUE! |  |  |  | LLWL
35 | [7 empty] | 48.3333 | %TL-to-TL
36 | [5 empty] | 200 | 350 |  |  | #VALUE! |  | #VALUE! | #VALUE!
37 | [9 empty] | * | Volume from Bottom
38 | [18 empty] | Head Type |  |  |  | hcone
39 | [5 empty] | #VALUE! | [11 empty] | #VALUE! | 2:1 Ellipsoidal |  |  |  | 500
40 | [14 empty] | Head Type
41 | [14 empty] | 2:1 Ellipsoidal
42 | [5 empty] | ID
43 | [5 empty] | 1500
44
45
46
47 | - B L A N K -
48
49
50
51
52
53
54
55 | Notes
56 | *1) | NWL is located below Center Line.
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| NTES | [15 empty] | Narai Thermal Engineering Services
Note on C58: Cell is filled !
Note on I38: Min. 200.
Note on W4: Cell is filled !
Note on AB13: Cell is filled !
1

## a
D E S I G N I N F O R M A T I O N
1 | Project | #NAME? | Job No. | #NAME?
2 | Client | #NAME? | Doc. No. | DI - AAA - 100
3 | Contractor | #NAME? | Date | 2013. 1. 1.
4 | Code/Standard | #NAME? | Revision | 0
5 | Service of Unit | #NAME? | Item No. | #NAME?
6 | Type | #NAME?
7
8 | A A A A A
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26 | B B B B B
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47 | - B L A N K -
48
49
50
51
52
53
54
55 | Notes
56 | *1)
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| #NAME? |  |  |  | #NAME?
1