## form 1
T A N K D A T A S H E E T
Job No.
1 | Project |  |  | P | [10 empty] | Job No. |  | J
2 | Client |  |  | A | [10 empty] | Doc. No. |  | DS - TK - 100
3 | Contractor |  |  | B | [10 empty] | Date |  | 2019. 3. 10.
4 | Code / Standard |  |  | ASME |  | API 650 |  |  |  | ASME Stamp |  | No |  |  | Revision |  | 0 | [7 empty] | Volume, LSL ~ NWL |  |  | #VALUE!
5 | Service of Unit |  |  | Tank Name |  |  |  |  | Type |  | Cylindrical |  |  |  | Item No. |  | TK - 100 |  |  | Fluid defined
6 | Size |  |  | ID 1500 x HGT 3000 |  |  |  |  | Installation |  | Vertical |  |  |  | No. of Units |  |  | 1 | set(s) | Fluid Kind |  |  | Saturated |  |  |  |  | 2014. 6. 30.
7 | Location |  |  | Outdoor |  |  |  |  | Volume, Full |  | #VALUE! |  | m3 |  | Sheet No. |  | 1 | of | 1 | Fluid in DB |  |  | H2O |  |  |  |  | Water |  | Make-up Water |  | 0
8 | D E S I G N D A T A | [18 empty] | Saturation |  |  | No |  |  |  |  | No |  | No |  | No
9 | Fluid Name |  |  | Water |  |  | Make-up Water | [7 empty] | Shell |  |  | Head |  | Vapor "x" |  |  | 0 | * valid if level does not exist |  |  |  | 0 |  | 0 |  | 0
10 | Flowrate |  |  | 1000 |  |  | 1000 |  |  | kg/h | R.T. |  |  |  | No |  |  | No |  | Temp., Sat. |  |  | #VALUE! | ℃ | #VALUE! | at DP |  | #VALUE! |  | #VALUE! |  | #VALUE! | ℃
11 |  |  |  |  | Pressure |  |  | Temperature |  |  | Joint Efficiency |  |  |  | 0.7 |  |  | 0.7 |  | Temp.,Input |  | OP | 80 | ℃ |  | #VALUE! |  | 80 |  | 20 |  | 80 | ℃
12 |  |  |  |  | bar.g |  |  | ℃ |  |  | PWHT |  |  |  | No |  |  |  |  | Press. |  | OP | 0 | bar.g |  |  |  | 0 |  | 0 |  | 0 | bar.g
13 | Design |  |  |  | 0 |  |  | 100 |  |  | Corrosion Allowance |  |  |  | 1.6 |  |  | 1.6 |  | Temp, Used |  | OP | 80 |  |  |  |  | 80 |  | 20 |  | 80 | ℃
14 | Vacuum |  |  |  | - N/A - | [14 empty] | Fluid State |  |  | Liquid |  |  |  |  | #VALUE! |  | #VALUE! |  | #VALUE!
15 | Operating |  |  |  | 0 |  |  | 80 |  |  | Liquid Level |  |  |  | Yes |  |  |  |  | Density |  | kg/m3 | #VALUE! | S~, ASME Material |  | Hydro | MDMT | #VALUE! |  | #VALUE! |  | #VALUE! | kg/m3
16 | Test / Metohd |  |  |  | 0 |  |  | Full Water |  |  | Liquid Density |  |  |  | #VALUE! |  | kg/m3 | [8 empty] | 1.3 | #VALUE! | Side Plate
17 | M A T E R I A L S | [9 empty] | S C H E M A T I C D I M E N S I O N A L O U T L I N E | [8 empty] | Mat. Code |  | ASTM |  |  |  |  | ID | t | OD |  | Top Plate |  | Conical
18 | Shell | [10 empty] | Volume | Retention Time | [6 empty] | Rating |  | plate |  | A 283-C |  |  | 1500 | 9 | 1518 |  | 9 | t | 5 | deg
19 |  | Side Plate |  | A 283-C |  |  |  |  | 9 | t | HHLL | m3 | hour | [6 empty] | #VALUE! |  | 12" |  | Sch.40 |  |  | #VALUE! | #VALUE! | #VALUE! |  |  |  | 65.6165 | < H
20 |  | Bottom Plate |  | A 283-C |  |  | Flat |  | 9 | t |  | #VALUE! | #VALUE! | [7 empty] | Base Plate > | ASTM |  | A 283-C |  |  | > | 9 | < | Bottom Plate
21 |  | Top Plate |  | A 283-C |  |  | Conical |  | 9 | t | NLL |  |  | #VALUE! | [6 empty] | Nozzle > | ASTM |  | A 106-B |  |  | 200 | < Projection
22 | Stiffener |  |  | A 36 | [7 empty] | #VALUE! | #VALUE! | [7 empty] | Flange > | forging |  | A 105 |  |  | ANSI |  | Flanged |  |  | A 193-B7 |  | A 194-2H
23 |  | Top |  | L Angle |  |  | L 75 x 75 x 6 |  |  |  | LLLL | [9 empty] | Bolts / Nuts> | ASTM |  | A 193-B7,<=2.5" |  |  | WN |  | 150 lb |  |  | SNB 7 |  | SM 45C
24 |  | Intermediate |  | L Angle |  |  | L 50 x 50 x 6 |  |  |  |  | #VALUE! | [8 empty] | Gasket > | Non-asbestos
25 | Base Plate |  |  | A 283-C | [6 empty] | BTM | [9 empty] | M/H | Yes |  | 1 |  |  |  | ID | t |  | Cover t for "Ring" Type
26 | Nozzle Neck |  |  | A 106-B | [16 empty] | ASTM |  | pipe |  | A 516-70 |  |  | 500 | 10 |  | 50
27 | Nozzle Flange |  |  | A 105 | [18 empty] | 24" |  | STD |  | OD > | #VALUE! | #VALUE! | Flg Wt. | Cover Wt. |  | B / N
28 | Bolts / Nuts |  |  | A 193-B7 / A 194-2H | [17 empty] | Flange / Cover > | forging |  | A 105 |  | Flanged |  |  | #VALUE! | #VALUE! |  | #VALUE! | #VALUE!
29 | Gasket |  |  | Non-asbestos | [18 empty] | ANSI |  | WN |  | 150 lb
30 | [10 empty] | 200 | [9 empty] | Ladder > | Provided
31 | A C C E S S O R I E S | [13 empty] | HHLL | [5 empty] | Platform > | - N/A -
32 | Ladder |  |  | Provided | [8 empty] | 100 | [7 empty] | Lifting Lug> | Provided |  |  |  | Flowrate for Retention Time
33 | Platform |  |  | - N/A - | [6 empty] | 400 |  |  |  | HLL | [5 empty] | Earth Lug > | Provided |  |  |  | 2000 |  | kg/h
34 | Lifting Lug |  |  | Provided |  | Earth Lug |  |  | Provided | [11 empty] | Name Plate> | Provided
35 | Name Plate |  |  | Provided |  | Anchor B/N |  |  | Provided |  |  |  | 300 | [14 empty] | 적용
36 | [14 empty] | NLL | [7 empty] | Leg | Light Duty |  |  |  | No
37 | N O Z Z L E L I S T | [21 empty] | Height |  | #VALUE! | [8 empty] | Flow | Vel. | ID
38 | MK | Service |  |  |  | Q'ty | Size | Type | Rating | [6 empty] | 900 | [6 empty] | No. of Leg |  | #VALUE! | [5 empty] | Nozzle Sizing |  |  | m3/h | m/sec | mm
39 | N1 | Water Inlet |  |  |  | 1 | 2" | Flanged | 150 lb |  |  |  | 1700 |  | Shell Center | [7 empty] | Type |  | #VALUE! |  |  | C Channel |  |  | Water Inlet |  |  | #VALUE! | #VALUE! | #VALUE! | Sch.40
40 | N2 | Make-up Water Inlet |  |  |  | 1 | 1" | Flanged | 150 lb |  | 1900 | [11 empty] | Size |  | #VALUE! | #VALUE! |  | C 100 x 50 x 5 x 7.5 |  |  | Make-up Water Inlet |  |  | #VALUE! | #VALUE! | #VALUE! | Sch.40
41 | N3 | Water Outlet |  |  |  | 1 | 1" | Flanged | 150 lb | [5 empty] | LLL | 1500 | [8 empty] | #VALUE! | #VALUE! |  |  |  |  | Water Outlet |  |  | #VALUE! | #VALUE! | #VALUE! | Sch.40
42 | LG | Level Gauge |  |  |  | 2 | 1" | Flanged | 150 lb |  |  |  | 200 |  |  |  | Shell Height | [5 empty] | Bolt Size/Q'ty |  | #VALUE! | #VALUE! |  | M24
43 | LT | Level Transmitter |  |  |  | 2 | 1" | Flanged | 150 lb | [5 empty] | LLLL |  | 3000 | [5 empty] | BCD |  | #VALUE!
44 | TG | Temp. Gauge |  |  |  | 1 | 1 1/4" | Flanged | 150 lb | [13 empty] | Base Plate |  | #VALUE! | #VALUE! | #VALUE! |  | Stiffener > | ASTM |  | A 36
45 | PG | Press. Gauge |  |  |  | 1 | 1" | Flanged | 150 lb |  |  | 500 |  |  |  | Shell ID | [6 empty] | Anchor B/N |  | Provided |  |  |  | Top > | L Angle |  | L 75 x 75 x 6
46 | OF | Overflow |  |  |  | 1 | 1 1/2" | Flanged | 150 lb | [6 empty] | 1500 | [6 empty] | ASTM |  | A 307-B |  |  |  | Intermediate > | L Angle |  | L 50 x 50 x 6
47 | N8 | Aaaaa |  |  |  | 0 | 1" | Flanged | 150 lb | [15 empty] | 500 | L
48 | N9 | Aaaaa |  |  |  | 0 | 1" | Flanged | 150 lb | [13 empty] | A 307-B |  | #VALUE! | 500 | L
49 | N10 | Aaaaa |  |  |  | 0 | 1" | Flanged | 150 lb
50 | V | Vent |  |  |  | 1 | 1" | Flanged | 150 lb
51 | D | Drain |  |  |  | 1 | 2" | Flanged | 150 lb
52 | MH | Manhole |  |  |  | 1 | 24" | Flanged | 150 lb | [12 empty] | Inside |  |  | Outside
53 | Surf. Prep. |  | Inside | - N/A - |  |  | Outside | Sand Blasting |  |  | L O A D I N G D A T A | [9 empty] | Surf. Prep.> | - N/A - |  |  | Sand Blasting
54 | Painting |  | Inside | - N/A - |  |  | Outside | Primer |  |  | Weight, Empty |  |  |  |  | #VALUE! |  |  | kg |  | Painting > | - N/A - |  |  | Primer |  |  |  |  | Surface Area | Denstiy
55 | Insulation |  | by Others |  |  | Mineral Wool |  |  | 50 | t | Weight, Operating |  |  |  |  | #VALUE! |  |  | kg |  | Insulation > | by Others |  |  | Mineral Wool |  |  | 50 | t | #VALUE! | 100 | kg/m3
56 | Lagging |  | by Others |  |  | Al |  |  | 0.8 | t | Weight, Full Water |  |  |  |  | #VALUE! |  |  | kg |  | Lagging > | by Others |  |  | Al |  |  | 0.8 | t
57 | Notes
58 | *1) | Flowrate for Retention Time Calculation | [5 empty] | : | 2000 |  | kg/h | [9 empty] | Weight
59 | *2) | [19 empty] | Cal'd | #VALUE!
60 | *3) | [19 empty] | Input | #VALUE!
| NTES | [17 empty] | Narai Thermal Engineering Services
E S T I M A T E
1 | Project |  |  | P
2 | Client |  |  | A | [10 empty] | Doc. No. |  | EST - VSLV - 100
3 | Contractor |  |  | B | [10 empty] | Date |  | 2016. 10. 31.
4 | Code/Standard |  |  | ASME | [10 empty] | Revision |  | 0
5 | Service of Unit |  |  | Tank Name | [5 empty] | Type |  | Cylindrical |  |  | Item No. |  | TK - 100
6 | Size |  |  | ID 1500 x HGT 3000 | [5 empty] | Installation |  | Vertical
7
8 | E S T I M A T E
9 |  |  |  | Material | [6 empty] | Size |  |  |  | Weight
10 | Description | [6 empty] | Type, … |  |  | ID | L | t | Q'ty | Unit | Total
11 |  |  |  | Code | Kind | Spec. | [5 empty] | mm |  |  | kg | [5 empty] | S.G.
12 | Shell |  |  | ASTM | plate | A 283-C |  |  |  |  | 1500 | 3000 | 9 | 1 | #VALUE! | #VALUE! |  |  |  |  | #VALUE!
13 | Head | Top |  | ASTM | plate | A 283-C |  | Flat |  |  |  |  | 9 | 1 | #VALUE! | #VALUE! | H |  |  |  | #VALUE!
14 |  | Bottom |  | ASTM | plate | A 283-C |  | Conical |  |  |  |  | 9 | 1 | #VALUE! | #VALUE! | 65.6165 |  |  |  | #VALUE!
15
16
17
18 | Nozzles | [9 empty] | OD |  | t | [9 empty] | Proj
19 | N1 |  | Neck | ASTM | pipe | A 106-B |  | 2" | Sch.40 |  | #VALUE! |  | #VALUE! | 1 | #VALUE! | #VALUE! |  |  |  |  | #VALUE! |  | 200
20 | Water Inlet |  | Flg | ASTM | forging | A 105 |  | ANSI | WN | 150 lb | #VALUE! |  | #VALUE! | 1 | #VALUE! | #VALUE! |  | Flanged |  |  | #VALUE!
21 |  |  | Pad | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE!
22 | N3 |  | Neck | ASTM | pipe | A 106-B |  | 1" | Sch.40 |  | #VALUE! |  | #VALUE! | 1 | #VALUE! | #VALUE! |  |  |  |  | #VALUE! |  | 200
23 | Water Outlet |  | Flg | ASTM | forging | A 105 |  | ANSI | WN | 150 lb | #VALUE! |  | #VALUE! | 1 | #VALUE! | #VALUE! |  | Flanged |  |  | #VALUE!
24 |  |  | Pad | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE!
25
26
27
28
29
30
31
32
33
34
35
36
37 | Support | [6 empty] | Leg
38 |  | Leg |  | #NAME? | plate | #NAME? | [6 empty] | #NAME? | 0 | 0 | 0 |  |  |  |  | #VALUE!
39 |  | Rib |  | *** | *** | *** | [6 empty] | *** | 0 | 0 | 0 |  |  |  |  | ***
40 |  | Base Plate |  | #NAME? | plate | #NAME? | [6 empty] | #NAME? | 0 | 0 | 0 |  |  |  |  | #VALUE!
41 |  | Pad |  | ASTM | plate | A 283-C | [6 empty] | #NAME? | 0 | 0 | 0 |  |  |  |  | #VALUE!
42 |  | Bolt | [5 empty] | #NAME? | [5 empty] | #NAME?
43
44 | Insulation | [10 empty] | #VALUE! | 50 | 1 | #VALUE! | #VALUE! |  |  |  |  | 100
45
46
47
48
49
50
51 | [10 empty] | Total |  |  |  | #VALUE!
52 | S U M M A R Y
53 | [10 empty] | Total, Net |  |  |  | #VALUE!
54 | [10 empty] | Empty |  |  |  | #VALUE! |  | 25 | % Up
55 | [10 empty] | Oper.
56 | [10 empty] | Filled with Water
57 | Notes
58 | *1)
59 | *2)
60 | *3)
| NTES | [17 empty] | Narai Thermal Engineering Services
Note on G57: Cell is filled !
Note on G58: Cell is filled !
Note on W4: Cell is filled !
Note on Z18: Cell is filled !
Note on AB13: Cell is filled !
1
LG
N2
MH
V
N1
LT
LG
LT
N2
TG
OF
D
N0

## a
D E S I G N I N F O R M A T I O N
1 | Project | #NAME? | Job No. | #NAME?
2 | Client | #NAME? | Doc. No. | DI - AAA - 100
3 | Contractor | #NAME? | Date | 2013. 1. 1.
4 | Code/Standard | #NAME? | Revision | 0
5 | Service of Unit | #NAME? | Item No. | #NAME?
6 | Type | #NAME?
7
8 | A A A A A
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26 | B B B B B
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47 | - B L A N K -
48
49
50
51
52
53
54
55 | Notes
56 | *1)
57 | *2)
58 | *3)
59 | *4)
60 | *5)
| #NAME? |  |  |  | #NAME?
1