## cover
|  |  |  | Doc. No. |  | TM - HDC - 100 |  |  | TM - HDC - 100
Technical Guide
|  |  | Technical Material | [5 empty] | Technical Material
Hydraulic Calculations
sheetqty
|  |  |  | Total | 8 | sheets with a cover |  |  | 6
5
4
3
2
1 | 2019. 5. 5. | Updated. |  | S. J. Lee |  | Lee | LSJ
0 | 2008. 1. 10. | 1st Issue. |  | S. J. Lee |  | Lee | LSJ
Rev. | Date | Description |  | Prepared |  | Reviewed | Approved
나 래 열 기 술
Narai Thermal Engineering Services
| Homepage | www.ntes.co.kr |  | E-mail |  | ntes@ntes.co.kr
NTES | [7 empty] | Narai Thermal Engineering Services

## TOC
| Technical Material : |  |  | Doc. No. | TM - HDC - 100
Hydraulic Calculations |  |  |  | Date | 2019. 5. 5.
|  |  |  | Rev. | 0
|  |  |  | Sheet No. |  | 1 | of | 1
T a b l e of C o n t e n t s
|  | 1. | Introduction
|  | 2. | Forced Convection, Internal Flow > Tube Side Press. Drop in Shell & Tube H/E
|  | 3. | Forced Convection, External Flow
|  | 4. | In-tube Condensation
|  | 5. | Forced Convection Boiling
NTES | [8 empty] | Narai Thermal Engineering Services

## 1
| Technical Material : |  |  |  |  | Doc. No. | TM - HDC - 100
Hydraulic Calculations | [5 empty] | Date | 2019. 5. 5.
[6 empty] | Revision | 0
[6 empty] | Sheet No. |  | 1 | of | 6
|  | 1. | Introduction
Hydraulic calculations are examplified using correlations which are shown in the material " Hydraulic Fundamentals ".
To utilize the calculations, data files as below shall be opened in advance.
|  |  | " | fluidproperties | "
|  |  | " | materials ASTM | "
|  |  | " | materials common | "
|  |  | " | materials JIS | "
|  |  | " | materials KS | "
|  |  | " | materials standard design | "
Fluid Properties
Water and Steam
IAPWS Industrial Formulation 1977 are used.
Gas Mixture
TEMA, Section 8, P-7 Properties of Gas and Vapor Mixture is referred to.
NTES | [10 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
1

## dpic
| Technical Material : | [19 empty] | Doc. No. |  |  |  | TM - HDC - 100
Hydraulic Calculations | [20 empty] | Date |  |  |  | 2019. 5. 5.
[21 empty] | Revision |  |  |  | 0 | 1
[21 empty] | Sheet No. |  |  |  |  | 2 | of |  | 6
|  | 2. | Forced Convection, Internal Flow > Tube Side Press. Drop in Shell & Tube H/E
Fluid defined
|  |  |  | Fluid Kind | Saturated
|  |  |  | Fluid in DB | H2O
|  |  |  | Saturation | No
|  |  |  | Vapor "x" | 0
|  |  |  | Flowrate | 1500 |  |  | kg/h
|  |  |  | Temperature | 80 |  |  | ℃ | [22 empty] | Tsat
|  |  |  | Pressure | 7 |  |  | kg/cm2.g | [22 empty] | #VALUE! |  | ℃
|  |  |  | Fluid State | #VALUE!
|  |  | Fluid Properties |  |  |  | Bulk |  |  |  | Wall
|  |  |  | Temperature | T |  | 80 |  |  | Tw | 150 |  |  |  | ℃ | [15 empty] | Density
|  |  |  | Density | ρ |  | #VALUE! | [7 empty] | kg/m3 | [15 empty] | *** |  | kg/Nm3
|  |  |  | Viscosity | μ |  | #VALUE! |  |  | μw | #VALUE! |  |  |  | kg/m.h
|  |  |  | Thermal Cond. | k |  | #VALUE! | [7 empty] | kcal/m.h.℃
|  |  |  | Prandtl No. | Pr |  | #VALUE! | [7 empty] | ---
|  |  | Tube Data |  |  |  |  | Tube OD |  |  |  | Tube Thickness |  |  |  |  | No. of Tube / Pass
[8 empty] | OD |  |  |  | t |  |  |  |  | Ntb
[8 empty] | 25.4 |  | mm |  | 2.77 |  | mm |  |  | 1
|  |  |  | Tube ID | ID |  | = | 19.86 |  | mm | [13 empty] | = | 0.01986 |  |  | m
|  |  |  | Flow Area | Afpi |  | = | π / 4 |  | x | ID | ^2 | x | Ntb | [9 empty] | = | 0.00030978 |  |  | m2
|  |  | Vol. Flowrate |  | Q |  | = | [17 empty] | #VALUE! |  |  | m3/h
|  |  | Fluid Velocity |  | V |  | = | Q | / | Afpi |  | / | 3600 | [10 empty] | = | #VALUE! |  |  | m/sec
|  |  | Mass Flowrate |  | m |  | = | [17 empty] | 1500 |  |  | kg/h
|  |  | Mass Velocity |  | G |  | = | m / Afpi |  |  |  | = | 1500 |  |  | / | 0.00030978 | [6 empty] | = | 4842201.8508 |  |  | kg/m2.h
|  |  | Reynolds No. |  | Re |  | = | G x ID / μ |  |  |  | = | 4842201.8508 |  |  | x | 0.01986 |  | / | #VALUE! |  |  |  | = | #VALUE! |  |  | ---
[8 empty] | Re | < | 2000
|  |  | Friction Factor |  | f |  | = | #VALUE! | [15 empty] | = | #VALUE! |  |  | --- |  |  | Correction Factor
[8 empty] | Re | >= | 2000 |  | Smooth Tube | [20 empty] | Re |  |  | >= | 2000
[5 empty] | f |  | = | #VALUE! | [15 empty] | = | #VALUE! |  |  | --- |  |  |  |  | Hot |  | Cold | Hot |  | Cold
[8 empty] | Re | >= | 2000 |  | Rough Tube | [18 empty] | Liquid |  | -0.24 |  | -0.25 | -0.5 |  | -0.58
[5 empty] | f |  | = | #VALUE! | [15 empty] | = | #VALUE! |  |  | --- |  |  | Vapor |  | 0.1 |  | 0.1 | -1 |  | -1
|  |  | Correction Factor | [27 empty] | Saturated |  |  |  | Tsat | #VALUE!
|  |  |  | Liquid | cf |  | = | ( μ / μw ) ^ p |  |  |  |  | = ( | #VALUE! |  | / | #VALUE! |  | ) ^ | #VALUE! |  |  |  | = | #VALUE! |  |  | --- |  |  | #VALUE! |  | Cold
|  |  |  | Vapor | cf |  | = | ( | T |  | + | #VALUE! |  | ) ^ | p | = ( | #VALUE! |  | + | #VALUE! |  | ) ^ | #VALUE! | = | #VALUE! | [7 empty] | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE!
[9 empty] | Tw |  | + | #VALUE! |  |  |  |  | #VALUE! |  | + | #VALUE! | [10 empty] | p | = | #VALUE!
|  |  | Tube Length |  | L | [18 empty] | = | 5000 |  |  | mm
|  |  | No. of Passes |  | Ntps | [18 empty] | = | 1 |  |  | ---
|  |  | Tube Friction |  | ΔPtb |  | = | f |  | x | L, m |  |  | G ^ 2 |  |  | x | cf |  | x | Ntps | [9 empty] | g
[11 empty] | ID |  | 2 | g | ρ | [15 empty] | 127094184 |  |  | m/h2
[7 empty] | = | #VALUE! |  | x | 5 |  | 4842201.8508 |  |  | ^2 |  | #VALUE! |  | x | 1 |  | = | #VALUE! |  |  | kg/m2
[11 empty] | 0.01986 |  | 2 | g | #VALUE! | [15 empty] | VBA
[23 empty] | = | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE!
Tube Entrance, Contraction
|  |  |  | Loss Factor |  | Kci |  | = | 0.5
|  |  |  | Loss |  | ΔPti |  | = | Kci |  | G ^ 2 / ( 2 g ρ ) | [11 empty] | = | #VALUE! |  |  | kg/m2
[23 empty] | = | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE!
Tube Exit, Expansion
|  |  |  | Loss Factor |  | Keo |  | = | 1
|  |  |  | Loss |  | ΔPto |  | = | Keo |  | G ^ 2 / ( 2 g ρ ) | [11 empty] | = | #VALUE! |  |  | kg/m2
[23 empty] | = | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE!
Turn Loss
|  |  |  | Loss Factor |  | Ktn |  | = | 2
|  |  |  | Loss |  | ΔPtn |  | = | Ktn |  | G ^ 2 / ( 2 g ρ ) |  |  |  |  | x | ( Ntps - 1 ) | [5 empty] | = | #VALUE! |  |  | kg/m2
[23 empty] | = | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE!
|  |  | Total |  |  | ΔPt |  | = | ΔPtb |  | + | ΔPti |  | + | ΔPto |  | + | ΔPtn |  |  |  |  | = | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE!
NTES | [29 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
1

## dpoc
| Technical Material : | [22 empty] | Doc. No. |  |  |  | TM - HDC - 100
Hydraulic Calculations | [23 empty] | Date |  |  |  | 2019. 5. 5.
[24 empty] | Revision |  |  |  | 0 | 1
[24 empty] | Sheet No. |  |  |  |  | 3 | of |  | 6
|  | 3. | Forced Convection, External Flow
Plain Tube Bank in Cross Flow
|  |  |  | In-line | [6 empty] | Fluid defined
[9 empty] | OD |  | Fluid Kind |  |  |  | Vapor
[11 empty] | Fluid in DB |  |  |  | Dry Air
[11 empty] | Saturation |  |  |  | No |  |  |  |  | Fluid Properties |  |  |  | Bulk |  |  |  | Wall
|  |  |  | ST | [6 empty] | Vapor "x" |  |  |  | 0 |  |  |  |  | Temperature |  |  | T | 200 |  |  | Tw | 100 |  |  | ℃
[11 empty] | Flowrate |  |  |  | 10000 |  | kg/h |  |  | Density |  |  | ρ | #VALUE! | [6 empty] | kg/m3
[11 empty] | Temperature |  |  |  | 200 |  | ℃ |  |  | Viscosity |  |  | μ | #VALUE! |  |  | μw | #VALUE! |  |  | kg/m.h |  |  | Density
[6 empty] | SL |  |  |  |  | Pressure |  |  |  | 0 |  | mmH2O |  |  | Thermal Cond. |  |  | λ | #VALUE! | [6 empty] | kcal/m.h.℃ |  |  | #VALUE! | kg/Nm3
[11 empty] | Fluid State |  |  |  | Vapor |  |  |  |  | Prandtl No. |  |  | Pr | #VALUE! | [6 empty] | ---
Tsat
|  |  |  | Staggered | [6 empty] | Tube Bundle Data | [22 empty] | *** | ℃
[9 empty] | SD |  | Tube OD |  |  | OD | = | 25.4 |  | mm | [9 empty] | = | 0.0254 |  |  | m
[11 empty] | Pitch, Trans |  |  | ST | = | 60 |  | mm | 2.3622 |  | < ST / OD |  |  | No. of Tubes / Row |  |  |  |  | Nt |  | 10
[11 empty] | Pitch, Longi. |  |  | SL | = | 60 |  | mm | 2.3622 |  | < SL / OD |  |  | No. of Tube Rows |  |  |  |  | Nr |  | 5
[11 empty] | Pitch, Diag. |  |  | SD | = | 67.082 |  | mm | [9 empty] | = | 1 |  |  | m
|  |  |  | ST | [6 empty] | Tube Lemgth |  |  | Lt | = | 1000 |  | mm
SL
|  |  |  | Flow Width |  |  |  |  | W | = | ( | ST | - | OD | ) | x | Nt | [9 empty] | = | 0.346 |  |  | m
|  |  |  | Flow Area |  |  |  |  | Ap | = | W | x | Lt | [13 empty] | = | 0.346 |  |  | m2
|  |  |  | Mass Flowrate |  |  |  |  | m | = | [17 empty] | 10000 |  |  | kg/h
|  |  |  | Vol. Flowrate |  |  |  |  | Q | = | m | / | ρ | [13 empty] | = | #VALUE! |  |  | m3/h
|  |  |  | Fluid Velocity |  |  |  |  | V | = | Q | / | Ap | / | 3600 | [11 empty] | = | #VALUE! |  |  | m/sec
|  |  |  | Mass Velocity |  |  |  |  | G | = | m | / | Ap |  | = | 10000 |  | / | 0.346 | [7 empty] | = | 28901.7341 |  |  | kg/m2.h
|  |  |  | Reynolds No. |  |  |  |  | Re | = | G x OD / μ |  |  |  | = | 28901.7341 |  | x | 0.0254 |  | / | #VALUE! |  |  |  |  | = | #VALUE! |  |  | ---
Friction Factor
Jakob
[5 empty] | In-line |  | f | = | 4 [ | 0.044 |  | + | 0.08 |  | ( | SL | / | OD | ) | [6 empty] | ] | Re | ^ | -0.15
[13 empty] | ( | ST | / | OD | - | 1 | ) ^ | 0.43 + 1.13 ( OD / SL ) | [13 empty] | VBA
[27 empty] | = | #VALUE! |  |  | --- |  |  | #VALUE! |  | Correction Factor
[38 empty] | Re |  |  | >= | 2000
[5 empty] | Staggered |  | f | = | 4 [ | 0.25 |  | + | 0.118 | [8 empty] | ] | Re | ^ | -0.16 |  | = | #VALUE! |  |  | --- |  |  | #VALUE! |  |  |  | Hot |  | Cold | Hot |  | Cold
[13 empty] | ( | ST | / | OD | - | 1 | ) ^ | 1.08 | [15 empty] | Liquid |  | -0.24 |  | -0.25 | -0.5 |  | -0.58
[36 empty] | Vapor |  | 0.1 |  | 0.1 | -1 |  | -1
|  |  |  | Correction Factor | [31 empty] | Vapor |  |  |  | Tsat | ***
[5 empty] | Liquid |  |  | cf |  | = | ( μ / μw ) ^ p |  |  |  |  | = ( | #VALUE! |  | / | #VALUE! |  | ) ^ | #VALUE! |  |  |  | = | #VALUE! |  |  | --- |  |  |  |  | #VALUE! |  | Hot
[5 empty] | Vapor |  |  | cf |  | = | ( | T |  | + | #VALUE! |  | ) ^ | p | = ( | #VALUE! |  | + | #VALUE! |  | ) ^ | #VALUE! | = | #VALUE! | [9 empty] | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE!
[12 empty] | Tw |  | + | #VALUE! |  |  |  |  | #VALUE! |  | + | #VALUE! | [12 empty] | p | = | #VALUE!
Prssure Drop
[5 empty] | In-line |  |  | = | f |  | x |  | G ^ 2 |  |  | x | cf |  | x | Nr | [15 empty] | g
[12 empty] | 2 | g | ρ | [21 empty] | 127094184 |  |  | m/h2
[8 empty] | = | #VALUE! |  | x | 28901.7341 |  |  | ^2 |  | #VALUE! |  | x | 5 |  |  |  | = | #VALUE! |  |  | kg/m2
[12 empty] | 2 | g | #VALUE! | [19 empty] | VBA
[24 empty] | = | #VALUE! |  |  | #VALUE! | [5 empty] | #VALUE!
[5 empty] | Staggered |  | dP | = | f |  | x |  | G ^ 2 |  |  | x | cf |  | x | Nr
[12 empty] | 2 | g | ρ
[8 empty] | = | #VALUE! |  | x | 28901.7341 |  |  | ^2 |  | #VALUE! |  | x | 5 |  |  |  | = | #VALUE! |  |  | kg/m2
[12 empty] | 2 | g | #VALUE!
[24 empty] | = | #VALUE! |  |  | #VALUE! | [5 empty] | #VALUE!
NTES | [32 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
1

## _2
| Technical Material : | [21 empty] | Doc. No. |  |  |  | TM - HDC - 100
Hydraulic Calculations | [22 empty] | Date |  |  |  | 2019. 5. 5.
[23 empty] | Revision |  |  |  | 0 | 1
[23 empty] | Sheet No. |  |  |  |  | 4 | of |  | 6
|  | Circular Finned Tube Bank in Cross Flow | [15 empty] | Area Calculation |  |  |  |  | * | in | m2 | [7 empty] | Area
Area per 1 m Tube, Tube Inside
[8 empty] | t | > | 2.77 | [7 empty] | ai | = | π | x | ID | / | 1000 |  |  |  | = | 0.062392 |  | m2
Area per 1 m Tube, Tube Outside, Bare
[8 empty] | ID |  | OD |  | Df | [5 empty] | ab | = | π | x | OD | / | 1000 |  |  |  | = | 0.079796 |  | m2
[8 empty] | 19.86 |  | 25.4 |  | 57.2 | [5 empty] | Area per 1 m Tube, Fin | [9 empty] | = | 1.6533 |  | m2
[18 empty] | af | = | [ π / 4 x |  |  | 2 x ( | Df | ^2 | - | OD | ^2 | )
[8 empty] | Hf | > | 15.9 | [9 empty] | + | π | x |  | Df | x |  | tf | ] x | FPM |  | / 10^6
|  |  | tf |  |  | Pf |  | FPI |  | FPM | [7 empty] | Area per 1 m Tube, Tube Outside, Unfinned Surface
|  |  | 0.45 |  | 2.54 |  |  | 10 |  | 393 | [7 empty] | ar | = | π | x | OD | x ( | 1000 |  | - | tf | x | FPM |  | ) /10^6
|  |  | Where, |  | OD |  | Tube OD | [10 empty] | Area per 1 m Tube, Tube Outside | [9 empty] | = | 0.065684 |  | m2
[5 empty] | t |  | Tube Thickness |  |  |  |  | ID |  | Tube ID |  |  |  | ao |  | = | af | + | ar |  |  |  |  | = | 1.719 |  | m2
[5 empty] | Hf |  | Fin Height |  |  |  |  | tf |  | Fin Thick |  |  |  | Ratio of Area, Outside / Inside
[5 empty] | Df |  | Fin OD |  |  |  |  | Pf |  | Fin Pitch |  |  |  | Raoi |  | = | ao | / | ai |  |  |  |  | = | 27.5512 |  | ---
[5 empty] | FPI |  | Fin Q'ty per Inch | [10 empty] | Ratio of Area, Outside, Finned / Bare
[5 empty] | FPM |  | Fin Q'ty per Meter |  |  |  |  | * | in | mm |  |  |  | Raob |  | = | ao | / | ab |  |  |  |  | = | 21.542 |  | ---
Flow Area per 1 m Tube, through Fins
[18 empty] | Apfin |  | = | ( | Df | - | OD | ) |  |  | = | 0.026176 |  | m2
|  |  | In-line | [6 empty] | Fluid defined | [9 empty] | x | ( | 1000 |  | - | tf | x | FPM |  | ) / 10^6
[10 empty] | Fluid Kind |  |  |  | Vapor
[10 empty] | Fluid in DB |  |  |  | Dry Air
[10 empty] | Saturation |  |  |  | No |  |  |  |  | Fluid Properties |  |  |  | Bulk |  |  |  | Wall
|  |  | ST | [6 empty] | Vapor "x" |  |  |  | 0 |  |  |  |  | Temperature |  |  | T | 200 |  |  | Tw | 150 |  |  | ℃
[10 empty] | Flowrate |  |  |  | 10000 |  | kg/h |  |  | Density |  |  | ρ | #VALUE! | [6 empty] | kg/m3
[10 empty] | Temperature |  |  |  | 200 |  | ℃ |  |  | Viscosity |  |  | μ | #VALUE! |  |  | μw | #VALUE! |  |  | kg/m.h |  |  | Density
[5 empty] | SL |  |  |  |  | Pressure |  |  |  | 0 |  | mmH2O |  |  | Thermal Cond. |  |  | λ | #VALUE! | [6 empty] | kcal/m.h.℃ |  |  | #VALUE! | kg/Nm3
[10 empty] | Fluid State |  |  |  | Vapor |  |  |  |  | Prandtl No. |  |  | Pr | #VALUE! | [6 empty] | ---
Tsat
|  |  | Staggered | [6 empty] | Tube Bundle Data | [22 empty] | *** | ℃
[8 empty] | SD |  | Tube OD |  |  | OD | = | 25.4 |  | mm | [9 empty] | = | 0.0254 |  |  | m
[10 empty] | Pitch, Trans |  |  | ST | = | 60 |  | mm | 2.3622 |  | < ST / OD |  |  | No. of Tubes / Row |  |  |  |  | Nt |  | 10
[10 empty] | Pitch, Longi. |  |  | SL | = | 60 |  | mm | 2.3622 |  | < SL / OD |  |  | No. of Tube Rows |  |  |  |  | Nr |  | 5
[10 empty] | Pitch, Diag. |  |  | SD | = | 67.082 |  | mm
|  |  | ST | [6 empty] | Tube Lemgth |  |  | Lt | = | 1000 |  | mm | [9 empty] | = | 1 |  |  | m
SL
|  |  | Flow Area |  |  |  |  | Ap | = | [ | Apfin |  | + ( | ST | - | Df | ) / | 1000 |  | ] | x | Lt | x | Nt |  | = | 0.28976 |  |  | m2
|  |  | Mass Flowrate |  |  |  |  | m | = | [17 empty] | 10000 |  |  | kg/h
|  |  | Vol. Flowrate |  |  |  |  | Q | = | m | / | ρ | [13 empty] | = | #VALUE! |  |  | m3/h
|  |  | Fluid Velocity |  |  |  |  | V | = | Q | / | Ap | / | 3600 | [11 empty] | = | #VALUE! |  |  | m/sec
|  |  | Mass Velocity |  |  |  |  | G | = | m | / | Ap |  | = | 10000 |  | / | 0.28976 | [7 empty] | = | 34511.1172 |  |  | kg/m2.h
|  |  | Reynolds No. |  |  |  |  | Re | = | G x OD / μ |  |  |  | = | 34511.1172 |  | x | 0.0254 |  | / | #VALUE! |  |  |  |  | = | #VALUE! |  |  | ---
Friction Factor
|  |  |  | Briggs | [28 empty] | VBA |  | Correction Factor
|  |  |  | In-line | [32 empty] | Re |  |  | >= | 2000
[37 empty] | Hot |  | Cold | Hot |  | Cold
|  |  |  | Staggered |  | f | = | 37.86 |  | Re | ^ | -0.316 |  | ( | ST |  | ) ^ | -0.927 |  | ( | ST |  | ) ^ | 0.515 |  | = | #VALUE! |  |  | --- |  |  | #VALUE! |  | Liquid |  | -0.24 |  | -0.25 | -0.5 |  | -0.58
[15 empty] | OD | [5 empty] | SD | [13 empty] | Vapor |  | 0.1 |  | 0.1 | -1 |  | -1
|  |  | Correction Factor | [31 empty] | Vapor |  |  |  | Tsat | ***
|  |  |  | Liquid |  |  | cf |  | = | ( μ / μw ) ^ p |  |  |  |  | = ( | #VALUE! |  | / | #VALUE! |  | ) ^ | #VALUE! |  |  |  | = | #VALUE! |  |  | --- |  |  |  |  | #VALUE! |  | Hot
|  |  |  | Vapor |  |  | cf |  | = | ( | T |  | + | #VALUE! |  | ) ^ | p | = ( | #VALUE! |  | + | #VALUE! |  | ) ^ | #VALUE! | = | #VALUE! | [9 empty] | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE!
[11 empty] | Tw |  | + | #VALUE! |  |  |  |  | #VALUE! |  | + | #VALUE! | [12 empty] | p | = | #VALUE!
Prssure Drop
|  |  |  | In-line | [30 empty] | g
[35 empty] | 127094184 |  |  | m/h2
VBA
|  |  |  | Staggered |  | dP | = | f |  | x |  | G ^ 2 |  |  | x | cf |  | x | Nr
[11 empty] | 2 | g | ρ
[7 empty] | = | #VALUE! |  | x | 34511.1172 |  |  | ^2 |  | #VALUE! |  | x | 5 |  |  |  | = | #VALUE! |  |  | kg/m2
[11 empty] | 2 | g | #VALUE!
[23 empty] | = | #VALUE! |  |  | #VALUE! | [5 empty] | #VALUE!
NTES | [31 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
1

## dpcd
| Technical Material : |  |  | Doc. No. | TM - HDC - 100
Hydraulic Calculations |  |  |  | Date | 2019. 5. 5.
|  |  |  | Revision | 0 | 1
|  |  |  | Sheet No. |  | 5 | of | 6
|  | 4. | In-tube Condensation
Later
NTES | [8 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
1

## dpboil
| Technical Material : | [22 empty] | Doc. No. |  |  |  | TM - HDC - 100
Hydraulic Calculations | [23 empty] | Date |  |  |  | 2019. 5. 5.
[24 empty] | Revision |  |  |  | 0 | 1
[24 empty] | Sheet No. |  |  |  |  | 6 | of |  | 6
|  | 5. | Forced Convection Boiling
Forced Convection Boiling
Fluid defined
[5 empty] | Fluid Kind |  |  |  | Saturated | [5 empty] | Tsat. |  |  |  | #VALUE! |  | ℃
[5 empty] | Fluid in DB |  |  |  | H2O | [5 empty] | Twall |  |  |  | 175 |  | ℃ |  |  | Vapor "x"
[5 empty] | Saturation |  |  |  | Yes | [5 empty] | ΔT |  |  |  | #VALUE! |  | ℃ |  |  | Inlet |  | Mean |  | Outlet
[5 empty] | Vapor "x" |  |  |  | 0 | [5 empty] | Density |  |  |  | #VALUE! |  | kg/m3 |  |  | 0 |  | 0.15 |  | 0.3
[5 empty] | Flowrate |  |  |  | 1500 |  | kg/h
[5 empty] | Pressure |  |  |  | 7 |  | kg/cm2.g
[5 empty] | Fluid State |  |  |  | Sat. Liquid
Property Data
Liquid Properties
[6 empty] | Density | [8 empty] | ρl | [7 empty] | #VALUE! |  |  | kg/m3
[6 empty] | Viscosity | [8 empty] | μl | [7 empty] | #VALUE! |  |  | kg/mh
[6 empty] | Prandtl No. | [8 empty] | Prl | [7 empty] | #VALUE! |  |  | ---
Vapor Properties
[6 empty] | Density | [8 empty] | ρv | [7 empty] | #VALUE! |  |  | kg/m3
[6 empty] | Viscosity | [8 empty] | μv | [7 empty] | #VALUE! |  |  | kg/mh
[5 empty] | Gravitational Acceleration Velocity | [9 empty] | g | = | 9.8066 |  |  | m/s2 |  | = | 127094184 |  |  | m/h2
|  |  |  | Tube ID | [10 empty] | ID |  | 43.8 |  | mm |  |  | = | 0.0438 |  |  | m
|  |  |  | Flow Area | [10 empty] | Afpi | [6 empty] | = | 0.0015067 |  |  | m2
|  |  |  | Velocity | [10 empty] | Vi | [6 empty] | = | #VALUE! |  |  | m/sec
|  |  |  | Tube Length | [10 empty] | Lt |  | 5000 |  | mm |  |  | = | 5 |  |  | m
Martinelli Correlation
[15 empty] | Liquid | [9 empty] | Vapor
|  | Mass Flow |  |  |  |  | m |  | 1500 |  | kg/h |  |  |  | Inlet |  |  | Mean |  |  | Outlet |  |  |  | Inlet |  |  | Mean |  |  | Outlet
|  | Vapor "x" | [11 empty] | x | 0 |  |  | 0.15 |  |  | 0.3 |  |  |  | 0 |  |  | 0.15 |  |  | 0.3
|  | Mass Flowrate |  |  |  |  | m | [6 empty] | ml | 1500 |  |  | 1275 |  |  | 1050 |  |  | mv | 0 |  |  | 225 |  |  | 450 |  |  | VBA
|  | Mass Velocity |  |  |  |  | G | = | m | / | Afpi |  |  | Gl | 995527.2602 |  |  | 846198.1712 |  |  | 696869.0822 |  |  | Gv | 0 |  |  | 149329.089 |  |  | 298658.1781 |  |  | #VALUE! |  |  |  | #VALUE!
|  | Reynolds No. |  |  |  |  | Re | = | G | ID | / | μ |  | Rel | #VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  | Rev | #VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE!
|  | Martinelli Parameter |  |  |  |  | X | [7 empty] | 1 |  |  | #VALUE! |  |  | #VALUE!
[7 empty] | Φ | [7 empty] | 1 |  |  | #VALUE! |  |  | #VALUE! | [12 empty] | Selected
|  | Vapor Fraction |  |  |  |  | Rv | [7 empty] | 0 |  |  | #VALUE! |  |  | #VALUE! | [12 empty] | #VALUE! |  | Inlet | [7 empty] | #VALUE! | [6 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  | #VALUE!
|  | Liquid Fraction |  |  |  |  | Rl | = | 1 | - | Rv |  |  |  | 1 |  |  | #VALUE! |  |  | #VALUE! | [12 empty] | #VALUE! |  | Mean | [7 empty] | #VALUE! | [6 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  | #VALUE!
|  | Density Mixture |  |  |  |  | ρx | [10 empty] | #VALUE! |  |  | kg/m3 | [12 empty] | #VALUE! |  | Outlet | [7 empty] | #VALUE! | [6 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  | #VALUE!
[34 empty] | Flow Regime |  | Rel |  |  | Rev |  |  | Martinelli Parameter
[34 empty] | 1 |  | > | 2000 |  | > | 2000 |  | Xtt | = |  |  | ( | 1 | - | 0 | ) ^ | 0.9 | ( | ρv | ) ^ | 0.5 | ( | μl | ) ^ | 0.1
|  |  |  | Friction Loss | [43 empty] | 0 |  |  |  |  | ρl |  |  |  | μv
[34 empty] | 2 |  | > | 2000 |  | < | 1000 |  | Xtl | = | 0.053479 |  | ( | 1 | - | 0 | ) ^ | 0.5 | ( | ρv | ) ^ | 0.5 | ( | μl | ) ^ | 0.5 | Rel ^ | 0.4
[5 empty] | Friction Loss based on Liquid Properties | [10 empty] | ΔPfl |  | = | #VALUE! | [28 empty] | 0 |  |  |  |  | ρl |  |  |  | μv
[34 empty] | 3 |  | < | 1000 |  | > | 2000 |  | Xlt | = | 18.6548 |  | ( | 1 | - | 0 | ) ^ | 0.5 | ( | ρv | ) ^ | 0.5 | ( | μl | ) ^ | 0.5 | Rev ^ | -0.4
[5 empty] | ΔPftp |  | = | Φ | ^ | 2 | x | ΔPfl |  | = | #VALUE! |  | ^ | 2 | x | #VALUE! | [6 empty] | = | #VALUE! |  |  | #VALUE! | [16 empty] | 0 |  |  |  |  | ρl |  |  |  | μv
[34 empty] | 4 |  | < | 1000 |  | < | 1000 |  | Xll | = |  |  | ( | 1 | - | 0 | ) ^ | 0.5 | ( | ρv | ) ^ | 0.5 | ( | μl | ) ^ | 0.5
|  |  |  | Acceleration Loss | [43 empty] | 0 |  |  |  |  | ρl |  |  |  | μv
[5 empty] | ΔPatp |  | = | [ | 1 | ( | Gl | ^ | 2 | + | Gv | ^ | 2 | ) ] |  | - | [ | 1 | ( | Gl | ^ | 2 | + | Gv | ^ | 2 | ) ] |  |  | Φ | = | [ | 1 | + | 21 | + | ( | 1 | ) ^ | 2 | ] ^ | 0.5
[9 empty] | g |  | Rl |  | ρl |  | Rv |  | ρv |  | out |  |  | gc |  | Rl |  | ρl |  | Rv |  | ρv |  | inlet | [6 empty] | X |  |  | X
[21 empty] | = | #VALUE! |  |  | kg/m2 |  | = | #VALUE! |  |  | #VALUE!
Static Head Loss
[5 empty] | Mean Density |  |  |  |  | ρm | = |  |  |  | ρl |  |  |  | ln( | ρl | ) | = | #VALUE! |  | kg/m3
[12 empty] | ( | ρl | / | ρx | - | 1 | ) |  | ρx
[5 empty] | Hight Difference |  |  |  |  | ΔH | = | 10 |  |  | m
[5 empty] | ΔPstp |  | = | ρm | x | ΔH | = | #VALUE! |  | x | 10 | [5 empty] | = | #VALUE! |  |  | kg/m2 |  | = | #VALUE! |  |  | #VALUE!
NTES | [32 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
1

## form
| Technical Material : |  |  |  | Doc. No. | TM - HDC - 100
Hydraulic Calculations |  |  |  |  | Date | 2018. 5. 10.
[5 empty] | Revision | 0
[5 empty] | Sheet No. |  | x | of | 6
|  | x. | Aaaaaa
|  |  | x.1 | Aaaaaa
NTES | [9 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
1

## 0
| Technical Material : |  |  | Doc. No. | TM - HDC - 100
Hydraulic Calculations |  |  |  | Date | 2011. 1. 5.
|  |  |  | Revision | 0
|  |  |  | Sheet No. |  | 0 | of | 6
|  | 0. | Aaaaaa
NTES | [8 empty] | Narai Thermal Engineering Services
Note on AJ4: Cell is filled !
1